SEG-01. Segmentation Cycle Statistics

Per-recording cardiac-cycle timing from the annotations the corpora ship. CirCor's are interval segmentations, so S1, systole, S2 and diastole all have durations. PASCAL set_a's are hand-marked S1 and S2 INSTANTS, so systole and diastole are the gaps between them and the S1/S2 duration columns are legitimately empty. Means are over individual segments, never a phase total divided by a cycle count -- those differ on every recording whose annotation starts or ends mid-cycle.

| Record | Dataset | Annotation kind | Location | Annotated | Cycles | S1 mean (s) | Systole mean (s) | S2 mean (s) | Diastole mean (s) | Systole / diastole | Paired cycles | Annotated fraction | Below cycle floor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D2_set_a_normal__201102081321 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 12 | n/a | 0.260 | n/a | 0.387 | 0.738 | 11 | n/a | False |
| D2_set_a_normal__201102260502 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 8 | n/a | 0.366 | n/a | 0.404 | 1.025 | 7 | n/a | False |
| D2_set_a_normal__201103090635 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 13 | n/a | 0.285 | n/a | 0.329 | 0.875 | 12 | n/a | False |
| D2_set_a_normal__201103140132 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 9 | n/a | 0.312 | n/a | 0.671 | 0.515 | 8 | n/a | False |
| D2_set_a_normal__201103140822 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 6 | n/a | 0.338 | n/a | 0.551 | 0.595 | 5 | n/a | False |
| D2_set_a_normal__201103151912 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 6 | n/a | 0.430 | n/a | 0.480 | 0.948 | 5 | n/a | False |
| D2_set_a_normal__201103221214 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 5 | n/a | 0.254 | n/a | 0.355 | 0.720 | 4 | n/a | False |
| D2_set_a_normal__201104141251 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 9 | n/a | 0.283 | n/a | 0.446 | 0.640 | 8 | n/a | False |
| D2_set_a_normal__201105011626 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 19 | n/a | 0.293 | n/a | 0.200 | 1.628 | 17 | n/a | False |
| D2_set_a_normal__201105021654 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 7 | n/a | 0.340 | n/a | 0.807 | 0.430 | 6 | n/a | False |
| D2_set_a_normal__201105021804 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 15 | n/a | 0.237 | n/a | 0.340 | 0.709 | 14 | n/a | False |
| D2_set_a_normal__201105151450 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 9 | n/a | 0.315 | n/a | 0.459 | 0.690 | 8 | n/a | False |
| D2_set_a_normal__201106111136 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 6 | n/a | 0.275 | n/a | 0.495 | 0.555 | 5 | n/a | False |
| D2_set_a_normal__201106141148 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 8 | n/a | 0.235 | n/a | 0.369 | 0.649 | 7 | n/a | False |
| D2_set_a_normal__201106210943 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 7 | n/a | 0.312 | n/a | 0.450 | 0.699 | 6 | n/a | False |
| D2_set_a_normal__201106221418 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 8 | n/a | 0.308 | n/a | 0.456 | 0.691 | 7 | n/a | False |
| D2_set_a_normal__201106221450 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 11 | n/a | 0.327 | n/a | 0.498 | 0.660 | 10 | n/a | False |
| D2_set_a_normal__201108011112 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 9 | n/a | 0.325 | n/a | 0.497 | 0.654 | 8 | n/a | False |
| D2_set_a_normal__201108011114 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 7 | n/a | 0.342 | n/a | 0.680 | 0.498 | 6 | n/a | False |
| D2_set_a_normal__201108011115 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 9 | n/a | 0.319 | n/a | 0.499 | 0.642 | 8 | n/a | False |
| D2_set_a_normal__201108011118 | D2 PASCAL set_a | S1/S2 instants (set_a_timing.csv) |  | True | 12 | n/a | 0.292 | n/a | 0.373 | 0.788 | 11 | n/a | False |
| D4_training_data_13918_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.148 | 0.093 | 0.124 | 0.209 | 0.440 | 14 | 0.816 | False |
| D4_training_data_13918_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.101 | 0.172 | 0.078 | 0.224 | 0.771 | 10 | 0.203 | False |
| D4_training_data_13918_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.112 | 0.145 | 0.104 | 0.206 | 0.698 | 8 | 0.521 | False |
| D4_training_data_13918_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.125 | 0.126 | 0.116 | 0.200 | 0.637 | 9 | 0.830 | False |
| D4_training_data_14241_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.107 | 0.130 | 0.096 | 0.201 | 0.677 | 12 | 0.329 | False |
| D4_training_data_14241_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.095 | 0.157 | 0.075 | 0.209 | 0.765 | 10 | 0.272 | False |
| D4_training_data_14241_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.134 | 0.110 | 0.118 | 0.204 | 0.540 | 25 | 0.665 | False |
| D4_training_data_14241_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.126 | 0.117 | 0.099 | 0.217 | 0.538 | 27 | 0.474 | False |
| D4_training_data_14998_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.089 | 0.149 | 0.072 | 0.212 | 0.708 | 8 | 0.193 | False |
| D4_training_data_14998_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.093 | 0.151 | 0.088 | 0.197 | 0.769 | 11 | 0.259 | False |
| D4_training_data_14998_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.106 | 0.132 | 0.090 | 0.191 | 0.700 | 12 | 0.308 | False |
| D4_training_data_14998_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.126 | 0.123 | 0.099 | 0.196 | 0.628 | 23 | 0.465 | False |
| D4_training_data_23625_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.126 | 0.104 | 0.103 | 0.163 | 0.634 | 17 | 0.428 | False |
| D4_training_data_23625_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 40 | 0.116 | 0.112 | 0.125 | 0.148 | 0.756 | 40 | 0.949 | False |
| D4_training_data_23625_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.093 | 0.119 | 0.121 | 0.167 | 0.738 | 26 | 0.424 | False |
| D4_training_data_23625_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.117 | 0.108 | 0.118 | 0.151 | 0.734 | 29 | 0.708 | False |
| D4_training_data_24160_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.127 | 0.118 | 0.120 | 0.158 | 0.787 | 12 | 0.515 | False |
| D4_training_data_24160_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.122 | 0.116 | 0.108 | 0.137 | 0.849 | 16 | 0.357 | False |
| D4_training_data_24160_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.113 | 0.119 | 0.121 | 0.138 | 0.871 | 18 | 0.767 | False |
| D4_training_data_24160_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.123 | 0.122 | 0.119 | 0.129 | 0.959 | 27 | 0.969 | False |
| D4_training_data_2530_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.124 | 0.138 | 0.117 | 0.176 | 0.795 | 17 | 0.406 | False |
| D4_training_data_2530_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.116 | 0.133 | 0.127 | 0.179 | 0.780 | 42 | 0.901 | False |
| D4_training_data_2530_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.123 | 0.112 | 0.128 | 0.162 | 0.695 | 12 | 0.510 | False |
| D4_training_data_2530_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.122 | 0.116 | 0.130 | 0.164 | 0.717 | 24 | 0.877 | False |
| D4_training_data_29045_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 43 | 0.109 | 0.103 | 0.115 | 0.155 | 0.673 | 43 | 0.913 | False |
| D4_training_data_29045_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.110 | 0.121 | 0.096 | 0.154 | 0.802 | 28 | 0.663 | False |
| D4_training_data_29045_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.111 | 0.110 | 0.112 | 0.152 | 0.716 | 40 | 0.920 | False |
| D4_training_data_29045_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 41 | 0.107 | 0.099 | 0.114 | 0.162 | 0.618 | 41 | 0.881 | False |
| D4_training_data_29378_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.076 | 0.103 | 0.086 | 0.115 | 0.881 | 6 | 0.250 | False |
| D4_training_data_29378_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.103 | 0.092 | 0.082 | 0.101 | 0.935 | 11 | 0.260 | False |
| D4_training_data_31737_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.115 | 0.119 | 0.119 | 0.158 | 0.772 | 14 | 0.817 | False |
| D4_training_data_31737_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.127 | 0.138 | 0.099 | 0.125 | 1.096 | 5 | 0.189 | False |
| D4_training_data_31737_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.126 | 0.127 | 0.131 | 0.135 | 0.973 | 25 | 0.894 | False |
| D4_training_data_31737_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.102 | 0.140 | 0.122 | 0.138 | 1.030 | 15 | 0.590 | False |
| D4_training_data_33151_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.130 | 0.139 | 0.132 | 0.346 | 0.400 | 13 | 0.861 | False |
| D4_training_data_33151_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.137 | 0.116 | 0.130 | 0.323 | 0.364 | 19 | 0.902 | False |
| D4_training_data_33151_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.124 | 0.134 | 0.136 | 0.318 | 0.427 | 26 | 0.954 | False |
| D4_training_data_33151_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.157 | 0.121 | 0.133 | 0.311 | 0.399 | 23 | 0.923 | False |
| D4_training_data_36327_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.138 | 0.144 | 0.119 | 0.359 | 0.401 | 25 | 0.973 | False |
| D4_training_data_36327_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.138 | 0.151 | 0.108 | 0.358 | 0.447 | 16 | 0.593 | False |
| D4_training_data_36327_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.138 | 0.128 | 0.129 | 0.365 | 0.354 | 25 | 0.957 | False |
| D4_training_data_36327_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.143 | 0.138 | 0.108 | 0.376 | 0.370 | 24 | 1.000 | False |
| D4_training_data_38337_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.122 | 0.099 | 0.098 | 0.179 | 0.574 | 18 | 0.639 | False |
| D4_training_data_38337_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.109 | 0.123 | 0.098 | 0.128 | 0.999 | 14 | 0.362 | False |
| D4_training_data_39043_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.126 | 0.175 | 0.130 | 0.280 | 0.642 | 12 | 0.735 | False |
| D4_training_data_39043_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.127 | 0.185 | 0.109 | 0.265 | 0.714 | 11 | 0.336 | False |
| D4_training_data_39043_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.139 | 0.165 | 0.128 | 0.278 | 0.618 | 16 | 0.913 | False |
| D4_training_data_39043_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.145 | 0.153 | 0.120 | 0.214 | 0.748 | 10 | 0.573 | False |
| D4_training_data_39403_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.149 | 0.148 | 0.133 | 0.354 | 0.419 | 7 | 0.517 | False |
| D4_training_data_39403_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.124 | 0.156 | 0.113 | 0.201 | 0.789 | 9 | 0.291 | False |
| D4_training_data_39403_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.128 | 0.172 | 0.107 | 0.294 | 0.602 | 13 | 0.517 | False |
| D4_training_data_39403_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.128 | 0.154 | 0.112 | 0.257 | 0.650 | 9 | 0.592 | False |
| D4_training_data_39456_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.116 | 0.161 | 0.101 | 0.184 | 0.890 | 8 | 0.228 | False |
| D4_training_data_39456_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.115 | 0.148 | 0.131 | 0.234 | 0.640 | 15 | 0.506 | False |
| D4_training_data_39456_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.137 | 0.146 | 0.111 | 0.183 | 0.807 | 13 | 0.259 | False |
| D4_training_data_40058_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.120 | 0.138 | 0.126 | 0.257 | 0.546 | 13 | 0.712 | False |
| D4_training_data_40058_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.129 | 0.144 | 0.114 | 0.229 | 0.634 | 19 | 0.368 | False |
| D4_training_data_40058_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.134 | 0.138 | 0.136 | 0.250 | 0.573 | 18 | 0.915 | False |
| D4_training_data_40058_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.128 | 0.139 | 0.119 | 0.230 | 0.605 | 24 | 0.793 | False |
| D4_training_data_40798_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.119 | 0.115 | 0.111 | 0.259 | 0.447 | 20 | 0.586 | False |
| D4_training_data_40798_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.082 | 0.173 | 0.072 | 0.282 | 0.654 | 9 | 0.299 | False |
| D4_training_data_40798_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.132 | 0.116 | 0.125 | 0.203 | 0.583 | 23 | 0.643 | False |
| D4_training_data_40798_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.136 | 0.115 | 0.103 | 0.231 | 0.502 | 32 | 0.646 | False |
| D4_training_data_40840_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.124 | 0.126 | 0.130 | 0.370 | 0.345 | 25 | 0.939 | False |
| D4_training_data_40840_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.150 | 0.101 | 0.123 | 0.362 | 0.284 | 24 | 0.868 | False |
| D4_training_data_40840_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.115 | 0.153 | 0.116 | 0.378 | 0.407 | 24 | 0.856 | False |
| D4_training_data_40840_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.143 | 0.102 | 0.139 | 0.388 | 0.265 | 25 | 1.000 | False |
| D4_training_data_43852_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.076 | 0.118 | 0.083 | 0.130 | 0.898 | 12 | 0.249 | False |
| D4_training_data_43852_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.065 | 0.136 | 0.069 | 0.146 | 0.936 | 20 | 0.415 | False |
| D4_training_data_43852_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.091 | 0.116 | 0.092 | 0.098 | 1.216 | 11 | 0.237 | False |
| D4_training_data_43852_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.089 | 0.128 | 0.087 | 0.105 | 1.220 | 10 | 0.199 | False |
| D4_training_data_44514_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.141 | 0.103 | 0.116 | 0.270 | 0.391 | 21 | 0.646 | False |
| D4_training_data_44514_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.139 | 0.130 | 0.109 | 0.248 | 0.516 | 27 | 0.798 | False |
| D4_training_data_44514_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.132 | 0.097 | 0.133 | 0.275 | 0.357 | 18 | 0.560 | False |
| D4_training_data_44514_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.127 | 0.128 | 0.105 | 0.261 | 0.493 | 12 | 0.356 | False |
| D4_training_data_45843_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.119 | 0.085 | 0.109 | 0.203 | 0.423 | 39 | 0.934 | False |
| D4_training_data_45843_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 40 | 0.120 | 0.095 | 0.094 | 0.176 | 0.542 | 40 | 0.966 | False |
| D4_training_data_45843_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.125 | 0.100 | 0.109 | 0.154 | 0.663 | 31 | 0.742 | False |
| D4_training_data_45843_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.123 | 0.087 | 0.107 | 0.182 | 0.487 | 39 | 0.969 | False |
| D4_training_data_46065_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.140 | 0.133 | 0.134 | 0.196 | 0.689 | 15 | 0.583 | False |
| D4_training_data_46065_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.132 | 0.151 | 0.110 | 0.186 | 0.831 | 23 | 0.697 | False |
| D4_training_data_46065_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.139 | 0.132 | 0.111 | 0.198 | 0.690 | 11 | 0.443 | False |
| D4_training_data_46065_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.143 | 0.131 | 0.115 | 0.190 | 0.709 | 12 | 0.555 | False |
| D4_training_data_46532_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.124 | 0.141 | 0.101 | 0.244 | 0.683 | 9 | 0.285 | False |
| D4_training_data_46579_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.055 | 0.108 | 0.044 | 0.183 | 0.593 | 15 | 0.302 | False |
| D4_training_data_46579_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.084 | 0.099 | 0.066 | 0.131 | 0.745 | 11 | 0.207 | False |
| D4_training_data_46579_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.082 | 0.104 | 0.073 | 0.132 | 0.795 | 28 | 0.519 | False |
| D4_training_data_46579_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.094 | 0.093 | 0.079 | 0.123 | 0.776 | 15 | 1.000 | False |
| D4_training_data_46778_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.140 | 0.192 | 0.104 | 0.222 | 0.882 | 12 | 0.893 | False |
| D4_training_data_47002_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.100 | 0.116 | 0.100 | 0.151 | 0.773 | 18 | 0.417 | False |
| D4_training_data_47002_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.093 | 0.110 | 0.096 | 0.142 | 0.770 | 14 | 0.225 | False |
| D4_training_data_49558_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.100 | 0.151 | 0.089 | 0.133 | 1.141 | 5 | 0.082 | False |
| D4_training_data_49558_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.096 | 0.152 | 0.077 | 0.146 | 0.939 | 6 | 0.097 | False |
| D4_training_data_49561_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.114 | 0.190 | 0.102 | 0.321 | 0.673 | 22 | 0.523 | False |
| D4_training_data_49561_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.117 | 0.195 | 0.095 | 0.371 | 0.494 | 7 | 0.193 | False |
| D4_training_data_49561_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.118 | 0.196 | 0.109 | 0.411 | 0.529 | 32 | 0.919 | False |
| D4_training_data_49561_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.133 | 0.185 | 0.113 | 0.413 | 0.476 | 36 | 1.000 | False |
| D4_training_data_49562_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 46 | 0.120 | 0.150 | 0.098 | 0.247 | 0.615 | 46 | 0.964 | False |
| D4_training_data_49562_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.119 | 0.165 | 0.096 | 0.244 | 0.686 | 44 | 0.931 | False |
| D4_training_data_49562_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.118 | 0.161 | 0.097 | 0.253 | 0.648 | 28 | 0.599 | False |
| D4_training_data_49562_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.102 | 0.164 | 0.093 | 0.230 | 0.726 | 6 | 0.121 | False |
| D4_training_data_49568_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.115 | 0.170 | 0.101 | 0.348 | 0.528 | 16 | 0.441 | False |
| D4_training_data_49568_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.117 | 0.180 | 0.100 | 0.366 | 0.515 | 12 | 0.308 | False |
| D4_training_data_49568_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.114 | 0.177 | 0.104 | 0.361 | 0.523 | 35 | 0.926 | False |
| D4_training_data_49568_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 44 | 0.126 | 0.166 | 0.100 | 0.360 | 0.496 | 43 | 1.000 | False |
| D4_training_data_49572_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.115 | 0.145 | 0.086 | 0.159 | 0.915 | 41 | 0.697 | False |
| D4_training_data_49572_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 44 | 0.107 | 0.140 | 0.093 | 0.169 | 0.834 | 44 | 1.000 | False |
| D4_training_data_49572_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.107 | 0.142 | 0.093 | 0.178 | 0.792 | 21 | 0.407 | False |
| D4_training_data_49574_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.127 | 0.124 | 0.099 | 0.179 | 0.701 | 30 | 0.987 | False |
| D4_training_data_49574_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.110 | 0.144 | 0.096 | 0.182 | 0.781 | 14 | 0.319 | False |
| D4_training_data_49574_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.108 | 0.140 | 0.101 | 0.179 | 0.804 | 28 | 1.000 | False |
| D4_training_data_49574_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 43 | 0.113 | 0.139 | 0.099 | 0.205 | 0.712 | 43 | 1.000 | False |
| D4_training_data_49577_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.098 | 0.150 | 0.082 | 0.272 | 0.556 | 14 | 0.271 | False |
| D4_training_data_49577_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.114 | 0.150 | 0.090 | 0.190 | 0.800 | 14 | 0.220 | False |
| D4_training_data_49577_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.116 | 0.133 | 0.096 | 0.227 | 0.588 | 11 | 0.209 | False |
| D4_training_data_49577_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.112 | 0.151 | 0.093 | 0.219 | 0.696 | 24 | 0.363 | False |
| D4_training_data_49585_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.115 | 0.179 | 0.105 | 0.256 | 0.732 | 16 | 0.381 | False |
| D4_training_data_49585_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.125 | 0.162 | 0.129 | 0.232 | 0.708 | 48 | 1.000 | False |
| D4_training_data_49585_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.124 | 0.170 | 0.138 | 0.203 | 0.836 | 45 | 1.000 | False |
| D4_training_data_49585_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 48 | 0.130 | 0.168 | 0.123 | 0.196 | 0.854 | 47 | 1.000 | False |
| D4_training_data_49595_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.087 | 0.139 | 0.080 | 0.186 | 0.693 | 5 | 0.078 | False |
| D4_training_data_49595_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.057 | 0.177 | 0.062 | 0.180 | 0.940 | 5 | 0.082 | False |
| D4_training_data_49598_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 37 | 0.103 | 0.132 | 0.092 | 0.178 | 0.748 | 37 | 0.649 | False |
| D4_training_data_49598_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.108 | 0.122 | 0.095 | 0.151 | 0.802 | 23 | 0.335 | False |
| D4_training_data_49607_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.056 | 0.138 | 0.042 | 0.119 | 1.178 | 5 | 0.040 | False |
| D4_training_data_49610_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.078 | 0.231 | 0.071 | 0.287 | 0.858 | 5 | 0.095 | False |
| D4_training_data_49610_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.117 | 0.197 | 0.094 | 0.306 | 0.672 | 19 | 0.435 | False |
| D4_training_data_49610_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.118 | 0.173 | 0.101 | 0.273 | 0.657 | 40 | 0.881 | False |
| D4_training_data_49610_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.114 | 0.170 | 0.098 | 0.278 | 0.640 | 39 | 0.872 | False |
| D4_training_data_49618_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.115 | 0.114 | 0.089 | 0.214 | 0.522 | 28 | 0.716 | False |
| D4_training_data_49618_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.088 | 0.124 | 0.062 | 0.175 | 0.651 | 5 | 0.065 | False |
| D4_training_data_49622_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.109 | 0.102 | 0.087 | 0.145 | 0.719 | 17 | 0.250 | False |
| D4_training_data_49622_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 67 | 0.104 | 0.116 | 0.070 | 0.129 | 0.914 | 66 | 0.926 | False |
| D4_training_data_49627_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.047 | 0.188 | 0.036 | 0.365 | 0.517 | 5 | 0.107 | False |
| D4_training_data_49627_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.066 | 0.146 | 0.069 | 0.421 | 0.369 | 9 | 0.204 | False |
| D4_training_data_49627_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.079 | 0.214 | 0.067 | 0.282 | 0.830 | 8 | 0.164 | False |
| D4_training_data_49627_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.076 | 0.230 | 0.055 | 0.252 | 0.935 | 5 | 0.096 | False |
| D4_training_data_49628_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.085 | 0.174 | 0.081 | 0.184 | 0.951 | 5 | 0.083 | False |
| D4_training_data_49628_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.102 | 0.161 | 0.084 | 0.205 | 0.790 | 15 | 0.268 | False |
| D4_training_data_49628_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.114 | 0.135 | 0.096 | 0.202 | 0.669 | 33 | 0.612 | False |
| D4_training_data_49628_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 54 | 0.129 | 0.109 | 0.092 | 0.204 | 0.541 | 54 | 0.949 | False |
| D4_training_data_49630_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.122 | 0.151 | 0.096 | 0.404 | 0.377 | 21 | 0.557 | False |
| D4_training_data_49630_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.115 | 0.156 | 0.100 | 0.352 | 0.448 | 19 | 0.296 | False |
| D4_training_data_49630_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.121 | 0.157 | 0.097 | 0.446 | 0.355 | 29 | 0.926 | False |
| D4_training_data_49630_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.122 | 0.153 | 0.095 | 0.391 | 0.393 | 39 | 0.939 | False |
| D4_training_data_49631_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.100 | 0.137 | 0.090 | 0.180 | 0.763 | 6 | 0.084 | False |
| D4_training_data_49631_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.100 | 0.144 | 0.091 | 0.200 | 0.725 | 9 | 0.161 | False |
| D4_training_data_49638_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.086 | 0.140 | 0.080 | 0.166 | 0.808 | 7 | 0.083 | False |
| D4_training_data_49638_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.085 | 0.175 | 0.103 | 0.128 | 1.381 | 7 | 0.160 | False |
| D4_training_data_49638_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.096 | 0.140 | 0.093 | 0.137 | 0.980 | 7 | 0.135 | False |
| D4_training_data_49641_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.107 | 0.132 | 0.097 | 0.185 | 0.718 | 18 | 0.637 | False |
| D4_training_data_49641_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.113 | 0.140 | 0.088 | 0.180 | 0.778 | 24 | 0.815 | False |
| D4_training_data_49641_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.111 | 0.139 | 0.097 | 0.167 | 0.820 | 24 | 0.856 | False |
| D4_training_data_49641_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.114 | 0.134 | 0.092 | 0.184 | 0.719 | 29 | 0.932 | False |
| D4_training_data_49653_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.087 | 0.197 | 0.079 | 0.467 | 0.433 | 11 | 0.283 | False |
| D4_training_data_49653_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 39 | 0.116 | 0.155 | 0.097 | 0.295 | 0.545 | 39 | 0.799 | False |
| D4_training_data_49653_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.107 | 0.170 | 0.114 | 0.352 | 0.512 | 18 | 0.459 | False |
| D4_training_data_49653_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.115 | 0.164 | 0.099 | 0.326 | 0.522 | 27 | 0.646 | False |
| D4_training_data_49659_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.115 | 0.153 | 0.096 | 0.402 | 0.395 | 20 | 0.471 | False |
| D4_training_data_49659_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.120 | 0.157 | 0.095 | 0.371 | 0.436 | 31 | 0.737 | False |
| D4_training_data_49659_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 41 | 0.116 | 0.151 | 0.105 | 0.333 | 0.465 | 41 | 0.950 | False |
| D4_training_data_49659_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.121 | 0.156 | 0.095 | 0.358 | 0.449 | 40 | 0.945 | False |
| D4_training_data_49661_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.083 | 0.152 | 0.096 | 0.158 | 1.005 | 11 | 0.174 | False |
| D4_training_data_49661_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.095 | 0.129 | 0.101 | 0.176 | 0.727 | 9 | 0.159 | False |
| D4_training_data_49669_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.089 | 0.116 | 0.075 | 0.157 | 0.749 | 6 | 0.103 | False |
| D4_training_data_49669_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.086 | 0.118 | 0.059 | 0.101 | 1.169 | 6 | 0.128 | False |
| D4_training_data_49678_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.111 | 0.215 | 0.099 | 0.434 | 0.499 | 7 | 0.194 | False |
| D4_training_data_49678_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.108 | 0.213 | 0.075 | 0.333 | 0.641 | 7 | 0.172 | False |
| D4_training_data_49678_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.113 | 0.211 | 0.108 | 0.387 | 0.551 | 28 | 0.893 | False |
| D4_training_data_49678_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.117 | 0.205 | 0.110 | 0.372 | 0.557 | 27 | 0.944 | False |
| D4_training_data_49683_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.091 | 0.172 | 0.104 | 0.269 | 0.644 | 5 | 0.107 | False |
| D4_training_data_49683_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.094 | 0.190 | 0.064 | 0.254 | 0.749 | 6 | 0.122 | False |
| D4_training_data_49683_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.108 | 0.173 | 0.096 | 0.254 | 0.719 | 9 | 0.195 | False |
| D4_training_data_49683_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.114 | 0.167 | 0.099 | 0.254 | 0.673 | 46 | 0.953 | False |
| D4_training_data_49687_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.111 | 0.153 | 0.098 | 0.293 | 0.531 | 32 | 0.713 | False |
| D4_training_data_49687_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.114 | 0.168 | 0.091 | 0.238 | 0.726 | 20 | 0.357 | False |
| D4_training_data_49687_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 47 | 0.125 | 0.143 | 0.099 | 0.277 | 0.509 | 46 | 1.000 | False |
| D4_training_data_49687_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 42 | 0.131 | 0.141 | 0.090 | 0.261 | 0.561 | 42 | 0.857 | False |
| D4_training_data_49691_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.121 | 0.085 | 0.117 | 0.203 | 0.415 | 22 | 0.394 | False |
| D4_training_data_49691_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 54 | 0.129 | 0.132 | 0.100 | 0.206 | 0.645 | 53 | 1.000 | False |
| D4_training_data_49691_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 54 | 0.126 | 0.129 | 0.107 | 0.209 | 0.885 | 54 | 1.000 | False |
| D4_training_data_49691_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 51 | 0.125 | 0.146 | 0.103 | 0.214 | 0.689 | 51 | 1.000 | False |
| D4_training_data_49704_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.075 | 0.130 | 0.048 | 0.131 | 1.018 | 6 | 0.072 | False |
| D4_training_data_49704_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.088 | 0.109 | 0.056 | 0.114 | 0.877 | 6 | 0.073 | False |
| D4_training_data_49712_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.121 | 0.157 | 0.094 | 0.207 | 0.761 | 36 | 0.859 | False |
| D4_training_data_49712_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 55 | 0.126 | 0.168 | 0.079 | 0.203 | 0.831 | 55 | 0.973 | False |
| D4_training_data_49712_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 60 | 0.129 | 0.124 | 0.096 | 0.235 | 0.531 | 60 | 1.000 | False |
| D4_training_data_49712_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 57 | 0.130 | 0.147 | 0.089 | 0.205 | 0.718 | 57 | 0.897 | False |
| D4_training_data_49719_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.116 | 0.152 | 0.099 | 0.244 | 0.642 | 24 | 0.494 | False |
| D4_training_data_49719_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.119 | 0.133 | 0.096 | 0.238 | 0.584 | 40 | 0.744 | False |
| D4_training_data_49719_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.116 | 0.141 | 0.113 | 0.231 | 0.619 | 50 | 1.000 | False |
| D4_training_data_49719_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.136 | 0.117 | 0.126 | 0.231 | 0.518 | 28 | 0.561 | False |
| D4_training_data_49729_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 56 | 0.123 | 0.114 | 0.107 | 0.184 | 0.621 | 55 | 1.000 | False |
| D4_training_data_49729_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 39 | 0.119 | 0.120 | 0.097 | 0.172 | 0.701 | 39 | 0.661 | False |
| D4_training_data_49729_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.129 | 0.114 | 0.105 | 0.174 | 0.665 | 33 | 0.594 | False |
| D4_training_data_49729_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 56 | 0.123 | 0.106 | 0.116 | 0.163 | 0.655 | 55 | 0.941 | False |
| D4_training_data_49735_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.073 | 0.164 | 0.043 | 0.208 | 0.820 | 4 | 0.073 | False |
| D4_training_data_49735_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.111 | 0.134 | 0.089 | 0.243 | 0.563 | 7 | 0.132 | False |
| D4_training_data_49735_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.114 | 0.126 | 0.088 | 0.183 | 0.692 | 25 | 0.418 | False |
| D4_training_data_49745_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.116 | 0.126 | 0.094 | 0.225 | 0.550 | 15 | 0.318 | False |
| D4_training_data_49745_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.088 | 0.148 | 0.074 | 0.180 | 0.850 | 5 | 0.108 | False |
| D4_training_data_49745_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 47 | 0.117 | 0.110 | 0.113 | 0.176 | 0.631 | 47 | 1.000 | False |
| D4_training_data_49745_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.114 | 0.122 | 0.093 | 0.173 | 0.719 | 39 | 1.000 | False |
| D4_training_data_49748_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.125 | 0.188 | 0.109 | 0.388 | 0.491 | 17 | 0.463 | False |
| D4_training_data_49748_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.120 | 0.177 | 0.105 | 0.414 | 0.438 | 22 | 0.579 | False |
| D4_training_data_49748_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.118 | 0.216 | 0.092 | 0.438 | 0.507 | 13 | 0.376 | False |
| D4_training_data_49748_PV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.119 | 0.204 | 0.102 | 0.400 | 0.518 | 16 | 0.489 | False |
| D4_training_data_49748_PV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.117 | 0.186 | 0.102 | 0.407 | 0.465 | 36 | 0.943 | False |
| D4_training_data_49748_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.123 | 0.183 | 0.103 | 0.390 | 0.479 | 36 | 0.944 | False |
| D4_training_data_49751_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.119 | 0.147 | 0.093 | 0.320 | 0.528 | 14 | 0.324 | False |
| D4_training_data_49751_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.104 | 0.147 | 0.088 | 0.343 | 0.493 | 14 | 0.280 | False |
| D4_training_data_49751_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.118 | 0.139 | 0.098 | 0.289 | 0.525 | 46 | 0.969 | False |
| D4_training_data_49751_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.115 | 0.146 | 0.097 | 0.302 | 0.544 | 39 | 0.720 | False |
| D4_training_data_49754_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 67 | 0.126 | 0.084 | 0.089 | 0.232 | 0.363 | 66 | 0.929 | False |
| D4_training_data_49754_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.116 | 0.176 | 0.079 | 0.152 | 1.146 | 8 | 0.124 | False |
| D4_training_data_49754_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 66 | 0.134 | 0.073 | 0.094 | 0.235 | 0.314 | 65 | 1.000 | False |
| D4_training_data_49754_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.094 | 0.115 | 0.103 | 0.217 | 0.532 | 19 | 0.290 | False |
| D4_training_data_49761_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.095 | 0.122 | 0.084 | 0.182 | 0.669 | 10 | 0.159 | False |
| D4_training_data_49761_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.094 | 0.103 | 0.081 | 0.145 | 0.732 | 35 | 0.475 | False |
| D4_training_data_49776_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.101 | 0.130 | 0.097 | 0.208 | 0.635 | 40 | 0.713 | False |
| D4_training_data_49776_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.107 | 0.141 | 0.093 | 0.223 | 0.612 | 14 | 0.273 | False |
| D4_training_data_49808_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.107 | 0.163 | 0.095 | 0.228 | 0.719 | 10 | 0.381 | False |
| D4_training_data_49808_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.099 | 0.156 | 0.117 | 0.252 | 0.629 | 5 | 0.160 | False |
| D4_training_data_49808_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.127 | 0.155 | 0.102 | 0.291 | 0.538 | 11 | 0.506 | False |
| D4_training_data_49821_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 44 | 0.118 | 0.141 | 0.099 | 0.314 | 0.462 | 44 | 0.995 | False |
| D4_training_data_49821_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 61 | 0.119 | 0.124 | 0.096 | 0.274 | 0.457 | 61 | 1.000 | False |
| D4_training_data_49821_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.106 | 0.143 | 0.110 | 0.279 | 0.516 | 45 | 1.000 | False |
| D4_training_data_49821_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 49 | 0.115 | 0.126 | 0.098 | 0.280 | 0.456 | 49 | 1.000 | False |
| D4_training_data_49823_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.110 | 0.126 | 0.097 | 0.246 | 0.500 | 20 | 0.351 | False |
| D4_training_data_49823_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.110 | 0.083 | 0.151 | 0.256 | 0.324 | 39 | 1.000 | False |
| D4_training_data_49823_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.131 | 0.060 | 0.140 | 0.282 | 0.213 | 39 | 1.000 | False |
| D4_training_data_49824_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.089 | 0.106 | 0.062 | 0.088 | 1.214 | 7 | 0.100 | False |
| D4_training_data_49824_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.110 | 0.086 | 0.060 | 0.080 | 1.034 | 6 | 0.098 | False |
| D4_training_data_49824_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.102 | 0.089 | 0.057 | 0.088 | 0.995 | 7 | 0.158 | False |
| D4_training_data_49829_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.114 | 0.207 | 0.100 | 0.478 | 0.419 | 6 | 0.185 | False |
| D4_training_data_49829_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.125 | 0.230 | 0.103 | 0.478 | 0.487 | 7 | 0.224 | False |
| D4_training_data_49829_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.119 | 0.221 | 0.105 | 0.486 | 0.447 | 17 | 0.592 | False |
| D4_training_data_49829_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.118 | 0.229 | 0.107 | 0.506 | 0.443 | 9 | 0.312 | False |
| D4_training_data_49832_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.102 | 0.142 | 0.094 | 0.175 | 0.812 | 21 | 0.343 | False |
| D4_training_data_49832_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.098 | 0.141 | 0.090 | 0.152 | 0.939 | 41 | 0.637 | False |
| D4_training_data_49838_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.123 | 0.113 | 0.093 | 0.203 | 0.612 | 15 | 0.286 | False |
| D4_training_data_49839_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.117 | 0.131 | 0.100 | 0.257 | 0.516 | 7 | 0.144 | False |
| D4_training_data_49839_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.115 | 0.137 | 0.095 | 0.254 | 0.550 | 8 | 0.164 | False |
| D4_training_data_49839_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.120 | 0.148 | 0.095 | 0.240 | 0.618 | 8 | 0.177 | False |
| D4_training_data_49839_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.117 | 0.140 | 0.098 | 0.215 | 0.660 | 8 | 0.150 | False |
| D4_training_data_49842_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.120 | 0.180 | 0.099 | 0.531 | 0.345 | 29 | 0.845 | False |
| D4_training_data_49842_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.121 | 0.182 | 0.089 | 0.502 | 0.366 | 16 | 0.556 | False |
| D4_training_data_49842_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.127 | 0.178 | 0.094 | 0.530 | 0.343 | 24 | 0.861 | False |
| D4_training_data_49842_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.126 | 0.195 | 0.090 | 0.579 | 0.343 | 8 | 0.293 | False |
| D4_training_data_49850_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 44 | 0.130 | 0.159 | 0.112 | 0.229 | 0.691 | 43 | 0.888 | False |
| D4_training_data_49850_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 50 | 0.128 | 0.166 | 0.121 | 0.203 | 0.834 | 49 | 1.000 | False |
| D4_training_data_49853_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 44 | 0.107 | 0.113 | 0.091 | 0.150 | 0.761 | 44 | 0.880 | False |
| D4_training_data_49853_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 52 | 0.105 | 0.116 | 0.084 | 0.137 | 0.849 | 52 | 0.938 | False |
| D4_training_data_49853_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.100 | 0.114 | 0.094 | 0.135 | 0.847 | 46 | 1.000 | False |
| D4_training_data_49853_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.103 | 0.116 | 0.094 | 0.141 | 0.824 | 45 | 0.909 | False |
| D4_training_data_49854_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.113 | 0.167 | 0.104 | 0.426 | 0.400 | 8 | 0.224 | False |
| D4_training_data_49854_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.124 | 0.165 | 0.097 | 0.375 | 0.449 | 37 | 0.948 | False |
| D4_training_data_49854_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.115 | 0.181 | 0.106 | 0.422 | 0.443 | 26 | 0.739 | False |
| D4_training_data_49854_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.119 | 0.181 | 0.100 | 0.398 | 0.465 | 28 | 0.765 | False |
| D4_training_data_49873_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.088 | 0.121 | 0.064 | 0.119 | 0.994 | 9 | 0.111 | False |
| D4_training_data_49873_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.080 | 0.137 | 0.056 | 0.147 | 0.882 | 7 | 0.104 | False |
| D4_training_data_49876_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.115 | 0.128 | 0.098 | 0.248 | 0.523 | 33 | 0.679 | False |
| D4_training_data_49876_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.118 | 0.134 | 0.096 | 0.210 | 0.634 | 32 | 0.628 | False |
| D4_training_data_49876_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.107 | 0.136 | 0.105 | 0.213 | 0.628 | 43 | 0.836 | False |
| D4_training_data_49876_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.114 | 0.130 | 0.094 | 0.240 | 0.538 | 50 | 0.933 | False |
| D4_training_data_49896_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.113 | 0.186 | 0.098 | 0.403 | 0.497 | 19 | 0.749 | False |
| D4_training_data_49896_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.114 | 0.194 | 0.099 | 0.398 | 0.517 | 25 | 0.833 | False |
| D4_training_data_49896_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.117 | 0.186 | 0.102 | 0.385 | 0.509 | 24 | 0.776 | False |
| D4_training_data_49896_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.119 | 0.186 | 0.099 | 0.412 | 0.494 | 26 | 0.929 | False |
| D4_training_data_49897_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.075 | 0.167 | 0.061 | 0.212 | 0.790 | 6 | 0.102 | False |
| D4_training_data_49897_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 40 | 0.121 | 0.111 | 0.084 | 0.213 | 0.522 | 40 | 0.677 | False |
| D4_training_data_49897_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.118 | 0.118 | 0.081 | 0.217 | 0.557 | 7 | 0.120 | False |
| D4_training_data_49897_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 41 | 0.128 | 0.119 | 0.084 | 0.209 | 0.570 | 41 | 0.713 | False |
| D4_training_data_49900_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.057 | 0.166 | 0.056 | 0.161 | 0.995 | 7 | 0.108 | False |
| D4_training_data_49900_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 49 | 0.114 | 0.097 | 0.080 | 0.159 | 0.612 | 48 | 0.972 | False |
| D4_training_data_49930_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.112 | 0.152 | 0.096 | 0.279 | 0.528 | 5 | 0.107 | False |
| D4_training_data_49930_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.113 | 0.179 | 0.064 | 0.263 | 0.684 | 41 | 0.850 | False |
| D4_training_data_49930_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.121 | 0.144 | 0.094 | 0.281 | 0.518 | 42 | 0.882 | False |
| D4_training_data_49930_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.127 | 0.120 | 0.098 | 0.283 | 0.422 | 54 | 1.000 | False |
| D4_training_data_49931_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.102 | 0.201 | 0.091 | 0.293 | 0.700 | 23 | 0.513 | False |
| D4_training_data_49931_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.115 | 0.172 | 0.102 | 0.338 | 0.542 | 13 | 0.309 | False |
| D4_training_data_49931_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.100 | 0.191 | 0.098 | 0.354 | 0.519 | 9 | 0.214 | False |
| D4_training_data_49946_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.124 | 0.188 | 0.098 | 0.411 | 0.471 | 34 | 0.908 | False |
| D4_training_data_49946_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.123 | 0.196 | 0.099 | 0.377 | 0.536 | 36 | 0.930 | False |
| D4_training_data_49946_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.121 | 0.192 | 0.096 | 0.417 | 0.473 | 31 | 0.801 | False |
| D4_training_data_49952_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.126 | 0.157 | 0.102 | 0.318 | 0.483 | 24 | 1.000 | False |
| D4_training_data_49952_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.111 | 0.158 | 0.098 | 0.245 | 0.675 | 20 | 0.841 | False |
| D4_training_data_49952_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.112 | 0.128 | 0.092 | 0.148 | 0.893 | 18 | 0.406 | False |
| D4_training_data_49952_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.117 | 0.143 | 0.096 | 0.268 | 0.531 | 19 | 0.832 | False |
| D4_training_data_49952_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.112 | 0.155 | 0.090 | 0.228 | 0.673 | 12 | 0.433 | False |
| D4_training_data_49959_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.084 | 0.140 | 0.096 | 0.185 | 0.736 | 9 | 0.190 | False |
| D4_training_data_49959_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 45 | 0.117 | 0.138 | 0.099 | 0.154 | 0.897 | 45 | 1.000 | False |
| D4_training_data_49960_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.120 | 0.143 | 0.098 | 0.260 | 0.558 | 8 | 0.198 | False |
| D4_training_data_49960_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.128 | 0.122 | 0.088 | 0.230 | 0.536 | 20 | 0.294 | False |
| D4_training_data_49960_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.115 | 0.152 | 0.094 | 0.245 | 0.623 | 17 | 0.368 | False |
| D4_training_data_49960_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.128 | 0.144 | 0.092 | 0.240 | 0.603 | 5 | 0.108 | False |
| D4_training_data_49963_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.128 | 0.164 | 0.096 | 0.405 | 0.394 | 22 | 0.911 | False |
| D4_training_data_49963_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.134 | 0.157 | 0.086 | 0.366 | 0.443 | 29 | 1.000 | False |
| D4_training_data_49963_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.147 | 0.132 | 0.128 | 0.355 | 0.366 | 18 | 0.874 | False |
| D4_training_data_49963_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.123 | 0.158 | 0.097 | 0.378 | 0.420 | 23 | 0.856 | False |
| D4_training_data_49966_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.086 | 0.129 | 0.086 | 0.123 | 1.058 | 6 | 0.162 | False |
| D4_training_data_49968_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.114 | 0.197 | 0.093 | 0.496 | 0.405 | 19 | 0.803 | False |
| D4_training_data_49968_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.130 | 0.208 | 0.104 | 0.464 | 0.461 | 19 | 0.959 | False |
| D4_training_data_49968_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.120 | 0.227 | 0.095 | 0.363 | 0.694 | 8 | 0.382 | False |
| D4_training_data_49969_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.076 | 0.118 | 0.058 | 0.131 | 0.904 | 6 | 0.087 | False |
| D4_training_data_49970_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.100 | 0.147 | 0.090 | 0.175 | 0.844 | 8 | 0.204 | False |
| D4_training_data_49970_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.109 | 0.157 | 0.094 | 0.209 | 0.754 | 35 | 1.000 | False |
| D4_training_data_49974_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.116 | 0.162 | 0.089 | 0.338 | 0.547 | 9 | 0.295 | False |
| D4_training_data_49974_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.118 | 0.154 | 0.100 | 0.282 | 0.561 | 25 | 1.000 | False |
| D4_training_data_49974_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.110 | 0.172 | 0.078 | 0.319 | 0.549 | 29 | 0.749 | False |
| D4_training_data_49974_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.122 | 0.163 | 0.101 | 0.334 | 0.497 | 20 | 0.547 | False |
| D4_training_data_49978_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.119 | 0.148 | 0.119 | 0.277 | 0.539 | 21 | 1.000 | False |
| D4_training_data_49979_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.112 | 0.136 | 0.088 | 0.180 | 0.694 | 5 | 0.166 | False |
| D4_training_data_49980_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.107 | 0.151 | 0.098 | 0.251 | 0.603 | 9 | 0.258 | False |
| D4_training_data_49980_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.111 | 0.161 | 0.094 | 0.260 | 0.622 | 20 | 0.654 | False |
| D4_training_data_49980_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.114 | 0.141 | 0.102 | 0.248 | 0.570 | 23 | 0.894 | False |
| D4_training_data_49980_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.120 | 0.141 | 0.093 | 0.281 | 0.504 | 15 | 0.569 | False |
| D4_training_data_49983_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.116 | 0.140 | 0.114 | 0.179 | 0.814 | 8 | 0.263 | False |
| D4_training_data_49983_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.104 | 0.126 | 0.102 | 0.176 | 0.733 | 8 | 0.247 | False |
| D4_training_data_49983_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.095 | 0.135 | 0.100 | 0.136 | 1.225 | 8 | 0.263 | False |
| D4_training_data_49983_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.118 | 0.117 | 0.095 | 0.157 | 0.747 | 26 | 1.000 | False |
| D4_training_data_49986_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.100 | 0.141 | 0.097 | 0.170 | 0.782 | 13 | 0.274 | False |
| D4_training_data_49986_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.109 | 0.133 | 0.094 | 0.170 | 0.786 | 16 | 0.485 | False |
| D4_training_data_49987_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.065 | 0.117 | 0.059 | 0.132 | 0.888 | 5 | 0.119 | False |
| D4_training_data_49987_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.055 | 0.129 | 0.055 | 0.136 | 0.942 | 6 | 0.178 | False |
| D4_training_data_49988_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.106 | 0.173 | 0.088 | 0.313 | 0.562 | 5 | 0.169 | False |
| D4_training_data_49988_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.094 | 0.192 | 0.076 | 0.280 | 0.691 | 5 | 0.180 | False |
| D4_training_data_49988_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.107 | 0.154 | 0.093 | 0.266 | 0.583 | 12 | 0.388 | False |
| D4_training_data_49988_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.121 | 0.152 | 0.090 | 0.257 | 0.600 | 21 | 0.575 | False |
| D4_training_data_49989_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.095 | 0.172 | 0.080 | 0.214 | 0.808 | 6 | 0.233 | False |
| D4_training_data_49989_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.120 | 0.145 | 0.087 | 0.222 | 0.661 | 10 | 0.760 | False |
| D4_training_data_49990_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.094 | 0.163 | 0.100 | 0.232 | 0.725 | 7 | 0.225 | False |
| D4_training_data_49990_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.118 | 0.125 | 0.118 | 0.258 | 0.491 | 24 | 1.000 | False |
| D4_training_data_49990_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.114 | 0.142 | 0.093 | 0.231 | 0.614 | 29 | 0.780 | False |
| D4_training_data_49990_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.111 | 0.151 | 0.084 | 0.200 | 1.049 | 9 | 0.265 | False |
| D4_training_data_49993_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.108 | 0.132 | 0.096 | 0.207 | 0.645 | 11 | 0.220 | False |
| D4_training_data_49993_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.102 | 0.153 | 0.089 | 0.181 | 0.787 | 9 | 0.378 | False |
| D4_training_data_49993_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.111 | 0.143 | 0.093 | 0.212 | 0.684 | 35 | 1.000 | False |
| D4_training_data_49993_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.112 | 0.124 | 0.088 | 0.200 | 0.660 | 10 | 0.318 | False |
| D4_training_data_49994_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.126 | 0.103 | 0.092 | 0.216 | 0.476 | 10 | 0.351 | False |
| D4_training_data_49994_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.124 | 0.113 | 0.080 | 0.183 | 0.622 | 14 | 0.610 | False |
| D4_training_data_49994_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.117 | 0.103 | 0.091 | 0.195 | 0.543 | 32 | 0.988 | False |
| D4_training_data_49994_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.123 | 0.106 | 0.089 | 0.212 | 0.502 | 8 | 0.255 | False |
| D4_training_data_49995_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.116 | 0.154 | 0.084 | 0.348 | 0.453 | 15 | 0.296 | False |
| D4_training_data_49995_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 46 | 0.116 | 0.140 | 0.093 | 0.258 | 0.564 | 46 | 0.877 | False |
| D4_training_data_49995_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 37 | 0.112 | 0.149 | 0.097 | 0.295 | 0.516 | 37 | 0.773 | False |
| D4_training_data_49995_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.117 | 0.138 | 0.092 | 0.280 | 0.500 | 45 | 0.849 | False |
| D4_training_data_49998_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.118 | 0.145 | 0.087 | 0.203 | 0.720 | 24 | 0.325 | False |
| D4_training_data_49998_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.117 | 0.155 | 0.097 | 0.218 | 0.711 | 24 | 0.428 | False |
| D4_training_data_49998_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.114 | 0.145 | 0.092 | 0.208 | 0.700 | 45 | 0.754 | False |
| D4_training_data_49999_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.091 | 0.171 | 0.085 | 0.251 | 0.669 | 8 | 0.163 | False |
| D4_training_data_49999_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.097 | 0.163 | 0.086 | 0.224 | 0.758 | 14 | 0.218 | False |
| D4_training_data_49999_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.112 | 0.150 | 0.089 | 0.214 | 0.712 | 24 | 0.453 | False |
| D4_training_data_49999_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.102 | 0.158 | 0.093 | 0.216 | 0.734 | 11 | 0.207 | False |
| D4_training_data_50001_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.114 | 0.160 | 0.089 | 0.232 | 0.630 | 7 | 0.294 | False |
| D4_training_data_50001_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.115 | 0.162 | 0.094 | 0.248 | 0.622 | 10 | 0.343 | False |
| D4_training_data_50001_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.112 | 0.166 | 0.088 | 0.225 | 0.710 | 10 | 0.514 | False |
| D4_training_data_50001_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.118 | 0.168 | 0.093 | 0.257 | 0.662 | 13 | 1.000 | False |
| D4_training_data_50004_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.091 | 0.160 | 0.088 | 0.198 | 0.814 | 5 | 0.089 | False |
| D4_training_data_50004_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.105 | 0.184 | 0.087 | 0.198 | 0.932 | 5 | 0.092 | False |
| D4_training_data_50004_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.100 | 0.156 | 0.088 | 0.221 | 0.711 | 5 | 0.087 | False |
| D4_training_data_50005_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.092 | 0.128 | 0.071 | 0.142 | 0.905 | 11 | 0.215 | False |
| D4_training_data_50006_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.109 | 0.158 | 0.083 | 0.196 | 0.828 | 10 | 0.171 | False |
| D4_training_data_50006_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.088 | 0.188 | 0.080 | 0.256 | 0.679 | 5 | 0.109 | False |
| D4_training_data_50007_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.055 | 0.177 | 0.074 | 0.197 | 0.783 | 5 | 0.078 | False |
| D4_training_data_50007_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.089 | 0.163 | 0.057 | 0.183 | 0.890 | 7 | 0.126 | False |
| D4_training_data_50007_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 61 | 0.113 | 0.138 | 0.099 | 0.178 | 0.790 | 60 | 1.000 | False |
| D4_training_data_50007_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.105 | 0.142 | 0.087 | 0.179 | 0.764 | 12 | 0.251 | False |
| D4_training_data_50008_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 37 | 0.111 | 0.131 | 0.096 | 0.234 | 0.564 | 38 | 0.720 | False |
| D4_training_data_50008_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.110 | 0.125 | 0.095 | 0.214 | 0.597 | 24 | 0.480 | False |
| D4_training_data_50008_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.107 | 0.133 | 0.097 | 0.197 | 0.684 | 29 | 0.516 | False |
| D4_training_data_50008_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.118 | 0.122 | 0.095 | 0.209 | 0.589 | 54 | 1.000 | False |
| D4_training_data_50009_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.102 | 0.124 | 0.096 | 0.140 | 0.890 | 11 | 0.272 | False |
| D4_training_data_50012_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.064 | 0.124 | 0.061 | 0.155 | 0.818 | 10 | 0.185 | False |
| D4_training_data_50014_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.098 | 0.111 | 0.089 | 0.167 | 0.664 | 7 | 0.185 | False |
| D4_training_data_50014_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.094 | 0.114 | 0.086 | 0.146 | 0.786 | 7 | 0.297 | False |
| D4_training_data_50014_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.102 | 0.103 | 0.083 | 0.145 | 0.715 | 12 | 0.456 | False |
| D4_training_data_50014_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.103 | 0.105 | 0.090 | 0.149 | 0.705 | 23 | 0.724 | False |
| D4_training_data_50015_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.114 | 0.130 | 0.097 | 0.239 | 0.546 | 14 | 0.268 | False |
| D4_training_data_50015_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.098 | 0.160 | 0.086 | 0.213 | 0.759 | 7 | 0.132 | False |
| D4_training_data_50015_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.120 | 0.132 | 0.091 | 0.215 | 0.620 | 46 | 0.850 | False |
| D4_training_data_50015_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.119 | 0.130 | 0.090 | 0.204 | 0.641 | 37 | 0.658 | False |
| D4_training_data_50017_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 45 | 0.116 | 0.161 | 0.107 | 0.379 | 0.428 | 46 | 1.000 | False |
| D4_training_data_50017_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.121 | 0.147 | 0.096 | 0.334 | 0.434 | 41 | 1.000 | False |
| D4_training_data_50017_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.114 | 0.150 | 0.100 | 0.315 | 0.463 | 14 | 0.330 | False |
| D4_training_data_50017_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.116 | 0.156 | 0.092 | 0.373 | 0.421 | 36 | 0.879 | False |
| D4_training_data_50018_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.085 | 0.132 | 0.078 | 0.163 | 0.817 | 6 | 0.143 | False |
| D4_training_data_50018_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.084 | 0.134 | 0.088 | 0.151 | 0.894 | 6 | 0.112 | False |
| D4_training_data_50023_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.114 | 0.142 | 0.093 | 0.214 | 0.673 | 9 | 0.193 | False |
| D4_training_data_50023_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 57 | 0.117 | 0.143 | 0.102 | 0.188 | 0.767 | 56 | 1.000 | False |
| D4_training_data_50023_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.112 | 0.131 | 0.091 | 0.177 | 0.743 | 21 | 0.359 | False |
| D4_training_data_50023_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.113 | 0.160 | 0.090 | 0.222 | 0.704 | 12 | 0.240 | False |
| D4_training_data_50026_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 57 | 0.122 | 0.161 | 0.103 | 0.212 | 0.846 | 56 | 1.000 | False |
| D4_training_data_50026_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.087 | 0.150 | 0.092 | 0.197 | 0.777 | 5 | 0.153 | False |
| D4_training_data_50027_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.081 | 0.126 | 0.075 | 0.173 | 0.733 | 6 | 0.090 | False |
| D4_training_data_50027_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.100 | 0.122 | 0.090 | 0.168 | 0.728 | 8 | 0.124 | False |
| D4_training_data_50029_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.114 | 0.153 | 0.098 | 0.245 | 0.636 | 12 | 0.240 | False |
| D4_training_data_50029_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.131 | 0.136 | 0.108 | 0.200 | 0.692 | 16 | 0.254 | False |
| D4_training_data_50029_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.117 | 0.148 | 0.095 | 0.214 | 0.698 | 45 | 0.854 | False |
| D4_training_data_50029_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.108 | 0.163 | 0.090 | 0.210 | 0.776 | 8 | 0.150 | False |
| D4_training_data_50030_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.100 | 0.190 | 0.089 | 0.349 | 0.613 | 6 | 0.225 | False |
| D4_training_data_50030_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.117 | 0.160 | 0.123 | 0.363 | 0.468 | 20 | 1.000 | False |
| D4_training_data_50030_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.120 | 0.180 | 0.131 | 0.361 | 0.514 | 19 | 1.000 | False |
| D4_training_data_50032_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.104 | 0.145 | 0.096 | 0.223 | 0.666 | 27 | 1.000 | False |
| D4_training_data_50032_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.100 | 0.150 | 0.093 | 0.233 | 0.647 | 6 | 0.235 | False |
| D4_training_data_50032_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.112 | 0.155 | 0.085 | 0.204 | 0.766 | 5 | 0.208 | False |
| D4_training_data_50034_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.073 | 0.121 | 0.057 | 0.139 | 0.878 | 8 | 0.083 | False |
| D4_training_data_50034_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.049 | 0.145 | 0.039 | 0.144 | 1.013 | 7 | 0.070 | False |
| D4_training_data_50037_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.095 | 0.178 | 0.110 | 0.192 | 0.892 | 8 | 0.157 | False |
| D4_training_data_50037_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.067 | 0.179 | 0.041 | 0.219 | 0.832 | 4 | 0.074 | False |
| D4_training_data_50043_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.098 | 0.164 | 0.091 | 0.274 | 0.584 | 11 | 0.264 | False |
| D4_training_data_50043_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.108 | 0.173 | 0.098 | 0.239 | 0.725 | 34 | 0.880 | False |
| D4_training_data_50043_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.110 | 0.179 | 0.097 | 0.238 | 0.742 | 15 | 0.252 | False |
| D4_training_data_50047_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 52 | 0.113 | 0.152 | 0.095 | 0.211 | 0.729 | 52 | 0.954 | False |
| D4_training_data_50047_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.107 | 0.156 | 0.097 | 0.243 | 0.647 | 15 | 0.307 | False |
| D4_training_data_50047_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.106 | 0.162 | 0.096 | 0.208 | 0.785 | 5 | 0.095 | False |
| D4_training_data_50048_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.117 | 0.168 | 0.105 | 0.298 | 0.573 | 13 | 0.179 | False |
| D4_training_data_50048_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.108 | 0.175 | 0.113 | 0.375 | 0.469 | 17 | 0.405 | False |
| D4_training_data_50048_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.113 | 0.170 | 0.106 | 0.350 | 0.489 | 16 | 0.375 | False |
| D4_training_data_50049_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.132 | 0.170 | 0.105 | 0.302 | 0.606 | 5 | 0.165 | False |
| D4_training_data_50049_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.110 | 0.202 | 0.091 | 0.365 | 0.559 | 10 | 0.263 | False |
| D4_training_data_50049_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.108 | 0.180 | 0.114 | 0.331 | 0.553 | 27 | 0.799 | False |
| D4_training_data_50049_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.117 | 0.186 | 0.102 | 0.348 | 0.553 | 30 | 0.838 | False |
| D4_training_data_50053_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.091 | 0.163 | 0.077 | 0.285 | 0.669 | 5 | 0.067 | False |
| D4_training_data_50053_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.118 | 0.137 | 0.097 | 0.238 | 0.582 | 14 | 0.234 | False |
| D4_training_data_50053_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.114 | 0.142 | 0.099 | 0.251 | 0.569 | 34 | 0.607 | False |
| D4_training_data_50054_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 35 | 0.118 | 0.130 | 0.093 | 0.225 | 0.599 | 35 | 0.853 | False |
| D4_training_data_50054_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.112 | 0.138 | 0.095 | 0.228 | 0.619 | 28 | 0.757 | False |
| D4_training_data_50054_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 38 | 0.122 | 0.127 | 0.103 | 0.197 | 0.650 | 37 | 1.000 | False |
| D4_training_data_50054_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.117 | 0.132 | 0.089 | 0.183 | 0.759 | 13 | 0.331 | False |
| D4_training_data_50056_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.103 | 0.155 | 0.090 | 0.240 | 0.653 | 8 | 0.151 | False |
| D4_training_data_50056_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.120 | 0.122 | 0.096 | 0.227 | 0.547 | 18 | 0.338 | False |
| D4_training_data_50056_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.133 | 0.117 | 0.091 | 0.273 | 0.437 | 15 | 0.297 | False |
| D4_training_data_50056_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.121 | 0.149 | 0.089 | 0.239 | 0.627 | 11 | 0.218 | False |
| D4_training_data_50057_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.116 | 0.186 | 0.096 | 0.423 | 0.449 | 22 | 0.735 | False |
| D4_training_data_50057_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.112 | 0.178 | 0.115 | 0.414 | 0.444 | 12 | 0.600 | False |
| D4_training_data_50057_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.120 | 0.191 | 0.097 | 0.457 | 0.423 | 15 | 0.625 | False |
| D4_training_data_50061_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.090 | 0.105 | 0.077 | 0.163 | 0.649 | 8 | 0.114 | False |
| D4_training_data_50061_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.099 | 0.086 | 0.070 | 0.132 | 0.657 | 10 | 0.116 | False |
| D4_training_data_50061_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.111 | 0.100 | 0.083 | 0.152 | 0.659 | 43 | 0.622 | False |
| D4_training_data_50061_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.103 | 0.094 | 0.083 | 0.149 | 0.636 | 13 | 0.170 | False |
| D4_training_data_50066_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.055 | 0.106 | 0.093 | 0.123 | 1.035 | 5 | 0.068 | False |
| D4_training_data_50066_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.063 | 0.141 | 0.057 | 0.105 | 1.356 | 7 | 0.078 | False |
| D4_training_data_50067_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.114 | 0.144 | 0.091 | 0.221 | 0.667 | 16 | 0.292 | False |
| D4_training_data_50067_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.111 | 0.127 | 0.095 | 0.204 | 0.627 | 8 | 0.141 | False |
| D4_training_data_50067_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.113 | 0.135 | 0.090 | 0.211 | 0.648 | 33 | 0.576 | False |
| D4_training_data_50070_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.119 | 0.129 | 0.097 | 0.254 | 0.516 | 20 | 0.396 | False |
| D4_training_data_50070_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 42 | 0.117 | 0.135 | 0.092 | 0.265 | 0.517 | 42 | 0.832 | False |
| D4_training_data_50070_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.111 | 0.139 | 0.101 | 0.272 | 0.527 | 34 | 0.712 | False |
| D4_training_data_50070_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.120 | 0.136 | 0.095 | 0.269 | 0.520 | 46 | 0.930 | False |
| D4_training_data_50072_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.118 | 0.187 | 0.102 | 0.521 | 0.385 | 9 | 0.267 | False |
| D4_training_data_50072_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.116 | 0.156 | 0.092 | 0.276 | 0.580 | 5 | 0.093 | False |
| D4_training_data_50072_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.121 | 0.184 | 0.097 | 0.463 | 0.459 | 24 | 0.663 | False |
| D4_training_data_50074_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.113 | 0.112 | 0.097 | 0.207 | 0.549 | 29 | 0.519 | False |
| D4_training_data_50074_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.070 | 0.194 | 0.070 | 0.156 | 1.247 | 5 | 0.080 | False |
| D4_training_data_50074_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 56 | 0.112 | 0.110 | 0.093 | 0.191 | 0.588 | 56 | 0.963 | False |
| D4_training_data_50074_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.112 | 0.114 | 0.089 | 0.186 | 0.621 | 25 | 0.420 | False |
| D4_training_data_50075_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.054 | 0.141 | 0.040 | 0.133 | 1.066 | 7 | 0.091 | False |
| D4_training_data_50075_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.054 | 0.138 | 0.046 | 0.128 | 1.082 | 6 | 0.058 | False |
| D4_training_data_50076_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.108 | 0.137 | 0.095 | 0.189 | 0.758 | 23 | 0.478 | False |
| D4_training_data_50076_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.108 | 0.131 | 0.085 | 0.165 | 0.796 | 11 | 0.194 | False |
| D4_training_data_50076_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.107 | 0.132 | 0.093 | 0.157 | 0.859 | 36 | 0.692 | False |
| D4_training_data_50076_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 49 | 0.111 | 0.125 | 0.090 | 0.152 | 0.825 | 48 | 0.816 | False |
| D4_training_data_50077_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.093 | 0.131 | 0.089 | 0.155 | 0.863 | 10 | 0.182 | False |
| D4_training_data_50078_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.104 | 0.152 | 0.092 | 0.345 | 0.449 | 5 | 0.126 | False |
| D4_training_data_50078_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.107 | 0.171 | 0.087 | 0.273 | 0.633 | 9 | 0.199 | False |
| D4_training_data_50078_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.116 | 0.149 | 0.098 | 0.285 | 0.533 | 19 | 0.418 | False |
| D4_training_data_50078_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.114 | 0.154 | 0.097 | 0.287 | 0.547 | 32 | 0.706 | False |
| D4_training_data_50079_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.084 | 0.139 | 0.098 | 0.173 | 0.718 | 6 | 0.123 | False |
| D4_training_data_50079_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.079 | 0.145 | 0.120 | 0.256 | 0.579 | 44 | 1.000 | False |
| D4_training_data_50079_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.106 | 0.139 | 0.100 | 0.172 | 0.748 | 6 | 0.148 | False |
| D4_training_data_50080_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.115 | 0.125 | 0.090 | 0.155 | 0.814 | 12 | 0.210 | False |
| D4_training_data_50080_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.104 | 0.131 | 0.093 | 0.162 | 0.853 | 17 | 0.309 | False |
| D4_training_data_50080_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.107 | 0.125 | 0.094 | 0.162 | 0.778 | 35 | 0.649 | False |
| D4_training_data_50080_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.111 | 0.127 | 0.082 | 0.160 | 0.770 | 11 | 0.229 | False |
| D4_training_data_50085_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.106 | 0.114 | 0.094 | 0.175 | 0.628 | 17 | 0.536 | False |
| D4_training_data_50085_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.105 | 0.114 | 0.091 | 0.146 | 0.757 | 13 | 0.264 | False |
| D4_training_data_50085_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.110 | 0.112 | 0.093 | 0.151 | 0.748 | 39 | 0.922 | False |
| D4_training_data_50085_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.114 | 0.105 | 0.089 | 0.163 | 0.652 | 40 | 0.963 | False |
| D4_training_data_50086_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.111 | 0.125 | 0.091 | 0.197 | 0.637 | 14 | 0.243 | False |
| D4_training_data_50086_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.114 | 0.121 | 0.090 | 0.193 | 0.631 | 25 | 0.424 | False |
| D4_training_data_50086_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.121 | 0.105 | 0.084 | 0.201 | 0.519 | 46 | 0.783 | False |
| D4_training_data_50089_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.118 | 0.172 | 0.101 | 0.289 | 0.598 | 32 | 0.892 | False |
| D4_training_data_50089_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.100 | 0.172 | 0.112 | 0.291 | 0.526 | 5 | 0.139 | False |
| D4_training_data_50089_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.107 | 0.173 | 0.090 | 0.284 | 0.558 | 6 | 0.149 | False |
| D4_training_data_50092_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.110 | 0.173 | 0.103 | 0.291 | 0.539 | 6 | 0.147 | False |
| D4_training_data_50092_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.121 | 0.166 | 0.100 | 0.262 | 0.634 | 25 | 0.567 | False |
| D4_training_data_50092_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.116 | 0.166 | 0.101 | 0.291 | 0.561 | 14 | 0.367 | False |
| D4_training_data_50092_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.118 | 0.162 | 0.097 | 0.282 | 0.582 | 36 | 0.869 | False |
| D4_training_data_50094_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.118 | 0.198 | 0.098 | 0.334 | 0.557 | 10 | 0.251 | False |
| D4_training_data_50094_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.123 | 0.186 | 0.100 | 0.316 | 0.563 | 7 | 0.166 | False |
| D4_training_data_50094_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.125 | 0.181 | 0.094 | 0.304 | 0.605 | 29 | 0.645 | False |
| D4_training_data_50096_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.120 | 0.148 | 0.098 | 0.257 | 0.544 | 8 | 0.185 | False |
| D4_training_data_50096_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.115 | 0.154 | 0.092 | 0.248 | 0.610 | 26 | 0.570 | False |
| D4_training_data_50096_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.116 | 0.144 | 0.097 | 0.270 | 0.537 | 24 | 0.590 | False |
| D4_training_data_50096_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.132 | 0.134 | 0.102 | 0.267 | 0.488 | 10 | 0.232 | False |
| D4_training_data_50099_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 43 | 0.129 | 0.139 | 0.092 | 0.268 | 0.518 | 43 | 0.934 | False |
| D4_training_data_50099_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.106 | 0.103 | 0.122 | 0.297 | 0.357 | 28 | 0.616 | False |
| D4_training_data_50099_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.114 | 0.107 | 0.113 | 0.287 | 0.374 | 35 | 0.734 | False |
| D4_training_data_50100_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.109 | 0.161 | 0.091 | 0.196 | 0.812 | 18 | 0.312 | False |
| D4_training_data_50100_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.108 | 0.166 | 0.094 | 0.184 | 0.865 | 10 | 0.147 | False |
| D4_training_data_50103_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 47 | 0.121 | 0.126 | 0.108 | 0.237 | 0.538 | 46 | 1.000 | False |
| D4_training_data_50103_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.119 | 0.135 | 0.086 | 0.205 | 0.660 | 17 | 0.335 | False |
| D4_training_data_50103_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.124 | 0.126 | 0.100 | 0.214 | 0.589 | 45 | 1.000 | False |
| D4_training_data_50103_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 47 | 0.116 | 0.137 | 0.102 | 0.203 | 0.691 | 46 | 1.000 | False |
| D4_training_data_50104_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.126 | 0.159 | 0.109 | 0.349 | 0.443 | 14 | 0.380 | False |
| D4_training_data_50104_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.124 | 0.170 | 0.101 | 0.351 | 0.481 | 33 | 0.852 | False |
| D4_training_data_50104_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.125 | 0.165 | 0.103 | 0.346 | 0.468 | 30 | 0.784 | False |
| D4_training_data_50104_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.119 | 0.169 | 0.096 | 0.348 | 0.486 | 27 | 0.715 | False |
| D4_training_data_50105_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.125 | 0.183 | 0.098 | 0.423 | 0.445 | 35 | 1.000 | False |
| D4_training_data_50105_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.123 | 0.180 | 0.111 | 0.414 | 0.462 | 23 | 1.000 | False |
| D4_training_data_50105_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.129 | 0.181 | 0.097 | 0.402 | 1.098 | 36 | 1.000 | False |
| D4_training_data_50109_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.114 | 0.149 | 0.090 | 0.338 | 0.410 | 7 | 0.167 | False |
| D4_training_data_50109_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.130 | 0.116 | 0.087 | 0.311 | 0.371 | 27 | 0.583 | False |
| D4_training_data_50109_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.124 | 0.127 | 0.092 | 0.285 | 0.446 | 42 | 0.896 | False |
| D4_training_data_50109_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.124 | 0.124 | 0.089 | 0.278 | 0.442 | 37 | 0.785 | False |
| D4_training_data_50111_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 47 | 0.114 | 0.195 | 0.108 | 0.237 | 0.845 | 48 | 1.000 | False |
| D4_training_data_50111_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.119 | 0.197 | 0.100 | 0.250 | 0.793 | 44 | 0.954 | False |
| D4_training_data_50111_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.124 | 0.198 | 0.103 | 0.230 | 0.868 | 48 | 1.000 | False |
| D4_training_data_50111_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 47 | 0.124 | 0.194 | 0.106 | 0.227 | 0.874 | 47 | 1.000 | False |
| D4_training_data_50113_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.113 | 0.153 | 0.100 | 0.247 | 0.579 | 6 | 0.206 | False |
| D4_training_data_50113_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.120 | 0.166 | 0.094 | 0.223 | 0.714 | 10 | 0.194 | False |
| D4_training_data_50113_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.111 | 0.160 | 0.111 | 0.223 | 0.721 | 19 | 0.518 | False |
| D4_training_data_50113_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.116 | 0.153 | 0.098 | 0.243 | 0.615 | 17 | 0.376 | False |
| D4_training_data_50115_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 54 | 0.133 | 0.131 | 0.096 | 0.185 | 0.711 | 53 | 1.000 | False |
| D4_training_data_50115_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 50 | 0.120 | 0.124 | 0.097 | 0.197 | 0.630 | 50 | 1.000 | False |
| D4_training_data_50115_PV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 52 | 0.097 | 0.140 | 0.073 | 0.213 | 0.659 | 52 | 0.944 | False |
| D4_training_data_50115_PV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 52 | 0.114 | 0.121 | 0.093 | 0.193 | 0.625 | 52 | 1.000 | False |
| D4_training_data_50115_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.103 | 0.136 | 0.093 | 0.182 | 0.664 | 6 | 0.099 | False |
| D4_training_data_50115_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.113 | 0.138 | 0.097 | 0.208 | 0.657 | 25 | 0.494 | False |
| D4_training_data_50116_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.120 | 0.140 | 0.107 | 0.299 | 0.459 | 11 | 0.273 | False |
| D4_training_data_50116_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.125 | 0.147 | 0.093 | 0.200 | 0.720 | 12 | 0.241 | False |
| D4_training_data_50116_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.113 | 0.166 | 0.100 | 0.263 | 0.625 | 17 | 0.399 | False |
| D4_training_data_50116_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.116 | 0.156 | 0.101 | 0.319 | 0.493 | 19 | 0.474 | False |
| D4_training_data_50117_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.123 | 0.152 | 0.096 | 0.292 | 0.535 | 44 | 1.000 | False |
| D4_training_data_50117_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.118 | 0.159 | 0.100 | 0.292 | 0.542 | 39 | 0.931 | False |
| D4_training_data_50117_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.116 | 0.160 | 0.100 | 0.257 | 0.572 | 5 | 0.116 | False |
| D4_training_data_50118_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.115 | 0.116 | 0.083 | 0.171 | 0.684 | 22 | 0.366 | False |
| D4_training_data_50118_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.114 | 0.128 | 0.093 | 0.197 | 0.652 | 51 | 0.940 | False |
| D4_training_data_50118_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 52 | 0.112 | 0.126 | 0.089 | 0.198 | 0.653 | 53 | 1.000 | False |
| D4_training_data_50119_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.112 | 0.164 | 0.092 | 0.340 | 0.450 | 5 | 0.124 | False |
| D4_training_data_50121_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.114 | 0.119 | 0.092 | 0.187 | 0.632 | 26 | 0.425 | False |
| D4_training_data_50121_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.116 | 0.125 | 0.087 | 0.184 | 0.665 | 23 | 0.318 | False |
| D4_training_data_50122_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.115 | 0.161 | 0.097 | 0.214 | 0.752 | 44 | 0.891 | False |
| D4_training_data_50122_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.108 | 0.156 | 0.104 | 0.211 | 0.739 | 16 | 0.338 | False |
| D4_training_data_50122_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.119 | 0.144 | 0.099 | 0.209 | 0.669 | 16 | 0.330 | False |
| D4_training_data_50123_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.088 | 0.148 | 0.092 | 0.151 | 0.970 | 5 | 0.074 | False |
| D4_training_data_50125_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.129 | 0.172 | 0.093 | 0.311 | 0.556 | 26 | 0.898 | False |
| D4_training_data_50125_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.116 | 0.163 | 0.102 | 0.301 | 0.545 | 36 | 0.895 | False |
| D4_training_data_50125_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 38 | 0.123 | 0.166 | 0.096 | 0.310 | 0.551 | 38 | 0.898 | False |
| D4_training_data_50126_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.124 | 0.089 | 0.124 | 0.155 | 0.569 | 14 | 0.255 | False |
| D4_training_data_50126_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.110 | 0.120 | 0.087 | 0.147 | 0.765 | 6 | 0.098 | False |
| D4_training_data_50126_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.100 | 0.119 | 0.095 | 0.151 | 0.794 | 44 | 1.000 | False |
| D4_training_data_50126_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.105 | 0.117 | 0.088 | 0.159 | 0.731 | 40 | 0.777 | False |
| D4_training_data_50127_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.106 | 0.112 | 0.085 | 0.149 | 0.749 | 20 | 0.345 | False |
| D4_training_data_50127_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 56 | 0.102 | 0.123 | 0.089 | 0.132 | 0.937 | 56 | 0.826 | False |
| D4_training_data_50127_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.073 | 0.154 | 0.069 | 0.140 | 1.037 | 7 | 0.161 | False |
| D4_training_data_50127_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.104 | 0.115 | 0.090 | 0.141 | 0.817 | 27 | 0.612 | False |
| D4_training_data_50128_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 43 | 0.119 | 0.141 | 0.098 | 0.263 | 0.544 | 43 | 0.958 | False |
| D4_training_data_50128_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.123 | 0.148 | 0.097 | 0.228 | 0.643 | 24 | 0.487 | False |
| D4_training_data_50128_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.117 | 0.153 | 0.095 | 0.278 | 0.511 | 8 | 0.188 | False |
| D4_training_data_50128_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.119 | 0.144 | 0.095 | 0.250 | 0.564 | 16 | 0.350 | False |
| D4_training_data_50129_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.093 | 0.133 | 0.083 | 0.188 | 0.669 | 6 | 0.187 | False |
| D4_training_data_50129_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.109 | 0.127 | 0.092 | 0.151 | 0.822 | 18 | 0.420 | False |
| D4_training_data_50129_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.110 | 0.163 | 0.097 | 0.145 | 1.032 | 6 | 0.145 | False |
| D4_training_data_50129_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.105 | 0.126 | 0.097 | 0.170 | 0.729 | 30 | 0.763 | False |
| D4_training_data_50133_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.088 | 0.106 | 0.080 | 0.109 | 0.964 | 7 | 0.083 | False |
| D4_training_data_50136_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 45 | 0.115 | 0.077 | 0.073 | 0.150 | 0.509 | 45 | 0.570 | False |
| D4_training_data_50136_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.118 | 0.071 | 0.069 | 0.150 | 0.467 | 26 | 0.334 | False |
| D4_training_data_50137_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.112 | 0.157 | 0.095 | 0.246 | 0.645 | 24 | 0.508 | False |
| D4_training_data_50137_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.116 | 0.162 | 0.099 | 0.261 | 0.641 | 40 | 1.000 | False |
| D4_training_data_50137_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.121 | 0.159 | 0.099 | 0.261 | 0.627 | 27 | 0.609 | False |
| D4_training_data_50138_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.086 | 0.217 | 0.093 | 0.116 | 1.819 | 10 | 0.173 | False |
| D4_training_data_50138_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 61 | 0.114 | 0.120 | 0.090 | 0.183 | 0.654 | 60 | 1.000 | False |
| D4_training_data_50141_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.084 | 0.143 | 0.068 | 0.150 | 0.824 | 5 | 0.079 | False |
| D4_training_data_50142_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.093 | 0.123 | 0.081 | 0.179 | 0.662 | 9 | 0.121 | False |
| D4_training_data_50142_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.111 | 0.130 | 0.089 | 0.165 | 0.771 | 18 | 0.304 | False |
| D4_training_data_50143_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.111 | 0.146 | 0.103 | 0.210 | 0.674 | 7 | 0.156 | False |
| D4_training_data_50143_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.113 | 0.160 | 0.091 | 0.206 | 0.736 | 9 | 0.194 | False |
| D4_training_data_50145_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.099 | 0.150 | 0.081 | 0.162 | 0.939 | 8 | 0.115 | False |
| D4_training_data_50146_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.051 | 0.100 | 0.090 | 0.149 | 0.681 | 7 | 0.071 | False |
| D4_training_data_50149_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.087 | 0.163 | 0.083 | 0.288 | 0.533 | 6 | 0.065 | False |
| D4_training_data_50149_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.101 | 0.155 | 0.082 | 0.243 | 0.626 | 6 | 0.421 | False |
| D4_training_data_50150_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.111 | 0.113 | 0.091 | 0.180 | 0.635 | 18 | 0.323 | False |
| D4_training_data_50150_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 54 | 0.115 | 0.119 | 0.094 | 0.182 | 0.660 | 53 | 0.930 | False |
| D4_training_data_50150_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 55 | 0.113 | 0.113 | 0.098 | 0.169 | 0.787 | 55 | 1.000 | False |
| D4_training_data_50150_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 61 | 0.113 | 0.120 | 0.098 | 0.186 | 0.656 | 61 | 1.000 | False |
| D4_training_data_50151_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.106 | 0.151 | 0.088 | 0.213 | 0.705 | 17 | 0.386 | False |
| D4_training_data_50152_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.104 | 0.120 | 0.086 | 0.169 | 0.682 | 10 | 0.134 | False |
| D4_training_data_50152_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.098 | 0.117 | 0.075 | 0.135 | 0.805 | 8 | 0.104 | False |
| D4_training_data_50153_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.106 | 0.126 | 0.086 | 0.204 | 0.613 | 5 | 0.092 | False |
| D4_training_data_50153_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.105 | 0.133 | 0.087 | 0.214 | 0.625 | 6 | 0.078 | False |
| D4_training_data_50155_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 48 | 0.107 | 0.136 | 0.093 | 0.233 | 0.582 | 47 | 0.892 | False |
| D4_training_data_50155_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.097 | 0.134 | 0.119 | 0.185 | 0.728 | 51 | 0.900 | False |
| D4_training_data_50155_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.076 | 0.151 | 0.071 | 0.157 | 0.938 | 6 | 0.105 | False |
| D4_training_data_50159_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.120 | 0.173 | 0.099 | 0.367 | 0.464 | 21 | 1.000 | False |
| D4_training_data_50159_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.120 | 0.158 | 0.116 | 0.416 | 0.378 | 32 | 0.921 | False |
| D4_training_data_50159_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.123 | 0.162 | 0.103 | 0.393 | 0.390 | 8 | 0.228 | False |
| D4_training_data_50160_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.124 | 0.203 | 0.100 | 0.561 | 0.329 | 8 | 0.334 | False |
| D4_training_data_50160_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.123 | 0.194 | 0.109 | 0.646 | 0.291 | 14 | 0.815 | False |
| D4_training_data_50160_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.131 | 0.194 | 0.097 | 0.566 | 0.306 | 7 | 0.288 | False |
| D4_training_data_50161_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.118 | 0.134 | 0.100 | 0.180 | 0.708 | 9 | 0.167 | False |
| D4_training_data_50161_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 38 | 0.114 | 0.146 | 0.095 | 0.242 | 0.615 | 38 | 0.799 | False |
| D4_training_data_50161_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.116 | 0.159 | 0.103 | 0.280 | 0.577 | 15 | 0.386 | False |
| D4_training_data_50164_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.109 | 0.134 | 0.086 | 0.158 | 0.820 | 7 | 0.115 | False |
| D4_training_data_50164_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.109 | 0.135 | 0.095 | 0.190 | 0.687 | 15 | 0.271 | False |
| D4_training_data_50164_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.107 | 0.133 | 0.103 | 0.179 | 0.669 | 6 | 0.099 | False |
| D4_training_data_50165_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.086 | 0.125 | 0.079 | 0.091 | 1.388 | 5 | 0.064 | False |
| D4_training_data_50165_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.100 | 0.130 | 0.082 | 0.134 | 0.952 | 9 | 0.133 | False |
| D4_training_data_50165_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.089 | 0.139 | 0.064 | 0.137 | 1.044 | 5 | 0.316 | False |
| D4_training_data_50166_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.089 | 0.116 | 0.079 | 0.132 | 0.913 | 14 | 0.146 | False |
| D4_training_data_50168_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.116 | 0.165 | 0.092 | 0.230 | 0.691 | 11 | 0.303 | False |
| D4_training_data_50168_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.120 | 0.178 | 0.104 | 0.254 | 0.651 | 6 | 0.356 | False |
| D4_training_data_50168_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.120 | 0.153 | 0.102 | 0.235 | 0.634 | 9 | 0.266 | False |
| D4_training_data_50174_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.098 | 0.125 | 0.098 | 0.140 | 0.901 | 5 | 0.139 | False |
| D4_training_data_50174_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.111 | 0.126 | 0.096 | 0.135 | 0.929 | 7 | 0.245 | False |
| D4_training_data_50174_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.110 | 0.102 | 0.096 | 0.148 | 0.689 | 11 | 0.498 | False |
| D4_training_data_50174_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.129 | 0.094 | 0.095 | 0.152 | 0.627 | 7 | 0.229 | False |
| D4_training_data_50204_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.083 | 0.133 | 0.080 | 0.122 | 1.044 | 6 | 0.085 | False |
| D4_training_data_50204_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.080 | 0.140 | 0.080 | 0.166 | 0.782 | 5 | 0.148 | False |
| D4_training_data_50204_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.048 | 0.171 | 0.051 | 0.169 | 1.015 | 5 | 0.064 | False |
| D4_training_data_50206_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.131 | 0.172 | 0.119 | 0.330 | 0.522 | 20 | 0.798 | False |
| D4_training_data_50206_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.133 | 0.177 | 0.140 | 0.304 | 0.603 | 29 | 1.000 | False |
| D4_training_data_50206_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.116 | 0.171 | 0.095 | 0.300 | 0.599 | 29 | 1.000 | False |
| D4_training_data_50207_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.067 | 0.143 | 0.060 | 0.131 | 1.106 | 6 | 0.081 | False |
| D4_training_data_50207_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.078 | 0.132 | 0.061 | 0.137 | 0.967 | 5 | 0.069 | False |
| D4_training_data_50209_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.105 | 0.109 | 0.107 | 0.297 | 0.372 | 33 | 0.702 | False |
| D4_training_data_50209_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.101 | 0.135 | 0.105 | 0.274 | 0.496 | 23 | 0.427 | False |
| D4_training_data_50209_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.092 | 0.091 | 0.110 | 0.317 | 0.289 | 14 | 0.323 | False |
| D4_training_data_50209_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 47 | 0.114 | 0.104 | 0.099 | 0.299 | 0.349 | 47 | 0.916 | False |
| D4_training_data_50210_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.117 | 0.140 | 0.113 | 0.260 | 0.555 | 6 | 0.124 | False |
| D4_training_data_50210_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.095 | 0.186 | 0.076 | 0.242 | 0.801 | 5 | 0.177 | False |
| D4_training_data_50210_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.120 | 0.147 | 0.092 | 0.285 | 0.529 | 8 | 0.186 | False |
| D4_training_data_50210_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.116 | 0.140 | 0.099 | 0.275 | 0.519 | 39 | 0.786 | False |
| D4_training_data_50210_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.108 | 0.140 | 0.096 | 0.284 | 0.499 | 10 | 0.218 | False |
| D4_training_data_50213_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 48 | 0.108 | 0.130 | 0.126 | 0.165 | 0.793 | 48 | 0.841 | False |
| D4_training_data_50213_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.103 | 0.164 | 0.096 | 0.191 | 0.861 | 10 | 0.195 | False |
| D4_training_data_50213_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.102 | 0.153 | 0.098 | 0.178 | 0.865 | 27 | 0.490 | False |
| D4_training_data_50213_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.103 | 0.153 | 0.090 | 0.184 | 1.034 | 29 | 0.526 | False |
| D4_training_data_50214_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.091 | 0.120 | 0.080 | 0.151 | 0.804 | 6 | 0.088 | False |
| D4_training_data_50214_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.087 | 0.133 | 0.075 | 0.138 | 0.966 | 12 | 0.166 | False |
| D4_training_data_50216_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 34 | 0.114 | 0.148 | 0.098 | 0.256 | 0.590 | 34 | 0.656 | False |
| D4_training_data_50216_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.119 | 0.154 | 0.100 | 0.278 | 0.560 | 37 | 0.782 | False |
| D4_training_data_50216_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.114 | 0.148 | 0.102 | 0.277 | 0.540 | 45 | 0.940 | False |
| D4_training_data_50216_Phc_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | Phc | True | 5 | 0.112 | 0.151 | 0.089 | 0.285 | 0.537 | 5 | 0.561 | False |
| D4_training_data_50216_Phc_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | Phc | True | 32 | 0.112 | 0.164 | 0.097 | 0.296 | 0.559 | 32 | 0.809 | False |
| D4_training_data_50217_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 39 | 0.130 | 0.099 | 0.117 | 0.455 | 0.222 | 39 | 1.000 | False |
| D4_training_data_50217_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.113 | 0.183 | 0.093 | 0.333 | 0.548 | 6 | 0.147 | False |
| D4_training_data_50218_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 27 | 0.110 | 0.137 | 0.130 | 0.244 | 0.571 | 27 | 0.731 | False |
| D4_training_data_50218_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.112 | 0.155 | 0.095 | 0.211 | 0.740 | 30 | 0.714 | False |
| D4_training_data_50218_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.113 | 0.147 | 0.102 | 0.213 | 0.698 | 9 | 0.310 | False |
| D4_training_data_50218_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.109 | 0.158 | 0.089 | 0.269 | 0.593 | 11 | 0.408 | False |
| D4_training_data_50219_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.090 | 0.116 | 0.092 | 0.172 | 0.695 | 5 | 0.067 | False |
| D4_training_data_50219_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.103 | 0.122 | 0.090 | 0.108 | 1.151 | 5 | 0.069 | False |
| D4_training_data_50219_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.097 | 0.118 | 0.090 | 0.163 | 0.733 | 21 | 0.610 | False |
| D4_training_data_50220_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.080 | 0.152 | 0.064 | 0.191 | 0.796 | 6 | 0.098 | False |
| D4_training_data_50220_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.116 | 0.113 | 0.056 | 0.191 | 0.594 | 6 | 0.081 | False |
| D4_training_data_50221_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.110 | 0.134 | 0.089 | 0.177 | 0.775 | 14 | 0.208 | False |
| D4_training_data_50221_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.114 | 0.130 | 0.087 | 0.170 | 0.782 | 33 | 0.466 | False |
| D4_training_data_50222_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.117 | 0.212 | 0.099 | 0.348 | 0.614 | 31 | 0.751 | False |
| D4_training_data_50222_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.117 | 0.210 | 0.097 | 0.364 | 0.579 | 14 | 0.316 | False |
| D4_training_data_50225_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 39 | 0.116 | 0.156 | 0.097 | 0.356 | 0.443 | 39 | 0.862 | False |
| D4_training_data_50225_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 51 | 0.116 | 0.133 | 0.095 | 0.236 | 0.572 | 51 | 0.946 | False |
| D4_training_data_50225_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.113 | 0.139 | 0.100 | 0.306 | 0.458 | 42 | 0.981 | False |
| D4_training_data_50225_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 56 | 0.118 | 0.137 | 0.098 | 0.280 | 0.496 | 56 | 0.924 | False |
| D4_training_data_50228_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 65 | 0.116 | 0.108 | 0.109 | 0.147 | 0.750 | 65 | 1.000 | False |
| D4_training_data_50228_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 79 | 0.115 | 0.118 | 0.100 | 0.156 | 0.758 | 79 | 1.000 | False |
| D4_training_data_50229_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.107 | 0.108 | 0.106 | 0.218 | 0.500 | 40 | 0.904 | False |
| D4_training_data_50229_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.117 | 0.098 | 0.101 | 0.213 | 0.467 | 31 | 0.836 | False |
| D4_training_data_50229_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.074 | 0.152 | 0.065 | 0.236 | 0.646 | 8 | 0.213 | False |
| D4_training_data_50229_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.114 | 0.110 | 0.092 | 0.225 | 0.492 | 12 | 1.000 | False |
| D4_training_data_50230_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.082 | 0.141 | 0.078 | 0.209 | 0.677 | 6 | 0.104 | False |
| D4_training_data_50230_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.110 | 0.130 | 0.093 | 0.185 | 0.701 | 34 | 0.436 | False |
| D4_training_data_50230_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 48 | 0.115 | 0.125 | 0.093 | 0.201 | 0.626 | 48 | 0.926 | False |
| D4_training_data_50230_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.109 | 0.135 | 0.090 | 0.193 | 0.701 | 20 | 0.357 | False |
| D4_training_data_50231_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.111 | 0.122 | 0.094 | 0.202 | 0.608 | 19 | 0.320 | False |
| D4_training_data_50231_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 43 | 0.111 | 0.124 | 0.095 | 0.194 | 0.645 | 43 | 0.742 | False |
| D4_training_data_50231_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 50 | 0.117 | 0.126 | 0.094 | 0.201 | 0.630 | 50 | 0.870 | False |
| D4_training_data_50231_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.116 | 0.125 | 0.091 | 0.219 | 0.574 | 36 | 0.647 | False |
| D4_training_data_50233_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.086 | 0.146 | 0.066 | 0.301 | 0.490 | 7 | 0.142 | False |
| D4_training_data_50233_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.130 | 0.079 | 0.088 | 0.258 | 0.310 | 29 | 0.525 | False |
| D4_training_data_50233_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.116 | 0.100 | 0.100 | 0.252 | 0.402 | 32 | 0.603 | False |
| D4_training_data_50233_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.106 | 0.100 | 0.107 | 0.253 | 0.398 | 22 | 0.419 | False |
| D4_training_data_50238_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.130 | 0.137 | 0.130 | 0.373 | 0.371 | 6 | 0.286 | False |
| D4_training_data_50238_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.140 | 0.192 | 0.102 | 0.408 | 0.474 | 25 | 1.000 | False |
| D4_training_data_50238_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.123 | 0.183 | 0.135 | 0.453 | 0.432 | 21 | 1.000 | False |
| D4_training_data_50238_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.124 | 0.214 | 0.184 | 0.392 | 0.579 | 22 | 1.000 | False |
| D4_training_data_50239_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.094 | 0.140 | 0.076 | 0.202 | 0.633 | 6 | 0.116 | False |
| D4_training_data_50239_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 56 | 0.111 | 0.122 | 0.091 | 0.182 | 0.714 | 56 | 1.000 | False |
| D4_training_data_50239_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.100 | 0.133 | 0.093 | 0.157 | 0.810 | 6 | 0.087 | False |
| D4_training_data_50239_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 54 | 0.117 | 0.118 | 0.092 | 0.180 | 0.656 | 54 | 0.989 | False |
| D4_training_data_50241_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.098 | 0.132 | 0.089 | 0.158 | 0.844 | 29 | 0.453 | False |
| D4_training_data_50244_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.117 | 0.108 | 0.108 | 0.298 | 0.364 | 8 | 0.150 | False |
| D4_training_data_50244_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.115 | 0.128 | 0.094 | 0.219 | 0.585 | 18 | 0.314 | False |
| D4_training_data_50244_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.114 | 0.109 | 0.090 | 0.238 | 0.464 | 34 | 0.630 | False |
| D4_training_data_50244_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.114 | 0.115 | 0.096 | 0.249 | 0.468 | 9 | 0.165 | False |
| D4_training_data_50247_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.102 | 0.143 | 0.094 | 0.172 | 0.840 | 7 | 0.138 | False |
| D4_training_data_50247_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.080 | 0.156 | 0.044 | 0.167 | 0.849 | 5 | 0.072 | False |
| D4_training_data_50247_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.083 | 0.150 | 0.084 | 0.158 | 0.936 | 9 | 0.142 | False |
| D4_training_data_50248_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.089 | 0.185 | 0.070 | 0.370 | 0.509 | 5 | 0.181 | False |
| D4_training_data_50249_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.065 | 0.134 | 0.065 | 0.121 | 1.123 | 7 | 0.174 | False |
| D4_training_data_50249_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.076 | 0.126 | 0.068 | 0.142 | 0.891 | 10 | 0.222 | False |
| D4_training_data_50249_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.067 | 0.135 | 0.064 | 0.106 | 1.283 | 7 | 0.085 | False |
| D4_training_data_50250_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.111 | 0.163 | 0.090 | 0.230 | 0.719 | 6 | 0.132 | False |
| D4_training_data_50250_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.118 | 0.140 | 0.092 | 0.184 | 0.761 | 31 | 1.000 | False |
| D4_training_data_50250_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.099 | 0.149 | 0.103 | 0.222 | 0.679 | 20 | 0.395 | False |
| D4_training_data_50250_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.117 | 0.146 | 0.094 | 0.237 | 0.624 | 14 | 0.417 | False |
| D4_training_data_50250_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.117 | 0.146 | 0.094 | 0.192 | 0.775 | 39 | 0.943 | False |
| D4_training_data_50251_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.095 | 0.115 | 0.087 | 0.166 | 0.694 | 16 | 0.241 | False |
| D4_training_data_50251_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.111 | 0.097 | 0.083 | 0.140 | 0.701 | 7 | 0.114 | False |
| D4_training_data_50254_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 48 | 0.109 | 0.145 | 0.093 | 0.214 | 0.690 | 48 | 0.888 | False |
| D4_training_data_50254_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.102 | 0.149 | 0.096 | 0.200 | 0.750 | 22 | 0.417 | False |
| D4_training_data_50254_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.108 | 0.148 | 0.092 | 0.197 | 0.780 | 49 | 0.963 | False |
| D4_training_data_50254_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.113 | 0.152 | 0.096 | 0.192 | 0.823 | 24 | 0.420 | False |
| D4_training_data_50255_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.062 | 0.166 | 0.056 | 0.162 | 0.940 | 6 | 0.090 | False |
| D4_training_data_50255_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.099 | 0.139 | 0.079 | 0.147 | 0.882 | 5 | 0.073 | False |
| D4_training_data_50256_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.112 | 0.182 | 0.099 | 0.343 | 0.553 | 22 | 0.548 | False |
| D4_training_data_50256_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.120 | 0.181 | 0.095 | 0.319 | 0.572 | 19 | 1.000 | False |
| D4_training_data_50256_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.114 | 0.178 | 0.114 | 0.376 | 0.476 | 17 | 0.461 | False |
| D4_training_data_50256_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.118 | 0.180 | 0.098 | 0.355 | 0.531 | 36 | 0.923 | False |
| D4_training_data_50258_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.083 | 0.234 | 0.074 | 0.253 | 0.928 | 6 | 0.113 | False |
| D4_training_data_50258_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.104 | 0.177 | 0.072 | 0.303 | 0.584 | 6 | 1.000 | False |
| D4_training_data_50258_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.113 | 0.162 | 0.098 | 0.271 | 0.600 | 11 | 0.379 | False |
| D4_training_data_50260_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.109 | 0.151 | 0.096 | 0.256 | 0.616 | 14 | 0.283 | False |
| D4_training_data_50260_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.119 | 0.145 | 0.089 | 0.230 | 0.655 | 22 | 0.439 | False |
| D4_training_data_50260_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.108 | 0.145 | 0.095 | 0.188 | 0.778 | 13 | 0.245 | False |
| D4_training_data_50260_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.110 | 0.145 | 0.097 | 0.238 | 0.618 | 8 | 0.161 | False |
| D4_training_data_50261_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.107 | 0.128 | 0.095 | 0.223 | 0.575 | 8 | 0.151 | False |
| D4_training_data_50261_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.115 | 0.143 | 0.096 | 0.226 | 0.638 | 48 | 0.817 | False |
| D4_training_data_50261_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.108 | 0.150 | 0.095 | 0.232 | 0.659 | 26 | 0.487 | False |
| D4_training_data_50261_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.112 | 0.138 | 0.098 | 0.208 | 0.673 | 45 | 0.808 | False |
| D4_training_data_50263_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.101 | 0.130 | 0.087 | 0.245 | 0.540 | 10 | 0.305 | False |
| D4_training_data_50263_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.116 | 0.137 | 0.092 | 0.221 | 0.631 | 31 | 0.878 | False |
| D4_training_data_50263_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.117 | 0.128 | 0.095 | 0.222 | 0.581 | 26 | 0.744 | False |
| D4_training_data_50263_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.112 | 0.142 | 0.095 | 0.269 | 0.535 | 13 | 0.875 | False |
| D4_training_data_50263_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.115 | 0.138 | 0.095 | 0.262 | 0.543 | 26 | 1.000 | False |
| D4_training_data_50264_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.093 | 0.130 | 0.080 | 0.151 | 0.824 | 6 | 0.099 | False |
| D4_training_data_50264_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.097 | 0.123 | 0.097 | 0.133 | 0.935 | 6 | 0.101 | False |
| D4_training_data_50271_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.099 | 0.159 | 0.086 | 0.265 | 0.615 | 11 | 0.265 | False |
| D4_training_data_50271_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 45 | 0.114 | 0.148 | 0.094 | 0.219 | 0.679 | 45 | 0.878 | False |
| D4_training_data_50271_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.109 | 0.150 | 0.095 | 0.233 | 0.662 | 27 | 0.551 | False |
| D4_training_data_50271_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.114 | 0.138 | 0.095 | 0.220 | 0.628 | 8 | 0.167 | False |
| D4_training_data_50272_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.115 | 0.165 | 0.089 | 0.327 | 0.554 | 10 | 0.240 | False |
| D4_training_data_50272_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.119 | 0.160 | 0.094 | 0.321 | 0.526 | 16 | 0.363 | False |
| D4_training_data_50272_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 44 | 0.116 | 0.149 | 0.096 | 0.293 | 0.536 | 44 | 0.894 | False |
| D4_training_data_50272_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.111 | 0.164 | 0.098 | 0.339 | 0.490 | 20 | 0.494 | False |
| D4_training_data_50273_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.098 | 0.139 | 0.093 | 0.179 | 0.779 | 16 | 0.285 | False |
| D4_training_data_50273_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.106 | 0.143 | 0.094 | 0.186 | 0.780 | 13 | 0.230 | False |
| D4_training_data_50273_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.096 | 0.149 | 0.083 | 0.163 | 0.923 | 13 | 0.211 | False |
| D4_training_data_50273_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.106 | 0.132 | 0.095 | 0.176 | 0.762 | 33 | 0.573 | False |
| D4_training_data_50275_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.115 | 0.168 | 0.066 | 0.330 | 0.519 | 6 | 0.149 | False |
| D4_training_data_50275_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.120 | 0.167 | 0.097 | 0.281 | 0.606 | 11 | 0.251 | False |
| D4_training_data_50275_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.112 | 0.161 | 0.100 | 0.304 | 0.541 | 33 | 0.798 | False |
| D4_training_data_50275_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.120 | 0.164 | 0.091 | 0.374 | 0.440 | 9 | 0.238 | False |
| D4_training_data_50276_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.115 | 0.154 | 0.095 | 0.281 | 0.566 | 22 | 0.487 | False |
| D4_training_data_50276_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 43 | 0.128 | 0.151 | 0.088 | 0.250 | 0.616 | 43 | 0.936 | False |
| D4_training_data_50276_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.112 | 0.160 | 0.101 | 0.273 | 0.605 | 43 | 0.962 | False |
| D4_training_data_50276_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.120 | 0.145 | 0.096 | 0.261 | 0.573 | 15 | 0.320 | False |
| D4_training_data_50277_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.167 | 0.143 | 0.119 | 0.765 | 0.172 | 5 | 0.310 | False |
| D4_training_data_50277_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.120 | 0.217 | 0.103 | 0.741 | 0.267 | 7 | 0.395 | False |
| D4_training_data_50277_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.109 | 0.233 | 0.111 | 0.730 | 0.311 | 16 | 0.959 | False |
| D4_training_data_50277_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.124 | 0.225 | 0.101 | 0.778 | 0.286 | 16 | 0.926 | False |
| D4_training_data_50278_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.104 | 0.167 | 0.091 | 0.294 | 0.546 | 9 | 0.225 | False |
| D4_training_data_50278_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.116 | 0.169 | 0.098 | 0.282 | 0.594 | 28 | 0.585 | False |
| D4_training_data_50278_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.106 | 0.188 | 0.100 | 0.257 | 0.768 | 10 | 0.235 | False |
| D4_training_data_50278_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.112 | 0.158 | 0.088 | 0.272 | 0.577 | 17 | 0.411 | False |
| D4_training_data_50280_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.097 | 0.169 | 0.089 | 0.104 | 1.488 | 7 | 0.132 | False |
| D4_training_data_50280_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.113 | 0.131 | 0.097 | 0.188 | 0.661 | 7 | 0.139 | False |
| D4_training_data_50280_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.092 | 0.116 | 0.100 | 0.163 | 0.675 | 5 | 0.068 | False |
| D4_training_data_50281_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.120 | 0.207 | 0.094 | 0.342 | 0.603 | 36 | 0.854 | False |
| D4_training_data_50281_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.112 | 0.202 | 0.092 | 0.316 | 0.610 | 8 | 0.192 | False |
| D4_training_data_50281_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.104 | 0.226 | 0.094 | 0.355 | 0.600 | 6 | 0.165 | False |
| D4_training_data_50284_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.112 | 0.149 | 0.103 | 0.267 | 0.557 | 31 | 0.674 | False |
| D4_training_data_50284_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.112 | 0.167 | 0.097 | 0.295 | 0.590 | 23 | 0.509 | False |
| D4_training_data_50284_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 41 | 0.117 | 0.151 | 0.103 | 0.243 | 0.618 | 41 | 0.944 | False |
| D4_training_data_50284_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.114 | 0.144 | 0.096 | 0.247 | 0.590 | 45 | 0.958 | False |
| D4_training_data_50285_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.065 | 0.118 | 0.052 | 0.104 | 1.174 | 5 | 0.059 | False |
| D4_training_data_50289_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.128 | 0.155 | 0.090 | 0.323 | 0.479 | 21 | 0.527 | False |
| D4_training_data_50289_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.099 | 0.167 | 0.080 | 0.279 | 0.563 | 8 | 0.178 | False |
| D4_training_data_50289_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.119 | 0.161 | 0.095 | 0.332 | 0.475 | 16 | 0.454 | False |
| D4_training_data_50289_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.060 | 0.216 | 0.047 | 0.339 | 0.588 | 5 | 0.121 | False |
| D4_training_data_50291_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.082 | 0.138 | 0.080 | 0.122 | 1.122 | 6 | 0.089 | False |
| D4_training_data_50291_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.079 | 0.143 | 0.062 | 0.122 | 1.126 | 5 | 0.121 | False |
| D4_training_data_50291_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.088 | 0.134 | 0.078 | 0.143 | 0.941 | 18 | 0.291 | False |
| D4_training_data_50295_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.124 | 0.236 | 0.092 | 0.302 | 0.731 | 5 | 0.137 | False |
| D4_training_data_50295_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.123 | 0.199 | 0.103 | 0.329 | 0.563 | 8 | 0.166 | False |
| D4_training_data_50295_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.120 | 0.209 | 0.101 | 0.384 | 0.541 | 35 | 0.921 | False |
| D4_training_data_50295_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.122 | 0.222 | 0.091 | 0.419 | 0.511 | 10 | 0.227 | False |
| D4_training_data_50296_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.088 | 0.225 | 0.089 | 0.250 | 0.924 | 7 | 0.165 | False |
| D4_training_data_50296_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.120 | 0.180 | 0.096 | 0.217 | 0.789 | 10 | 0.216 | False |
| D4_training_data_50296_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.112 | 0.168 | 0.104 | 0.230 | 0.689 | 5 | 0.114 | False |
| D4_training_data_50296_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.108 | 0.168 | 0.092 | 0.216 | 0.708 | 5 | 0.086 | False |
| D4_training_data_50297_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.112 | 0.160 | 0.092 | 0.255 | 0.638 | 9 | 0.221 | False |
| D4_training_data_50297_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.128 | 0.148 | 0.088 | 0.259 | 0.566 | 28 | 0.666 | False |
| D4_training_data_50297_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.113 | 0.155 | 0.100 | 0.279 | 0.562 | 35 | 0.850 | False |
| D4_training_data_50297_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.121 | 0.152 | 0.094 | 0.294 | 0.511 | 31 | 0.808 | False |
| D4_training_data_50298_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.118 | 0.186 | 0.100 | 0.350 | 0.509 | 8 | 0.183 | False |
| D4_training_data_50298_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.106 | 0.210 | 0.094 | 0.429 | 0.474 | 10 | 0.291 | False |
| D4_training_data_50298_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.121 | 0.185 | 0.101 | 0.340 | 0.492 | 6 | 0.169 | False |
| D4_training_data_50299_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.098 | 0.175 | 0.078 | 0.266 | 0.630 | 9 | 0.186 | False |
| D4_training_data_50299_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.120 | 0.177 | 0.085 | 0.269 | 0.645 | 8 | 0.184 | False |
| D4_training_data_50299_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.115 | 0.136 | 0.094 | 0.202 | 0.667 | 16 | 0.284 | False |
| D4_training_data_50299_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.127 | 0.136 | 0.093 | 0.237 | 0.541 | 9 | 0.182 | False |
| D4_training_data_50300_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.076 | 0.142 | 0.074 | 0.142 | 0.988 | 7 | 0.110 | False |
| D4_training_data_50300_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.082 | 0.140 | 0.073 | 0.147 | 0.884 | 5 | 0.084 | False |
| D4_training_data_50303_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.099 | 0.148 | 0.085 | 0.171 | 0.879 | 11 | 0.232 | False |
| D4_training_data_50303_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.049 | 0.198 | 0.041 | 0.193 | 0.977 | 8 | 0.170 | False |
| D4_training_data_50303_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.066 | 0.167 | 0.063 | 0.178 | 0.864 | 6 | 0.246 | False |
| D4_training_data_50304_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.092 | 0.200 | 0.094 | 0.197 | 0.942 | 5 | 0.167 | False |
| D4_training_data_50306_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.108 | 0.146 | 0.094 | 0.247 | 0.570 | 13 | 0.283 | False |
| D4_training_data_50306_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.110 | 0.142 | 0.093 | 0.204 | 0.703 | 9 | 0.172 | False |
| D4_training_data_50306_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.115 | 0.155 | 0.086 | 0.218 | 0.702 | 32 | 0.641 | False |
| D4_training_data_50306_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 49 | 0.119 | 0.135 | 0.090 | 0.215 | 0.628 | 49 | 0.944 | False |
| D4_training_data_50311_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.112 | 0.177 | 0.085 | 0.300 | 0.590 | 8 | 0.187 | False |
| D4_training_data_50311_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.107 | 0.157 | 0.093 | 0.255 | 0.568 | 6 | 0.128 | False |
| D4_training_data_50311_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.113 | 0.153 | 0.102 | 0.290 | 0.489 | 7 | 0.164 | False |
| D4_training_data_50312_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.096 | 0.176 | 0.100 | 0.220 | 0.787 | 10 | 0.200 | False |
| D4_training_data_50312_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.116 | 0.153 | 0.100 | 0.287 | 0.530 | 16 | 0.565 | False |
| D4_training_data_50312_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.116 | 0.165 | 0.095 | 0.302 | 0.537 | 15 | 0.337 | False |
| D4_training_data_50312_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.114 | 0.154 | 0.092 | 0.237 | 0.635 | 13 | 0.243 | False |
| D4_training_data_50314_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.092 | 0.168 | 0.088 | 0.141 | 1.088 | 5 | 0.084 | False |
| D4_training_data_50314_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 52 | 0.118 | 0.120 | 0.116 | 0.155 | 0.772 | 51 | 0.845 | False |
| D4_training_data_50314_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.095 | 0.165 | 0.093 | 0.133 | 1.200 | 11 | 0.195 | False |
| D4_training_data_50314_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.071 | 0.164 | 0.080 | 0.174 | 0.880 | 5 | 0.086 | False |
| D4_training_data_50316_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 63 | 0.113 | 0.097 | 0.114 | 0.198 | 0.501 | 62 | 1.000 | False |
| D4_training_data_50316_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.081 | 0.157 | 0.082 | 0.143 | 1.058 | 7 | 0.112 | False |
| D4_training_data_50317_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.110 | 0.168 | 0.100 | 0.345 | 0.491 | 25 | 0.582 | False |
| D4_training_data_50317_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.117 | 0.137 | 0.096 | 0.250 | 0.552 | 40 | 0.835 | False |
| D4_training_data_50317_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 38 | 0.120 | 0.122 | 0.095 | 0.226 | 0.537 | 38 | 0.833 | False |
| D4_training_data_50318_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.109 | 0.171 | 0.103 | 0.272 | 0.660 | 30 | 0.690 | False |
| D4_training_data_50318_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.119 | 0.172 | 0.098 | 0.214 | 0.818 | 44 | 0.953 | False |
| D4_training_data_50318_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.113 | 0.167 | 0.111 | 0.202 | 0.826 | 10 | 0.231 | False |
| D4_training_data_50318_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.109 | 0.173 | 0.107 | 0.238 | 0.757 | 9 | 0.200 | False |
| D4_training_data_50319_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.112 | 0.151 | 0.093 | 0.282 | 0.522 | 9 | 0.365 | False |
| D4_training_data_50319_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.111 | 0.167 | 0.098 | 0.246 | 0.678 | 16 | 0.330 | False |
| D4_training_data_50319_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.112 | 0.161 | 0.107 | 0.250 | 0.630 | 20 | 0.535 | False |
| D4_training_data_50319_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 60 | 0.126 | 0.129 | 0.099 | 0.289 | 0.449 | 60 | 0.957 | False |
| D4_training_data_50321_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.081 | 0.133 | 0.073 | 0.165 | 0.778 | 9 | 0.080 | False |
| D4_training_data_50321_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.094 | 0.138 | 0.080 | 0.173 | 0.790 | 12 | 0.194 | False |
| D4_training_data_50321_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.082 | 0.133 | 0.063 | 0.126 | 0.989 | 5 | 0.409 | False |
| D4_training_data_50321_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.099 | 0.141 | 0.079 | 0.159 | 0.830 | 8 | 0.112 | False |
| D4_training_data_50323_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.114 | 0.140 | 0.094 | 0.215 | 0.658 | 13 | 0.243 | False |
| D4_training_data_50323_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.113 | 0.161 | 0.091 | 0.213 | 0.753 | 22 | 0.317 | False |
| D4_training_data_50323_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.112 | 0.163 | 0.093 | 0.207 | 0.788 | 31 | 0.483 | False |
| D4_training_data_50323_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.128 | 0.146 | 0.086 | 0.200 | 0.720 | 26 | 0.484 | False |
| D4_training_data_50325_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.087 | 0.118 | 0.092 | 0.193 | 0.606 | 6 | 0.146 | False |
| D4_training_data_50325_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.105 | 0.113 | 0.080 | 0.138 | 0.772 | 9 | 0.210 | False |
| D4_training_data_50325_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.110 | 0.107 | 0.088 | 0.169 | 0.641 | 45 | 1.000 | False |
| D4_training_data_50325_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.110 | 0.103 | 0.085 | 0.162 | 0.654 | 25 | 0.582 | False |
| D4_training_data_50326_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 51 | 0.120 | 0.122 | 0.094 | 0.205 | 0.614 | 51 | 1.000 | False |
| D4_training_data_50326_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 56 | 0.118 | 0.118 | 0.089 | 0.184 | 0.654 | 56 | 1.000 | False |
| D4_training_data_50326_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 52 | 0.120 | 0.119 | 0.090 | 0.205 | 0.745 | 52 | 1.000 | False |
| D4_training_data_50326_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.119 | 0.120 | 0.085 | 0.179 | 0.696 | 55 | 1.000 | False |
| D4_training_data_50327_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.113 | 0.169 | 0.098 | 0.364 | 0.442 | 9 | 0.237 | False |
| D4_training_data_50327_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.096 | 0.180 | 0.088 | 0.277 | 0.610 | 6 | 0.124 | False |
| D4_training_data_50327_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.109 | 0.163 | 0.097 | 0.260 | 0.598 | 7 | 0.269 | False |
| D4_training_data_50327_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.105 | 0.164 | 0.091 | 0.293 | 0.575 | 18 | 0.438 | False |
| D4_training_data_50330_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.084 | 0.153 | 0.042 | 0.154 | 0.974 | 5 | 0.075 | False |
| D4_training_data_50330_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.077 | 0.160 | 0.069 | 0.132 | 1.112 | 6 | 0.092 | False |
| D4_training_data_50331_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.103 | 0.144 | 0.083 | 0.333 | 0.383 | 5 | 0.213 | False |
| D4_training_data_50331_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.099 | 0.143 | 0.065 | 0.311 | 0.401 | 6 | 0.170 | False |
| D4_training_data_50331_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.087 | 0.159 | 0.061 | 0.308 | 0.481 | 5 | 0.132 | False |
| D4_training_data_50331_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.100 | 0.125 | 0.088 | 0.285 | 0.408 | 8 | 0.208 | False |
| D4_training_data_50332_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.063 | 0.145 | 0.059 | 0.149 | 0.897 | 6 | 0.080 | False |
| D4_training_data_50332_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.076 | 0.116 | 0.059 | 0.161 | 0.740 | 6 | 0.044 | False |
| D4_training_data_50334_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.117 | 0.185 | 0.097 | 0.406 | 0.446 | 24 | 0.639 | False |
| D4_training_data_50334_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.121 | 0.177 | 0.094 | 0.390 | 0.443 | 18 | 0.401 | False |
| D4_training_data_50334_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.115 | 0.190 | 0.100 | 0.362 | 0.496 | 12 | 0.305 | False |
| D4_training_data_50334_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.114 | 0.186 | 0.100 | 0.385 | 0.460 | 7 | 0.179 | False |
| D4_training_data_50335_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.104 | 0.145 | 0.089 | 0.172 | 0.778 | 9 | 0.162 | False |
| D4_training_data_50335_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.098 | 0.142 | 0.088 | 0.152 | 0.904 | 14 | 0.222 | False |
| D4_training_data_50336_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 51 | 0.121 | 0.160 | 0.098 | 0.187 | 0.858 | 51 | 1.000 | False |
| D4_training_data_50336_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 47 | 0.129 | 0.155 | 0.104 | 0.191 | 0.815 | 46 | 1.000 | False |
| D4_training_data_50336_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 52 | 0.137 | 0.147 | 0.101 | 0.191 | 0.779 | 51 | 1.000 | False |
| D4_training_data_50337_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.119 | 0.201 | 0.098 | 0.340 | 0.582 | 22 | 0.586 | False |
| D4_training_data_50337_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.111 | 0.201 | 0.104 | 0.382 | 0.516 | 30 | 0.862 | False |
| D4_training_data_50337_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.118 | 0.184 | 0.099 | 0.327 | 0.548 | 16 | 0.426 | False |
| D4_training_data_50339_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.117 | 0.133 | 0.098 | 0.286 | 0.460 | 30 | 0.652 | False |
| D4_training_data_50339_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 39 | 0.117 | 0.151 | 0.103 | 0.288 | 0.527 | 39 | 0.887 | False |
| D4_training_data_50339_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.114 | 0.145 | 0.107 | 0.268 | 0.541 | 42 | 0.927 | False |
| D4_training_data_50339_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 41 | 0.111 | 0.142 | 0.100 | 0.295 | 0.481 | 40 | 0.915 | False |
| D4_training_data_50341_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.080 | 0.115 | 0.059 | 0.132 | 0.845 | 8 | 0.144 | False |
| D4_training_data_50341_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.077 | 0.117 | 0.069 | 0.117 | 1.014 | 6 | 0.068 | False |
| D4_training_data_50342_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.078 | 0.149 | 0.058 | 0.168 | 0.860 | 6 | 0.143 | False |
| D4_training_data_50342_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.077 | 0.139 | 0.085 | 0.170 | 0.827 | 6 | 0.143 | False |
| D4_training_data_50343_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 51 | 0.120 | 0.105 | 0.105 | 0.239 | 0.440 | 51 | 1.000 | False |
| D4_training_data_50343_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 53 | 0.121 | 0.131 | 0.099 | 0.197 | 0.676 | 53 | 1.000 | False |
| D4_training_data_50343_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 54 | 0.116 | 0.129 | 0.117 | 0.193 | 0.770 | 53 | 1.000 | False |
| D4_training_data_50343_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 64 | 0.127 | 0.114 | 0.123 | 0.186 | 0.612 | 63 | 1.000 | False |
| D4_training_data_50345_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.132 | 0.148 | 0.118 | 0.178 | 0.832 | 12 | 0.219 | False |
| D4_training_data_50345_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.121 | 0.144 | 0.122 | 0.188 | 0.768 | 50 | 1.000 | False |
| D4_training_data_50345_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 43 | 0.113 | 0.152 | 0.093 | 0.198 | 0.792 | 42 | 0.778 | False |
| D4_training_data_50348_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.101 | 0.142 | 0.090 | 0.310 | 0.477 | 8 | 1.000 | False |
| D4_training_data_50348_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 45 | 0.134 | 0.144 | 0.104 | 0.252 | 0.583 | 44 | 1.000 | False |
| D4_training_data_50348_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.122 | 0.181 | 0.112 | 0.232 | 0.782 | 43 | 1.000 | False |
| D4_training_data_50348_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.125 | 0.150 | 0.137 | 0.260 | 0.583 | 40 | 1.000 | False |
| D4_training_data_50348_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.129 | 0.156 | 0.114 | 0.236 | 0.646 | 44 | 1.000 | False |
| D4_training_data_50349_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 35 | 0.101 | 0.223 | 0.117 | 0.351 | 0.647 | 35 | 0.882 | False |
| D4_training_data_50349_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.112 | 0.209 | 0.100 | 0.343 | 0.594 | 9 | 0.237 | False |
| D4_training_data_50349_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.125 | 0.202 | 0.094 | 0.361 | 0.587 | 13 | 0.304 | False |
| D4_training_data_50349_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.136 | 0.204 | 0.106 | 0.388 | 0.535 | 35 | 1.000 | False |
| D4_training_data_50350_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 50 | 0.131 | 0.148 | 0.123 | 0.367 | 0.416 | 49 | 1.000 | False |
| D4_training_data_50350_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.124 | 0.140 | 0.108 | 0.330 | 0.567 | 33 | 0.763 | False |
| D4_training_data_50350_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.112 | 0.145 | 0.119 | 0.297 | 0.588 | 35 | 0.759 | False |
| D4_training_data_50350_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 41 | 0.123 | 0.141 | 0.110 | 0.349 | 0.409 | 41 | 1.000 | False |
| D4_training_data_50352_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.117 | 0.181 | 0.097 | 0.392 | 0.477 | 31 | 0.803 | False |
| D4_training_data_50352_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.048 | 0.233 | 0.095 | 0.424 | 0.538 | 21 | 0.565 | False |
| D4_training_data_50352_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.114 | 0.174 | 0.092 | 0.394 | 0.505 | 18 | 1.000 | False |
| D4_training_data_50354_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.102 | 0.140 | 0.102 | 0.278 | 0.483 | 10 | 0.219 | False |
| D4_training_data_50354_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.133 | 0.156 | 0.122 | 0.248 | 0.629 | 44 | 1.000 | False |
| D4_training_data_50354_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 44 | 0.117 | 0.137 | 0.131 | 0.263 | 0.521 | 44 | 0.942 | False |
| D4_training_data_50354_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 47 | 0.111 | 0.153 | 0.098 | 0.277 | 0.571 | 47 | 0.955 | False |
| D4_training_data_50359_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.135 | 0.162 | 0.106 | 0.331 | 0.506 | 41 | 1.000 | False |
| D4_training_data_50359_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 38 | 0.138 | 0.181 | 0.093 | 0.446 | 0.409 | 38 | 1.000 | False |
| D4_training_data_50359_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.106 | 0.184 | 0.092 | 0.406 | 0.437 | 5 | 0.141 | False |
| D4_training_data_50359_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.127 | 0.176 | 0.098 | 0.413 | 0.423 | 28 | 0.681 | False |
| D4_training_data_50375_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.087 | 0.126 | 0.068 | 0.147 | 1.129 | 10 | 0.140 | False |
| D4_training_data_50375_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.094 | 0.120 | 0.081 | 0.140 | 0.890 | 19 | 0.274 | False |
| D4_training_data_50379_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.102 | 0.166 | 0.092 | 0.220 | 0.732 | 10 | 0.200 | False |
| D4_training_data_50379_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 45 | 0.119 | 0.148 | 0.111 | 0.192 | 0.783 | 45 | 0.874 | False |
| D4_training_data_50379_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.110 | 0.144 | 0.111 | 0.204 | 0.727 | 51 | 1.000 | False |
| D4_training_data_50379_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 54 | 0.116 | 0.148 | 0.119 | 0.185 | 0.814 | 53 | 1.000 | False |
| D4_training_data_50384_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.109 | 0.129 | 0.093 | 0.180 | 0.712 | 11 | 0.179 | False |
| D4_training_data_50384_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 59 | 0.120 | 0.107 | 0.112 | 0.153 | 0.720 | 58 | 1.000 | False |
| D4_training_data_50384_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 65 | 0.121 | 0.096 | 0.112 | 0.157 | 0.617 | 64 | 1.000 | False |
| D4_training_data_50384_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.107 | 0.130 | 0.091 | 0.167 | 0.763 | 21 | 0.368 | False |
| D4_training_data_50385_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 54 | 0.114 | 0.155 | 0.095 | 0.244 | 0.698 | 54 | 1.000 | False |
| D4_training_data_50385_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 52 | 0.123 | 0.143 | 0.105 | 0.192 | 0.738 | 51 | 0.890 | False |
| D4_training_data_50385_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.113 | 0.152 | 0.101 | 0.223 | 0.724 | 41 | 0.775 | False |
| D4_training_data_50385_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.125 | 0.128 | 0.103 | 0.172 | 0.747 | 12 | 0.195 | False |
| D4_training_data_50386_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 49 | 0.127 | 0.144 | 0.121 | 0.180 | 0.795 | 48 | 1.000 | False |
| D4_training_data_50386_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.119 | 0.159 | 0.131 | 0.177 | 0.923 | 48 | 1.000 | False |
| D4_training_data_50386_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 53 | 0.117 | 0.155 | 0.128 | 0.181 | 0.860 | 52 | 1.000 | False |
| D4_training_data_50386_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.123 | 0.149 | 0.120 | 0.169 | 0.880 | 54 | 1.000 | False |
| D4_training_data_50388_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 53 | 0.129 | 0.103 | 0.120 | 0.165 | 0.636 | 52 | 1.000 | False |
| D4_training_data_50388_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.103 | 0.133 | 0.090 | 0.173 | 0.758 | 23 | 0.387 | False |
| D4_training_data_50388_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 57 | 0.118 | 0.102 | 0.123 | 0.147 | 0.698 | 57 | 1.000 | False |
| D4_training_data_50388_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 59 | 0.122 | 0.100 | 0.111 | 0.148 | 0.689 | 58 | 1.000 | False |
| D4_training_data_50391_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 53 | 0.132 | 0.098 | 0.115 | 0.174 | 0.566 | 52 | 1.000 | False |
| D4_training_data_50391_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.102 | 0.127 | 0.090 | 0.207 | 0.615 | 10 | 0.202 | False |
| D4_training_data_50391_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 56 | 0.113 | 0.121 | 0.086 | 0.180 | 0.697 | 56 | 1.000 | False |
| D4_training_data_50393_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 46 | 0.133 | 0.109 | 0.113 | 0.288 | 0.372 | 45 | 1.000 | False |
| D4_training_data_50393_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 43 | 0.137 | 0.100 | 0.106 | 0.291 | 0.350 | 42 | 0.886 | False |
| D4_training_data_50393_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.119 | 0.142 | 0.102 | 0.272 | 0.528 | 48 | 1.000 | False |
| D4_training_data_50393_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.112 | 0.156 | 0.112 | 0.223 | 0.647 | 5 | 0.105 | False |
| D4_training_data_50619_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.111 | 0.194 | 0.108 | 0.242 | 0.859 | 25 | 0.539 | False |
| D4_training_data_50619_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.108 | 0.185 | 0.096 | 0.266 | 0.928 | 27 | 0.608 | False |
| D4_training_data_50619_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.099 | 0.201 | 0.100 | 0.301 | 0.690 | 6 | 0.147 | False |
| D4_training_data_50619_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.116 | 0.178 | 0.096 | 0.272 | 0.696 | 36 | 1.000 | False |
| D4_training_data_50620_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 47 | 0.117 | 0.194 | 0.095 | 0.403 | 0.483 | 47 | 0.850 | False |
| D4_training_data_50620_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.119 | 0.195 | 0.091 | 0.440 | 0.444 | 28 | 0.748 | False |
| D4_training_data_50621_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.100 | 0.109 | 0.083 | 0.132 | 0.842 | 22 | 0.317 | False |
| D4_training_data_50624_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.115 | 0.168 | 0.094 | 0.300 | 0.573 | 33 | 0.735 | False |
| D4_training_data_50624_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.105 | 0.172 | 0.098 | 0.290 | 0.600 | 9 | 0.189 | False |
| D4_training_data_50624_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 41 | 0.113 | 0.164 | 0.100 | 0.288 | 0.579 | 41 | 0.923 | False |
| D4_training_data_50624_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.113 | 0.165 | 0.089 | 0.305 | 0.545 | 19 | 0.434 | False |
| D4_training_data_50625_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.080 | 0.123 | 0.058 | 0.131 | 1.001 | 5 | 0.048 | False |
| D4_training_data_50625_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.067 | 0.160 | 0.058 | 0.163 | 0.999 | 8 | 0.123 | False |
| D4_training_data_50626_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.092 | 0.172 | 0.078 | 0.200 | 0.873 | 7 | 0.124 | False |
| D4_training_data_50626_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.084 | 0.118 | 0.096 | 0.165 | 0.728 | 9 | 0.136 | False |
| D4_training_data_50628_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.079 | 0.200 | 0.076 | 0.164 | 1.176 | 5 | 0.091 | False |
| D4_training_data_50628_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.100 | 0.144 | 0.094 | 0.205 | 0.754 | 15 | 0.276 | False |
| D4_training_data_50629_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.089 | 0.101 | 0.069 | 0.121 | 0.850 | 12 | 0.160 | False |
| D4_training_data_50629_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 71 | 0.110 | 0.095 | 0.076 | 0.132 | 0.747 | 71 | 0.960 | False |
| D4_training_data_50631_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.080 | 0.133 | 0.071 | 0.201 | 0.677 | 7 | 0.104 | False |
| D4_training_data_50631_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.107 | 0.124 | 0.096 | 0.182 | 0.717 | 10 | 0.170 | False |
| D4_training_data_50635_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.112 | 0.186 | 0.097 | 0.314 | 0.605 | 32 | 0.386 | False |
| D4_training_data_50635_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.118 | 0.191 | 0.100 | 0.291 | 0.659 | 11 | 0.247 | False |
| D4_training_data_50635_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.124 | 0.177 | 0.094 | 0.271 | 0.670 | 49 | 0.929 | False |
| D4_training_data_50635_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 44 | 0.117 | 0.181 | 0.095 | 0.290 | 0.626 | 44 | 0.955 | False |
| D4_training_data_50636_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.084 | 0.128 | 0.087 | 0.192 | 0.727 | 8 | 0.095 | False |
| D4_training_data_50636_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.081 | 0.123 | 0.082 | 0.125 | 0.954 | 11 | 0.160 | False |
| D4_training_data_50639_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.108 | 0.152 | 0.098 | 0.239 | 0.644 | 32 | 0.666 | False |
| D4_training_data_50639_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.107 | 0.148 | 0.100 | 0.226 | 0.659 | 8 | 0.198 | False |
| D4_training_data_50640_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.101 | 0.179 | 0.081 | 0.209 | 0.868 | 6 | 0.106 | False |
| D4_training_data_50641_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.110 | 0.166 | 0.085 | 0.244 | 0.687 | 10 | 0.215 | False |
| D4_training_data_50641_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.121 | 0.156 | 0.119 | 0.291 | 0.548 | 42 | 1.000 | False |
| D4_training_data_50641_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.107 | 0.183 | 0.093 | 0.298 | 0.628 | 21 | 0.382 | False |
| D4_training_data_50643_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.113 | 0.137 | 0.106 | 0.407 | 0.339 | 18 | 0.458 | False |
| D4_training_data_50643_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 39 | 0.121 | 0.122 | 0.132 | 0.371 | 0.321 | 38 | 0.966 | False |
| D4_training_data_50644_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.114 | 0.133 | 0.107 | 0.167 | 0.797 | 40 | 0.705 | False |
| D4_training_data_50644_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 43 | 0.118 | 0.129 | 0.113 | 0.148 | 0.883 | 43 | 0.718 | False |
| D4_training_data_50645_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.132 | 0.153 | 0.096 | 0.188 | 0.830 | 5 | 0.095 | False |
| D4_training_data_50645_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.106 | 0.142 | 0.081 | 0.199 | 0.714 | 7 | 0.119 | False |
| D4_training_data_50645_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.112 | 0.129 | 0.098 | 0.198 | 0.665 | 40 | 0.705 | False |
| D4_training_data_50645_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 42 | 0.115 | 0.129 | 0.091 | 0.217 | 0.602 | 42 | 0.769 | False |
| D4_training_data_50646_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.072 | 0.144 | 0.066 | 0.153 | 0.951 | 9 | 0.125 | False |
| D4_training_data_50646_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.039 | 0.172 | 0.043 | 0.194 | 0.888 | 7 | 0.093 | False |
| D4_training_data_50647_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 42 | 0.120 | 0.123 | 0.128 | 0.214 | 0.578 | 41 | 0.816 | False |
| D4_training_data_50647_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.113 | 0.168 | 0.095 | 0.282 | 0.628 | 15 | 0.307 | False |
| D4_training_data_50647_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 48 | 0.124 | 0.137 | 0.123 | 0.235 | 0.592 | 48 | 0.996 | False |
| D4_training_data_50647_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.132 | 0.133 | 0.122 | 0.220 | 0.614 | 49 | 1.000 | False |
| D4_training_data_50649_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 44 | 0.126 | 0.100 | 0.113 | 0.258 | 0.388 | 44 | 0.887 | False |
| D4_training_data_50649_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 40 | 0.110 | 0.131 | 0.097 | 0.227 | 0.590 | 40 | 1.000 | False |
| D4_training_data_50649_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 50 | 0.123 | 0.109 | 0.133 | 0.244 | 0.452 | 49 | 1.000 | False |
| D4_training_data_50649_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.138 | 0.115 | 0.102 | 0.213 | 0.582 | 50 | 0.950 | False |
| D4_training_data_50652_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.077 | 0.094 | 0.066 | 0.131 | 0.757 | 5 | 0.066 | False |
| D4_training_data_50652_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.100 | 0.225 | 0.083 | 0.261 | 0.961 | 7 | 0.150 | False |
| D4_training_data_50654_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.100 | 0.138 | 0.087 | 0.172 | 0.802 | 8 | 0.143 | False |
| D4_training_data_50654_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.084 | 0.158 | 0.044 | 0.167 | 0.953 | 6 | 0.102 | False |
| D4_training_data_50654_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.066 | 0.197 | 0.063 | 0.245 | 0.811 | 6 | 0.115 | False |
| D4_training_data_50655_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.093 | 0.142 | 0.097 | 0.162 | 0.852 | 8 | 0.138 | False |
| D4_training_data_50655_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.092 | 0.130 | 0.110 | 0.185 | 0.749 | 5 | 0.080 | False |
| D4_training_data_50656_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.090 | 0.135 | 0.091 | 0.257 | 0.539 | 7 | 0.128 | False |
| D4_training_data_50656_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.124 | 0.123 | 0.110 | 0.197 | 0.629 | 8 | 0.147 | False |
| D4_training_data_50656_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.095 | 0.137 | 0.083 | 0.217 | 0.704 | 11 | 0.208 | False |
| D4_training_data_50656_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.133 | 0.131 | 0.095 | 0.177 | 0.775 | 19 | 0.345 | False |
| D4_training_data_50656_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.122 | 0.125 | 0.116 | 0.287 | 0.582 | 11 | 0.201 | False |
| D4_training_data_50657_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.113 | 0.091 | 0.109 | 0.180 | 0.513 | 16 | 0.265 | False |
| D4_training_data_50657_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.099 | 0.119 | 0.085 | 0.156 | 0.762 | 15 | 0.216 | False |
| D4_training_data_50657_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 70 | 0.105 | 0.118 | 0.093 | 0.144 | 0.830 | 70 | 1.000 | False |
| D4_training_data_50657_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.113 | 0.104 | 0.086 | 0.147 | 0.719 | 31 | 0.442 | False |
| D4_training_data_50658_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.134 | 0.112 | 0.123 | 0.241 | 0.468 | 19 | 0.416 | False |
| D4_training_data_50658_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.117 | 0.137 | 0.083 | 0.176 | 0.767 | 13 | 0.226 | False |
| D4_training_data_50658_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 37 | 0.116 | 0.137 | 0.096 | 0.232 | 0.607 | 37 | 0.663 | False |
| D4_training_data_50658_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 42 | 0.137 | 0.117 | 0.109 | 0.210 | 0.563 | 41 | 0.835 | False |
| D4_training_data_50659_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.101 | 0.107 | 0.086 | 0.145 | 0.764 | 25 | 0.331 | False |
| D4_training_data_50659_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.103 | 0.102 | 0.082 | 0.138 | 0.739 | 34 | 0.468 | False |
| D4_training_data_50659_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.102 | 0.099 | 0.082 | 0.135 | 0.735 | 25 | 0.326 | False |
| D4_training_data_50659_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.109 | 0.093 | 0.082 | 0.139 | 0.669 | 19 | 0.264 | False |
| D4_training_data_50661_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.083 | 0.137 | 0.061 | 0.147 | 0.947 | 8 | 0.108 | False |
| D4_training_data_50661_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.083 | 0.124 | 0.079 | 0.161 | 0.773 | 15 | 0.216 | False |
| D4_training_data_50664_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.113 | 0.150 | 0.094 | 0.211 | 0.754 | 22 | 0.438 | False |
| D4_training_data_50664_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 64 | 0.118 | 0.155 | 0.093 | 0.215 | 0.763 | 64 | 0.986 | False |
| D4_training_data_50665_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.095 | 0.158 | 0.095 | 0.237 | 0.668 | 8 | 0.147 | False |
| D4_training_data_50665_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.098 | 0.162 | 0.089 | 0.244 | 0.667 | 11 | 0.200 | False |
| D4_training_data_50667_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.113 | 0.181 | 0.096 | 0.344 | 0.528 | 15 | 0.357 | False |
| D4_training_data_50667_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.112 | 0.191 | 0.101 | 0.371 | 0.522 | 36 | 0.903 | False |
| D4_training_data_50667_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.119 | 0.193 | 0.101 | 0.344 | 0.565 | 33 | 0.815 | False |
| D4_training_data_50667_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.119 | 0.189 | 0.092 | 0.354 | 0.536 | 35 | 0.865 | False |
| D4_training_data_50668_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.123 | 0.107 | 0.104 | 0.236 | 0.446 | 17 | 0.337 | False |
| D4_training_data_50668_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 57 | 0.115 | 0.139 | 0.105 | 0.197 | 0.714 | 56 | 0.945 | False |
| D4_training_data_50668_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.121 | 0.129 | 0.116 | 0.199 | 0.714 | 51 | 0.961 | False |
| D4_training_data_50668_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.129 | 0.117 | 0.112 | 0.214 | 0.579 | 50 | 0.945 | False |
| D4_training_data_50669_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.117 | 0.130 | 0.103 | 0.251 | 0.522 | 8 | 0.186 | False |
| D4_training_data_50669_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.118 | 0.141 | 0.093 | 0.224 | 0.632 | 18 | 0.342 | False |
| D4_training_data_50669_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.101 | 0.134 | 0.101 | 0.202 | 0.666 | 17 | 0.318 | False |
| D4_training_data_50669_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.110 | 0.140 | 0.096 | 0.201 | 0.715 | 8 | 0.160 | False |
| D4_training_data_50671_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.089 | 0.120 | 0.054 | 0.126 | 0.959 | 7 | 0.118 | False |
| D4_training_data_50673_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.124 | 0.179 | 0.095 | 0.625 | 0.290 | 8 | 0.349 | False |
| D4_training_data_50673_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.122 | 0.207 | 0.091 | 0.524 | 0.396 | 9 | 0.311 | False |
| D4_training_data_50673_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.130 | 0.192 | 0.093 | 0.553 | 0.349 | 21 | 0.780 | False |
| D4_training_data_50673_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.125 | 0.187 | 0.094 | 0.542 | 0.348 | 27 | 0.718 | False |
| D4_training_data_50676_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.108 | 0.134 | 0.097 | 0.188 | 0.698 | 19 | 0.351 | False |
| D4_training_data_50676_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 55 | 0.113 | 0.104 | 0.111 | 0.184 | 0.562 | 55 | 0.934 | False |
| D4_training_data_50676_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.108 | 0.130 | 0.090 | 0.179 | 0.708 | 10 | 0.176 | False |
| D4_training_data_50676_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.127 | 0.114 | 0.115 | 0.153 | 0.743 | 54 | 0.951 | False |
| D4_training_data_50677_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.113 | 0.165 | 0.097 | 0.370 | 0.457 | 14 | 0.353 | False |
| D4_training_data_50677_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.102 | 0.176 | 0.091 | 0.476 | 0.370 | 5 | 0.137 | False |
| D4_training_data_50678_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.121 | 0.167 | 0.097 | 0.340 | 0.503 | 28 | 0.681 | False |
| D4_training_data_50678_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.117 | 0.180 | 0.097 | 0.293 | 0.574 | 6 | 0.208 | False |
| D4_training_data_50678_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.105 | 0.191 | 0.094 | 0.345 | 0.531 | 8 | 0.256 | False |
| D4_training_data_50680_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.116 | 0.137 | 0.096 | 0.295 | 0.460 | 30 | 0.635 | False |
| D4_training_data_50680_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.110 | 0.140 | 0.095 | 0.235 | 0.579 | 16 | 0.321 | False |
| D4_training_data_50680_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.109 | 0.151 | 0.095 | 0.257 | 0.579 | 25 | 0.503 | False |
| D4_training_data_50680_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.116 | 0.142 | 0.098 | 0.268 | 0.525 | 28 | 0.605 | False |
| D4_training_data_50685_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.108 | 0.135 | 0.098 | 0.265 | 0.480 | 8 | 0.152 | False |
| D4_training_data_50685_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.111 | 0.156 | 0.101 | 0.275 | 0.551 | 17 | 0.370 | False |
| D4_training_data_50685_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 48 | 0.123 | 0.137 | 0.093 | 0.234 | 0.586 | 48 | 0.927 | False |
| D4_training_data_50687_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.120 | 0.129 | 0.097 | 0.274 | 0.436 | 7 | 0.150 | False |
| D4_training_data_50687_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.114 | 0.150 | 0.096 | 0.270 | 0.555 | 33 | 0.667 | False |
| D4_training_data_50687_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 38 | 0.121 | 0.144 | 0.099 | 0.286 | 0.503 | 38 | 0.844 | False |
| D4_training_data_50687_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.120 | 0.138 | 0.097 | 0.265 | 0.528 | 40 | 0.819 | False |
| D4_training_data_50688_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.123 | 0.157 | 0.091 | 0.236 | 0.595 | 6 | 0.132 | False |
| D4_training_data_50688_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.116 | 0.176 | 0.099 | 0.267 | 0.650 | 22 | 0.484 | False |
| D4_training_data_50688_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.110 | 0.192 | 0.112 | 0.407 | 0.425 | 5 | 0.153 | False |
| D4_training_data_50688_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.117 | 0.173 | 0.098 | 0.297 | 0.577 | 25 | 0.602 | False |
| D4_training_data_50689_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.115 | 0.163 | 0.093 | 0.265 | 0.643 | 25 | 0.528 | False |
| D4_training_data_50689_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.120 | 0.158 | 0.086 | 0.240 | 0.670 | 7 | 0.156 | False |
| D4_training_data_50689_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 50 | 0.114 | 0.157 | 0.100 | 0.246 | 0.716 | 49 | 1.000 | False |
| D4_training_data_50689_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.123 | 0.175 | 0.094 | 0.230 | 0.760 | 26 | 0.566 | False |
| D4_training_data_50690_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.114 | 0.173 | 0.097 | 0.445 | 0.387 | 18 | 0.508 | False |
| D4_training_data_50690_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.111 | 0.180 | 0.091 | 0.217 | 1.375 | 7 | 0.496 | False |
| D4_training_data_50690_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.105 | 0.180 | 0.096 | 0.308 | 0.596 | 12 | 0.285 | False |
| D4_training_data_50690_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.114 | 0.164 | 0.106 | 0.310 | 0.541 | 44 | 1.000 | False |
| D4_training_data_50690_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.118 | 0.171 | 0.098 | 0.369 | 0.469 | 9 | 0.233 | False |
| D4_training_data_50691_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 39 | 0.116 | 0.155 | 0.100 | 0.375 | 0.413 | 38 | 1.000 | False |
| D4_training_data_50691_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.109 | 0.173 | 0.097 | 0.317 | 0.550 | 6 | 0.131 | False |
| D4_training_data_50691_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 44 | 0.122 | 0.142 | 0.136 | 0.352 | 0.412 | 43 | 1.000 | False |
| D4_training_data_50691_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.128 | 0.152 | 0.120 | 0.350 | 0.436 | 27 | 0.689 | False |
| D4_training_data_50693_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.086 | 0.126 | 0.091 | 0.132 | 0.929 | 7 | 0.105 | False |
| D4_training_data_50693_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.090 | 0.110 | 0.084 | 0.145 | 0.754 | 19 | 0.271 | False |
| D4_training_data_50693_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.083 | 0.121 | 0.076 | 0.137 | 0.854 | 12 | 0.166 | False |
| D4_training_data_50693_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.101 | 0.111 | 0.085 | 0.139 | 0.793 | 27 | 0.413 | False |
| D4_training_data_50699_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 52 | 0.117 | 0.124 | 0.115 | 0.158 | 0.793 | 51 | 0.870 | False |
| D4_training_data_50699_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 57 | 0.122 | 0.120 | 0.122 | 0.141 | 0.863 | 56 | 0.903 | False |
| D4_training_data_50699_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 59 | 0.116 | 0.143 | 0.104 | 0.162 | 0.872 | 58 | 1.000 | False |
| D4_training_data_50699_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 58 | 0.132 | 0.142 | 0.090 | 0.149 | 0.963 | 57 | 0.954 | False |
| D4_training_data_50704_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.111 | 0.116 | 0.098 | 0.222 | 0.494 | 9 | 0.148 | False |
| D4_training_data_50704_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.109 | 0.114 | 0.090 | 0.181 | 0.609 | 14 | 0.240 | False |
| D4_training_data_50707_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.116 | 0.189 | 0.100 | 0.487 | 0.368 | 11 | 0.328 | False |
| D4_training_data_50707_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.121 | 0.204 | 0.093 | 0.462 | 0.427 | 17 | 0.490 | False |
| D4_training_data_50707_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.127 | 0.189 | 0.094 | 0.504 | 0.370 | 29 | 0.885 | False |
| D4_training_data_50708_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.113 | 0.151 | 0.098 | 0.256 | 0.591 | 19 | 0.387 | False |
| D4_training_data_50708_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.110 | 0.153 | 0.098 | 0.189 | 0.815 | 18 | 0.328 | False |
| D4_training_data_50708_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.111 | 0.157 | 0.095 | 0.234 | 0.660 | 29 | 0.566 | False |
| D4_training_data_50708_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 51 | 0.116 | 0.146 | 0.095 | 0.205 | 0.719 | 51 | 0.882 | False |
| D4_training_data_50713_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 41 | 0.116 | 0.146 | 0.113 | 0.366 | 0.396 | 40 | 1.000 | False |
| D4_training_data_50713_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.134 | 0.145 | 0.122 | 0.408 | 0.357 | 36 | 1.000 | False |
| D4_training_data_50713_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 41 | 0.136 | 0.121 | 0.122 | 0.345 | 0.353 | 40 | 1.000 | False |
| D4_training_data_50713_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.133 | 0.122 | 0.119 | 0.370 | 0.333 | 39 | 1.000 | False |
| D4_training_data_50715_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.108 | 0.117 | 0.093 | 0.172 | 0.673 | 36 | 0.611 | False |
| D4_training_data_50715_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 58 | 0.106 | 0.125 | 0.094 | 0.163 | 0.769 | 58 | 0.947 | False |
| D4_training_data_50715_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 55 | 0.110 | 0.112 | 0.096 | 0.161 | 0.702 | 55 | 0.894 | False |
| D4_training_data_50715_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 56 | 0.104 | 0.126 | 0.094 | 0.174 | 0.722 | 56 | 0.955 | False |
| D4_training_data_50720_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.084 | 0.128 | 0.047 | 0.124 | 1.037 | 5 | 0.060 | False |
| D4_training_data_50720_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.098 | 0.111 | 0.065 | 0.123 | 0.907 | 17 | 0.188 | False |
| D4_training_data_50721_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.104 | 0.089 | 0.084 | 0.130 | 0.688 | 20 | 0.258 | False |
| D4_training_data_50721_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.106 | 0.094 | 0.086 | 0.131 | 0.717 | 31 | 0.379 | False |
| D4_training_data_50721_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 68 | 0.102 | 0.089 | 0.083 | 0.131 | 0.678 | 68 | 0.947 | False |
| D4_training_data_50721_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 73 | 0.105 | 0.088 | 0.081 | 0.136 | 0.650 | 73 | 0.974 | False |
| D4_training_data_50722_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.122 | 0.205 | 0.096 | 0.363 | 0.548 | 22 | 0.579 | False |
| D4_training_data_50722_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.133 | 0.208 | 0.112 | 0.352 | 0.605 | 39 | 1.000 | False |
| D4_training_data_50722_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.115 | 0.195 | 0.104 | 0.361 | 0.539 | 25 | 0.659 | False |
| D4_training_data_50723_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 57 | 0.115 | 0.136 | 0.092 | 0.201 | 1.086 | 57 | 1.000 | False |
| D4_training_data_50723_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.129 | 0.159 | 0.087 | 0.200 | 0.791 | 16 | 0.313 | False |
| D4_training_data_50723_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 53 | 0.114 | 0.140 | 0.103 | 0.224 | 0.630 | 52 | 1.000 | False |
| D4_training_data_50723_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.117 | 0.128 | 0.091 | 0.187 | 0.691 | 30 | 0.535 | False |
| D4_training_data_50725_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.116 | 0.123 | 0.095 | 0.200 | 0.612 | 19 | 0.262 | False |
| D4_training_data_50725_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.116 | 0.114 | 0.091 | 0.187 | 0.614 | 20 | 0.318 | False |
| D4_training_data_50725_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.118 | 0.129 | 0.094 | 0.272 | 0.489 | 42 | 0.689 | False |
| D4_training_data_50725_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.116 | 0.135 | 0.091 | 0.227 | 0.605 | 39 | 0.709 | False |
| D4_training_data_50727_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.103 | 0.123 | 0.090 | 0.144 | 0.847 | 24 | 0.379 | False |
| D4_training_data_50727_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 54 | 0.106 | 0.126 | 0.085 | 0.144 | 0.873 | 54 | 0.844 | False |
| D4_training_data_50729_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.091 | 0.122 | 0.088 | 0.159 | 0.771 | 7 | 0.109 | False |
| D4_training_data_50729_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 62 | 0.105 | 0.128 | 0.085 | 0.153 | 1.174 | 62 | 1.000 | False |
| D4_training_data_50731_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 60 | 0.108 | 0.143 | 0.093 | 0.172 | 1.028 | 59 | 1.000 | False |
| D4_training_data_50731_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.107 | 0.133 | 0.098 | 0.203 | 0.669 | 45 | 0.807 | False |
| D4_training_data_50731_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.115 | 0.131 | 0.100 | 0.168 | 0.782 | 29 | 0.486 | False |
| D4_training_data_50732_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 37 | 0.130 | 0.151 | 0.127 | 0.291 | 0.526 | 37 | 1.000 | False |
| D4_training_data_50732_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 60 | 0.137 | 0.148 | 0.115 | 0.266 | 0.562 | 59 | 1.000 | False |
| D4_training_data_50732_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.134 | 0.147 | 0.137 | 0.288 | 0.520 | 40 | 1.000 | False |
| D4_training_data_50732_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 51 | 0.141 | 0.139 | 0.121 | 0.286 | 0.499 | 51 | 1.000 | False |
| D4_training_data_50734_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 94 | 0.119 | 0.141 | 0.105 | 0.319 | 0.673 | 94 | 1.000 | False |
| D4_training_data_50734_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 82 | 0.156 | 0.115 | 0.083 | 0.359 | 0.351 | 82 | 1.000 | False |
| D4_training_data_50734_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 88 | 0.144 | 0.056 | 0.125 | 0.387 | 0.142 | 87 | 1.000 | False |
| D4_training_data_50734_Phc | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | Phc | True | 40 | 0.163 | 0.102 | 0.102 | 0.351 | 0.298 | 39 | 0.943 | False |
| D4_training_data_50734_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 82 | 0.146 | 0.043 | 0.132 | 0.395 | 0.112 | 81 | 1.000 | False |
| D4_training_data_50735_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.086 | 0.140 | 0.092 | 0.261 | 0.976 | 40 | 1.000 | False |
| D4_training_data_50735_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.112 | 0.168 | 0.091 | 0.234 | 0.733 | 21 | 0.436 | False |
| D4_training_data_50735_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.106 | 0.147 | 0.097 | 0.184 | 0.835 | 16 | 0.381 | False |
| D4_training_data_50735_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.137 | 0.122 | 0.112 | 0.156 | 0.802 | 45 | 1.000 | False |
| D4_training_data_50736_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 50 | 0.114 | 0.120 | 0.122 | 0.224 | 0.548 | 49 | 1.000 | False |
| D4_training_data_50736_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 41 | 0.104 | 0.139 | 0.136 | 0.199 | 0.708 | 40 | 1.000 | False |
| D4_training_data_50736_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.109 | 0.140 | 0.092 | 0.215 | 0.650 | 10 | 0.235 | False |
| D4_training_data_50737_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.116 | 0.195 | 0.090 | 0.392 | 0.509 | 8 | 0.124 | False |
| D4_training_data_50737_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.139 | 0.194 | 0.102 | 0.334 | 0.589 | 28 | 1.000 | False |
| D4_training_data_50737_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.149 | 0.215 | 0.096 | 0.355 | 0.611 | 37 | 1.000 | False |
| D4_training_data_50738_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.101 | 0.131 | 0.096 | 0.211 | 0.580 | 5 | 0.097 | False |
| D4_training_data_50738_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.115 | 0.157 | 0.099 | 0.216 | 0.714 | 15 | 0.297 | False |
| D4_training_data_50738_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.114 | 0.138 | 0.095 | 0.212 | 0.658 | 49 | 1.000 | False |
| D4_training_data_50738_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.117 | 0.132 | 0.092 | 0.225 | 0.582 | 37 | 0.700 | False |
| D4_training_data_50739_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.075 | 0.114 | 0.061 | 0.132 | 0.827 | 9 | 0.118 | False |
| D4_training_data_50739_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.073 | 0.133 | 0.073 | 0.118 | 1.105 | 6 | 0.080 | False |
| D4_training_data_50740_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.108 | 0.127 | 0.092 | 0.239 | 0.514 | 12 | 0.227 | False |
| D4_training_data_50740_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.107 | 0.135 | 0.087 | 0.199 | 0.641 | 7 | 0.126 | False |
| D4_training_data_50740_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 53 | 0.114 | 0.118 | 0.130 | 0.172 | 0.687 | 53 | 0.957 | False |
| D4_training_data_50740_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 49 | 0.119 | 0.128 | 0.093 | 0.208 | 0.625 | 49 | 0.901 | False |
| D4_training_data_50742_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.107 | 0.177 | 0.103 | 0.318 | 0.528 | 8 | 0.200 | False |
| D4_training_data_50742_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.125 | 0.190 | 0.099 | 0.309 | 0.623 | 36 | 0.947 | False |
| D4_training_data_50742_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.112 | 0.192 | 0.110 | 0.337 | 0.552 | 12 | 0.417 | False |
| D4_training_data_50742_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.120 | 0.195 | 0.096 | 0.341 | 0.565 | 11 | 0.428 | False |
| D4_training_data_50743_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.111 | 0.144 | 0.092 | 0.212 | 0.655 | 11 | 0.238 | False |
| D4_training_data_50743_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.104 | 0.153 | 0.094 | 0.204 | 0.709 | 7 | 0.604 | False |
| D4_training_data_50743_AV_3 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.113 | 0.154 | 0.089 | 0.244 | 0.637 | 28 | 0.581 | False |
| D4_training_data_50743_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.109 | 0.154 | 0.087 | 0.200 | 0.775 | 11 | 0.195 | False |
| D4_training_data_50744_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.098 | 0.184 | 0.087 | 0.296 | 0.623 | 10 | 0.320 | False |
| D4_training_data_50744_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.122 | 0.164 | 0.094 | 0.260 | 0.622 | 30 | 0.854 | False |
| D4_training_data_50744_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.118 | 0.161 | 0.098 | 0.285 | 0.562 | 27 | 0.900 | False |
| D4_training_data_50744_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.119 | 0.165 | 0.096 | 0.273 | 0.604 | 25 | 0.937 | False |
| D4_training_data_50746_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 51 | 0.116 | 0.129 | 0.090 | 0.242 | 0.993 | 50 | 1.000 | False |
| D4_training_data_50746_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 47 | 0.140 | 0.118 | 0.108 | 0.245 | 0.496 | 46 | 1.000 | False |
| D4_training_data_50746_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 52 | 0.134 | 0.125 | 0.116 | 0.227 | 0.555 | 51 | 1.000 | False |
| D4_training_data_50746_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 48 | 0.118 | 0.148 | 0.100 | 0.257 | 0.588 | 47 | 1.000 | False |
| D4_training_data_50747_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 45 | 0.115 | 0.161 | 0.110 | 0.261 | 0.618 | 45 | 1.000 | False |
| D4_training_data_50747_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.130 | 0.145 | 0.122 | 0.220 | 0.660 | 48 | 1.000 | False |
| D4_training_data_50747_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.130 | 0.144 | 0.115 | 0.235 | 0.621 | 48 | 1.000 | False |
| D4_training_data_50747_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 49 | 0.131 | 0.139 | 0.130 | 0.213 | 0.669 | 49 | 1.000 | False |
| D4_training_data_50748_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.100 | 0.108 | 0.080 | 0.124 | 0.800 | 5 | 0.073 | False |
| D4_training_data_50748_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.087 | 0.131 | 0.066 | 0.142 | 0.925 | 29 | 0.369 | False |
| D4_training_data_50749_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.120 | 0.142 | 0.092 | 0.234 | 0.594 | 10 | 0.195 | False |
| D4_training_data_50749_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.119 | 0.144 | 0.095 | 0.214 | 0.664 | 22 | 0.476 | False |
| D4_training_data_50749_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.116 | 0.139 | 0.099 | 0.233 | 0.593 | 25 | 0.579 | False |
| D4_training_data_50749_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 41 | 0.122 | 0.137 | 0.089 | 0.217 | 0.627 | 41 | 0.880 | False |
| D4_training_data_50751_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 53 | 0.121 | 0.128 | 0.115 | 0.197 | 0.657 | 53 | 1.000 | False |
| D4_training_data_50751_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 56 | 0.138 | 0.126 | 0.111 | 0.174 | 0.736 | 55 | 1.000 | False |
| D4_training_data_50751_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 56 | 0.116 | 0.128 | 0.112 | 0.159 | 0.805 | 55 | 1.000 | False |
| D4_training_data_50751_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 51 | 0.118 | 0.135 | 0.097 | 0.227 | 0.622 | 52 | 1.000 | False |
| D4_training_data_50752_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.101 | 0.137 | 0.100 | 0.205 | 0.626 | 7 | 0.144 | False |
| D4_training_data_50752_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.111 | 0.156 | 0.095 | 0.199 | 0.765 | 19 | 0.381 | False |
| D4_training_data_50752_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.116 | 0.138 | 0.098 | 0.199 | 0.689 | 35 | 0.712 | False |
| D4_training_data_50752_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.118 | 0.145 | 0.097 | 0.230 | 0.633 | 12 | 0.279 | False |
| D4_training_data_50753_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.105 | 0.155 | 0.093 | 0.152 | 0.979 | 11 | 0.168 | False |
| D4_training_data_50753_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 51 | 0.109 | 0.139 | 0.096 | 0.176 | 0.786 | 51 | 0.875 | False |
| D4_training_data_50753_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.102 | 0.140 | 0.104 | 0.183 | 0.740 | 11 | 0.203 | False |
| D4_training_data_50753_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.114 | 0.146 | 0.091 | 0.172 | 0.832 | 21 | 0.382 | False |
| D4_training_data_50754_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.088 | 0.178 | 0.100 | 0.150 | 1.149 | 7 | 0.132 | False |
| D4_training_data_50754_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 53 | 0.118 | 0.139 | 0.095 | 0.182 | 0.768 | 53 | 0.933 | False |
| D4_training_data_50754_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 52 | 0.115 | 0.118 | 0.130 | 0.143 | 0.828 | 52 | 0.949 | False |
| D4_training_data_50754_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.107 | 0.125 | 0.092 | 0.173 | 0.704 | 15 | 0.256 | False |
| D4_training_data_50756_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.110 | 0.143 | 0.103 | 0.273 | 0.495 | 6 | 0.118 | False |
| D4_training_data_50756_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.114 | 0.143 | 0.093 | 0.203 | 0.696 | 14 | 0.283 | False |
| D4_training_data_50756_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.107 | 0.163 | 0.103 | 0.307 | 0.519 | 6 | 0.164 | False |
| D4_training_data_50756_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.116 | 0.151 | 0.096 | 0.222 | 0.667 | 9 | 0.202 | False |
| D4_training_data_50757_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.102 | 0.135 | 0.095 | 0.189 | 0.680 | 11 | 0.231 | False |
| D4_training_data_50757_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.104 | 0.139 | 0.087 | 0.168 | 0.828 | 17 | 0.302 | False |
| D4_training_data_50757_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.110 | 0.153 | 0.096 | 0.207 | 0.712 | 14 | 0.314 | False |
| D4_training_data_50757_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 43 | 0.114 | 0.134 | 0.093 | 0.191 | 0.706 | 43 | 0.835 | False |
| D4_training_data_50758_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.116 | 0.133 | 0.096 | 0.289 | 0.444 | 15 | 0.331 | False |
| D4_training_data_50758_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.124 | 0.139 | 0.091 | 0.220 | 0.619 | 14 | 0.275 | False |
| D4_training_data_50758_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.121 | 0.130 | 0.098 | 0.267 | 0.484 | 45 | 0.956 | False |
| D4_training_data_50758_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.117 | 0.136 | 0.097 | 0.245 | 0.539 | 14 | 0.290 | False |
| D4_training_data_50762_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.096 | 0.093 | 0.088 | 0.140 | 0.662 | 12 | 0.176 | False |
| D4_training_data_50762_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.104 | 0.088 | 0.075 | 0.129 | 0.648 | 8 | 0.112 | False |
| D4_training_data_50762_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.072 | 0.126 | 0.070 | 0.146 | 0.820 | 6 | 0.091 | False |
| D4_training_data_50762_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.095 | 0.114 | 0.058 | 0.142 | 0.756 | 7 | 0.104 | False |
| D4_training_data_50763_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.114 | 0.163 | 0.109 | 0.206 | 0.801 | 30 | 0.698 | False |
| D4_training_data_50763_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.117 | 0.157 | 0.093 | 0.253 | 0.640 | 13 | 0.312 | False |
| D4_training_data_50763_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.120 | 0.119 | 0.128 | 0.212 | 0.560 | 39 | 0.943 | False |
| D4_training_data_50763_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.117 | 0.134 | 0.099 | 0.243 | 0.563 | 44 | 1.000 | False |
| D4_training_data_50766_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.117 | 0.199 | 0.101 | 0.318 | 0.614 | 14 | 0.362 | False |
| D4_training_data_50766_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.120 | 0.220 | 0.091 | 0.310 | 0.714 | 6 | 0.152 | False |
| D4_training_data_50766_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.116 | 0.199 | 0.105 | 0.306 | 0.646 | 33 | 0.799 | False |
| D4_training_data_50766_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.113 | 0.216 | 0.119 | 0.328 | 0.814 | 39 | 1.000 | False |
| D4_training_data_50768_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.076 | 0.110 | 0.043 | 0.138 | 0.793 | 5 | 0.065 | False |
| D4_training_data_50770_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.114 | 0.160 | 0.109 | 0.278 | 0.560 | 7 | 0.168 | False |
| D4_training_data_50770_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 44 | 0.120 | 0.171 | 0.093 | 0.279 | 0.645 | 44 | 1.000 | False |
| D4_training_data_50770_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.134 | 0.154 | 0.128 | 0.267 | 0.577 | 25 | 0.583 | False |
| D4_training_data_50770_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.142 | 0.147 | 0.122 | 0.256 | 0.577 | 20 | 0.468 | False |
| D4_training_data_50771_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.108 | 0.151 | 0.094 | 0.240 | 0.639 | 15 | 0.350 | False |
| D4_training_data_50771_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.128 | 0.127 | 0.117 | 0.212 | 0.608 | 47 | 1.000 | False |
| D4_training_data_50771_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.114 | 0.148 | 0.098 | 0.216 | 0.703 | 26 | 0.569 | False |
| D4_training_data_50771_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.118 | 0.142 | 0.093 | 0.220 | 0.655 | 44 | 0.877 | False |
| D4_training_data_50772_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.090 | 0.110 | 0.070 | 0.130 | 0.851 | 8 | 0.107 | False |
| D4_training_data_50772_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.085 | 0.151 | 0.074 | 0.156 | 0.979 | 5 | 0.077 | False |
| D4_training_data_50772_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 5 | 0.084 | 0.139 | 0.077 | 0.137 | 1.025 | 5 | 0.164 | False |
| D4_training_data_50773_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 42 | 0.114 | 0.143 | 0.103 | 0.294 | 0.500 | 42 | 0.885 | False |
| D4_training_data_50773_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.116 | 0.154 | 0.097 | 0.306 | 0.511 | 28 | 0.640 | False |
| D4_training_data_50773_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.108 | 0.148 | 0.108 | 0.281 | 0.536 | 45 | 0.946 | False |
| D4_training_data_50773_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 45 | 0.117 | 0.144 | 0.092 | 0.280 | 0.530 | 45 | 0.935 | False |
| D4_training_data_50774_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.122 | 0.153 | 0.107 | 0.296 | 0.525 | 9 | 0.202 | False |
| D4_training_data_50774_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.123 | 0.161 | 0.089 | 0.221 | 0.743 | 6 | 0.116 | False |
| D4_training_data_50774_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 5 | 0.112 | 0.168 | 0.096 | 0.328 | 0.531 | 5 | 0.120 | False |
| D4_training_data_50776_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.116 | 0.159 | 0.099 | 0.311 | 0.525 | 39 | 0.941 | False |
| D4_training_data_50781_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.117 | 0.120 | 0.097 | 0.206 | 0.586 | 16 | 0.298 | False |
| D4_training_data_50781_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 48 | 0.116 | 0.135 | 0.094 | 0.208 | 0.656 | 48 | 0.888 | False |
| D4_training_data_50781_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 49 | 0.109 | 0.128 | 0.103 | 0.195 | 0.665 | 49 | 0.892 | False |
| D4_training_data_50781_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.107 | 0.148 | 0.092 | 0.205 | 0.728 | 12 | 0.223 | False |
| D4_training_data_50782_AV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 40 | 0.113 | 0.177 | 0.098 | 0.276 | 0.644 | 40 | 0.874 | False |
| D4_training_data_50782_AV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.085 | 0.134 | 0.081 | 0.207 | 0.665 | 8 | 0.211 | False |
| D4_training_data_50782_MV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | False | 0 | n/a | n/a | n/a | n/a | n/a | 0 | n/a | True |
| D4_training_data_50782_MV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.114 | 0.166 | 0.094 | 0.245 | 0.687 | 10 | 1.000 | False |
| D4_training_data_50782_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 46 | 0.118 | 0.164 | 0.096 | 0.258 | 0.636 | 46 | 0.935 | False |
| D4_training_data_50782_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.117 | 0.156 | 0.090 | 0.257 | 0.609 | 29 | 0.633 | False |
| D4_training_data_50784_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.108 | 0.118 | 0.093 | 0.188 | 0.644 | 12 | 0.219 | False |
| D4_training_data_50784_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.105 | 0.145 | 0.089 | 0.185 | 0.784 | 26 | 0.443 | False |
| D4_training_data_50784_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.105 | 0.126 | 0.094 | 0.168 | 0.756 | 51 | 0.846 | False |
| D4_training_data_50784_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.104 | 0.122 | 0.097 | 0.182 | 0.675 | 28 | 0.493 | False |
| D4_training_data_50787_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.080 | 0.158 | 0.077 | 0.160 | 1.052 | 5 | 0.088 | False |
| D4_training_data_50788_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 45 | 0.122 | 0.140 | 0.112 | 0.171 | 0.814 | 44 | 0.832 | False |
| D4_training_data_50788_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.109 | 0.167 | 0.091 | 0.183 | 0.912 | 36 | 0.659 | False |
| D4_training_data_50788_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 58 | 0.133 | 0.130 | 0.115 | 0.149 | 0.871 | 58 | 1.000 | False |
| D4_training_data_50788_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.106 | 0.153 | 0.093 | 0.138 | 1.122 | 24 | 0.399 | False |
| D4_training_data_50789_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.114 | 0.157 | 0.097 | 0.326 | 0.485 | 7 | 0.160 | False |
| D4_training_data_50789_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 42 | 0.118 | 0.144 | 0.095 | 0.282 | 0.518 | 42 | 0.887 | False |
| D4_training_data_50789_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.114 | 0.154 | 0.105 | 0.317 | 0.490 | 39 | 0.903 | False |
| D4_training_data_50789_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.108 | 0.139 | 0.099 | 0.278 | 0.504 | 34 | 0.736 | False |
| D4_training_data_50790_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.104 | 0.256 | 0.100 | 0.296 | 0.865 | 9 | 0.242 | False |
| D4_training_data_50790_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.054 | 0.147 | 0.026 | 0.162 | 0.909 | 12 | 0.161 | False |
| D4_training_data_50793_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.117 | 0.183 | 0.106 | 0.452 | 0.413 | 7 | 0.199 | False |
| D4_training_data_50793_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.103 | 0.223 | 0.103 | 0.406 | 0.570 | 7 | 0.216 | False |
| D4_training_data_50793_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.120 | 0.213 | 0.097 | 0.469 | 0.427 | 6 | 0.193 | False |
| D4_training_data_50795_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.090 | 0.123 | 0.100 | 0.186 | 0.627 | 6 | 0.108 | False |
| D4_training_data_50795_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.097 | 0.148 | 0.072 | 0.189 | 0.792 | 8 | 0.137 | False |
| D4_training_data_50796_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.111 | 0.200 | 0.100 | 0.403 | 0.502 | 7 | 0.174 | False |
| D4_training_data_50796_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.118 | 0.213 | 0.110 | 0.427 | 0.517 | 22 | 0.734 | False |
| D4_training_data_50796_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.118 | 0.223 | 0.100 | 0.454 | 0.498 | 24 | 0.731 | False |
| D4_training_data_50797_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.108 | 0.157 | 0.100 | 0.361 | 0.439 | 7 | 0.173 | False |
| D4_training_data_50797_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.108 | 0.160 | 0.096 | 0.320 | 0.503 | 5 | 0.116 | False |
| D4_training_data_50797_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.119 | 0.158 | 0.094 | 0.326 | 0.491 | 34 | 0.806 | False |
| D4_training_data_50797_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.110 | 0.155 | 0.102 | 0.410 | 0.379 | 8 | 0.216 | False |
| D4_training_data_50798_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.107 | 0.160 | 0.103 | 0.231 | 0.681 | 11 | 0.233 | False |
| D4_training_data_50798_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.113 | 0.170 | 0.094 | 0.229 | 0.724 | 13 | 0.262 | False |
| D4_training_data_50798_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 51 | 0.112 | 0.157 | 0.111 | 0.213 | 0.744 | 50 | 1.000 | False |
| D4_training_data_50798_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.111 | 0.151 | 0.091 | 0.230 | 0.681 | 14 | 0.294 | False |
| D4_training_data_50800_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.114 | 0.144 | 0.122 | 0.215 | 0.626 | 11 | 0.230 | False |
| D4_training_data_50800_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.061 | 0.135 | 0.087 | 0.295 | 0.493 | 5 | 0.100 | False |
| D4_training_data_50800_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.109 | 0.150 | 0.093 | 0.231 | 0.670 | 20 | 0.414 | False |
| D4_training_data_50800_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.106 | 0.151 | 0.088 | 0.207 | 0.744 | 15 | 0.273 | False |
| D4_training_data_50802_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.111 | 0.129 | 0.089 | 0.187 | 0.691 | 11 | 0.191 | False |
| D4_training_data_50802_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 54 | 0.109 | 0.138 | 0.091 | 0.172 | 0.811 | 54 | 0.922 | False |
| D4_training_data_50802_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 40 | 0.113 | 0.127 | 0.095 | 0.166 | 0.767 | 40 | 0.687 | False |
| D4_training_data_50802_TV_1 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.114 | 0.123 | 0.094 | 0.176 | 0.708 | 18 | 0.969 | False |
| D4_training_data_50802_TV_2 | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.113 | 0.127 | 0.092 | 0.175 | 0.729 | 50 | 0.873 | False |
| D4_training_data_50803_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.108 | 0.177 | 0.086 | 0.329 | 0.553 | 6 | 0.129 | False |
| D4_training_data_50803_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.101 | 0.149 | 0.098 | 0.194 | 0.771 | 6 | 0.109 | False |
| D4_training_data_50803_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.107 | 0.158 | 0.095 | 0.240 | 0.699 | 7 | 0.145 | False |
| D4_training_data_50803_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.108 | 0.153 | 0.090 | 0.237 | 0.665 | 8 | 0.157 | False |
| D4_training_data_50805_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.120 | 0.168 | 0.096 | 0.308 | 0.546 | 5 | 0.113 | False |
| D4_training_data_50805_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.107 | 0.181 | 0.102 | 0.298 | 0.610 | 17 | 0.399 | False |
| D4_training_data_50805_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.112 | 0.184 | 0.100 | 0.300 | 0.614 | 10 | 0.228 | False |
| D4_training_data_50807_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.101 | 0.126 | 0.084 | 0.232 | 0.547 | 6 | 0.109 | False |
| D4_training_data_50807_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.111 | 0.123 | 0.086 | 0.197 | 0.627 | 7 | 0.115 | False |
| D4_training_data_50807_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.113 | 0.112 | 0.093 | 0.208 | 0.545 | 20 | 0.338 | False |
| D4_training_data_50807_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 53 | 0.114 | 0.109 | 0.092 | 0.199 | 0.548 | 53 | 0.924 | False |
| D4_training_data_50812_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.103 | 0.139 | 0.090 | 0.201 | 0.698 | 18 | 0.312 | False |
| D4_training_data_50812_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 45 | 0.109 | 0.132 | 0.093 | 0.180 | 0.744 | 45 | 0.780 | False |
| D4_training_data_50812_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 55 | 0.106 | 0.133 | 0.096 | 0.183 | 0.733 | 55 | 0.917 | False |
| D4_training_data_50812_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.120 | 0.133 | 0.093 | 0.197 | 0.678 | 6 | 0.103 | False |
| D4_training_data_50815_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.120 | 0.146 | 0.106 | 0.274 | 0.536 | 17 | 0.371 | False |
| D4_training_data_50815_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.111 | 0.176 | 0.090 | 0.262 | 0.686 | 11 | 0.252 | False |
| D4_training_data_50815_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 45 | 0.121 | 0.155 | 0.115 | 0.256 | 0.610 | 45 | 1.000 | False |
| D4_training_data_50815_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 44 | 0.120 | 0.152 | 0.097 | 0.269 | 0.580 | 44 | 0.960 | False |
| D4_training_data_50818_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.116 | 0.158 | 0.096 | 0.277 | 0.593 | 33 | 0.728 | False |
| D4_training_data_50818_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.111 | 0.171 | 0.091 | 0.292 | 0.594 | 7 | 0.153 | False |
| D4_training_data_50818_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.115 | 0.159 | 0.106 | 0.273 | 0.602 | 34 | 0.708 | False |
| D4_training_data_50818_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.114 | 0.146 | 0.108 | 0.232 | 0.638 | 24 | 0.476 | False |
| D4_training_data_50819_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.119 | 0.140 | 0.099 | 0.275 | 0.523 | 25 | 0.550 | False |
| D4_training_data_50819_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.117 | 0.146 | 0.097 | 0.279 | 0.523 | 36 | 0.770 | False |
| D4_training_data_50819_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.120 | 0.147 | 0.094 | 0.300 | 0.494 | 43 | 0.966 | False |
| D4_training_data_50819_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.122 | 0.126 | 0.093 | 0.256 | 0.495 | 46 | 0.942 | False |
| D4_training_data_50820_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.107 | 0.168 | 0.063 | 0.350 | 0.484 | 6 | 0.135 | False |
| D4_training_data_50820_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.109 | 0.153 | 0.076 | 0.355 | 0.431 | 11 | 0.254 | False |
| D4_training_data_50820_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.100 | 0.163 | 0.111 | 0.291 | 0.572 | 7 | 0.159 | False |
| D4_training_data_50820_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.110 | 0.153 | 0.091 | 0.273 | 0.574 | 14 | 0.187 | False |
| D4_training_data_50822_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.110 | 0.170 | 0.098 | 0.264 | 0.668 | 12 | 0.276 | False |
| D4_training_data_50822_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.114 | 0.175 | 0.099 | 0.257 | 0.687 | 15 | 0.339 | False |
| D4_training_data_50822_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 48 | 0.115 | 0.163 | 0.099 | 0.257 | 0.654 | 47 | 0.954 | False |
| D4_training_data_50822_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.119 | 0.164 | 0.107 | 0.258 | 0.642 | 46 | 1.000 | False |
| D4_training_data_50826_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.110 | 0.162 | 0.090 | 0.286 | 0.571 | 10 | 0.222 | False |
| D4_training_data_50826_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.106 | 0.177 | 0.093 | 0.296 | 0.609 | 14 | 0.311 | False |
| D4_training_data_50826_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.105 | 0.156 | 0.098 | 0.266 | 0.595 | 17 | 0.360 | False |
| D4_training_data_50826_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.120 | 0.149 | 0.098 | 0.242 | 0.633 | 9 | 0.181 | False |
| D4_training_data_50829_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.093 | 0.178 | 0.088 | 0.256 | 0.688 | 10 | 0.194 | False |
| D4_training_data_50829_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.107 | 0.177 | 0.098 | 0.242 | 0.709 | 17 | 0.328 | False |
| D4_training_data_50829_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.108 | 0.174 | 0.097 | 0.307 | 0.582 | 9 | 0.168 | False |
| D4_training_data_51064_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.115 | 0.115 | 0.097 | 0.166 | 0.666 | 12 | 0.283 | False |
| D4_training_data_51331_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.120 | 0.102 | 0.097 | 0.154 | 0.630 | 12 | 0.284 | False |
| D4_training_data_51331_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.098 | 0.115 | 0.093 | 0.142 | 0.804 | 13 | 0.350 | False |
| D4_training_data_51331_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.101 | 0.122 | 0.106 | 0.171 | 0.752 | 12 | 0.283 | False |
| D4_training_data_51331_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.066 | 0.170 | 0.063 | 0.169 | 0.996 | 11 | 0.274 | False |
| D4_training_data_55945_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 42 | 0.134 | 0.089 | 0.114 | 0.190 | 0.497 | 42 | 0.772 | False |
| D4_training_data_55945_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.109 | 0.139 | 0.093 | 0.197 | 0.685 | 9 | 0.197 | False |
| D4_training_data_55945_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.112 | 0.137 | 0.097 | 0.174 | 0.786 | 12 | 0.309 | False |
| D4_training_data_55945_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.140 | 0.118 | 0.113 | 0.153 | 0.789 | 33 | 0.840 | False |
| D4_training_data_57700_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.148 | 0.153 | 0.122 | 0.205 | 0.751 | 7 | 0.191 | False |
| D4_training_data_57700_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.133 | 0.161 | 0.156 | 0.232 | 0.716 | 7 | 0.217 | False |
| D4_training_data_57700_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.121 | 0.167 | 0.119 | 0.216 | 0.770 | 6 | 0.212 | False |
| D4_training_data_57706_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.117 | 0.167 | 0.111 | 0.233 | 0.747 | 14 | 0.446 | False |
| D4_training_data_57706_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.139 | 0.106 | 0.127 | 0.274 | 0.391 | 31 | 0.920 | False |
| D4_training_data_57706_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.118 | 0.163 | 0.114 | 0.253 | 0.657 | 24 | 0.807 | False |
| D4_training_data_57706_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.128 | 0.143 | 0.118 | 0.265 | 0.550 | 25 | 0.863 | False |
| D4_training_data_59536_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.110 | 0.143 | 0.107 | 0.150 | 0.974 | 24 | 0.530 | False |
| D4_training_data_59536_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.114 | 0.144 | 0.111 | 0.117 | 1.259 | 27 | 0.418 | False |
| D4_training_data_61117_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.122 | 0.121 | 0.097 | 0.175 | 0.704 | 16 | 0.710 | False |
| D4_training_data_61117_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.121 | 0.108 | 0.112 | 0.180 | 0.601 | 14 | 0.696 | False |
| D4_training_data_61117_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.109 | 0.117 | 0.104 | 0.192 | 0.610 | 15 | 0.933 | False |
| D4_training_data_61117_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.127 | 0.105 | 0.113 | 0.190 | 0.558 | 16 | 0.953 | False |
| D4_training_data_61610_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.145 | 0.164 | 0.106 | 0.358 | 0.459 | 21 | 0.942 | False |
| D4_training_data_61610_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.147 | 0.138 | 0.114 | 0.265 | 0.549 | 14 | 0.475 | False |
| D4_training_data_61610_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.148 | 0.145 | 0.119 | 0.311 | 0.485 | 7 | 0.193 | False |
| D4_training_data_61610_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.149 | 0.171 | 0.119 | 0.350 | 0.557 | 12 | 0.477 | False |
| D4_training_data_63456_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.085 | 0.149 | 0.076 | 0.176 | 0.831 | 9 | 0.231 | False |
| D4_training_data_63456_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.079 | 0.146 | 0.079 | 0.158 | 0.899 | 7 | 0.158 | False |
| D4_training_data_63456_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.070 | 0.155 | 0.069 | 0.154 | 0.958 | 9 | 0.238 | False |
| D4_training_data_63456_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.071 | 0.162 | 0.067 | 0.156 | 1.055 | 10 | 0.327 | False |
| D4_training_data_63581_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.119 | 0.164 | 0.135 | 0.336 | 0.488 | 22 | 0.887 | False |
| D4_training_data_63581_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.136 | 0.156 | 0.124 | 0.301 | 0.523 | 24 | 0.909 | False |
| D4_training_data_63581_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.111 | 0.160 | 0.129 | 0.315 | 0.513 | 30 | 0.923 | False |
| D4_training_data_63581_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.133 | 0.123 | 0.135 | 0.345 | 0.359 | 25 | 0.950 | False |
| D4_training_data_64256_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.151 | 0.102 | 0.119 | 0.196 | 0.547 | 12 | 0.533 | False |
| D4_training_data_64256_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.128 | 0.110 | 0.120 | 0.278 | 0.425 | 35 | 0.972 | False |
| D4_training_data_64256_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.136 | 0.106 | 0.124 | 0.220 | 0.507 | 33 | 1.000 | False |
| D4_training_data_64715_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.094 | 0.108 | 0.092 | 0.122 | 0.890 | 23 | 0.597 | False |
| D4_training_data_64715_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.077 | 0.111 | 0.074 | 0.125 | 0.875 | 14 | 1.000 | False |
| D4_training_data_64715_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.097 | 0.110 | 0.089 | 0.130 | 0.865 | 9 | 0.376 | False |
| D4_training_data_68175_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.136 | 0.117 | 0.106 | 0.179 | 0.688 | 5 | 0.295 | False |
| D4_training_data_68175_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.123 | 0.145 | 0.104 | 0.275 | 0.575 | 5 | 0.145 | False |
| D4_training_data_68175_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.138 | 0.129 | 0.103 | 0.260 | 0.509 | 8 | 0.717 | False |
| D4_training_data_68175_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.121 | 0.132 | 0.112 | 0.195 | 0.699 | 17 | 0.975 | False |
| D4_training_data_68182_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.090 | 0.134 | 0.079 | 0.226 | 0.586 | 19 | 0.512 | False |
| D4_training_data_68182_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.103 | 0.130 | 0.091 | 0.188 | 0.712 | 20 | 0.510 | False |
| D4_training_data_68182_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 36 | 0.117 | 0.099 | 0.115 | 0.158 | 0.633 | 36 | 0.853 | False |
| D4_training_data_68182_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.126 | 0.111 | 0.102 | 0.163 | 0.677 | 29 | 0.717 | False |
| D4_training_data_68186_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.133 | 0.144 | 0.116 | 0.230 | 0.626 | 11 | 0.485 | False |
| D4_training_data_68186_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.131 | 0.142 | 0.118 | 0.260 | 0.552 | 23 | 0.510 | False |
| D4_training_data_68186_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.123 | 0.152 | 0.127 | 0.279 | 0.559 | 18 | 0.558 | False |
| D4_training_data_68186_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.124 | 0.133 | 0.112 | 0.224 | 0.589 | 25 | 0.685 | False |
| D4_training_data_68194_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.089 | 0.184 | 0.090 | 0.159 | 1.150 | 9 | 0.547 | False |
| D4_training_data_68194_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.121 | 0.158 | 0.076 | 0.158 | 1.000 | 5 | 0.250 | False |
| D4_training_data_68194_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.100 | 0.169 | 0.103 | 0.150 | 1.143 | 13 | 0.559 | False |
| D4_training_data_68194_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.119 | 0.143 | 0.092 | 0.181 | 0.794 | 13 | 0.915 | False |
| D4_training_data_68204_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.156 | 0.111 | 0.127 | 0.391 | 0.290 | 16 | 0.698 | False |
| D4_training_data_68204_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.160 | 0.131 | 0.131 | 0.366 | 0.360 | 17 | 0.881 | False |
| D4_training_data_68204_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.155 | 0.128 | 0.113 | 0.398 | 0.325 | 11 | 0.817 | False |
| D4_training_data_68204_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.153 | 0.124 | 0.112 | 0.369 | 0.339 | 15 | 0.926 | False |
| D4_training_data_68213_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 38 | 0.110 | 0.096 | 0.120 | 0.160 | 0.608 | 38 | 1.000 | False |
| D4_training_data_68213_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.132 | 0.098 | 0.103 | 0.159 | 0.620 | 28 | 0.714 | False |
| D4_training_data_68213_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.121 | 0.097 | 0.121 | 0.165 | 0.592 | 43 | 0.894 | False |
| D4_training_data_68213_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.127 | 0.086 | 0.119 | 0.165 | 0.535 | 39 | 1.000 | False |
| D4_training_data_68219_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.136 | 0.174 | 0.126 | 0.305 | 0.594 | 17 | 0.629 | False |
| D4_training_data_68219_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.114 | 0.175 | 0.108 | 0.268 | 0.654 | 12 | 0.387 | False |
| D4_training_data_68219_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.103 | 0.204 | 0.095 | 0.281 | 0.744 | 18 | 0.581 | False |
| D4_training_data_68219_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.133 | 0.168 | 0.126 | 0.287 | 0.601 | 25 | 0.908 | False |
| D4_training_data_68222_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.124 | 0.145 | 0.121 | 0.187 | 0.784 | 11 | 0.597 | False |
| D4_training_data_68222_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.141 | 0.123 | 0.127 | 0.188 | 0.682 | 26 | 0.880 | False |
| D4_training_data_68222_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.130 | 0.139 | 0.128 | 0.192 | 0.759 | 21 | 0.969 | False |
| D4_training_data_68222_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.139 | 0.131 | 0.097 | 0.170 | 0.775 | 17 | 0.841 | False |
| D4_training_data_68255_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.122 | 0.113 | 0.122 | 0.193 | 0.599 | 25 | 1.000 | False |
| D4_training_data_68255_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.149 | 0.125 | 0.102 | 0.182 | 0.700 | 35 | 1.000 | False |
| D4_training_data_68255_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.135 | 0.120 | 0.107 | 0.199 | 0.611 | 35 | 1.000 | False |
| D4_training_data_68255_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.144 | 0.125 | 0.107 | 0.169 | 0.737 | 35 | 1.000 | False |
| D4_training_data_68260_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.112 | 0.187 | 0.097 | 0.280 | 0.681 | 7 | 0.435 | False |
| D4_training_data_68260_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.132 | 0.163 | 0.127 | 0.234 | 0.705 | 14 | 0.606 | False |
| D4_training_data_68260_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.113 | 0.171 | 0.133 | 0.247 | 0.698 | 17 | 1.000 | False |
| D4_training_data_68260_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.132 | 0.143 | 0.117 | 0.241 | 0.603 | 12 | 0.823 | False |
| D4_training_data_68269_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.061 | 0.137 | 0.038 | 0.144 | 0.917 | 5 | 1.000 | False |
| D4_training_data_68269_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.066 | 0.139 | 0.066 | 0.143 | 1.025 | 9 | 0.568 | False |
| D4_training_data_68279_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.133 | 0.155 | 0.126 | 0.242 | 0.638 | 7 | 0.220 | False |
| D4_training_data_68279_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.196 | 0.131 | 0.175 | 0.299 | 0.440 | 10 | 0.449 | False |
| D4_training_data_68279_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.158 | 0.177 | 0.151 | 0.354 | 0.562 | 8 | 0.541 | False |
| D4_training_data_68292_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.108 | 0.168 | 0.095 | 0.277 | 0.585 | 9 | 0.464 | False |
| D4_training_data_68292_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.150 | 0.154 | 0.122 | 0.225 | 0.665 | 19 | 0.813 | False |
| D4_training_data_68292_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.128 | 0.153 | 0.130 | 0.224 | 0.666 | 14 | 0.577 | False |
| D4_training_data_68292_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.143 | 0.147 | 0.111 | 0.241 | 0.631 | 15 | 0.819 | False |
| D4_training_data_68298_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.076 | 0.139 | 0.074 | 0.157 | 0.887 | 6 | 0.123 | False |
| D4_training_data_68298_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.097 | 0.147 | 0.088 | 0.143 | 1.056 | 12 | 0.262 | False |
| D4_training_data_68303_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.107 | 0.107 | 0.080 | 0.162 | 0.667 | 25 | 0.899 | False |
| D4_training_data_68303_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.091 | 0.115 | 0.078 | 0.156 | 0.742 | 21 | 0.840 | False |
| D4_training_data_68303_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.100 | 0.110 | 0.077 | 0.160 | 0.701 | 28 | 0.916 | False |
| D4_training_data_68303_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.101 | 0.113 | 0.084 | 0.153 | 0.753 | 18 | 1.000 | False |
| D4_training_data_68306_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.136 | 0.132 | 0.131 | 0.270 | 0.500 | 16 | 0.517 | False |
| D4_training_data_68306_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.150 | 0.101 | 0.106 | 0.290 | 0.354 | 22 | 0.670 | False |
| D4_training_data_68306_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.157 | 0.109 | 0.107 | 0.287 | 0.384 | 34 | 0.997 | False |
| D4_training_data_68306_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.160 | 0.120 | 0.124 | 0.314 | 0.370 | 20 | 0.467 | False |
| D4_training_data_68316_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.155 | 0.144 | 0.118 | 0.231 | 0.763 | 10 | 0.833 | False |
| D4_training_data_68316_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.146 | 0.155 | 0.130 | 0.232 | 0.664 | 20 | 1.000 | False |
| D4_training_data_68316_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.129 | 0.165 | 0.138 | 0.228 | 0.725 | 13 | 1.000 | False |
| D4_training_data_68316_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.130 | 0.157 | 0.129 | 0.242 | 0.628 | 10 | 0.809 | False |
| D4_training_data_68318_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.120 | 0.144 | 0.113 | 0.231 | 0.621 | 18 | 0.989 | False |
| D4_training_data_68318_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.125 | 0.138 | 0.107 | 0.228 | 0.612 | 17 | 0.642 | False |
| D4_training_data_68318_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.118 | 0.135 | 0.128 | 0.207 | 0.661 | 23 | 0.876 | False |
| D4_training_data_68318_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.132 | 0.151 | 0.108 | 0.223 | 0.674 | 17 | 0.900 | False |
| D4_training_data_68327_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.111 | 0.107 | 0.104 | 0.160 | 0.674 | 13 | 0.384 | False |
| D4_training_data_68327_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.113 | 0.111 | 0.108 | 0.185 | 0.622 | 15 | 0.465 | False |
| D4_training_data_68327_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.107 | 0.096 | 0.103 | 0.158 | 0.632 | 19 | 0.563 | False |
| D4_training_data_68327_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.076 | 0.122 | 0.063 | 0.198 | 0.627 | 10 | 0.226 | False |
| D4_training_data_68330_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.095 | 0.118 | 0.073 | 0.121 | 1.001 | 5 | 0.090 | False |
| D4_training_data_68337_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.074 | 0.146 | 0.064 | 0.206 | 0.722 | 13 | 0.300 | False |
| D4_training_data_68337_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.093 | 0.144 | 0.077 | 0.157 | 0.935 | 17 | 0.425 | False |
| D4_training_data_68337_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.105 | 0.115 | 0.117 | 0.155 | 0.749 | 21 | 0.473 | False |
| D4_training_data_68337_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.102 | 0.122 | 0.098 | 0.144 | 0.856 | 26 | 0.384 | False |
| D4_training_data_68347_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.099 | 0.120 | 0.082 | 0.148 | 0.816 | 6 | 0.189 | False |
| D4_training_data_68347_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.106 | 0.102 | 0.103 | 0.103 | 1.006 | 6 | 0.235 | False |
| D4_training_data_68347_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.084 | 0.124 | 0.093 | 0.110 | 1.179 | 6 | 0.330 | False |
| D4_training_data_68347_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.090 | 0.128 | 0.075 | 0.146 | 0.927 | 7 | 0.320 | False |
| D4_training_data_68359_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.142 | 0.120 | 0.112 | 0.295 | 0.416 | 12 | 0.919 | False |
| D4_training_data_68359_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.140 | 0.130 | 0.118 | 0.291 | 0.459 | 13 | 0.737 | False |
| D4_training_data_68359_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.133 | 0.126 | 0.113 | 0.224 | 0.571 | 27 | 0.972 | False |
| D4_training_data_68359_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.150 | 0.132 | 0.123 | 0.292 | 0.459 | 13 | 0.879 | False |
| D4_training_data_68363_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.116 | 0.163 | 0.137 | 0.187 | 0.900 | 18 | 0.692 | False |
| D4_training_data_68363_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.145 | 0.103 | 0.132 | 0.195 | 0.555 | 17 | 0.605 | False |
| D4_training_data_68368_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.144 | 0.152 | 0.133 | 0.394 | 0.413 | 15 | 0.819 | False |
| D4_training_data_68368_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.152 | 0.159 | 0.121 | 0.409 | 0.388 | 19 | 0.948 | False |
| D4_training_data_68368_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.125 | 0.174 | 0.122 | 0.382 | 0.441 | 15 | 0.736 | False |
| D4_training_data_68368_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.147 | 0.168 | 0.119 | 0.410 | 0.412 | 16 | 0.849 | False |
| D4_training_data_68374_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.119 | 0.122 | 0.115 | 0.154 | 0.802 | 24 | 0.556 | False |
| D4_training_data_68374_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 41 | 0.134 | 0.107 | 0.108 | 0.142 | 0.774 | 40 | 0.964 | False |
| D4_training_data_68377_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.155 | 0.131 | 0.128 | 0.350 | 0.399 | 10 | 0.761 | False |
| D4_training_data_68377_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.146 | 0.121 | 0.110 | 0.268 | 0.464 | 18 | 0.725 | False |
| D4_training_data_68377_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.142 | 0.121 | 0.112 | 0.291 | 0.423 | 21 | 0.968 | False |
| D4_training_data_68377_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.152 | 0.108 | 0.127 | 0.246 | 0.442 | 19 | 1.000 | False |
| D4_training_data_68379_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.130 | 0.106 | 0.129 | 0.181 | 0.596 | 18 | 0.940 | False |
| D4_training_data_68379_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.148 | 0.116 | 0.112 | 0.209 | 0.566 | 21 | 1.000 | False |
| D4_training_data_68379_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.119 | 0.137 | 0.126 | 0.221 | 0.638 | 16 | 0.740 | False |
| D4_training_data_68379_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.123 | 0.075 | 0.144 | 0.286 | 0.268 | 16 | 0.919 | False |
| D4_training_data_68394_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.116 | 0.167 | 0.108 | 0.220 | 0.771 | 15 | 0.626 | False |
| D4_training_data_68394_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.125 | 0.164 | 0.126 | 0.240 | 0.698 | 28 | 1.000 | False |
| D4_training_data_68395_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.111 | 0.156 | 0.122 | 0.258 | 0.614 | 15 | 0.508 | False |
| D4_training_data_68395_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.117 | 0.152 | 0.104 | 0.245 | 0.636 | 6 | 0.180 | False |
| D4_training_data_68404_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.066 | 0.174 | 0.053 | 0.154 | 1.139 | 7 | 0.221 | False |
| D4_training_data_68404_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.098 | 0.126 | 0.086 | 0.157 | 0.815 | 10 | 0.306 | False |
| D4_training_data_68404_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.090 | 0.141 | 0.078 | 0.142 | 1.025 | 12 | 0.500 | False |
| D4_training_data_68406_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.130 | 0.115 | 0.110 | 0.208 | 0.576 | 14 | 0.474 | False |
| D4_training_data_68406_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.117 | 0.121 | 0.117 | 0.149 | 0.830 | 25 | 0.660 | False |
| D4_training_data_68406_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.117 | 0.128 | 0.123 | 0.191 | 0.699 | 16 | 0.486 | False |
| D4_training_data_68406_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.120 | 0.129 | 0.128 | 0.158 | 0.831 | 25 | 0.748 | False |
| D4_training_data_68407_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.097 | 0.151 | 0.081 | 0.192 | 0.792 | 9 | 0.336 | False |
| D4_training_data_68407_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.128 | 0.129 | 0.108 | 0.145 | 0.898 | 26 | 0.875 | False |
| D4_training_data_68407_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.137 | 0.098 | 0.110 | 0.173 | 0.581 | 15 | 0.491 | False |
| D4_training_data_68407_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.130 | 0.110 | 0.101 | 0.165 | 0.666 | 21 | 0.720 | False |
| D4_training_data_68412_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.117 | 0.104 | 0.101 | 0.112 | 0.938 | 15 | 0.926 | False |
| D4_training_data_68412_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.082 | 0.134 | 0.072 | 0.129 | 1.049 | 11 | 0.291 | False |
| D4_training_data_68412_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.097 | 0.113 | 0.083 | 0.126 | 0.913 | 12 | 0.456 | False |
| D4_training_data_68412_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.089 | 0.113 | 0.111 | 0.107 | 1.063 | 12 | 0.414 | False |
| D4_training_data_68413_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.093 | 0.167 | 0.086 | 0.214 | 0.797 | 14 | 0.387 | False |
| D4_training_data_68413_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.066 | 0.192 | 0.053 | 0.212 | 0.943 | 29 | 0.766 | False |
| D4_training_data_68413_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 38 | 0.121 | 0.125 | 0.127 | 0.163 | 0.786 | 37 | 1.000 | False |
| D4_training_data_68413_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 38 | 0.135 | 0.123 | 0.122 | 0.167 | 0.736 | 37 | 1.000 | False |
| D4_training_data_68419_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.098 | 0.116 | 0.079 | 0.112 | 1.041 | 9 | 0.470 | False |
| D4_training_data_68419_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.068 | 0.154 | 0.054 | 0.128 | 1.206 | 8 | 0.136 | False |
| D4_training_data_68419_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.058 | 0.119 | 0.066 | 0.156 | 0.764 | 7 | 0.314 | False |
| D4_training_data_68419_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.087 | 0.122 | 0.081 | 0.104 | 1.199 | 14 | 0.515 | False |
| D4_training_data_68423_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.105 | 0.104 | 0.103 | 0.134 | 0.769 | 8 | 0.311 | False |
| D4_training_data_68423_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.099 | 0.122 | 0.095 | 0.135 | 0.904 | 9 | 0.279 | False |
| D4_training_data_68423_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.073 | 0.072 | 0.097 | 0.204 | 0.349 | 6 | 0.234 | False |
| D4_training_data_68423_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.104 | 0.103 | 0.090 | 0.157 | 0.662 | 6 | 1.000 | False |
| D4_training_data_68425_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.126 | 0.090 | 0.112 | 0.215 | 0.419 | 29 | 0.924 | False |
| D4_training_data_68425_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.128 | 0.123 | 0.106 | 0.162 | 0.772 | 29 | 0.861 | False |
| D4_training_data_68425_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.130 | 0.115 | 0.126 | 0.207 | 0.568 | 28 | 0.790 | False |
| D4_training_data_68425_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.134 | 0.120 | 0.110 | 0.166 | 0.731 | 30 | 0.917 | False |
| D4_training_data_68427_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.131 | 0.149 | 0.121 | 0.273 | 0.578 | 20 | 0.855 | False |
| D4_training_data_68427_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.145 | 0.158 | 0.129 | 0.267 | 0.606 | 7 | 0.244 | False |
| D4_training_data_68427_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.133 | 0.157 | 0.135 | 0.317 | 0.557 | 16 | 0.629 | False |
| D4_training_data_68427_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.135 | 0.154 | 0.123 | 0.282 | 0.582 | 7 | 0.339 | False |
| D4_training_data_68431_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.131 | 0.111 | 0.126 | 0.260 | 0.444 | 12 | 0.381 | False |
| D4_training_data_68431_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.132 | 0.141 | 0.110 | 0.218 | 0.650 | 12 | 0.323 | False |
| D4_training_data_68431_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.133 | 0.132 | 0.128 | 0.234 | 0.570 | 11 | 0.374 | False |
| D4_training_data_68431_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.128 | 0.144 | 0.124 | 0.253 | 0.577 | 10 | 0.336 | False |
| D4_training_data_68432_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.140 | 0.143 | 0.107 | 0.347 | 0.424 | 9 | 0.340 | False |
| D4_training_data_68432_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.121 | 0.147 | 0.105 | 0.340 | 0.442 | 9 | 0.287 | False |
| D4_training_data_68432_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.135 | 0.128 | 0.109 | 0.380 | 0.335 | 20 | 0.753 | False |
| D4_training_data_68432_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.102 | 0.173 | 0.093 | 0.345 | 0.512 | 8 | 0.194 | False |
| D4_training_data_68435_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.076 | 0.149 | 0.064 | 0.192 | 0.777 | 20 | 0.448 | False |
| D4_training_data_68435_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.068 | 0.165 | 0.062 | 0.160 | 1.033 | 6 | 0.129 | False |
| D4_training_data_68436_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 27 | 0.125 | 0.101 | 0.109 | 0.260 | 0.400 | 27 | 0.790 | False |
| D4_training_data_68436_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.152 | 0.108 | 0.114 | 0.189 | 0.571 | 33 | 0.960 | False |
| D4_training_data_68436_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.131 | 0.115 | 0.113 | 0.234 | 0.494 | 32 | 0.950 | False |
| D4_training_data_68436_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.130 | 0.104 | 0.113 | 0.235 | 0.463 | 28 | 0.817 | False |
| D4_training_data_68444_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.113 | 0.181 | 0.110 | 0.345 | 0.522 | 14 | 0.533 | False |
| D4_training_data_68444_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.168 | 0.148 | 0.135 | 0.261 | 0.704 | 11 | 0.408 | False |
| D4_training_data_68444_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.157 | 0.161 | 0.138 | 0.273 | 0.604 | 20 | 0.690 | False |
| D4_training_data_68444_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.146 | 0.141 | 0.137 | 0.284 | 0.505 | 28 | 1.000 | False |
| D4_training_data_68449_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.122 | 0.092 | 0.080 | 0.226 | 0.410 | 14 | 0.348 | False |
| D4_training_data_68449_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.128 | 0.091 | 0.114 | 0.170 | 0.540 | 29 | 0.705 | False |
| D4_training_data_68449_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.129 | 0.112 | 0.086 | 0.229 | 0.491 | 11 | 0.314 | False |
| D4_training_data_68456_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.120 | 0.116 | 0.118 | 0.179 | 0.657 | 13 | 0.815 | False |
| D4_training_data_68456_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.114 | 0.127 | 0.111 | 0.190 | 0.704 | 6 | 0.206 | False |
| D4_training_data_68456_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.111 | 0.130 | 0.095 | 0.230 | 0.564 | 7 | 0.380 | False |
| D4_training_data_68456_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.123 | 0.125 | 0.114 | 0.180 | 0.722 | 13 | 0.619 | False |
| D4_training_data_68460_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.136 | 0.171 | 0.116 | 0.244 | 0.698 | 8 | 0.252 | False |
| D4_training_data_68460_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.137 | 0.166 | 0.127 | 0.203 | 0.822 | 16 | 0.400 | False |
| D4_training_data_68460_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.133 | 0.173 | 0.141 | 0.205 | 0.879 | 22 | 0.856 | False |
| D4_training_data_68460_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.143 | 0.165 | 0.117 | 0.243 | 0.702 | 19 | 0.606 | False |
| D4_training_data_68465_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.121 | 0.128 | 0.124 | 0.247 | 0.530 | 15 | 0.784 | False |
| D4_training_data_68465_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.119 | 0.165 | 0.107 | 0.275 | 0.600 | 13 | 0.574 | False |
| D4_training_data_68465_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.129 | 0.132 | 0.138 | 0.236 | 0.559 | 9 | 0.927 | False |
| D4_training_data_68465_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.134 | 0.138 | 0.118 | 0.216 | 0.642 | 9 | 0.919 | False |
| D4_training_data_68470_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.117 | 0.154 | 0.106 | 0.198 | 0.776 | 7 | 0.598 | False |
| D4_training_data_68470_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.121 | 0.140 | 0.127 | 0.179 | 0.805 | 11 | 1.000 | False |
| D4_training_data_68477_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.131 | 0.112 | 0.117 | 0.227 | 0.486 | 25 | 1.000 | False |
| D4_training_data_68477_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.131 | 0.138 | 0.107 | 0.190 | 0.746 | 34 | 0.932 | False |
| D4_training_data_68477_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.119 | 0.139 | 0.108 | 0.217 | 0.646 | 28 | 0.737 | False |
| D4_training_data_68477_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.115 | 0.128 | 0.110 | 0.222 | 0.556 | 18 | 0.505 | False |
| D4_training_data_68478_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.131 | 0.134 | 0.108 | 0.241 | 0.567 | 13 | 0.410 | False |
| D4_training_data_68478_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.123 | 0.136 | 0.109 | 0.191 | 0.718 | 15 | 0.583 | False |
| D4_training_data_68478_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.120 | 0.117 | 0.106 | 0.245 | 0.483 | 7 | 0.260 | False |
| D4_training_data_68478_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.121 | 0.133 | 0.107 | 0.248 | 0.549 | 9 | 0.437 | False |
| D4_training_data_68482_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.119 | 0.124 | 0.102 | 0.138 | 0.914 | 8 | 0.360 | False |
| D4_training_data_68482_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.066 | 0.182 | 0.056 | 0.175 | 1.040 | 10 | 0.276 | False |
| D4_training_data_68482_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.082 | 0.156 | 0.084 | 0.168 | 0.931 | 10 | 0.364 | False |
| D4_training_data_68482_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.119 | 0.126 | 0.108 | 0.111 | 1.144 | 14 | 0.612 | False |
| D4_training_data_68484_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.084 | 0.197 | 0.092 | 0.157 | 1.302 | 5 | 0.199 | False |
| D4_training_data_68484_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.106 | 0.136 | 0.108 | 0.167 | 0.823 | 7 | 0.279 | False |
| D4_training_data_68484_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.122 | 0.128 | 0.126 | 0.155 | 0.836 | 15 | 0.932 | False |
| D4_training_data_68484_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.118 | 0.139 | 0.127 | 0.145 | 0.964 | 7 | 0.467 | False |
| D4_training_data_68487_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.125 | 0.109 | 0.126 | 0.237 | 0.465 | 22 | 0.626 | False |
| D4_training_data_68487_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.136 | 0.080 | 0.114 | 0.219 | 0.369 | 27 | 0.664 | False |
| D4_training_data_68487_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.125 | 0.133 | 0.116 | 0.213 | 0.635 | 27 | 0.723 | False |
| D4_training_data_68487_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.125 | 0.095 | 0.125 | 0.213 | 0.459 | 16 | 0.292 | False |
| D4_training_data_68498_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.116 | 0.132 | 0.102 | 0.248 | 0.531 | 9 | 0.292 | False |
| D4_training_data_68498_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.115 | 0.168 | 0.090 | 0.290 | 0.614 | 7 | 0.239 | False |
| D4_training_data_68498_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.118 | 0.151 | 0.122 | 0.201 | 0.761 | 9 | 0.263 | False |
| D4_training_data_68498_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.126 | 0.145 | 0.128 | 0.210 | 0.696 | 24 | 0.521 | False |
| D4_training_data_68504_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.112 | 0.172 | 0.124 | 0.321 | 0.546 | 19 | 0.668 | False |
| D4_training_data_68504_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.130 | 0.165 | 0.126 | 0.288 | 0.581 | 37 | 1.000 | False |
| D4_training_data_68504_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.127 | 0.174 | 0.134 | 0.262 | 0.701 | 13 | 0.440 | False |
| D4_training_data_68504_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.139 | 0.172 | 0.105 | 0.247 | 0.744 | 12 | 0.366 | False |
| D4_training_data_68532_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.084 | 0.127 | 0.089 | 0.148 | 0.837 | 11 | 0.474 | False |
| D4_training_data_68532_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.085 | 0.160 | 0.084 | 0.154 | 1.045 | 6 | 0.160 | False |
| D4_training_data_68532_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.103 | 0.132 | 0.101 | 0.137 | 1.005 | 13 | 0.308 | False |
| D4_training_data_68532_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.114 | 0.115 | 0.111 | 0.181 | 0.634 | 14 | 0.326 | False |
| D4_training_data_68545_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.119 | 0.140 | 0.101 | 0.305 | 0.457 | 12 | 0.368 | False |
| D4_training_data_68545_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.112 | 0.122 | 0.112 | 0.205 | 0.598 | 8 | 0.224 | False |
| D4_training_data_68545_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.129 | 0.136 | 0.110 | 0.270 | 0.507 | 7 | 0.191 | False |
| D4_training_data_68545_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.124 | 0.133 | 0.105 | 0.288 | 0.457 | 21 | 0.415 | False |
| D4_training_data_68556_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.104 | 0.106 | 0.087 | 0.111 | 0.960 | 7 | 0.211 | False |
| D4_training_data_68556_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.057 | 0.152 | 0.060 | 0.164 | 0.928 | 9 | 0.441 | False |
| D4_training_data_68560_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.136 | 0.093 | 0.147 | 0.291 | 0.333 | 14 | 0.744 | False |
| D4_training_data_68560_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.130 | 0.171 | 0.126 | 0.246 | 0.697 | 11 | 0.220 | False |
| D4_training_data_68560_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.138 | 0.142 | 0.137 | 0.228 | 0.653 | 8 | 0.351 | False |
| D4_training_data_68560_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.171 | 0.087 | 0.145 | 0.278 | 0.328 | 14 | 0.815 | False |
| D4_training_data_68567_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.111 | 0.126 | 0.103 | 0.169 | 0.761 | 12 | 1.000 | False |
| D4_training_data_68567_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.113 | 0.128 | 0.109 | 0.169 | 0.809 | 10 | 0.269 | False |
| D4_training_data_68567_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.101 | 0.159 | 0.090 | 0.179 | 0.913 | 7 | 1.000 | False |
| D4_training_data_68567_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.117 | 0.128 | 0.123 | 0.156 | 0.802 | 18 | 0.765 | False |
| D4_training_data_68576_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.168 | 0.154 | 0.085 | 0.166 | 0.899 | 7 | 0.225 | False |
| D4_training_data_68576_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.064 | 0.191 | 0.065 | 0.173 | 1.090 | 7 | 0.157 | False |
| D4_training_data_68582_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.146 | 0.142 | 0.117 | 0.305 | 0.480 | 18 | 0.851 | False |
| D4_training_data_68582_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.141 | 0.155 | 0.118 | 0.257 | 0.625 | 19 | 0.524 | False |
| D4_training_data_68582_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.144 | 0.157 | 0.120 | 0.306 | 0.558 | 13 | 0.787 | False |
| D4_training_data_68582_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.156 | 0.138 | 0.120 | 0.276 | 0.535 | 20 | 0.889 | False |
| D4_training_data_68624_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.094 | 0.190 | 0.100 | 0.389 | 0.490 | 7 | 0.284 | False |
| D4_training_data_68624_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.122 | 0.169 | 0.118 | 0.361 | 0.529 | 18 | 0.638 | False |
| D4_training_data_68624_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.139 | 0.166 | 0.133 | 0.358 | 0.510 | 11 | 0.448 | False |
| D4_training_data_68624_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.110 | 0.192 | 0.105 | 0.372 | 0.588 | 17 | 0.684 | False |
| D4_training_data_68632_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.116 | 0.136 | 0.094 | 0.170 | 0.812 | 16 | 0.383 | False |
| D4_training_data_68632_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.120 | 0.092 | 0.120 | 0.172 | 0.538 | 14 | 0.362 | False |
| D4_training_data_68632_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.112 | 0.132 | 0.106 | 0.177 | 0.754 | 15 | 0.380 | False |
| D4_training_data_68646_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.119 | 0.192 | 0.111 | 0.235 | 0.824 | 10 | 0.372 | False |
| D4_training_data_68646_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.129 | 0.173 | 0.128 | 0.214 | 0.814 | 35 | 0.799 | False |
| D4_training_data_68646_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.123 | 0.158 | 0.128 | 0.231 | 0.689 | 25 | 0.905 | False |
| D4_training_data_68646_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.146 | 0.141 | 0.142 | 0.197 | 0.713 | 20 | 0.981 | False |
| D4_training_data_68659_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.094 | 0.110 | 0.079 | 0.133 | 0.824 | 10 | 0.231 | False |
| D4_training_data_68659_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.097 | 0.124 | 0.073 | 0.143 | 0.886 | 27 | 0.632 | False |
| D4_training_data_68659_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.077 | 0.132 | 0.077 | 0.134 | 0.985 | 12 | 0.221 | False |
| D4_training_data_68659_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.108 | 0.115 | 0.085 | 0.130 | 0.902 | 24 | 0.542 | False |
| D4_training_data_68660_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.128 | 0.095 | 0.128 | 0.223 | 0.436 | 12 | 0.902 | False |
| D4_training_data_68660_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.119 | 0.121 | 0.121 | 0.183 | 0.673 | 18 | 0.591 | False |
| D4_training_data_68660_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.116 | 0.118 | 0.124 | 0.211 | 0.568 | 15 | 0.663 | False |
| D4_training_data_68660_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.131 | 0.106 | 0.114 | 0.202 | 0.525 | 24 | 0.679 | False |
| D4_training_data_68682_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.151 | 0.154 | 0.130 | 0.485 | 0.324 | 14 | 0.924 | False |
| D4_training_data_68682_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.151 | 0.152 | 0.142 | 0.402 | 0.382 | 17 | 0.879 | False |
| D4_training_data_68682_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.129 | 0.155 | 0.131 | 0.464 | 0.335 | 11 | 0.784 | False |
| D4_training_data_68682_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.152 | 0.155 | 0.124 | 0.455 | 0.341 | 11 | 0.787 | False |
| D4_training_data_68698_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.119 | 0.117 | 0.103 | 0.181 | 0.647 | 6 | 0.391 | False |
| D4_training_data_68698_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.108 | 0.144 | 0.076 | 0.162 | 0.950 | 7 | 0.361 | False |
| D4_training_data_68698_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.117 | 0.113 | 0.097 | 0.136 | 0.838 | 7 | 0.360 | False |
| D4_training_data_68698_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.099 | 0.143 | 0.084 | 0.167 | 0.864 | 7 | 0.287 | False |
| D4_training_data_68702_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.127 | 0.107 | 0.114 | 0.183 | 0.589 | 28 | 0.744 | False |
| D4_training_data_68702_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.101 | 0.136 | 0.098 | 0.158 | 0.866 | 5 | 0.118 | False |
| D4_training_data_68702_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.113 | 0.109 | 0.118 | 0.158 | 0.700 | 28 | 0.657 | False |
| D4_training_data_68702_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.117 | 0.112 | 0.118 | 0.174 | 0.647 | 19 | 0.359 | False |
| D4_training_data_68705_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.133 | 0.139 | 0.116 | 0.207 | 0.676 | 15 | 0.852 | False |
| D4_training_data_68705_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.123 | 0.141 | 0.119 | 0.207 | 0.684 | 6 | 0.191 | False |
| D4_training_data_68705_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.133 | 0.126 | 0.130 | 0.181 | 0.712 | 14 | 1.000 | False |
| D4_training_data_68705_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.119 | 0.149 | 0.101 | 0.218 | 0.687 | 12 | 0.651 | False |
| D4_training_data_68708_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.117 | 0.121 | 0.117 | 0.252 | 0.504 | 29 | 0.885 | False |
| D4_training_data_68708_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.115 | 0.125 | 0.110 | 0.210 | 0.667 | 32 | 0.881 | False |
| D4_training_data_68708_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.118 | 0.126 | 0.107 | 0.225 | 0.581 | 25 | 0.600 | False |
| D4_training_data_68708_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.117 | 0.130 | 0.105 | 0.203 | 0.656 | 23 | 0.632 | False |
| D4_training_data_68711_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.126 | 0.107 | 0.112 | 0.251 | 0.435 | 19 | 0.544 | False |
| D4_training_data_68711_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.114 | 0.129 | 0.119 | 0.197 | 0.669 | 18 | 0.499 | False |
| D4_training_data_68711_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.126 | 0.114 | 0.119 | 0.254 | 0.448 | 26 | 0.816 | False |
| D4_training_data_68711_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.130 | 0.123 | 0.118 | 0.204 | 0.622 | 24 | 0.466 | False |
| D4_training_data_68737_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.125 | 0.139 | 0.135 | 0.229 | 0.609 | 16 | 0.533 | False |
| D4_training_data_68737_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.144 | 0.139 | 0.114 | 0.232 | 0.609 | 28 | 0.967 | False |
| D4_training_data_68737_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.125 | 0.141 | 0.121 | 0.232 | 0.603 | 27 | 0.865 | False |
| D4_training_data_68737_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.128 | 0.138 | 0.119 | 0.233 | 0.603 | 31 | 0.954 | False |
| D4_training_data_68738_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.132 | 0.145 | 0.126 | 0.210 | 0.702 | 14 | 0.881 | False |
| D4_training_data_68738_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 40 | 0.135 | 0.156 | 0.106 | 0.217 | 0.728 | 39 | 0.856 | False |
| D4_training_data_68738_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.123 | 0.153 | 0.120 | 0.192 | 0.787 | 7 | 0.329 | False |
| D4_training_data_68738_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.149 | 0.137 | 0.115 | 0.200 | 0.697 | 16 | 0.964 | False |
| D4_training_data_68740_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.146 | 0.134 | 0.124 | 0.179 | 0.773 | 11 | 0.620 | False |
| D4_training_data_68740_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.123 | 0.130 | 0.118 | 0.162 | 0.812 | 15 | 0.875 | False |
| D4_training_data_68740_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.129 | 0.130 | 0.102 | 0.169 | 0.784 | 15 | 0.932 | False |
| D4_training_data_68740_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.138 | 0.145 | 0.110 | 0.202 | 0.732 | 12 | 0.868 | False |
| D4_training_data_68741_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.151 | 0.148 | 0.136 | 0.450 | 0.332 | 18 | 0.919 | False |
| D4_training_data_68741_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.128 | 0.157 | 0.133 | 0.361 | 0.441 | 19 | 0.460 | False |
| D4_training_data_68741_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.136 | 0.152 | 0.131 | 0.400 | 0.380 | 16 | 0.593 | False |
| D4_training_data_68741_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.148 | 0.144 | 0.124 | 0.404 | 0.360 | 26 | 0.917 | False |
| D4_training_data_68752_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.126 | 0.113 | 0.114 | 0.172 | 0.666 | 35 | 0.884 | False |
| D4_training_data_68752_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.099 | 0.131 | 0.108 | 0.176 | 0.773 | 7 | 0.199 | False |
| D4_training_data_68752_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.122 | 0.087 | 0.115 | 0.176 | 0.502 | 15 | 0.351 | False |
| D4_training_data_68752_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.118 | 0.090 | 0.117 | 0.175 | 0.524 | 21 | 0.354 | False |
| D4_training_data_68755_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.128 | 0.142 | 0.110 | 0.199 | 0.721 | 22 | 0.583 | False |
| D4_training_data_68755_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.116 | 0.121 | 0.111 | 0.201 | 0.609 | 21 | 0.511 | False |
| D4_training_data_68755_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.123 | 0.114 | 0.126 | 0.213 | 0.543 | 19 | 0.522 | False |
| D4_training_data_68755_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.135 | 0.107 | 0.100 | 0.222 | 0.487 | 38 | 0.715 | False |
| D4_training_data_68756_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.147 | 0.137 | 0.126 | 0.304 | 0.459 | 29 | 0.701 | False |
| D4_training_data_68756_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.137 | 0.167 | 0.131 | 0.409 | 0.414 | 14 | 0.883 | False |
| D4_training_data_68756_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.114 | 0.188 | 0.103 | 0.330 | 0.573 | 8 | 0.261 | False |
| D4_training_data_68757_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.056 | 0.143 | 0.072 | 0.153 | 0.941 | 8 | 0.196 | False |
| D4_training_data_68757_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.095 | 0.126 | 0.090 | 0.128 | 1.014 | 13 | 0.313 | False |
| D4_training_data_68757_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.114 | 0.102 | 0.094 | 0.136 | 0.805 | 13 | 0.405 | False |
| D4_training_data_68796_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.132 | 0.191 | 0.121 | 0.499 | 0.379 | 8 | 0.330 | False |
| D4_training_data_68796_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.121 | 0.176 | 0.115 | 0.406 | 0.450 | 18 | 0.673 | False |
| D4_training_data_68796_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.142 | 0.178 | 0.141 | 0.478 | 0.388 | 20 | 0.752 | False |
| D4_training_data_68796_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.142 | 0.155 | 0.125 | 0.389 | 0.456 | 10 | 0.444 | False |
| D4_training_data_68827_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.147 | 0.165 | 0.140 | 0.366 | 0.566 | 15 | 0.533 | False |
| D4_training_data_68827_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.139 | 0.188 | 0.127 | 0.374 | 0.560 | 29 | 0.866 | False |
| D4_training_data_68827_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.157 | 0.171 | 0.121 | 0.446 | 0.445 | 14 | 0.532 | False |
| D4_training_data_68831_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.123 | 0.118 | 0.109 | 0.179 | 0.658 | 10 | 0.263 | False |
| D4_training_data_68831_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.138 | 0.144 | 0.114 | 0.179 | 0.813 | 21 | 0.593 | False |
| D4_training_data_68831_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.124 | 0.133 | 0.102 | 0.238 | 0.560 | 17 | 0.521 | False |
| D4_training_data_68831_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.121 | 0.148 | 0.095 | 0.209 | 0.730 | 14 | 0.406 | False |
| D4_training_data_68849_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.144 | 0.141 | 0.121 | 0.258 | 0.569 | 16 | 0.839 | False |
| D4_training_data_68849_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.123 | 0.154 | 0.120 | 0.227 | 0.694 | 13 | 0.444 | False |
| D4_training_data_68849_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.129 | 0.176 | 0.117 | 0.217 | 0.845 | 7 | 0.233 | False |
| D4_training_data_68849_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.137 | 0.150 | 0.107 | 0.232 | 0.664 | 24 | 1.000 | False |
| D4_training_data_68857_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.084 | 0.149 | 0.073 | 0.141 | 1.075 | 18 | 0.296 | False |
| D4_training_data_68861_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.083 | 0.141 | 0.075 | 0.212 | 0.725 | 8 | 0.318 | False |
| D4_training_data_68861_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.103 | 0.113 | 0.123 | 0.232 | 0.491 | 18 | 0.413 | False |
| D4_training_data_68861_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.122 | 0.106 | 0.117 | 0.208 | 0.532 | 32 | 0.687 | False |
| D4_training_data_68861_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.109 | 0.131 | 0.114 | 0.188 | 0.716 | 30 | 0.684 | False |
| D4_training_data_68864_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.089 | 0.156 | 0.066 | 0.280 | 0.561 | 7 | 0.160 | False |
| D4_training_data_68864_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.143 | 0.118 | 0.120 | 0.172 | 0.680 | 11 | 0.366 | False |
| D4_training_data_68864_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.130 | 0.135 | 0.102 | 0.286 | 0.474 | 7 | 0.267 | False |
| D4_training_data_68874_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.130 | 0.134 | 0.120 | 0.281 | 0.479 | 29 | 1.000 | False |
| D4_training_data_68874_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.132 | 0.136 | 0.114 | 0.284 | 0.481 | 13 | 0.438 | False |
| D4_training_data_68874_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.156 | 0.115 | 0.139 | 0.254 | 0.460 | 13 | 0.411 | False |
| D4_training_data_68874_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.137 | 0.136 | 0.127 | 0.269 | 0.514 | 17 | 0.584 | False |
| D4_training_data_68886_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.115 | 0.095 | 0.097 | 0.155 | 0.628 | 19 | 0.450 | False |
| D4_training_data_68886_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.111 | 0.103 | 0.095 | 0.160 | 0.656 | 37 | 0.905 | False |
| D4_training_data_68886_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.133 | 0.073 | 0.100 | 0.144 | 0.536 | 17 | 0.328 | False |
| D4_training_data_68886_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.116 | 0.083 | 0.088 | 0.167 | 0.506 | 21 | 0.483 | False |
| D4_training_data_68887_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.115 | 0.089 | 0.077 | 0.174 | 0.517 | 5 | 0.169 | False |
| D4_training_data_68887_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.090 | 0.133 | 0.082 | 0.196 | 0.683 | 10 | 0.213 | False |
| D4_training_data_68887_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.103 | 0.109 | 0.092 | 0.165 | 0.658 | 8 | 0.228 | False |
| D4_training_data_68888_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.105 | 0.118 | 0.099 | 0.126 | 0.946 | 8 | 0.313 | False |
| D4_training_data_68888_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.085 | 0.145 | 0.075 | 0.152 | 0.981 | 8 | 0.243 | False |
| D4_training_data_68888_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.098 | 0.135 | 0.085 | 0.171 | 0.786 | 12 | 0.317 | False |
| D4_training_data_68888_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.114 | 0.119 | 0.097 | 0.140 | 0.865 | 27 | 0.818 | False |
| D4_training_data_68895_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.103 | 0.117 | 0.095 | 0.136 | 0.875 | 31 | 0.708 | False |
| D4_training_data_68895_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.113 | 0.104 | 0.097 | 0.112 | 0.936 | 15 | 0.331 | False |
| D4_training_data_68895_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.112 | 0.111 | 0.094 | 0.109 | 1.028 | 30 | 0.654 | False |
| D4_training_data_68895_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.107 | 0.109 | 0.091 | 0.121 | 0.913 | 37 | 0.816 | False |
| D4_training_data_68901_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.121 | 0.110 | 0.102 | 0.178 | 0.628 | 13 | 0.359 | False |
| D4_training_data_68901_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.114 | 0.118 | 0.121 | 0.175 | 0.668 | 25 | 0.664 | False |
| D4_training_data_68901_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.079 | 0.147 | 0.089 | 0.143 | 1.018 | 10 | 0.217 | False |
| D4_training_data_68901_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.117 | 0.109 | 0.123 | 0.159 | 0.683 | 28 | 0.764 | False |
| D4_training_data_68908_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.124 | 0.171 | 0.113 | 0.207 | 0.838 | 5 | 0.143 | False |
| D4_training_data_68908_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.134 | 0.123 | 0.123 | 0.252 | 0.496 | 16 | 0.438 | False |
| D4_training_data_68908_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.130 | 0.148 | 0.099 | 0.259 | 0.572 | 20 | 0.425 | False |
| D4_training_data_68909_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.110 | 0.112 | 0.090 | 0.183 | 0.609 | 14 | 0.329 | False |
| D4_training_data_68909_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.114 | 0.108 | 0.109 | 0.152 | 0.718 | 17 | 0.423 | False |
| D4_training_data_68909_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.111 | 0.115 | 0.096 | 0.183 | 0.643 | 12 | 0.312 | False |
| D4_training_data_68909_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.118 | 0.106 | 0.117 | 0.146 | 0.724 | 35 | 0.882 | False |
| D4_training_data_68952_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.128 | 0.109 | 0.116 | 0.215 | 0.512 | 13 | 0.405 | False |
| D4_training_data_68952_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.129 | 0.125 | 0.113 | 0.167 | 0.747 | 35 | 0.951 | False |
| D4_training_data_68952_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.109 | 0.141 | 0.129 | 0.183 | 0.790 | 13 | 0.403 | False |
| D4_training_data_68952_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.129 | 0.136 | 0.102 | 0.171 | 0.794 | 29 | 0.795 | False |
| D4_training_data_69060_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.140 | 0.094 | 0.124 | 0.177 | 0.531 | 12 | 0.341 | False |
| D4_training_data_69060_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.145 | 0.112 | 0.104 | 0.176 | 0.668 | 13 | 0.338 | False |
| D4_training_data_69060_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.122 | 0.146 | 0.096 | 0.175 | 0.815 | 10 | 0.275 | False |
| D4_training_data_69060_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.117 | 0.137 | 0.118 | 0.185 | 0.743 | 9 | 0.240 | False |
| D4_training_data_69066_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.099 | 0.130 | 0.141 | 0.225 | 0.575 | 16 | 0.491 | False |
| D4_training_data_69066_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.131 | 0.152 | 0.118 | 0.201 | 0.772 | 14 | 0.474 | False |
| D4_training_data_69066_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.116 | 0.138 | 0.127 | 0.178 | 0.781 | 31 | 1.000 | False |
| D4_training_data_69066_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.126 | 0.131 | 0.123 | 0.183 | 0.727 | 29 | 0.818 | False |
| D4_training_data_69067_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.126 | 0.130 | 0.109 | 0.258 | 0.517 | 9 | 0.423 | False |
| D4_training_data_69067_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.124 | 0.141 | 0.110 | 0.260 | 0.564 | 7 | 0.269 | False |
| D4_training_data_69067_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.142 | 0.114 | 0.132 | 0.237 | 0.505 | 11 | 0.603 | False |
| D4_training_data_69067_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.089 | 0.159 | 0.075 | 0.334 | 0.498 | 9 | 0.483 | False |
| D4_training_data_69068_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.110 | 0.147 | 0.109 | 0.175 | 0.837 | 21 | 0.549 | False |
| D4_training_data_69068_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.124 | 0.156 | 0.100 | 0.172 | 0.917 | 10 | 0.269 | False |
| D4_training_data_69068_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.133 | 0.125 | 0.118 | 0.189 | 0.668 | 26 | 0.663 | False |
| D4_training_data_69068_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.136 | 0.111 | 0.099 | 0.146 | 0.758 | 23 | 0.386 | False |
| D4_training_data_69079_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.089 | 0.162 | 0.068 | 0.235 | 0.695 | 16 | 0.443 | False |
| D4_training_data_69079_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.113 | 0.115 | 0.106 | 0.209 | 0.556 | 20 | 0.557 | False |
| D4_training_data_69079_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.090 | 0.154 | 0.087 | 0.210 | 0.744 | 16 | 0.401 | False |
| D4_training_data_69079_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.089 | 0.147 | 0.089 | 0.218 | 0.679 | 22 | 0.395 | False |
| D4_training_data_69093_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.136 | 0.136 | 0.115 | 0.239 | 0.577 | 9 | 0.310 | False |
| D4_training_data_69093_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.140 | 0.144 | 0.103 | 0.225 | 0.634 | 18 | 0.581 | False |
| D4_training_data_69093_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.118 | 0.146 | 0.129 | 0.242 | 0.611 | 17 | 0.579 | False |
| D4_training_data_69093_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.143 | 0.122 | 0.116 | 0.242 | 0.508 | 38 | 0.822 | False |
| D4_training_data_69095_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.096 | 0.120 | 0.089 | 0.148 | 0.830 | 15 | 0.314 | False |
| D4_training_data_69095_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.098 | 0.107 | 0.073 | 0.146 | 0.743 | 33 | 0.659 | False |
| D4_training_data_69095_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.086 | 0.134 | 0.090 | 0.138 | 0.981 | 7 | 0.176 | False |
| D4_training_data_69095_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 42 | 0.105 | 0.098 | 0.080 | 0.145 | 0.676 | 41 | 0.694 | False |
| D4_training_data_69096_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.089 | 0.142 | 0.078 | 0.155 | 0.919 | 7 | 0.363 | False |
| D4_training_data_69096_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.065 | 0.166 | 0.058 | 0.180 | 0.923 | 8 | 0.341 | False |
| D4_training_data_69096_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.112 | 0.120 | 0.097 | 0.129 | 0.931 | 9 | 0.609 | False |
| D4_training_data_69096_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.079 | 0.145 | 0.066 | 0.135 | 1.092 | 5 | 0.194 | False |
| D4_training_data_69106_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.094 | 0.139 | 0.081 | 0.189 | 0.737 | 10 | 0.243 | False |
| D4_training_data_69106_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.129 | 0.127 | 0.107 | 0.194 | 0.664 | 27 | 0.746 | False |
| D4_training_data_69106_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.116 | 0.140 | 0.119 | 0.182 | 0.781 | 8 | 0.240 | False |
| D4_training_data_69106_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 38 | 0.136 | 0.119 | 0.109 | 0.183 | 0.652 | 37 | 0.894 | False |
| D4_training_data_69112_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.132 | 0.110 | 0.119 | 0.152 | 0.744 | 11 | 0.815 | False |
| D4_training_data_69112_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.131 | 0.125 | 0.108 | 0.163 | 0.773 | 25 | 0.857 | False |
| D4_training_data_69112_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.125 | 0.104 | 0.115 | 0.154 | 0.685 | 13 | 0.780 | False |
| D4_training_data_69112_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.126 | 0.112 | 0.103 | 0.155 | 0.730 | 19 | 0.940 | False |
| D4_training_data_69120_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.138 | 0.165 | 0.118 | 0.199 | 0.833 | 13 | 0.752 | False |
| D4_training_data_69120_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.148 | 0.167 | 0.116 | 0.199 | 0.850 | 35 | 0.988 | False |
| D4_training_data_69120_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.151 | 0.153 | 0.141 | 0.187 | 0.822 | 12 | 0.449 | False |
| D4_training_data_69120_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.169 | 0.152 | 0.143 | 0.182 | 0.852 | 16 | 0.513 | False |
| D4_training_data_69125_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.116 | 0.126 | 0.102 | 0.192 | 0.637 | 8 | 0.253 | False |
| D4_training_data_69125_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.129 | 0.122 | 0.106 | 0.158 | 0.784 | 26 | 0.681 | False |
| D4_training_data_69125_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.131 | 0.117 | 0.115 | 0.167 | 0.708 | 10 | 0.228 | False |
| D4_training_data_69125_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.115 | 0.134 | 0.088 | 0.169 | 0.799 | 15 | 0.358 | False |
| D4_training_data_69129_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.086 | 0.143 | 0.084 | 0.170 | 0.821 | 7 | 0.270 | False |
| D4_training_data_69129_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.122 | 0.111 | 0.108 | 0.150 | 0.748 | 15 | 0.604 | False |
| D4_training_data_69129_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.118 | 0.113 | 0.119 | 0.154 | 0.748 | 19 | 0.715 | False |
| D4_training_data_69129_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.111 | 0.117 | 0.096 | 0.139 | 0.818 | 6 | 0.223 | False |
| D4_training_data_69141_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.129 | 0.150 | 0.127 | 0.365 | 0.446 | 22 | 0.864 | False |
| D4_training_data_69141_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.141 | 0.162 | 0.134 | 0.313 | 0.525 | 22 | 0.847 | False |
| D4_training_data_69141_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.117 | 0.149 | 0.141 | 0.291 | 0.520 | 28 | 0.933 | False |
| D4_training_data_69141_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.133 | 0.146 | 0.131 | 0.371 | 0.413 | 23 | 0.922 | False |
| D4_training_data_69144_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.126 | 0.140 | 0.119 | 0.369 | 0.395 | 17 | 0.488 | False |
| D4_training_data_69144_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.138 | 0.160 | 0.126 | 0.294 | 0.552 | 17 | 0.577 | False |
| D4_training_data_69144_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.128 | 0.165 | 0.117 | 0.300 | 0.556 | 19 | 0.550 | False |
| D4_training_data_69144_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.133 | 0.173 | 0.122 | 0.308 | 0.575 | 25 | 0.762 | False |
| D4_training_data_69147_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.159 | 0.191 | 0.135 | 0.222 | 0.883 | 12 | 0.913 | False |
| D4_training_data_69147_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.154 | 0.106 | 0.119 | 0.270 | 0.397 | 17 | 0.521 | False |
| D4_training_data_69147_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.144 | 0.116 | 0.134 | 0.291 | 0.432 | 16 | 0.639 | False |
| D4_training_data_69147_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.157 | 0.110 | 0.138 | 0.231 | 0.485 | 18 | 0.960 | False |
| D4_training_data_69152_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.139 | 0.131 | 0.123 | 0.303 | 0.448 | 9 | 0.442 | False |
| D4_training_data_69152_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.158 | 0.113 | 0.137 | 0.249 | 0.463 | 7 | 0.285 | False |
| D4_training_data_69152_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.137 | 0.143 | 0.141 | 0.268 | 0.543 | 5 | 0.254 | False |
| D4_training_data_69152_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.138 | 0.144 | 0.136 | 0.300 | 0.503 | 6 | 0.336 | False |
| D4_training_data_69155_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.079 | 0.137 | 0.080 | 0.155 | 0.886 | 5 | 0.109 | False |
| D4_training_data_69155_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.105 | 0.116 | 0.112 | 0.143 | 0.810 | 8 | 0.410 | False |
| D4_training_data_69155_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.122 | 0.107 | 0.095 | 0.124 | 0.871 | 10 | 0.609 | False |
| D4_training_data_69159_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.137 | 0.123 | 0.112 | 0.201 | 0.622 | 20 | 1.000 | False |
| D4_training_data_69159_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.163 | 0.120 | 0.121 | 0.172 | 0.710 | 22 | 0.523 | False |
| D4_training_data_69159_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.132 | 0.119 | 0.126 | 0.222 | 0.539 | 19 | 0.880 | False |
| D4_training_data_69159_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.140 | 0.142 | 0.115 | 0.207 | 0.690 | 21 | 0.972 | False |
| D4_training_data_69161_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.137 | 0.106 | 0.126 | 0.313 | 0.341 | 21 | 0.743 | False |
| D4_training_data_69161_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.120 | 0.165 | 0.102 | 0.240 | 0.687 | 9 | 0.263 | False |
| D4_training_data_69161_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.137 | 0.149 | 0.120 | 0.218 | 0.687 | 14 | 0.424 | False |
| D4_training_data_69161_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.128 | 0.161 | 0.114 | 0.223 | 0.717 | 15 | 0.472 | False |
| D4_training_data_69174_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.107 | 0.142 | 0.105 | 0.210 | 0.678 | 14 | 0.391 | False |
| D4_training_data_69174_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.118 | 0.130 | 0.126 | 0.191 | 0.687 | 21 | 0.545 | False |
| D4_training_data_69174_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.117 | 0.114 | 0.119 | 0.197 | 0.589 | 20 | 0.500 | False |
| D4_training_data_69174_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.137 | 0.121 | 0.109 | 0.181 | 0.671 | 34 | 0.888 | False |
| D4_training_data_69176_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.132 | 0.115 | 0.108 | 0.284 | 0.402 | 26 | 0.804 | False |
| D4_training_data_69176_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.126 | 0.110 | 0.123 | 0.247 | 0.445 | 29 | 0.878 | False |
| D4_training_data_69176_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.124 | 0.113 | 0.123 | 0.265 | 0.432 | 20 | 0.636 | False |
| D4_training_data_69176_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.144 | 0.097 | 0.120 | 0.219 | 0.444 | 20 | 0.570 | False |
| D4_training_data_69188_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.099 | 0.111 | 0.078 | 0.144 | 0.786 | 21 | 0.405 | False |
| D4_training_data_69188_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.091 | 0.123 | 0.079 | 0.153 | 0.825 | 18 | 0.363 | False |
| D4_training_data_69188_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.099 | 0.121 | 0.084 | 0.143 | 0.863 | 43 | 0.921 | False |
| D4_training_data_69188_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.094 | 0.118 | 0.061 | 0.149 | 0.826 | 22 | 0.489 | False |
| D4_training_data_70280_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.083 | 0.147 | 0.088 | 0.130 | 1.170 | 9 | 0.208 | False |
| D4_training_data_70280_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.070 | 0.159 | 0.068 | 0.165 | 0.983 | 9 | 0.165 | False |
| D4_training_data_72283_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.097 | 0.094 | 0.077 | 0.187 | 0.511 | 5 | 0.124 | False |
| D4_training_data_72283_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.067 | 0.137 | 0.053 | 0.212 | 0.678 | 15 | 0.333 | False |
| D4_training_data_72283_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.080 | 0.108 | 0.069 | 0.223 | 0.485 | 10 | 0.140 | False |
| D4_training_data_72288_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.096 | 0.136 | 0.089 | 0.101 | 1.390 | 5 | 0.184 | False |
| D4_training_data_73316_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.095 | 0.133 | 0.089 | 0.179 | 0.766 | 27 | 0.851 | False |
| D4_training_data_73316_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.064 | 0.160 | 0.060 | 0.148 | 1.059 | 9 | 0.286 | False |
| D4_training_data_73316_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.091 | 0.138 | 0.085 | 0.159 | 0.877 | 8 | 0.320 | False |
| D4_training_data_73316_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.113 | 0.110 | 0.087 | 0.149 | 0.744 | 21 | 0.699 | False |
| D4_training_data_73497_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.087 | 0.193 | 0.089 | 0.300 | 0.646 | 10 | 0.484 | False |
| D4_training_data_73497_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.126 | 0.129 | 0.114 | 0.285 | 0.461 | 13 | 0.525 | False |
| D4_training_data_73497_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.125 | 0.142 | 0.118 | 0.262 | 0.551 | 13 | 0.853 | False |
| D4_training_data_73497_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.116 | 0.150 | 0.111 | 0.275 | 0.545 | 9 | 0.618 | False |
| D4_training_data_74417_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.091 | 0.123 | 0.083 | 0.146 | 0.851 | 13 | 0.286 | False |
| D4_training_data_74417_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.068 | 0.111 | 0.079 | 0.141 | 0.807 | 6 | 0.166 | False |
| D4_training_data_74417_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.084 | 0.132 | 0.082 | 0.117 | 1.164 | 9 | 0.215 | False |
| D4_training_data_74417_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.083 | 0.114 | 0.091 | 0.124 | 0.943 | 17 | 0.363 | False |
| D4_training_data_74420_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.111 | 0.129 | 0.107 | 0.154 | 0.841 | 19 | 0.701 | False |
| D4_training_data_74420_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.112 | 0.123 | 0.118 | 0.143 | 0.868 | 32 | 0.892 | False |
| D4_training_data_75440_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.144 | 0.091 | 0.130 | 0.152 | 0.608 | 14 | 0.363 | False |
| D4_training_data_75440_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.100 | 0.164 | 0.107 | 0.171 | 0.967 | 17 | 0.440 | False |
| D4_training_data_75440_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.113 | 0.122 | 0.107 | 0.144 | 0.838 | 13 | 0.332 | False |
| D4_training_data_75440_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.106 | 0.136 | 0.092 | 0.159 | 0.857 | 25 | 0.607 | False |
| D4_training_data_76240_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.119 | 0.133 | 0.123 | 0.245 | 0.546 | 22 | 0.940 | False |
| D4_training_data_76240_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.133 | 0.128 | 0.128 | 0.259 | 0.502 | 22 | 0.957 | False |
| D4_training_data_76240_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.114 | 0.140 | 0.137 | 0.228 | 0.619 | 25 | 0.945 | False |
| D4_training_data_76240_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.138 | 0.076 | 0.130 | 0.280 | 0.275 | 23 | 0.941 | False |
| D4_training_data_76758_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.060 | 0.100 | 0.069 | 0.133 | 0.754 | 7 | 0.149 | False |
| D4_training_data_77373_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.109 | 0.153 | 0.092 | 0.185 | 0.845 | 15 | 0.389 | False |
| D4_training_data_77373_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.108 | 0.131 | 0.096 | 0.144 | 0.934 | 31 | 0.654 | False |
| D4_training_data_77373_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.101 | 0.159 | 0.108 | 0.147 | 1.105 | 15 | 0.393 | False |
| D4_training_data_77373_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.119 | 0.118 | 0.125 | 0.152 | 0.790 | 25 | 0.799 | False |
| D4_training_data_78280_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.091 | 0.107 | 0.092 | 0.144 | 0.745 | 6 | 0.115 | False |
| D4_training_data_78280_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.105 | 0.101 | 0.094 | 0.138 | 0.742 | 15 | 0.339 | False |
| D4_training_data_78582_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.073 | 0.152 | 0.059 | 0.143 | 1.064 | 6 | 0.115 | False |
| D4_training_data_78582_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.122 | 0.097 | 0.092 | 0.133 | 0.736 | 6 | 0.132 | False |
| D4_training_data_78592_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.113 | 0.130 | 0.097 | 0.179 | 0.703 | 5 | 0.147 | False |
| D4_training_data_78592_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.123 | 0.100 | 0.119 | 0.174 | 0.578 | 26 | 0.681 | False |
| D4_training_data_78592_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.106 | 0.125 | 0.127 | 0.184 | 0.683 | 21 | 0.566 | False |
| D4_training_data_78592_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.123 | 0.101 | 0.117 | 0.183 | 0.557 | 16 | 0.277 | False |
| D4_training_data_80348_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.123 | 0.145 | 0.094 | 0.254 | 0.595 | 11 | 0.331 | False |
| D4_training_data_80348_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.137 | 0.133 | 0.116 | 0.300 | 0.449 | 15 | 0.517 | False |
| D4_training_data_80348_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.143 | 0.115 | 0.138 | 0.275 | 0.458 | 12 | 0.292 | False |
| D4_training_data_80348_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 39 | 0.143 | 0.131 | 0.120 | 0.289 | 0.455 | 37 | 0.886 | False |
| D4_training_data_81035_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.073 | 0.132 | 0.064 | 0.154 | 0.858 | 13 | 0.284 | False |
| D4_training_data_81297_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.118 | 0.158 | 0.122 | 0.169 | 0.965 | 10 | 0.517 | False |
| D4_training_data_81297_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.093 | 0.189 | 0.089 | 0.183 | 1.048 | 11 | 0.399 | False |
| D4_training_data_81297_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.150 | 0.146 | 0.141 | 0.176 | 0.842 | 11 | 0.645 | False |
| D4_training_data_81297_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.126 | 0.156 | 0.118 | 0.190 | 0.838 | 15 | 0.956 | False |
| D4_training_data_81501_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.112 | 0.116 | 0.122 | 0.186 | 0.628 | 14 | 0.357 | False |
| D4_training_data_81501_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.108 | 0.138 | 0.100 | 0.169 | 0.832 | 10 | 0.335 | False |
| D4_training_data_81501_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.129 | 0.137 | 0.107 | 0.201 | 0.712 | 8 | 0.415 | False |
| D4_training_data_81501_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.123 | 0.118 | 0.114 | 0.147 | 0.815 | 26 | 0.958 | False |
| D4_training_data_81638_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.088 | 0.109 | 0.063 | 0.126 | 0.858 | 6 | 0.118 | False |
| D4_training_data_81638_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.073 | 0.129 | 0.063 | 0.120 | 1.091 | 10 | 0.204 | False |
| D4_training_data_82275_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.117 | 0.099 | 0.098 | 0.209 | 0.545 | 28 | 0.599 | False |
| D4_training_data_82275_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.138 | 0.096 | 0.113 | 0.191 | 0.503 | 28 | 0.676 | False |
| D4_training_data_83094_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.117 | 0.085 | 0.099 | 0.092 | 1.009 | 8 | 0.168 | False |
| D4_training_data_84687_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.073 | 0.131 | 0.057 | 0.171 | 0.752 | 9 | 0.186 | False |
| D4_training_data_84687_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 5 | 0.095 | 0.126 | 0.053 | 0.151 | 0.867 | 5 | 0.107 | False |
| D4_training_data_84688_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.061 | 0.148 | 0.052 | 0.172 | 0.870 | 13 | 0.244 | False |
| D4_training_data_84689_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 5 | 0.060 | 0.099 | 0.068 | 0.337 | 0.502 | 5 | 0.312 | False |
| D4_training_data_84689_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.100 | 0.169 | 0.080 | 0.242 | 0.647 | 9 | 0.440 | False |
| D4_training_data_84689_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.126 | 0.147 | 0.124 | 0.241 | 0.617 | 20 | 1.000 | False |
| D4_training_data_84689_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.061 | 0.217 | 0.042 | 0.308 | 0.704 | 13 | 0.543 | False |
| D4_training_data_84690_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.071 | 0.128 | 0.061 | 0.142 | 0.914 | 11 | 0.149 | False |
| D4_training_data_84690_Phc | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | Phc | True | 14 | 0.080 | 0.113 | 0.073 | 0.129 | 0.881 | 13 | 0.225 | False |
| D4_training_data_84690_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.063 | 0.133 | 0.061 | 0.137 | 1.019 | 16 | 0.309 | False |
| D4_training_data_84692_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.090 | 0.148 | 0.097 | 0.194 | 0.766 | 28 | 1.000 | False |
| D4_training_data_84692_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.096 | 0.153 | 0.110 | 0.164 | 0.961 | 27 | 0.930 | False |
| D4_training_data_84692_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.091 | 0.169 | 0.089 | 0.206 | 0.822 | 19 | 1.000 | False |
| D4_training_data_84692_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.126 | 0.140 | 0.105 | 0.160 | 0.861 | 21 | 0.771 | False |
| D4_training_data_84693_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.069 | 0.159 | 0.058 | 0.149 | 1.077 | 12 | 0.238 | False |
| D4_training_data_84693_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.078 | 0.178 | 0.059 | 0.140 | 1.276 | 13 | 0.279 | False |
| D4_training_data_84693_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.070 | 0.225 | 0.066 | 0.114 | 1.991 | 22 | 1.000 | False |
| D4_training_data_84693_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.098 | 0.187 | 0.089 | 0.090 | 2.117 | 19 | 1.000 | False |
| D4_training_data_84695_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.137 | 0.128 | 0.110 | 0.247 | 0.525 | 31 | 0.879 | False |
| D4_training_data_84695_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.126 | 0.147 | 0.102 | 0.201 | 0.739 | 10 | 0.283 | False |
| D4_training_data_84695_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.106 | 0.157 | 0.099 | 0.219 | 0.750 | 12 | 0.345 | False |
| D4_training_data_84695_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.138 | 0.134 | 0.124 | 0.180 | 0.757 | 22 | 0.504 | False |
| D4_training_data_84696_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.110 | 0.118 | 0.093 | 0.204 | 0.596 | 13 | 0.839 | False |
| D4_training_data_84696_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.124 | 0.124 | 0.094 | 0.166 | 0.759 | 20 | 0.759 | False |
| D4_training_data_84696_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.121 | 0.128 | 0.102 | 0.155 | 0.820 | 22 | 0.913 | False |
| D4_training_data_84696_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.129 | 0.119 | 0.095 | 0.155 | 0.777 | 19 | 0.886 | False |
| D4_training_data_84697_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.104 | 0.143 | 0.089 | 0.183 | 0.728 | 9 | 0.476 | False |
| D4_training_data_84697_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.132 | 0.135 | 0.114 | 0.168 | 0.818 | 26 | 1.000 | False |
| D4_training_data_84697_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.117 | 0.141 | 0.111 | 0.153 | 0.942 | 15 | 0.568 | False |
| D4_training_data_84697_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.125 | 0.133 | 0.121 | 0.160 | 0.876 | 27 | 0.897 | False |
| D4_training_data_84699_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.119 | 0.106 | 0.105 | 0.164 | 0.644 | 14 | 0.305 | False |
| D4_training_data_84699_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.120 | 0.109 | 0.092 | 0.188 | 0.585 | 22 | 0.502 | False |
| D4_training_data_84699_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.115 | 0.106 | 0.100 | 0.172 | 0.632 | 17 | 0.446 | False |
| D4_training_data_84699_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 46 | 0.133 | 0.105 | 0.100 | 0.154 | 0.693 | 46 | 0.934 | False |
| D4_training_data_84702_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.135 | 0.151 | 0.111 | 0.233 | 0.856 | 24 | 0.891 | False |
| D4_training_data_84702_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.128 | 0.129 | 0.099 | 0.230 | 0.720 | 9 | 0.337 | False |
| D4_training_data_84702_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.146 | 0.126 | 0.127 | 0.276 | 0.647 | 17 | 1.000 | False |
| D4_training_data_84704_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.129 | 0.116 | 0.121 | 0.340 | 0.344 | 18 | 0.750 | False |
| D4_training_data_84706_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.113 | 0.121 | 0.126 | 0.213 | 0.568 | 18 | 0.707 | False |
| D4_training_data_84706_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.097 | 0.165 | 0.098 | 0.181 | 0.948 | 15 | 0.453 | False |
| D4_training_data_84706_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.112 | 0.128 | 0.129 | 0.170 | 0.760 | 22 | 0.717 | False |
| D4_training_data_84706_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.116 | 0.134 | 0.125 | 0.170 | 0.808 | 11 | 0.386 | False |
| D4_training_data_84708_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.076 | 0.142 | 0.092 | 0.132 | 1.076 | 17 | 0.308 | False |
| D4_training_data_84708_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.094 | 0.140 | 0.083 | 0.138 | 1.033 | 9 | 0.160 | False |
| D4_training_data_84709_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.115 | 0.112 | 0.122 | 0.172 | 0.654 | 17 | 0.572 | False |
| D4_training_data_84709_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.118 | 0.124 | 0.111 | 0.167 | 0.791 | 9 | 0.324 | False |
| D4_training_data_84709_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.110 | 0.135 | 0.100 | 0.156 | 0.866 | 17 | 0.620 | False |
| D4_training_data_84709_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.143 | 0.118 | 0.106 | 0.161 | 0.720 | 25 | 1.000 | False |
| D4_training_data_84710_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.114 | 0.159 | 0.106 | 0.207 | 0.791 | 10 | 0.407 | False |
| D4_training_data_84710_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.118 | 0.156 | 0.105 | 0.148 | 1.000 | 10 | 0.428 | False |
| D4_training_data_84710_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.112 | 0.148 | 0.125 | 0.187 | 0.790 | 23 | 0.854 | False |
| D4_training_data_84710_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.128 | 0.138 | 0.121 | 0.216 | 0.665 | 22 | 0.891 | False |
| D4_training_data_84711_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.116 | 0.110 | 0.114 | 0.168 | 0.661 | 23 | 1.000 | False |
| D4_training_data_84711_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.124 | 0.115 | 0.099 | 0.151 | 0.761 | 32 | 1.000 | False |
| D4_training_data_84711_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.109 | 0.117 | 0.105 | 0.149 | 0.798 | 17 | 0.777 | False |
| D4_training_data_84711_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.117 | 0.106 | 0.108 | 0.151 | 0.699 | 31 | 1.000 | False |
| D4_training_data_84713_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.121 | 0.154 | 0.110 | 0.296 | 0.478 | 5 | 0.159 | False |
| D4_training_data_84713_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.123 | 0.169 | 0.109 | 0.311 | 0.545 | 15 | 0.506 | False |
| D4_training_data_84713_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 6 | 0.134 | 0.165 | 0.111 | 0.287 | 0.581 | 6 | 0.140 | False |
| D4_training_data_84714_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.106 | 0.111 | 0.089 | 0.325 | 0.354 | 14 | 0.422 | False |
| D4_training_data_84714_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.114 | 0.098 | 0.128 | 0.248 | 0.393 | 10 | 0.195 | False |
| D4_training_data_84714_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.097 | 0.123 | 0.093 | 0.223 | 0.555 | 11 | 0.136 | False |
| D4_training_data_84716_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.168 | 0.155 | 0.158 | 0.285 | 0.559 | 10 | 0.552 | False |
| D4_training_data_84716_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.175 | 0.143 | 0.141 | 0.266 | 0.547 | 11 | 0.516 | False |
| D4_training_data_84716_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.146 | 0.158 | 0.149 | 0.315 | 0.508 | 18 | 0.896 | False |
| D4_training_data_84716_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.171 | 0.136 | 0.133 | 0.269 | 0.512 | 11 | 0.431 | False |
| D4_training_data_84718_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.121 | 0.140 | 0.125 | 0.314 | 0.498 | 22 | 0.866 | False |
| D4_training_data_84718_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.171 | 0.097 | 0.105 | 0.308 | 0.328 | 13 | 0.606 | False |
| D4_training_data_84718_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.134 | 0.139 | 0.141 | 0.261 | 0.540 | 23 | 0.882 | False |
| D4_training_data_84718_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.120 | 0.129 | 0.114 | 0.304 | 0.430 | 21 | 0.935 | False |
| D4_training_data_84720_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.090 | 0.100 | 0.088 | 0.105 | 0.960 | 6 | 0.153 | False |
| D4_training_data_84721_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.088 | 0.137 | 0.080 | 0.162 | 0.922 | 15 | 0.468 | False |
| D4_training_data_84721_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.093 | 0.133 | 0.080 | 0.163 | 0.821 | 10 | 0.322 | False |
| D4_training_data_84721_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.108 | 0.131 | 0.100 | 0.153 | 0.869 | 11 | 1.000 | False |
| D4_training_data_84721_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.121 | 0.102 | 0.110 | 0.145 | 0.709 | 23 | 0.768 | False |
| D4_training_data_84724_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.146 | 0.152 | 0.143 | 0.400 | 0.377 | 10 | 0.580 | False |
| D4_training_data_84724_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.141 | 0.170 | 0.128 | 0.351 | 0.506 | 19 | 0.934 | False |
| D4_training_data_84724_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.126 | 0.171 | 0.125 | 0.306 | 0.562 | 20 | 0.908 | False |
| D4_training_data_84724_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.148 | 0.162 | 0.135 | 0.397 | 0.408 | 16 | 1.000 | False |
| D4_training_data_84725_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.132 | 0.130 | 0.111 | 0.186 | 0.695 | 22 | 0.741 | False |
| D4_training_data_84725_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.113 | 0.148 | 0.119 | 0.188 | 0.794 | 23 | 0.809 | False |
| D4_training_data_84725_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.122 | 0.153 | 0.104 | 0.198 | 0.836 | 11 | 0.337 | False |
| D4_training_data_84727_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.155 | 0.126 | 0.137 | 0.345 | 0.376 | 17 | 0.826 | False |
| D4_training_data_84727_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.122 | 0.163 | 0.103 | 0.289 | 0.575 | 8 | 0.420 | False |
| D4_training_data_84727_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.146 | 0.122 | 0.133 | 0.278 | 0.445 | 18 | 0.963 | False |
| D4_training_data_84727_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.140 | 0.139 | 0.114 | 0.269 | 0.520 | 12 | 0.565 | False |
| D4_training_data_84730_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.116 | 0.149 | 0.090 | 0.181 | 0.828 | 16 | 0.425 | False |
| D4_training_data_84730_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.118 | 0.096 | 0.114 | 0.176 | 0.554 | 10 | 0.233 | False |
| D4_training_data_84730_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.138 | 0.109 | 0.084 | 0.155 | 0.711 | 23 | 0.539 | False |
| D4_training_data_84730_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.126 | 0.136 | 0.092 | 0.179 | 0.788 | 17 | 0.320 | False |
| D4_training_data_84731_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.087 | 0.120 | 0.063 | 0.179 | 0.673 | 21 | 0.430 | False |
| D4_training_data_84732_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.094 | 0.108 | 0.090 | 0.123 | 0.881 | 7 | 0.148 | False |
| D4_training_data_84732_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.091 | 0.114 | 0.074 | 0.124 | 0.929 | 15 | 0.309 | False |
| D4_training_data_84733_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.126 | 0.157 | 0.121 | 0.300 | 0.526 | 21 | 0.836 | False |
| D4_training_data_84733_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.136 | 0.147 | 0.121 | 0.216 | 0.689 | 28 | 1.000 | False |
| D4_training_data_84733_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.129 | 0.168 | 0.136 | 0.249 | 0.708 | 23 | 0.939 | False |
| D4_training_data_84733_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.129 | 0.148 | 0.116 | 0.222 | 0.695 | 18 | 0.682 | False |
| D4_training_data_84734_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.085 | 0.130 | 0.068 | 0.327 | 0.406 | 11 | 0.320 | False |
| D4_training_data_84734_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.135 | 0.102 | 0.081 | 0.225 | 0.457 | 34 | 0.878 | False |
| D4_training_data_84734_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.122 | 0.112 | 0.108 | 0.256 | 0.442 | 22 | 0.654 | False |
| D4_training_data_84734_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.126 | 0.088 | 0.103 | 0.238 | 0.371 | 29 | 0.752 | False |
| D4_training_data_84735_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.127 | 0.166 | 0.123 | 0.250 | 0.673 | 21 | 0.825 | False |
| D4_training_data_84735_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.135 | 0.155 | 0.115 | 0.229 | 0.684 | 16 | 0.542 | False |
| D4_training_data_84735_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.130 | 0.149 | 0.129 | 0.229 | 0.648 | 21 | 0.787 | False |
| D4_training_data_84735_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.137 | 0.145 | 0.113 | 0.210 | 0.702 | 18 | 1.000 | False |
| D4_training_data_84736_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.053 | 0.073 | 0.055 | 0.139 | 0.524 | 8 | 0.147 | False |
| D4_training_data_84736_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.055 | 0.055 | 0.068 | 0.126 | 0.437 | 9 | 0.118 | False |
| D4_training_data_84738_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.092 | 0.136 | 0.073 | 0.147 | 0.949 | 9 | 0.285 | False |
| D4_training_data_84738_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.069 | 0.111 | 0.077 | 0.152 | 0.740 | 11 | 0.298 | False |
| D4_training_data_84738_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.099 | 0.116 | 0.093 | 0.123 | 0.945 | 10 | 0.268 | False |
| D4_training_data_84738_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.101 | 0.106 | 0.106 | 0.127 | 0.850 | 11 | 0.350 | False |
| D4_training_data_84740_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.107 | 0.170 | 0.091 | 0.280 | 0.637 | 18 | 0.525 | False |
| D4_training_data_84740_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.106 | 0.167 | 0.087 | 0.193 | 0.888 | 9 | 0.268 | False |
| D4_training_data_84740_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.132 | 0.147 | 0.117 | 0.218 | 0.701 | 21 | 0.625 | False |
| D4_training_data_84740_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.136 | 0.148 | 0.109 | 0.235 | 0.632 | 22 | 0.644 | False |
| D4_training_data_84742_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.115 | 0.104 | 0.115 | 0.199 | 0.518 | 18 | 0.491 | False |
| D4_training_data_84742_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.126 | 0.135 | 0.099 | 0.176 | 0.774 | 19 | 0.523 | False |
| D4_training_data_84742_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.122 | 0.126 | 0.110 | 0.178 | 0.711 | 24 | 0.663 | False |
| D4_training_data_84742_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.133 | 0.136 | 0.098 | 0.176 | 0.773 | 11 | 0.298 | False |
| D4_training_data_84743_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.139 | 0.137 | 0.122 | 0.309 | 0.464 | 12 | 0.729 | False |
| D4_training_data_84743_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.134 | 0.164 | 0.116 | 0.278 | 0.615 | 13 | 0.461 | False |
| D4_training_data_84743_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.125 | 0.155 | 0.133 | 0.316 | 0.501 | 10 | 0.652 | False |
| D4_training_data_84743_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.130 | 0.150 | 0.124 | 0.293 | 0.551 | 8 | 0.489 | False |
| D4_training_data_84746_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.145 | 0.143 | 0.111 | 0.319 | 0.447 | 8 | 0.371 | False |
| D4_training_data_84747_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.102 | 0.114 | 0.081 | 0.130 | 0.898 | 6 | 0.105 | False |
| D4_training_data_84749_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 35 | 0.128 | 0.122 | 0.096 | 0.233 | 0.532 | 34 | 0.907 | False |
| D4_training_data_84749_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.113 | 0.148 | 0.092 | 0.241 | 0.623 | 11 | 0.294 | False |
| D4_training_data_84749_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.115 | 0.135 | 0.102 | 0.243 | 0.557 | 24 | 0.659 | False |
| D4_training_data_84749_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.180 | 0.432 | 0.148 | 0.470 | 0.926 | 11 | 0.634 | False |
| D4_training_data_84750_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.107 | 0.150 | 0.100 | 0.272 | 0.554 | 7 | 0.213 | False |
| D4_training_data_84750_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.115 | 0.163 | 0.128 | 0.208 | 0.784 | 24 | 0.654 | False |
| D4_training_data_84750_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.107 | 0.177 | 0.112 | 0.277 | 0.642 | 22 | 0.695 | False |
| D4_training_data_84750_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.138 | 0.167 | 0.119 | 0.265 | 0.634 | 13 | 0.275 | False |
| D4_training_data_84751_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.114 | 0.233 | 0.113 | 0.168 | 1.434 | 6 | 0.438 | False |
| D4_training_data_84751_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.129 | 0.107 | 0.116 | 0.252 | 0.424 | 18 | 0.888 | False |
| D4_training_data_84751_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.117 | 0.254 | 0.112 | 0.137 | 1.851 | 7 | 0.481 | False |
| D4_training_data_84751_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.141 | 0.083 | 0.151 | 0.237 | 0.360 | 12 | 1.000 | False |
| D4_training_data_84753_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.135 | 0.128 | 0.114 | 0.259 | 0.506 | 21 | 0.656 | False |
| D4_training_data_84753_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.142 | 0.137 | 0.125 | 0.243 | 0.653 | 18 | 0.584 | False |
| D4_training_data_84753_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.134 | 0.135 | 0.117 | 0.235 | 0.577 | 24 | 0.722 | False |
| D4_training_data_84753_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.148 | 0.136 | 0.126 | 0.239 | 0.605 | 23 | 0.770 | False |
| D4_training_data_84754_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.156 | 0.156 | 0.131 | 0.357 | 0.431 | 8 | 0.335 | False |
| D4_training_data_84754_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.135 | 0.171 | 0.108 | 0.354 | 0.488 | 22 | 0.833 | False |
| D4_training_data_84754_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.121 | 0.167 | 0.104 | 0.353 | 0.476 | 24 | 0.720 | False |
| D4_training_data_84755_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.120 | 0.123 | 0.102 | 0.144 | 0.868 | 9 | 0.387 | False |
| D4_training_data_84758_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.116 | 0.098 | 0.090 | 0.161 | 0.576 | 7 | 0.166 | False |
| D4_training_data_84758_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.106 | 0.102 | 0.097 | 0.155 | 0.661 | 11 | 0.250 | False |
| D4_training_data_84758_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.086 | 0.124 | 0.075 | 0.163 | 0.764 | 6 | 0.170 | False |
| D4_training_data_84758_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.100 | 0.111 | 0.094 | 0.154 | 0.721 | 9 | 0.137 | False |
| D4_training_data_84760_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.077 | 0.164 | 0.073 | 0.183 | 0.890 | 7 | 0.178 | False |
| D4_training_data_84760_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.100 | 0.129 | 0.090 | 0.161 | 0.801 | 14 | 0.344 | False |
| D4_training_data_84760_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.108 | 0.088 | 0.110 | 0.183 | 0.488 | 11 | 0.283 | False |
| D4_training_data_84761_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.120 | 0.154 | 0.108 | 0.253 | 0.634 | 11 | 0.378 | False |
| D4_training_data_84761_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.107 | 0.177 | 0.131 | 0.243 | 0.710 | 17 | 0.680 | False |
| D4_training_data_84761_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.112 | 0.159 | 0.132 | 0.220 | 0.734 | 10 | 0.315 | False |
| D4_training_data_84761_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.117 | 0.170 | 0.112 | 0.210 | 0.802 | 13 | 0.467 | False |
| D4_training_data_84762_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.104 | 0.127 | 0.099 | 0.178 | 0.748 | 11 | 0.331 | False |
| D4_training_data_84762_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.105 | 0.132 | 0.113 | 0.161 | 0.834 | 12 | 0.395 | False |
| D4_training_data_84762_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.112 | 0.127 | 0.122 | 0.156 | 0.825 | 31 | 0.875 | False |
| D4_training_data_84762_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.098 | 0.151 | 0.091 | 0.156 | 0.916 | 11 | 0.335 | False |
| D4_training_data_84764_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.138 | 0.111 | 0.125 | 0.254 | 0.448 | 18 | 0.887 | False |
| D4_training_data_84764_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.134 | 0.134 | 0.127 | 0.272 | 0.505 | 15 | 0.801 | False |
| D4_training_data_84764_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.136 | 0.110 | 0.124 | 0.204 | 0.564 | 16 | 0.842 | False |
| D4_training_data_84764_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.126 | 0.108 | 0.107 | 0.255 | 0.430 | 16 | 0.939 | False |
| D4_training_data_84765_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.112 | 0.123 | 0.102 | 0.438 | 0.314 | 6 | 0.255 | False |
| D4_training_data_84765_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.132 | 0.092 | 0.114 | 0.192 | 0.513 | 17 | 0.448 | False |
| D4_training_data_84765_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.099 | 0.119 | 0.100 | 0.215 | 1.241 | 11 | 0.285 | False |
| D4_training_data_84765_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.135 | 0.097 | 0.124 | 0.187 | 0.528 | 30 | 0.825 | False |
| D4_training_data_84768_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.132 | 0.091 | 0.110 | 0.191 | 0.484 | 14 | 0.378 | False |
| D4_training_data_84768_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.156 | 0.435 | 0.150 | 0.408 | 1.089 | 6 | 0.371 | False |
| D4_training_data_84769_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.130 | 0.292 | 0.129 | 0.322 | 0.888 | 6 | 0.267 | False |
| D4_training_data_84769_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.120 | 0.142 | 0.090 | 0.170 | 0.837 | 11 | 0.260 | False |
| D4_training_data_84775_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.138 | 0.124 | 0.120 | 0.331 | 0.377 | 19 | 0.900 | False |
| D4_training_data_84775_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.139 | 0.124 | 0.088 | 0.273 | 0.466 | 11 | 0.637 | False |
| D4_training_data_84775_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.131 | 0.131 | 0.103 | 0.308 | 0.426 | 25 | 1.000 | False |
| D4_training_data_84775_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.145 | 0.109 | 0.120 | 0.250 | 0.441 | 10 | 0.354 | False |
| D4_training_data_84776_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.118 | 0.147 | 0.131 | 0.140 | 1.113 | 22 | 0.728 | False |
| D4_training_data_84776_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.134 | 0.132 | 0.111 | 0.177 | 0.763 | 28 | 0.849 | False |
| D4_training_data_84776_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.133 | 0.122 | 0.111 | 0.192 | 0.638 | 15 | 0.523 | False |
| D4_training_data_84776_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.129 | 0.137 | 0.107 | 0.190 | 0.792 | 18 | 0.584 | False |
| D4_training_data_84778_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.107 | 0.116 | 0.089 | 0.127 | 0.932 | 21 | 0.586 | False |
| D4_training_data_84778_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.124 | 0.116 | 0.106 | 0.110 | 1.074 | 22 | 0.749 | False |
| D4_training_data_84778_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.116 | 0.113 | 0.099 | 0.107 | 1.063 | 15 | 0.494 | False |
| D4_training_data_84778_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.090 | 0.132 | 0.126 | 0.104 | 1.289 | 6 | 0.244 | False |
| D4_training_data_84779_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.136 | 0.147 | 0.124 | 0.265 | 0.595 | 20 | 1.000 | False |
| D4_training_data_84779_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.134 | 0.172 | 0.114 | 0.256 | 0.699 | 10 | 0.459 | False |
| D4_training_data_84779_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.136 | 0.117 | 0.120 | 0.265 | 0.478 | 10 | 0.388 | False |
| D4_training_data_84779_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.141 | 0.145 | 0.120 | 0.268 | 0.590 | 16 | 0.752 | False |
| D4_training_data_84780_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.126 | 0.104 | 0.125 | 0.154 | 0.688 | 31 | 0.970 | False |
| D4_training_data_84780_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.114 | 0.111 | 0.107 | 0.171 | 0.687 | 10 | 0.317 | False |
| D4_training_data_84780_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.121 | 0.103 | 0.105 | 0.151 | 0.693 | 24 | 0.922 | False |
| D4_training_data_84780_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.130 | 0.112 | 0.100 | 0.147 | 0.787 | 12 | 0.416 | False |
| D4_training_data_84784_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.103 | 0.125 | 0.095 | 0.229 | 0.549 | 11 | 0.324 | False |
| D4_training_data_84784_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.125 | 0.097 | 0.106 | 0.187 | 0.530 | 23 | 0.614 | False |
| D4_training_data_84785_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.149 | 0.114 | 0.123 | 0.229 | 0.507 | 15 | 0.734 | False |
| D4_training_data_84785_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.136 | 0.132 | 0.109 | 0.269 | 0.516 | 9 | 0.302 | False |
| D4_training_data_84785_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.130 | 0.127 | 0.126 | 0.254 | 0.518 | 13 | 0.751 | False |
| D4_training_data_84785_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.140 | 0.129 | 0.122 | 0.225 | 0.591 | 13 | 0.628 | False |
| D4_training_data_84786_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.082 | 0.142 | 0.081 | 0.157 | 0.923 | 13 | 0.302 | False |
| D4_training_data_84786_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.114 | 0.106 | 0.109 | 0.164 | 0.635 | 13 | 0.330 | False |
| D4_training_data_84786_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.090 | 0.142 | 0.076 | 0.176 | 0.822 | 9 | 0.235 | False |
| D4_training_data_84790_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.106 | 0.164 | 0.088 | 0.217 | 0.772 | 9 | 0.414 | False |
| D4_training_data_84793_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.145 | 0.148 | 0.125 | 0.372 | 0.444 | 6 | 0.585 | False |
| D4_training_data_84793_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.134 | 0.168 | 0.108 | 0.317 | 0.534 | 7 | 0.481 | False |
| D4_training_data_84793_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.166 | 0.136 | 0.158 | 0.388 | 0.407 | 11 | 0.840 | False |
| D4_training_data_84793_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.140 | 0.140 | 0.133 | 0.292 | 0.577 | 15 | 0.831 | False |
| D4_training_data_84796_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.096 | 0.119 | 0.080 | 0.183 | 0.678 | 10 | 0.220 | False |
| D4_training_data_84796_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.085 | 0.142 | 0.080 | 0.167 | 0.854 | 9 | 0.209 | False |
| D4_training_data_84798_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.108 | 0.116 | 0.092 | 0.139 | 0.845 | 9 | 0.260 | False |
| D4_training_data_84798_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.103 | 0.136 | 0.094 | 0.118 | 1.167 | 13 | 0.365 | False |
| D4_training_data_84798_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.101 | 0.130 | 0.097 | 0.142 | 0.930 | 8 | 0.504 | False |
| D4_training_data_84798_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.106 | 0.127 | 0.100 | 0.121 | 1.080 | 13 | 0.619 | False |
| D4_training_data_84799_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.126 | 0.096 | 0.100 | 0.174 | 0.542 | 24 | 0.710 | False |
| D4_training_data_84799_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.123 | 0.110 | 0.113 | 0.150 | 0.737 | 28 | 0.808 | False |
| D4_training_data_84799_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.109 | 0.119 | 0.123 | 0.173 | 0.702 | 34 | 0.933 | False |
| D4_training_data_84799_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.120 | 0.104 | 0.106 | 0.153 | 0.692 | 27 | 0.756 | False |
| D4_training_data_84802_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.137 | 0.119 | 0.099 | 0.347 | 0.344 | 25 | 0.902 | False |
| D4_training_data_84802_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.138 | 0.101 | 0.100 | 0.232 | 0.438 | 30 | 0.886 | False |
| D4_training_data_84802_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.131 | 0.106 | 0.116 | 0.344 | 0.314 | 24 | 0.829 | False |
| D4_training_data_84802_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.139 | 0.121 | 0.106 | 0.271 | 0.451 | 28 | 0.926 | False |
| D4_training_data_84803_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.116 | 0.163 | 0.101 | 0.250 | 0.616 | 6 | 0.215 | False |
| D4_training_data_84803_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.119 | 0.114 | 0.088 | 0.202 | 0.566 | 9 | 0.227 | False |
| D4_training_data_84803_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.124 | 0.129 | 0.119 | 0.206 | 0.627 | 26 | 0.698 | False |
| D4_training_data_84803_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.125 | 0.106 | 0.099 | 0.220 | 0.483 | 34 | 0.897 | False |
| D4_training_data_84804_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.098 | 0.108 | 0.076 | 0.109 | 0.980 | 14 | 0.270 | False |
| D4_training_data_84805_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.121 | 0.093 | 0.113 | 0.198 | 0.483 | 19 | 0.583 | False |
| D4_training_data_84805_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.126 | 0.104 | 0.126 | 0.174 | 0.605 | 30 | 0.871 | False |
| D4_training_data_84805_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.119 | 0.108 | 0.126 | 0.146 | 0.753 | 16 | 0.425 | False |
| D4_training_data_84805_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.117 | 0.110 | 0.124 | 0.157 | 0.706 | 34 | 0.876 | False |
| D4_training_data_84807_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.090 | 0.135 | 0.078 | 0.174 | 0.780 | 9 | 0.221 | False |
| D4_training_data_84807_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.113 | 0.120 | 0.095 | 0.187 | 0.659 | 8 | 0.220 | False |
| D4_training_data_84808_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.133 | 0.115 | 0.116 | 0.176 | 0.658 | 8 | 0.484 | False |
| D4_training_data_84808_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.102 | 0.151 | 0.095 | 0.192 | 0.795 | 9 | 0.348 | False |
| D4_training_data_84808_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.113 | 0.134 | 0.093 | 0.178 | 0.717 | 5 | 0.294 | False |
| D4_training_data_84808_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.128 | 0.125 | 0.126 | 0.145 | 0.881 | 13 | 0.582 | False |
| D4_training_data_84809_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.134 | 0.153 | 0.138 | 0.250 | 0.644 | 27 | 1.000 | False |
| D4_training_data_84809_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.135 | 0.166 | 0.116 | 0.229 | 0.733 | 28 | 0.876 | False |
| D4_training_data_84809_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.122 | 0.162 | 0.127 | 0.296 | 0.561 | 18 | 0.642 | False |
| D4_training_data_84809_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.153 | 0.126 | 0.131 | 0.215 | 0.597 | 17 | 0.496 | False |
| D4_training_data_84813_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.119 | 0.129 | 0.109 | 0.154 | 0.836 | 10 | 0.548 | False |
| D4_training_data_84813_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.094 | 0.153 | 0.083 | 0.153 | 1.008 | 8 | 0.268 | False |
| D4_training_data_84813_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.121 | 0.120 | 0.118 | 0.151 | 0.798 | 17 | 0.947 | False |
| D4_training_data_84813_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.107 | 0.145 | 0.101 | 0.138 | 1.061 | 7 | 0.428 | False |
| D4_training_data_84814_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.131 | 0.176 | 0.117 | 0.280 | 0.633 | 23 | 0.883 | False |
| D4_training_data_84814_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.134 | 0.163 | 0.130 | 0.263 | 0.682 | 17 | 0.544 | False |
| D4_training_data_84815_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.146 | 0.105 | 0.137 | 0.201 | 0.541 | 24 | 0.877 | False |
| D4_training_data_84815_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.122 | 0.116 | 0.128 | 0.209 | 0.567 | 20 | 0.747 | False |
| D4_training_data_84815_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.121 | 0.102 | 0.122 | 0.225 | 0.456 | 11 | 0.619 | False |
| D4_training_data_84815_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.123 | 0.103 | 0.123 | 0.233 | 0.446 | 18 | 0.927 | False |
| D4_training_data_84822_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.101 | 0.100 | 0.080 | 0.138 | 0.754 | 14 | 0.309 | False |
| D4_training_data_84822_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.094 | 0.121 | 0.067 | 0.105 | 1.186 | 10 | 0.250 | False |
| D4_training_data_84822_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.081 | 0.132 | 0.074 | 0.127 | 1.047 | 17 | 1.000 | False |
| D4_training_data_84822_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.083 | 0.121 | 0.076 | 0.112 | 1.091 | 19 | 0.383 | False |
| D4_training_data_84823_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.164 | 0.137 | 0.139 | 0.313 | 0.451 | 11 | 0.790 | False |
| D4_training_data_84823_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.135 | 0.163 | 0.133 | 0.262 | 0.641 | 8 | 0.344 | False |
| D4_training_data_84823_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.136 | 0.166 | 0.126 | 0.278 | 0.637 | 15 | 0.789 | False |
| D4_training_data_84823_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.142 | 0.154 | 0.135 | 0.317 | 0.511 | 9 | 0.525 | False |
| D4_training_data_84824_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.116 | 0.100 | 0.099 | 0.135 | 0.754 | 10 | 0.225 | False |
| D4_training_data_84824_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.098 | 0.131 | 0.082 | 0.139 | 0.957 | 11 | 0.263 | False |
| D4_training_data_84826_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.123 | 0.153 | 0.106 | 0.233 | 0.670 | 10 | 0.341 | False |
| D4_training_data_84826_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.120 | 0.159 | 0.124 | 0.188 | 0.860 | 22 | 0.668 | False |
| D4_training_data_84826_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.108 | 0.173 | 0.102 | 0.215 | 0.818 | 14 | 0.464 | False |
| D4_training_data_84826_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.129 | 0.149 | 0.125 | 0.184 | 0.822 | 33 | 0.984 | False |
| D4_training_data_84829_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.075 | 0.184 | 0.059 | 0.204 | 0.914 | 11 | 0.274 | False |
| D4_training_data_84829_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.096 | 0.167 | 0.083 | 0.188 | 0.888 | 8 | 0.221 | False |
| D4_training_data_84829_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.111 | 0.144 | 0.108 | 0.170 | 0.837 | 16 | 0.406 | False |
| D4_training_data_84829_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.125 | 0.153 | 0.096 | 0.172 | 0.896 | 20 | 0.569 | False |
| D4_training_data_84831_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.105 | 0.143 | 0.087 | 0.234 | 0.609 | 11 | 0.329 | False |
| D4_training_data_84831_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.121 | 0.144 | 0.104 | 0.182 | 0.800 | 28 | 0.770 | False |
| D4_training_data_84831_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.118 | 0.150 | 0.120 | 0.209 | 0.724 | 28 | 0.809 | False |
| D4_training_data_84831_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.124 | 0.130 | 0.131 | 0.185 | 0.711 | 30 | 0.877 | False |
| D4_training_data_84834_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.076 | 0.159 | 0.061 | 0.170 | 0.955 | 6 | 0.150 | False |
| D4_training_data_84834_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.095 | 0.133 | 0.078 | 0.159 | 0.837 | 7 | 0.194 | False |
| D4_training_data_84834_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.084 | 0.155 | 0.075 | 0.172 | 1.015 | 5 | 0.129 | False |
| D4_training_data_84834_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.113 | 0.114 | 0.095 | 0.143 | 0.818 | 32 | 0.801 | False |
| D4_training_data_84835_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.110 | 0.145 | 0.106 | 0.136 | 1.078 | 6 | 0.240 | False |
| D4_training_data_84835_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.103 | 0.138 | 0.079 | 0.133 | 1.036 | 7 | 0.226 | False |
| D4_training_data_84835_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.103 | 0.142 | 0.088 | 0.144 | 0.990 | 12 | 0.449 | False |
| D4_training_data_84835_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.099 | 0.138 | 0.084 | 0.141 | 0.993 | 17 | 0.850 | False |
| D4_training_data_84837_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.116 | 0.111 | 0.125 | 0.178 | 0.633 | 18 | 0.597 | False |
| D4_training_data_84837_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.134 | 0.115 | 0.128 | 0.154 | 0.784 | 8 | 0.248 | False |
| D4_training_data_84838_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 27 | 0.125 | 0.097 | 0.107 | 0.198 | 0.496 | 25 | 0.660 | False |
| D4_training_data_84838_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.121 | 0.104 | 0.110 | 0.161 | 0.649 | 27 | 0.716 | False |
| D4_training_data_84838_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.110 | 0.095 | 0.098 | 0.178 | 0.536 | 12 | 0.291 | False |
| D4_training_data_84838_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.121 | 0.105 | 0.103 | 0.167 | 0.629 | 28 | 0.648 | False |
| D4_training_data_84839_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.125 | 0.144 | 0.121 | 0.198 | 0.748 | 22 | 0.609 | False |
| D4_training_data_84839_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.129 | 0.134 | 0.111 | 0.167 | 0.811 | 35 | 0.938 | False |
| D4_training_data_84839_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.123 | 0.142 | 0.123 | 0.201 | 0.733 | 19 | 0.539 | False |
| D4_training_data_84839_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.129 | 0.126 | 0.119 | 0.176 | 0.721 | 37 | 0.952 | False |
| D4_training_data_84840_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.089 | 0.163 | 0.070 | 0.140 | 1.163 | 6 | 0.212 | False |
| D4_training_data_84840_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.082 | 0.166 | 0.068 | 0.147 | 1.133 | 8 | 0.407 | False |
| D4_training_data_84851_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.134 | 0.149 | 0.120 | 0.304 | 0.489 | 17 | 0.908 | False |
| D4_training_data_84851_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.131 | 0.157 | 0.124 | 0.259 | 0.611 | 9 | 0.560 | False |
| D4_training_data_84851_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.108 | 0.172 | 0.113 | 0.289 | 0.596 | 8 | 0.495 | False |
| D4_training_data_84851_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.134 | 0.141 | 0.130 | 0.271 | 0.521 | 15 | 0.925 | False |
| D4_training_data_84852_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.155 | 0.127 | 0.116 | 0.295 | 0.438 | 17 | 0.448 | False |
| D4_training_data_84852_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.114 | 0.146 | 0.121 | 0.220 | 0.670 | 13 | 0.407 | False |
| D4_training_data_84852_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.119 | 0.158 | 0.114 | 0.236 | 0.700 | 13 | 0.395 | False |
| D4_training_data_84852_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.123 | 0.167 | 0.121 | 0.223 | 0.767 | 12 | 0.277 | False |
| D4_training_data_84853_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.114 | 0.130 | 0.097 | 0.127 | 1.033 | 12 | 0.584 | False |
| D4_training_data_84853_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.129 | 0.124 | 0.103 | 0.125 | 1.004 | 11 | 0.441 | False |
| D4_training_data_84853_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.126 | 0.112 | 0.106 | 0.144 | 0.787 | 15 | 0.731 | False |
| D4_training_data_84853_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.118 | 0.128 | 0.094 | 0.127 | 1.015 | 8 | 0.605 | False |
| D4_training_data_84854_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.090 | 0.177 | 0.101 | 0.231 | 0.777 | 24 | 0.708 | False |
| D4_training_data_84854_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.106 | 0.159 | 0.102 | 0.191 | 0.835 | 35 | 0.935 | False |
| D4_training_data_84854_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.099 | 0.154 | 0.097 | 0.213 | 0.734 | 19 | 0.440 | False |
| D4_training_data_84854_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.101 | 0.165 | 0.091 | 0.211 | 0.786 | 32 | 0.934 | False |
| D4_training_data_84855_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.146 | 0.124 | 0.118 | 0.342 | 0.374 | 20 | 0.754 | False |
| D4_training_data_84855_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.153 | 0.137 | 0.133 | 0.397 | 0.380 | 14 | 0.581 | False |
| D4_training_data_84855_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.158 | 0.149 | 0.120 | 0.359 | 0.423 | 17 | 0.452 | False |
| D4_training_data_84856_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.156 | 0.144 | 0.150 | 0.282 | 0.515 | 14 | 0.750 | False |
| D4_training_data_84856_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.147 | 0.158 | 0.119 | 0.296 | 0.541 | 12 | 0.522 | False |
| D4_training_data_84856_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.158 | 0.149 | 0.134 | 0.292 | 0.510 | 21 | 0.823 | False |
| D4_training_data_84856_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.146 | 0.145 | 0.132 | 0.310 | 0.464 | 16 | 0.914 | False |
| D4_training_data_84857_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.072 | 0.122 | 0.080 | 0.127 | 0.938 | 8 | 0.166 | False |
| D4_training_data_84857_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.115 | 0.103 | 0.090 | 0.122 | 0.849 | 27 | 0.669 | False |
| D4_training_data_84859_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.174 | 0.140 | 0.153 | 0.315 | 0.508 | 18 | 0.679 | False |
| D4_training_data_84859_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.144 | 0.154 | 0.111 | 0.181 | 0.863 | 22 | 0.672 | False |
| D4_training_data_84859_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.129 | 0.183 | 0.127 | 0.274 | 0.692 | 24 | 0.881 | False |
| D4_training_data_84859_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.147 | 0.155 | 0.134 | 0.223 | 0.724 | 25 | 0.816 | False |
| D4_training_data_84861_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.128 | 0.105 | 0.114 | 0.126 | 0.855 | 9 | 0.366 | False |
| D4_training_data_84861_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.112 | 0.128 | 0.100 | 0.132 | 0.984 | 11 | 0.339 | False |
| D4_training_data_84861_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.105 | 0.129 | 0.083 | 0.153 | 0.850 | 7 | 0.289 | False |
| D4_training_data_84861_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.124 | 0.114 | 0.112 | 0.117 | 0.987 | 26 | 0.903 | False |
| D4_training_data_84863_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.128 | 0.112 | 0.100 | 0.142 | 0.790 | 18 | 0.462 | False |
| D4_training_data_84863_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.125 | 0.121 | 0.104 | 0.152 | 0.827 | 11 | 0.297 | False |
| D4_training_data_84863_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.131 | 0.115 | 0.110 | 0.144 | 0.814 | 35 | 1.000 | False |
| D4_training_data_84863_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.142 | 0.101 | 0.102 | 0.141 | 0.726 | 33 | 0.838 | False |
| D4_training_data_84864_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.130 | 0.131 | 0.114 | 0.362 | 0.366 | 22 | 0.824 | False |
| D4_training_data_84864_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.131 | 0.128 | 0.123 | 0.341 | 0.381 | 20 | 1.000 | False |
| D4_training_data_84864_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.148 | 0.116 | 0.135 | 0.338 | 0.350 | 24 | 0.886 | False |
| D4_training_data_84864_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.123 | 0.137 | 0.123 | 0.349 | 0.401 | 29 | 0.719 | False |
| D4_training_data_84865_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.137 | 0.120 | 0.104 | 0.218 | 0.561 | 10 | 0.298 | False |
| D4_training_data_84865_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.138 | 0.140 | 0.117 | 0.176 | 0.804 | 27 | 0.775 | False |
| D4_training_data_84865_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.123 | 0.143 | 0.123 | 0.191 | 0.754 | 31 | 0.873 | False |
| D4_training_data_84865_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.140 | 0.137 | 0.105 | 0.176 | 0.819 | 13 | 0.246 | False |
| D4_training_data_84866_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.115 | 0.110 | 0.101 | 0.149 | 0.743 | 25 | 0.705 | False |
| D4_training_data_84866_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.131 | 0.104 | 0.108 | 0.158 | 0.666 | 33 | 0.938 | False |
| D4_training_data_84866_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.128 | 0.112 | 0.121 | 0.141 | 0.795 | 13 | 0.641 | False |
| D4_training_data_84866_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.121 | 0.104 | 0.107 | 0.163 | 0.642 | 18 | 0.822 | False |
| D4_training_data_84868_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.137 | 0.104 | 0.107 | 0.306 | 0.344 | 14 | 0.465 | False |
| D4_training_data_84868_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.109 | 0.132 | 0.099 | 0.244 | 0.553 | 21 | 0.568 | False |
| D4_training_data_84868_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.133 | 0.123 | 0.111 | 0.309 | 0.409 | 8 | 0.279 | False |
| D4_training_data_84868_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.135 | 0.122 | 0.091 | 0.258 | 0.483 | 27 | 0.557 | False |
| D4_training_data_84870_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.140 | 0.127 | 0.116 | 0.245 | 0.529 | 30 | 0.917 | False |
| D4_training_data_84870_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.137 | 0.123 | 0.107 | 0.241 | 0.517 | 25 | 0.746 | False |
| D4_training_data_84870_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.130 | 0.125 | 0.106 | 0.242 | 0.523 | 20 | 0.608 | False |
| D4_training_data_84870_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.124 | 0.117 | 0.103 | 0.240 | 0.500 | 19 | 0.545 | False |
| D4_training_data_84874_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.137 | 0.105 | 0.134 | 0.306 | 0.342 | 10 | 0.678 | False |
| D4_training_data_84874_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.136 | 0.146 | 0.128 | 0.306 | 0.500 | 18 | 0.581 | False |
| D4_training_data_84874_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.136 | 0.120 | 0.120 | 0.233 | 0.517 | 12 | 0.716 | False |
| D4_training_data_84874_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.137 | 0.126 | 0.109 | 0.388 | 0.351 | 10 | 0.858 | False |
| D4_training_data_84875_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.125 | 0.125 | 0.108 | 0.220 | 0.580 | 19 | 0.573 | False |
| D4_training_data_84875_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.114 | 0.131 | 0.105 | 0.185 | 0.712 | 9 | 0.228 | False |
| D4_training_data_84876_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.082 | 0.093 | 0.065 | 0.095 | 0.995 | 6 | 0.079 | False |
| D4_training_data_84876_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.082 | 0.123 | 0.068 | 0.159 | 0.779 | 15 | 0.387 | False |
| D4_training_data_84877_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 35 | 0.144 | 0.143 | 0.137 | 0.223 | 0.653 | 34 | 1.000 | False |
| D4_training_data_84877_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.127 | 0.145 | 0.118 | 0.216 | 0.661 | 13 | 0.355 | False |
| D4_training_data_84877_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.144 | 0.148 | 0.138 | 0.195 | 0.771 | 21 | 0.836 | False |
| D4_training_data_84877_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.144 | 0.135 | 0.135 | 0.189 | 0.727 | 14 | 0.538 | False |
| D4_training_data_84878_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.109 | 0.113 | 0.092 | 0.141 | 0.815 | 25 | 0.574 | False |
| D4_training_data_84878_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.087 | 0.139 | 0.093 | 0.150 | 0.905 | 7 | 0.172 | False |
| D4_training_data_84878_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.104 | 0.129 | 0.081 | 0.146 | 0.893 | 12 | 0.287 | False |
| D4_training_data_84878_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.114 | 0.118 | 0.095 | 0.131 | 0.918 | 29 | 0.678 | False |
| D4_training_data_84879_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.125 | 0.110 | 0.111 | 0.181 | 0.614 | 11 | 0.294 | False |
| D4_training_data_84879_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.122 | 0.130 | 0.096 | 0.157 | 0.851 | 16 | 0.405 | False |
| D4_training_data_84879_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.119 | 0.124 | 0.102 | 0.164 | 0.755 | 16 | 0.427 | False |
| D4_training_data_84879_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.140 | 0.114 | 0.117 | 0.156 | 0.741 | 32 | 0.830 | False |
| D4_training_data_84881_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.135 | 0.134 | 0.132 | 0.211 | 0.656 | 15 | 0.453 | False |
| D4_training_data_84881_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.083 | 0.188 | 0.094 | 0.199 | 0.945 | 11 | 0.348 | False |
| D4_training_data_84881_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.129 | 0.132 | 0.128 | 0.188 | 0.717 | 25 | 0.704 | False |
| D4_training_data_84881_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.121 | 0.130 | 0.129 | 0.182 | 0.733 | 32 | 1.000 | False |
| D4_training_data_84882_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.125 | 0.127 | 0.109 | 0.253 | 0.513 | 11 | 0.334 | False |
| D4_training_data_84882_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.144 | 0.126 | 0.111 | 0.244 | 0.551 | 22 | 0.770 | False |
| D4_training_data_84882_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.132 | 0.123 | 0.136 | 0.239 | 0.511 | 23 | 1.000 | False |
| D4_training_data_84882_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.130 | 0.130 | 0.110 | 0.266 | 0.495 | 28 | 0.867 | False |
| D4_training_data_84883_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 34 | 0.122 | 0.117 | 0.133 | 0.214 | 0.559 | 35 | 0.919 | False |
| D4_training_data_84883_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.124 | 0.146 | 0.140 | 0.184 | 0.807 | 34 | 1.000 | False |
| D4_training_data_84883_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.119 | 0.165 | 0.133 | 0.198 | 0.826 | 24 | 0.578 | False |
| D4_training_data_84883_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.143 | 0.131 | 0.153 | 0.154 | 0.866 | 34 | 1.000 | False |
| D4_training_data_84884_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.122 | 0.101 | 0.106 | 0.198 | 0.527 | 12 | 0.321 | False |
| D4_training_data_84884_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.121 | 0.121 | 0.125 | 0.157 | 0.790 | 15 | 0.392 | False |
| D4_training_data_84884_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.102 | 0.113 | 0.131 | 0.184 | 0.615 | 14 | 0.332 | False |
| D4_training_data_84884_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.112 | 0.131 | 0.116 | 0.173 | 0.772 | 29 | 0.788 | False |
| D4_training_data_84885_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.089 | 0.120 | 0.082 | 0.083 | 1.463 | 7 | 0.165 | False |
| D4_training_data_84885_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.097 | 0.094 | 0.089 | 0.102 | 0.932 | 5 | 0.080 | False |
| D4_training_data_84886_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.130 | 0.190 | 0.138 | 0.283 | 0.676 | 5 | 0.192 | False |
| D4_training_data_84887_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.119 | 0.160 | 0.118 | 0.214 | 0.758 | 13 | 0.417 | False |
| D4_training_data_84887_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.104 | 0.189 | 0.092 | 0.214 | 0.866 | 14 | 0.483 | False |
| D4_training_data_84887_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.127 | 0.154 | 0.137 | 0.182 | 0.861 | 20 | 0.605 | False |
| D4_training_data_84887_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.136 | 0.138 | 0.112 | 0.185 | 0.748 | 31 | 0.900 | False |
| D4_training_data_84890_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.127 | 0.127 | 0.122 | 0.215 | 0.593 | 15 | 0.688 | False |
| D4_training_data_84890_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.130 | 0.129 | 0.109 | 0.177 | 0.731 | 33 | 0.696 | False |
| D4_training_data_84890_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.139 | 0.117 | 0.122 | 0.191 | 0.627 | 19 | 0.708 | False |
| D4_training_data_84890_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.141 | 0.118 | 0.121 | 0.187 | 0.643 | 22 | 0.717 | False |
| D4_training_data_84892_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.116 | 0.155 | 0.101 | 0.266 | 0.598 | 7 | 0.269 | False |
| D4_training_data_84892_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.127 | 0.124 | 0.102 | 0.214 | 0.584 | 15 | 0.423 | False |
| D4_training_data_84892_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.123 | 0.125 | 0.112 | 0.224 | 0.580 | 8 | 0.255 | False |
| D4_training_data_84893_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.090 | 0.104 | 0.082 | 0.113 | 0.949 | 11 | 0.188 | False |
| D4_training_data_84893_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.093 | 0.103 | 0.083 | 0.090 | 1.169 | 19 | 0.308 | False |
| D4_training_data_84894_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.115 | 0.123 | 0.114 | 0.162 | 0.768 | 35 | 0.888 | False |
| D4_training_data_84894_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.093 | 0.155 | 0.088 | 0.199 | 0.771 | 5 | 0.152 | False |
| D4_training_data_84894_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 43 | 0.114 | 0.126 | 0.109 | 0.150 | 0.854 | 42 | 0.950 | False |
| D4_training_data_84894_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.113 | 0.118 | 0.121 | 0.145 | 0.816 | 19 | 0.509 | False |
| D4_training_data_84896_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.130 | 0.130 | 0.123 | 0.268 | 0.505 | 20 | 0.669 | False |
| D4_training_data_84896_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.134 | 0.144 | 0.109 | 0.218 | 0.650 | 13 | 0.409 | False |
| D4_training_data_84896_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.138 | 0.137 | 0.134 | 0.215 | 0.672 | 31 | 1.000 | False |
| D4_training_data_84896_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.131 | 0.146 | 0.117 | 0.212 | 0.711 | 18 | 0.510 | False |
| D4_training_data_84900_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.073 | 0.144 | 0.070 | 0.167 | 0.879 | 8 | 0.128 | False |
| D4_training_data_84900_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.079 | 0.144 | 0.082 | 0.148 | 0.978 | 7 | 0.160 | False |
| D4_training_data_84912_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.124 | 0.089 | 0.103 | 0.157 | 0.619 | 10 | 0.231 | False |
| D4_training_data_84912_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.072 | 0.117 | 0.098 | 0.138 | 0.856 | 12 | 0.259 | False |
| D4_training_data_84912_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.117 | 0.109 | 0.113 | 0.114 | 0.999 | 18 | 0.411 | False |
| D4_training_data_84912_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.092 | 0.134 | 0.075 | 0.141 | 0.971 | 27 | 1.000 | False |
| D4_training_data_84917_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.130 | 0.117 | 0.108 | 0.213 | 0.651 | 31 | 0.918 | False |
| D4_training_data_84917_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.086 | 0.150 | 0.067 | 0.181 | 0.833 | 19 | 0.401 | False |
| D4_training_data_84917_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.118 | 0.125 | 0.120 | 0.165 | 0.797 | 15 | 0.389 | False |
| D4_training_data_84917_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.127 | 0.110 | 0.123 | 0.167 | 0.661 | 36 | 1.000 | False |
| D4_training_data_84918_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.115 | 0.147 | 0.110 | 0.194 | 0.743 | 15 | 0.430 | False |
| D4_training_data_84919_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.145 | 0.124 | 0.117 | 0.291 | 0.438 | 26 | 0.891 | False |
| D4_training_data_84919_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.142 | 0.173 | 0.133 | 0.327 | 0.608 | 6 | 0.250 | False |
| D4_training_data_84920_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.138 | 0.117 | 0.122 | 0.222 | 0.535 | 11 | 0.654 | False |
| D4_training_data_84920_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.139 | 0.123 | 0.121 | 0.195 | 0.638 | 20 | 0.903 | False |
| D4_training_data_84920_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.144 | 0.118 | 0.127 | 0.212 | 0.571 | 14 | 0.637 | False |
| D4_training_data_84920_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.144 | 0.123 | 0.112 | 0.204 | 0.605 | 26 | 0.888 | False |
| D4_training_data_84921_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.100 | 0.124 | 0.086 | 0.195 | 0.642 | 11 | 0.218 | False |
| D4_training_data_84921_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.133 | 0.113 | 0.115 | 0.150 | 0.743 | 11 | 0.232 | False |
| D4_training_data_84921_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.128 | 0.109 | 0.109 | 0.143 | 0.778 | 22 | 0.516 | False |
| D4_training_data_84921_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.144 | 0.100 | 0.111 | 0.156 | 0.649 | 30 | 0.521 | False |
| D4_training_data_84922_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.090 | 0.115 | 0.087 | 0.133 | 0.871 | 13 | 0.455 | False |
| D4_training_data_84922_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.083 | 0.123 | 0.080 | 0.131 | 0.938 | 12 | 0.300 | False |
| D4_training_data_84923_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.125 | 0.141 | 0.127 | 0.385 | 0.367 | 7 | 0.725 | False |
| D4_training_data_84923_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.139 | 0.150 | 0.118 | 0.336 | 0.463 | 17 | 0.628 | False |
| D4_training_data_84923_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.144 | 0.140 | 0.138 | 0.303 | 0.482 | 11 | 0.912 | False |
| D4_training_data_84923_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.146 | 0.137 | 0.117 | 0.297 | 0.479 | 9 | 0.743 | False |
| D4_training_data_84928_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.126 | 0.135 | 0.128 | 0.174 | 0.790 | 13 | 0.947 | False |
| D4_training_data_84928_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.116 | 0.132 | 0.114 | 0.186 | 0.717 | 26 | 0.948 | False |
| D4_training_data_84928_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.096 | 0.154 | 0.108 | 0.179 | 0.861 | 8 | 0.753 | False |
| D4_training_data_84928_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.125 | 0.126 | 0.118 | 0.155 | 0.824 | 14 | 0.923 | False |
| D4_training_data_84930_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.139 | 0.139 | 0.123 | 0.187 | 0.721 | 10 | 0.277 | False |
| D4_training_data_84930_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.126 | 0.147 | 0.115 | 0.190 | 0.766 | 32 | 0.887 | False |
| D4_training_data_84930_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.115 | 0.148 | 0.132 | 0.200 | 0.743 | 24 | 0.721 | False |
| D4_training_data_84930_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.133 | 0.142 | 0.125 | 0.197 | 0.721 | 31 | 0.922 | False |
| D4_training_data_84931_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.135 | 0.130 | 0.122 | 0.256 | 0.580 | 6 | 0.196 | False |
| D4_training_data_84931_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.134 | 0.128 | 0.105 | 0.226 | 0.570 | 30 | 0.897 | False |
| D4_training_data_84931_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.146 | 0.131 | 0.115 | 0.247 | 0.555 | 18 | 0.542 | False |
| D4_training_data_84931_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.136 | 0.130 | 0.109 | 0.261 | 0.498 | 30 | 0.953 | False |
| D4_training_data_84933_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.176 | 0.112 | 0.129 | 0.187 | 0.628 | 11 | 0.316 | False |
| D4_training_data_84933_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.126 | 0.151 | 0.111 | 0.180 | 0.840 | 17 | 0.487 | False |
| D4_training_data_84933_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.095 | 0.152 | 0.131 | 0.171 | 0.896 | 13 | 0.378 | False |
| D4_training_data_84933_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.136 | 0.135 | 0.120 | 0.177 | 0.777 | 27 | 0.755 | False |
| D4_training_data_84934_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.058 | 0.169 | 0.050 | 0.207 | 0.832 | 7 | 0.115 | False |
| D4_training_data_84935_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.130 | 0.140 | 0.126 | 0.280 | 0.532 | 13 | 0.410 | False |
| D4_training_data_84935_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 29 | 0.131 | 0.143 | 0.123 | 0.228 | 0.630 | 28 | 0.907 | False |
| D4_training_data_84935_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.126 | 0.149 | 0.138 | 0.219 | 0.697 | 30 | 0.668 | False |
| D4_training_data_84935_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.122 | 0.133 | 0.128 | 0.312 | 0.443 | 26 | 0.832 | False |
| D4_training_data_84936_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.135 | 0.135 | 0.118 | 0.382 | 0.356 | 9 | 0.668 | False |
| D4_training_data_84936_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.144 | 0.143 | 0.111 | 0.339 | 0.428 | 21 | 0.956 | False |
| D4_training_data_84936_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.126 | 0.149 | 0.128 | 0.377 | 0.404 | 7 | 0.840 | False |
| D4_training_data_84936_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.156 | 0.124 | 0.128 | 0.302 | 0.417 | 10 | 0.891 | False |
| D4_training_data_84937_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.136 | 0.155 | 0.124 | 0.436 | 0.365 | 7 | 0.576 | False |
| D4_training_data_84937_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.127 | 0.173 | 0.110 | 0.417 | 0.421 | 9 | 0.534 | False |
| D4_training_data_84937_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.148 | 0.163 | 0.102 | 0.422 | 0.391 | 11 | 0.809 | False |
| D4_training_data_84937_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.130 | 0.167 | 0.108 | 0.358 | 0.485 | 15 | 0.881 | False |
| D4_training_data_84939_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.113 | 0.111 | 0.119 | 0.228 | 0.469 | 15 | 0.397 | False |
| D4_training_data_84939_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.110 | 0.150 | 0.118 | 0.202 | 0.759 | 14 | 0.405 | False |
| D4_training_data_84939_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.123 | 0.129 | 0.112 | 0.206 | 0.628 | 13 | 0.207 | False |
| D4_training_data_84939_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.110 | 0.129 | 0.107 | 0.240 | 0.543 | 11 | 0.343 | False |
| D4_training_data_84942_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.130 | 0.164 | 0.114 | 0.309 | 0.531 | 13 | 0.906 | False |
| D4_training_data_84942_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.129 | 0.154 | 0.118 | 0.323 | 0.478 | 9 | 0.911 | False |
| D4_training_data_84942_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.127 | 0.155 | 0.114 | 0.319 | 0.487 | 12 | 0.941 | False |
| D4_training_data_84945_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.084 | 0.163 | 0.076 | 0.178 | 0.931 | 6 | 0.146 | False |
| D4_training_data_84945_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.077 | 0.188 | 0.066 | 0.178 | 1.023 | 7 | 0.229 | False |
| D4_training_data_84945_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.093 | 0.165 | 0.109 | 0.164 | 1.064 | 10 | 0.264 | False |
| D4_training_data_84945_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.095 | 0.167 | 0.097 | 0.167 | 1.028 | 7 | 0.353 | False |
| D4_training_data_84946_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.089 | 0.140 | 0.098 | 0.140 | 1.020 | 23 | 0.529 | False |
| D4_training_data_84946_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.105 | 0.130 | 0.098 | 0.147 | 0.928 | 8 | 0.287 | False |
| D4_training_data_84946_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.038 | 0.191 | 0.035 | 0.197 | 0.974 | 9 | 0.402 | False |
| D4_training_data_84946_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.107 | 0.127 | 0.087 | 0.152 | 0.844 | 15 | 0.385 | False |
| D4_training_data_84947_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.122 | 0.156 | 0.103 | 0.195 | 0.814 | 14 | 0.775 | False |
| D4_training_data_84947_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.125 | 0.157 | 0.115 | 0.161 | 0.991 | 15 | 0.707 | False |
| D4_training_data_84947_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.118 | 0.152 | 0.120 | 0.204 | 0.760 | 17 | 0.929 | False |
| D4_training_data_84947_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.112 | 0.155 | 0.099 | 0.182 | 0.856 | 13 | 0.977 | False |
| D4_training_data_84949_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.118 | 0.117 | 0.122 | 0.204 | 0.573 | 12 | 0.319 | False |
| D4_training_data_84949_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.155 | 0.106 | 0.114 | 0.209 | 0.531 | 34 | 1.000 | False |
| D4_training_data_84949_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.128 | 0.129 | 0.126 | 0.204 | 0.738 | 27 | 0.793 | False |
| D4_training_data_84949_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.111 | 0.142 | 0.114 | 0.217 | 0.687 | 31 | 0.932 | False |
| D4_training_data_84950_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.150 | 0.144 | 0.129 | 0.368 | 0.413 | 5 | 0.211 | False |
| D4_training_data_84950_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.136 | 0.142 | 0.120 | 0.317 | 0.448 | 21 | 0.756 | False |
| D4_training_data_84950_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.130 | 0.150 | 0.121 | 0.251 | 0.651 | 15 | 0.498 | False |
| D4_training_data_84952_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.134 | 0.129 | 0.104 | 0.260 | 0.539 | 9 | 0.310 | False |
| D4_training_data_84952_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.092 | 0.178 | 0.057 | 0.302 | 0.561 | 17 | 0.509 | False |
| D4_training_data_84952_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.105 | 0.101 | 0.082 | 0.200 | 0.502 | 24 | 0.390 | False |
| D4_training_data_84957_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.092 | 0.135 | 0.089 | 0.224 | 0.607 | 9 | 0.253 | False |
| D4_training_data_84957_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.107 | 0.139 | 0.098 | 0.158 | 0.880 | 21 | 0.488 | False |
| D4_training_data_84957_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.115 | 0.111 | 0.122 | 0.163 | 0.683 | 11 | 0.284 | False |
| D4_training_data_84957_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.116 | 0.136 | 0.096 | 0.160 | 0.825 | 15 | 0.276 | False |
| D4_training_data_84960_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.142 | 0.167 | 0.115 | 0.300 | 0.596 | 25 | 0.931 | False |
| D4_training_data_84960_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.125 | 0.162 | 0.102 | 0.323 | 0.547 | 23 | 0.647 | False |
| D4_training_data_84960_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.151 | 0.173 | 0.133 | 0.451 | 0.401 | 14 | 0.547 | False |
| D4_training_data_84960_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.133 | 0.148 | 0.128 | 0.303 | 0.565 | 24 | 0.549 | False |
| D4_training_data_84961_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.127 | 0.133 | 0.122 | 0.190 | 0.717 | 32 | 1.000 | False |
| D4_training_data_84961_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.114 | 0.131 | 0.121 | 0.172 | 0.793 | 27 | 0.620 | False |
| D4_training_data_84961_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.109 | 0.138 | 0.117 | 0.164 | 0.861 | 23 | 0.597 | False |
| D4_training_data_84961_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 42 | 0.129 | 0.109 | 0.121 | 0.165 | 0.667 | 42 | 0.880 | False |
| D4_training_data_84962_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.112 | 0.119 | 0.106 | 0.148 | 0.815 | 24 | 0.970 | False |
| D4_training_data_84962_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.104 | 0.119 | 0.103 | 0.146 | 0.840 | 25 | 0.553 | False |
| D4_training_data_84962_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.102 | 0.134 | 0.119 | 0.136 | 1.022 | 29 | 0.936 | False |
| D4_training_data_84962_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.109 | 0.120 | 0.095 | 0.159 | 0.759 | 31 | 0.967 | False |
| D4_training_data_84965_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.127 | 0.118 | 0.117 | 0.170 | 0.710 | 13 | 0.920 | False |
| D4_training_data_84965_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.128 | 0.132 | 0.101 | 0.176 | 0.798 | 6 | 0.201 | False |
| D4_training_data_84965_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.102 | 0.135 | 0.093 | 0.152 | 0.879 | 7 | 0.323 | False |
| D4_training_data_84965_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.127 | 0.113 | 0.127 | 0.159 | 0.725 | 27 | 0.928 | False |
| D4_training_data_84966_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.109 | 0.102 | 0.095 | 0.159 | 0.666 | 9 | 0.135 | False |
| D4_training_data_84966_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.111 | 0.105 | 0.106 | 0.134 | 0.805 | 18 | 0.412 | False |
| D4_training_data_84969_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.108 | 0.118 | 0.091 | 0.156 | 0.769 | 5 | 0.103 | False |
| D4_training_data_84970_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.069 | 0.145 | 0.072 | 0.168 | 0.874 | 9 | 0.190 | False |
| D4_training_data_84970_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.100 | 0.120 | 0.085 | 0.163 | 0.760 | 7 | 0.187 | False |
| D4_training_data_84971_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.095 | 0.141 | 0.079 | 0.121 | 1.180 | 13 | 0.311 | False |
| D4_training_data_84971_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.102 | 0.131 | 0.100 | 0.118 | 1.107 | 10 | 0.518 | False |
| D4_training_data_84971_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.102 | 0.129 | 0.082 | 0.160 | 0.810 | 16 | 0.861 | False |
| D4_training_data_84973_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.100 | 0.167 | 0.069 | 0.223 | 0.738 | 20 | 0.500 | False |
| D4_training_data_84973_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.109 | 0.146 | 0.102 | 0.153 | 0.980 | 28 | 0.686 | False |
| D4_training_data_84973_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.121 | 0.140 | 0.117 | 0.157 | 0.912 | 21 | 1.000 | False |
| D4_training_data_84973_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.106 | 0.139 | 0.119 | 0.137 | 1.071 | 33 | 0.720 | False |
| D4_training_data_84974_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.143 | 0.143 | 0.114 | 0.335 | 0.510 | 21 | 0.934 | False |
| D4_training_data_84974_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.131 | 0.167 | 0.116 | 0.399 | 0.534 | 24 | 0.910 | False |
| D4_training_data_84974_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.145 | 0.140 | 0.132 | 0.326 | 0.520 | 17 | 0.857 | False |
| D4_training_data_84974_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.134 | 0.155 | 0.123 | 0.389 | 0.436 | 20 | 1.000 | False |
| D4_training_data_84976_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.117 | 0.108 | 0.097 | 0.188 | 0.529 | 6 | 0.335 | False |
| D4_training_data_84976_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.113 | 0.122 | 0.119 | 0.142 | 0.861 | 24 | 0.516 | False |
| D4_training_data_84976_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.102 | 0.144 | 0.134 | 0.124 | 1.171 | 17 | 0.877 | False |
| D4_training_data_84976_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.106 | 0.128 | 0.128 | 0.141 | 0.927 | 18 | 0.952 | False |
| D4_training_data_84977_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.131 | 0.144 | 0.122 | 0.400 | 0.342 | 9 | 0.668 | False |
| D4_training_data_84977_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.145 | 0.164 | 0.132 | 0.409 | 0.402 | 22 | 0.925 | False |
| D4_training_data_84977_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.142 | 0.154 | 0.141 | 0.514 | 0.309 | 14 | 0.653 | False |
| D4_training_data_84977_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.138 | 0.164 | 0.111 | 0.422 | 0.410 | 19 | 0.804 | False |
| D4_training_data_84978_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.115 | 0.095 | 0.103 | 0.195 | 0.523 | 17 | 0.440 | False |
| D4_training_data_84978_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.127 | 0.117 | 0.109 | 0.156 | 0.763 | 19 | 0.489 | False |
| D4_training_data_84978_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.144 | 0.097 | 0.107 | 0.150 | 0.661 | 23 | 0.559 | False |
| D4_training_data_84978_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.124 | 0.124 | 0.098 | 0.213 | 0.599 | 10 | 0.203 | False |
| D4_training_data_84982_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.133 | 0.148 | 0.119 | 0.189 | 0.794 | 16 | 0.437 | False |
| D4_training_data_84982_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.116 | 0.124 | 0.112 | 0.161 | 0.817 | 25 | 0.641 | False |
| D4_training_data_84982_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.114 | 0.157 | 0.095 | 0.185 | 0.830 | 19 | 0.546 | False |
| D4_training_data_84982_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.129 | 0.129 | 0.113 | 0.177 | 0.742 | 35 | 1.000 | False |
| D4_training_data_84983_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.138 | 0.145 | 0.091 | 0.223 | 0.663 | 13 | 0.409 | False |
| D4_training_data_84983_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.124 | 0.110 | 0.127 | 0.262 | 0.430 | 11 | 0.374 | False |
| D4_training_data_84983_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.129 | 0.130 | 0.127 | 0.212 | 0.627 | 14 | 0.437 | False |
| D4_training_data_84984_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.103 | 0.169 | 0.089 | 0.102 | 1.632 | 5 | 0.185 | False |
| D4_training_data_84984_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.088 | 0.166 | 0.084 | 0.210 | 0.796 | 5 | 0.155 | False |
| D4_training_data_84985_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.129 | 0.083 | 0.117 | 0.189 | 0.441 | 15 | 0.919 | False |
| D4_training_data_84985_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.107 | 0.113 | 0.099 | 0.143 | 0.793 | 12 | 0.477 | False |
| D4_training_data_84985_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.134 | 0.089 | 0.106 | 0.156 | 0.566 | 15 | 0.941 | False |
| D4_training_data_84985_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.129 | 0.107 | 0.097 | 0.202 | 0.540 | 12 | 0.929 | False |
| D4_training_data_84986_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.128 | 0.131 | 0.118 | 0.190 | 0.694 | 16 | 0.743 | False |
| D4_training_data_84986_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.116 | 0.139 | 0.109 | 0.227 | 0.613 | 23 | 0.947 | False |
| D4_training_data_84986_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.128 | 0.128 | 0.127 | 0.215 | 0.600 | 16 | 0.743 | False |
| D4_training_data_84986_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.137 | 0.140 | 0.108 | 0.183 | 0.768 | 24 | 0.946 | False |
| D4_training_data_84987_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 43 | 0.139 | 0.130 | 0.117 | 0.277 | 0.476 | 43 | 1.000 | False |
| D4_training_data_84987_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.124 | 0.160 | 0.100 | 0.175 | 0.911 | 5 | 0.098 | False |
| D4_training_data_84987_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.127 | 0.155 | 0.133 | 0.302 | 0.514 | 30 | 1.000 | False |
| D4_training_data_84987_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 47 | 0.125 | 0.124 | 0.099 | 0.217 | 0.579 | 47 | 0.969 | False |
| D4_training_data_84988_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.075 | 0.166 | 0.084 | 0.189 | 0.884 | 13 | 0.532 | False |
| D4_training_data_84988_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.115 | 0.124 | 0.103 | 0.161 | 0.800 | 13 | 1.000 | False |
| D4_training_data_84988_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.112 | 0.124 | 0.115 | 0.146 | 0.854 | 14 | 0.884 | False |
| D4_training_data_84990_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.124 | 0.132 | 0.116 | 0.174 | 0.759 | 18 | 0.679 | False |
| D4_training_data_84990_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.104 | 0.143 | 0.111 | 0.173 | 0.822 | 14 | 0.454 | False |
| D4_training_data_84990_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.110 | 0.147 | 0.120 | 0.123 | 1.210 | 8 | 0.381 | False |
| D4_training_data_84990_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.118 | 0.118 | 0.132 | 0.178 | 0.669 | 16 | 0.661 | False |
| D4_training_data_84991_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.108 | 0.115 | 0.115 | 0.199 | 0.570 | 18 | 0.496 | False |
| D4_training_data_84991_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.109 | 0.104 | 0.118 | 0.189 | 0.548 | 13 | 0.350 | False |
| D4_training_data_84991_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.111 | 0.093 | 0.129 | 0.175 | 0.536 | 19 | 0.494 | False |
| D4_training_data_84991_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.124 | 0.088 | 0.119 | 0.183 | 0.480 | 31 | 0.534 | False |
| D4_training_data_84992_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.110 | 0.153 | 0.131 | 0.243 | 0.644 | 30 | 0.949 | False |
| D4_training_data_84992_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.114 | 0.155 | 0.122 | 0.217 | 0.701 | 32 | 1.000 | False |
| D4_training_data_84992_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.130 | 0.131 | 0.126 | 0.211 | 0.611 | 35 | 1.000 | False |
| D4_training_data_84993_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.110 | 0.150 | 0.126 | 0.234 | 0.648 | 29 | 0.854 | False |
| D4_training_data_84993_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.120 | 0.133 | 0.123 | 0.195 | 0.683 | 27 | 0.776 | False |
| D4_training_data_84993_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.113 | 0.151 | 0.121 | 0.208 | 0.787 | 35 | 0.940 | False |
| D4_training_data_84993_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.126 | 0.131 | 0.123 | 0.197 | 0.692 | 30 | 1.000 | False |
| D4_training_data_84994_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.142 | 0.128 | 0.113 | 0.202 | 0.643 | 35 | 0.922 | False |
| D4_training_data_84994_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.138 | 0.119 | 0.106 | 0.186 | 0.643 | 26 | 0.740 | False |
| D4_training_data_84994_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.114 | 0.121 | 0.137 | 0.173 | 0.702 | 28 | 1.000 | False |
| D4_training_data_84994_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.123 | 0.129 | 0.107 | 0.171 | 0.753 | 27 | 0.753 | False |
| D4_training_data_84995_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.090 | 0.115 | 0.085 | 0.154 | 0.838 | 14 | 0.581 | False |
| D4_training_data_84995_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.072 | 0.121 | 0.069 | 0.127 | 0.988 | 10 | 0.202 | False |
| D4_training_data_84996_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.157 | 0.151 | 0.141 | 0.420 | 0.366 | 7 | 0.761 | False |
| D4_training_data_84996_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.135 | 0.176 | 0.103 | 0.391 | 0.461 | 12 | 0.904 | False |
| D4_training_data_84996_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.156 | 0.157 | 0.140 | 0.400 | 0.395 | 6 | 0.606 | False |
| D4_training_data_84996_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.146 | 0.159 | 0.130 | 0.371 | 0.435 | 11 | 0.974 | False |
| D4_training_data_85000_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.129 | 0.128 | 0.094 | 0.256 | 0.504 | 26 | 0.775 | False |
| D4_training_data_85000_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.128 | 0.120 | 0.116 | 0.225 | 0.544 | 17 | 1.000 | False |
| D4_training_data_85000_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.125 | 0.118 | 0.115 | 0.217 | 0.536 | 17 | 0.505 | False |
| D4_training_data_85000_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.120 | 0.118 | 0.088 | 0.268 | 0.440 | 15 | 0.292 | False |
| D4_training_data_85002_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 37 | 0.097 | 0.144 | 0.099 | 0.194 | 0.757 | 37 | 1.000 | False |
| D4_training_data_85002_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 42 | 0.137 | 0.137 | 0.095 | 0.177 | 0.771 | 41 | 1.000 | False |
| D4_training_data_85002_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.101 | 0.155 | 0.096 | 0.180 | 0.852 | 35 | 0.937 | False |
| D4_training_data_85002_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.140 | 0.109 | 0.112 | 0.187 | 0.588 | 36 | 1.000 | False |
| D4_training_data_85004_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.082 | 0.190 | 0.074 | 0.181 | 1.056 | 6 | 0.139 | False |
| D4_training_data_85010_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.095 | 0.178 | 0.086 | 0.305 | 0.594 | 15 | 0.475 | False |
| D4_training_data_85010_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.095 | 0.187 | 0.095 | 0.265 | 0.730 | 6 | 0.181 | False |
| D4_training_data_85010_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.110 | 0.165 | 0.112 | 0.272 | 0.648 | 9 | 0.277 | False |
| D4_training_data_85010_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.121 | 0.152 | 0.134 | 0.213 | 0.709 | 29 | 0.846 | False |
| D4_training_data_85011_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.080 | 0.120 | 0.072 | 0.116 | 1.030 | 6 | 0.117 | False |
| D4_training_data_85011_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.110 | 0.101 | 0.097 | 0.088 | 1.136 | 6 | 0.194 | False |
| D4_training_data_85012_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.141 | 0.110 | 0.116 | 0.286 | 0.414 | 11 | 0.759 | False |
| D4_training_data_85012_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.158 | 0.111 | 0.131 | 0.184 | 0.627 | 18 | 0.927 | False |
| D4_training_data_85012_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.148 | 0.121 | 0.147 | 0.190 | 0.715 | 11 | 0.828 | False |
| D4_training_data_85012_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.155 | 0.096 | 0.118 | 0.221 | 0.450 | 13 | 0.833 | False |
| D4_training_data_85018_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.070 | 0.129 | 0.049 | 0.144 | 0.899 | 11 | 0.207 | False |
| D4_training_data_85018_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.063 | 0.145 | 0.055 | 0.127 | 1.155 | 13 | 0.266 | False |
| D4_training_data_85019_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.081 | 0.102 | 0.074 | 0.111 | 0.954 | 11 | 0.162 | False |
| D4_training_data_85019_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.102 | 0.085 | 0.100 | 0.096 | 0.915 | 7 | 0.134 | False |
| D4_training_data_85020_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.107 | 0.154 | 0.095 | 0.478 | 0.332 | 6 | 0.145 | False |
| D4_training_data_85020_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.138 | 0.136 | 0.111 | 0.364 | 0.367 | 9 | 0.358 | False |
| D4_training_data_85020_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.144 | 0.130 | 0.102 | 0.338 | 0.388 | 10 | 0.331 | False |
| D4_training_data_85020_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.154 | 0.122 | 0.105 | 0.365 | 0.338 | 25 | 0.545 | False |
| D4_training_data_85023_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.118 | 0.113 | 0.102 | 0.167 | 0.696 | 10 | 0.609 | False |
| D4_training_data_85023_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.125 | 0.110 | 0.107 | 0.180 | 0.610 | 29 | 0.679 | False |
| D4_training_data_85023_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.126 | 0.103 | 0.116 | 0.168 | 0.614 | 19 | 0.950 | False |
| D4_training_data_85023_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.167 | 0.085 | 0.105 | 0.147 | 0.590 | 22 | 0.922 | False |
| D4_training_data_85024_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 29 | 0.137 | 0.103 | 0.119 | 0.271 | 0.389 | 29 | 0.913 | False |
| D4_training_data_85024_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.139 | 0.109 | 0.101 | 0.219 | 0.498 | 16 | 0.454 | False |
| D4_training_data_85024_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.095 | 0.146 | 0.104 | 0.253 | 0.589 | 32 | 0.944 | False |
| D4_training_data_85024_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.144 | 0.112 | 0.103 | 0.250 | 0.449 | 19 | 0.573 | False |
| D4_training_data_85026_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.134 | 0.082 | 0.111 | 0.158 | 0.523 | 21 | 0.474 | False |
| D4_training_data_85026_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.089 | 0.126 | 0.084 | 0.206 | 0.611 | 14 | 0.312 | False |
| D4_training_data_85027_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.135 | 0.181 | 0.120 | 0.550 | 0.332 | 7 | 0.639 | False |
| D4_training_data_85027_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.136 | 0.187 | 0.130 | 0.492 | 0.399 | 25 | 0.864 | False |
| D4_training_data_85027_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.127 | 0.194 | 0.133 | 0.465 | 0.467 | 19 | 0.762 | False |
| D4_training_data_85027_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.139 | 0.173 | 0.144 | 0.519 | 0.336 | 15 | 0.960 | False |
| D4_training_data_85028_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.125 | 0.160 | 0.134 | 0.218 | 0.772 | 10 | 0.461 | False |
| D4_training_data_85028_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.123 | 0.148 | 0.127 | 0.207 | 0.725 | 19 | 0.569 | False |
| D4_training_data_85028_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.118 | 0.154 | 0.112 | 0.220 | 0.710 | 13 | 0.385 | False |
| D4_training_data_85028_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.149 | 0.117 | 0.105 | 0.195 | 0.605 | 17 | 0.611 | False |
| D4_training_data_85029_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.145 | 0.115 | 0.117 | 0.222 | 0.529 | 7 | 0.235 | False |
| D4_training_data_85029_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.117 | 0.148 | 0.107 | 0.246 | 0.615 | 10 | 0.478 | False |
| D4_training_data_85029_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.133 | 0.157 | 0.113 | 0.226 | 0.721 | 14 | 0.480 | False |
| D4_training_data_85029_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.132 | 0.149 | 0.109 | 0.201 | 0.751 | 21 | 0.690 | False |
| D4_training_data_85030_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.130 | 0.132 | 0.113 | 0.196 | 0.698 | 10 | 0.715 | False |
| D4_training_data_85030_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.109 | 0.143 | 0.088 | 0.229 | 0.635 | 14 | 0.458 | False |
| D4_training_data_85030_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 6 | 0.119 | 0.145 | 0.093 | 0.201 | 0.730 | 5 | 0.245 | False |
| D4_training_data_85030_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.121 | 0.127 | 0.108 | 0.204 | 0.628 | 16 | 0.719 | False |
| D4_training_data_85031_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.155 | 0.173 | 0.130 | 0.375 | 0.467 | 10 | 0.796 | False |
| D4_training_data_85031_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.111 | 0.167 | 0.104 | 0.515 | 0.328 | 10 | 0.532 | False |
| D4_training_data_85031_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.116 | 0.231 | 0.115 | 0.348 | 0.690 | 14 | 0.796 | False |
| D4_training_data_85031_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.113 | 0.187 | 0.111 | 0.457 | 0.420 | 12 | 0.907 | False |
| D4_training_data_85033_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.114 | 0.185 | 0.108 | 0.383 | 0.506 | 14 | 0.535 | False |
| D4_training_data_85033_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.148 | 0.174 | 0.124 | 0.282 | 0.690 | 15 | 0.507 | False |
| D4_training_data_85033_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.126 | 0.183 | 0.114 | 0.395 | 0.531 | 9 | 0.362 | False |
| D4_training_data_85033_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.143 | 0.170 | 0.124 | 0.338 | 0.556 | 20 | 0.751 | False |
| D4_training_data_85034_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.082 | 0.113 | 0.075 | 0.140 | 0.811 | 10 | 0.190 | False |
| D4_training_data_85034_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.090 | 0.099 | 0.066 | 0.096 | 1.041 | 10 | 0.277 | False |
| D4_training_data_85035_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.125 | 0.172 | 0.126 | 0.366 | 0.496 | 14 | 0.921 | False |
| D4_training_data_85035_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.137 | 0.179 | 0.122 | 0.406 | 0.484 | 21 | 0.771 | False |
| D4_training_data_85035_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.135 | 0.170 | 0.136 | 0.378 | 0.461 | 10 | 0.956 | False |
| D4_training_data_85035_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.148 | 0.168 | 0.131 | 0.358 | 0.519 | 8 | 0.861 | False |
| D4_training_data_85036_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.073 | 0.136 | 0.067 | 0.187 | 0.712 | 14 | 0.337 | False |
| D4_training_data_85036_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.076 | 0.144 | 0.078 | 0.159 | 0.863 | 6 | 0.107 | False |
| D4_training_data_85036_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.080 | 0.141 | 0.078 | 0.148 | 0.911 | 13 | 0.235 | False |
| D4_training_data_85036_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.096 | 0.127 | 0.079 | 0.166 | 0.771 | 34 | 0.825 | False |
| D4_training_data_85037_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.133 | 0.172 | 0.132 | 0.346 | 0.507 | 17 | 0.918 | False |
| D4_training_data_85037_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.141 | 0.191 | 0.132 | 0.304 | 0.631 | 18 | 0.636 | False |
| D4_training_data_85037_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.128 | 0.176 | 0.132 | 0.347 | 0.515 | 19 | 0.622 | False |
| D4_training_data_85037_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.143 | 0.179 | 0.125 | 0.335 | 0.538 | 10 | 0.689 | False |
| D4_training_data_85038_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.081 | 0.139 | 0.074 | 0.134 | 1.095 | 9 | 0.210 | False |
| D4_training_data_85038_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.070 | 0.090 | 0.079 | 0.133 | 0.676 | 9 | 0.224 | False |
| D4_training_data_85038_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.046 | 0.153 | 0.051 | 0.171 | 0.873 | 9 | 0.197 | False |
| D4_training_data_85038_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.078 | 0.145 | 0.060 | 0.123 | 1.171 | 9 | 0.239 | False |
| D4_training_data_85042_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.093 | 0.109 | 0.102 | 0.192 | 0.570 | 21 | 0.542 | False |
| D4_training_data_85042_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.127 | 0.120 | 0.113 | 0.190 | 0.635 | 25 | 0.752 | False |
| D4_training_data_85042_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.129 | 0.103 | 0.121 | 0.190 | 0.550 | 25 | 0.646 | False |
| D4_training_data_85042_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.117 | 0.105 | 0.118 | 0.173 | 0.650 | 24 | 0.639 | False |
| D4_training_data_85043_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.109 | 0.158 | 0.087 | 0.207 | 0.765 | 6 | 0.180 | False |
| D4_training_data_85043_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.107 | 0.158 | 0.091 | 0.230 | 0.689 | 14 | 0.353 | False |
| D4_training_data_85043_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.120 | 0.160 | 0.100 | 0.157 | 1.016 | 8 | 0.175 | False |
| D4_training_data_85044_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.137 | 0.162 | 0.126 | 0.336 | 0.489 | 32 | 1.000 | False |
| D4_training_data_85044_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.130 | 0.155 | 0.131 | 0.329 | 0.460 | 20 | 0.743 | False |
| D4_training_data_85046_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.123 | 0.142 | 0.101 | 0.296 | 0.483 | 8 | 0.283 | False |
| D4_training_data_85046_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.126 | 0.156 | 0.111 | 0.230 | 0.709 | 11 | 0.361 | False |
| D4_training_data_85046_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.112 | 0.180 | 0.110 | 0.305 | 0.638 | 12 | 0.411 | False |
| D4_training_data_85046_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.135 | 0.149 | 0.125 | 0.255 | 0.627 | 26 | 0.924 | False |
| D4_training_data_85048_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.119 | 0.162 | 0.108 | 0.462 | 0.337 | 10 | 0.419 | False |
| D4_training_data_85048_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.123 | 0.138 | 0.112 | 0.317 | 0.445 | 13 | 0.431 | False |
| D4_training_data_85048_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.136 | 0.164 | 0.120 | 0.380 | 0.436 | 15 | 0.584 | False |
| D4_training_data_85048_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.131 | 0.123 | 0.122 | 0.350 | 0.353 | 21 | 0.474 | False |
| D4_training_data_85052_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.142 | 0.149 | 0.112 | 0.278 | 0.570 | 24 | 0.774 | False |
| D4_training_data_85052_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.137 | 0.146 | 0.127 | 0.285 | 0.534 | 26 | 0.904 | False |
| D4_training_data_85052_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 43 | 0.140 | 0.146 | 0.125 | 0.250 | 0.593 | 42 | 0.926 | False |
| D4_training_data_85053_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.123 | 0.087 | 0.105 | 0.218 | 0.402 | 17 | 0.369 | False |
| D4_training_data_85053_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.095 | 0.126 | 0.074 | 0.186 | 0.679 | 19 | 0.579 | False |
| D4_training_data_85053_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.120 | 0.111 | 0.112 | 0.166 | 0.663 | 16 | 0.421 | False |
| D4_training_data_85053_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.135 | 0.089 | 0.096 | 0.159 | 0.561 | 25 | 0.415 | False |
| D4_training_data_85055_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.146 | 0.139 | 0.124 | 0.428 | 0.353 | 25 | 0.856 | False |
| D4_training_data_85055_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.154 | 0.126 | 0.129 | 0.428 | 0.309 | 22 | 0.921 | False |
| D4_training_data_85055_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.142 | 0.143 | 0.128 | 0.395 | 0.376 | 12 | 0.372 | False |
| D4_training_data_85057_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.110 | 0.116 | 0.096 | 0.161 | 0.732 | 22 | 0.540 | False |
| D4_training_data_85057_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.088 | 0.124 | 0.092 | 0.147 | 0.872 | 14 | 0.304 | False |
| D4_training_data_85057_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.104 | 0.128 | 0.091 | 0.137 | 0.958 | 20 | 0.474 | False |
| D4_training_data_85057_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.122 | 0.117 | 0.105 | 0.168 | 0.704 | 23 | 0.622 | False |
| D4_training_data_85062_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.088 | 0.153 | 0.073 | 0.221 | 0.681 | 9 | 0.283 | False |
| D4_training_data_85062_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.109 | 0.136 | 0.101 | 0.164 | 0.864 | 11 | 0.301 | False |
| D4_training_data_85062_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.113 | 0.130 | 0.106 | 0.127 | 1.035 | 7 | 0.157 | False |
| D4_training_data_85062_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.099 | 0.143 | 0.095 | 0.165 | 0.841 | 15 | 0.398 | False |
| D4_training_data_85063_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.083 | 0.138 | 0.080 | 0.147 | 0.937 | 6 | 0.110 | False |
| D4_training_data_85064_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.142 | 0.188 | 0.129 | 0.527 | 0.362 | 19 | 0.955 | False |
| D4_training_data_85064_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.125 | 0.207 | 0.122 | 0.505 | 0.411 | 19 | 0.955 | False |
| D4_training_data_85064_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.130 | 0.183 | 0.119 | 0.409 | 0.481 | 13 | 0.398 | False |
| D4_training_data_85064_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.161 | 0.180 | 0.142 | 0.468 | 0.377 | 16 | 0.809 | False |
| D4_training_data_85066_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.065 | 0.112 | 0.082 | 0.146 | 0.774 | 7 | 0.156 | False |
| D4_training_data_85069_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.143 | 0.098 | 0.118 | 0.239 | 0.417 | 11 | 0.939 | False |
| D4_training_data_85069_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.142 | 0.122 | 0.123 | 0.251 | 0.518 | 16 | 0.806 | False |
| D4_training_data_85069_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.142 | 0.106 | 0.120 | 0.233 | 0.476 | 7 | 0.576 | False |
| D4_training_data_85069_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.139 | 0.108 | 0.105 | 0.220 | 0.501 | 19 | 0.969 | False |
| D4_training_data_85075_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.140 | 0.122 | 0.112 | 0.371 | 0.329 | 13 | 0.919 | False |
| D4_training_data_85075_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.145 | 0.130 | 0.127 | 0.374 | 0.356 | 27 | 0.953 | False |
| D4_training_data_85075_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.141 | 0.133 | 0.131 | 0.354 | 0.400 | 13 | 0.838 | False |
| D4_training_data_85075_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.149 | 0.139 | 0.115 | 0.376 | 0.376 | 23 | 0.972 | False |
| D4_training_data_85076_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.141 | 0.194 | 0.112 | 0.386 | 0.519 | 15 | 0.422 | False |
| D4_training_data_85076_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.147 | 0.183 | 0.116 | 0.402 | 0.465 | 13 | 0.607 | False |
| D4_training_data_85077_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.124 | 0.183 | 0.116 | 0.447 | 0.432 | 22 | 0.934 | False |
| D4_training_data_85077_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.127 | 0.189 | 0.112 | 0.367 | 0.527 | 10 | 0.391 | False |
| D4_training_data_85077_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.124 | 0.176 | 0.128 | 0.315 | 0.619 | 11 | 0.396 | False |
| D4_training_data_85077_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.121 | 0.174 | 0.136 | 0.353 | 0.490 | 22 | 0.793 | False |
| D4_training_data_85079_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 21 | 0.143 | 0.117 | 0.134 | 0.236 | 0.513 | 21 | 0.711 | False |
| D4_training_data_85079_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.134 | 0.136 | 0.123 | 0.195 | 0.681 | 13 | 0.396 | False |
| D4_training_data_85079_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.113 | 0.155 | 0.105 | 0.252 | 0.635 | 10 | 0.225 | False |
| D4_training_data_85079_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.126 | 0.126 | 0.128 | 0.221 | 0.589 | 16 | 0.434 | False |
| D4_training_data_85080_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.123 | 0.146 | 0.109 | 0.179 | 0.825 | 19 | 0.394 | False |
| D4_training_data_85080_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.117 | 0.142 | 0.104 | 0.165 | 0.860 | 15 | 0.368 | False |
| D4_training_data_85080_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.139 | 0.139 | 0.095 | 0.199 | 0.715 | 31 | 0.794 | False |
| D4_training_data_85080_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.138 | 0.115 | 0.104 | 0.165 | 0.707 | 35 | 0.552 | False |
| D4_training_data_85081_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.058 | 0.127 | 0.052 | 0.123 | 1.044 | 8 | 0.144 | False |
| D4_training_data_85081_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.044 | 0.139 | 0.040 | 0.161 | 0.864 | 7 | 0.131 | False |
| D4_training_data_85084_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.120 | 0.147 | 0.118 | 0.245 | 0.597 | 7 | 0.242 | False |
| D4_training_data_85084_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.122 | 0.158 | 0.113 | 0.252 | 0.631 | 23 | 0.702 | False |
| D4_training_data_85084_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.123 | 0.119 | 0.097 | 0.279 | 0.432 | 29 | 0.592 | False |
| D4_training_data_85086_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.106 | 0.089 | 0.109 | 0.170 | 0.513 | 17 | 0.362 | False |
| D4_training_data_85086_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.085 | 0.136 | 0.090 | 0.134 | 1.013 | 15 | 0.346 | False |
| D4_training_data_85086_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.103 | 0.121 | 0.094 | 0.141 | 0.881 | 22 | 0.505 | False |
| D4_training_data_85086_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 38 | 0.104 | 0.110 | 0.082 | 0.152 | 0.756 | 38 | 0.872 | False |
| D4_training_data_85087_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.121 | 0.145 | 0.117 | 0.309 | 0.464 | 11 | 0.935 | False |
| D4_training_data_85087_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.143 | 0.146 | 0.179 | 0.231 | 0.663 | 15 | 0.596 | False |
| D4_training_data_85087_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.118 | 0.223 | 0.103 | 0.289 | 0.785 | 14 | 0.988 | False |
| D4_training_data_85087_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.115 | 0.213 | 0.096 | 0.264 | 0.817 | 7 | 0.625 | False |
| D4_training_data_85090_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.137 | 0.095 | 0.104 | 0.339 | 0.299 | 15 | 0.525 | False |
| D4_training_data_85090_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.134 | 0.097 | 0.100 | 0.191 | 0.517 | 27 | 0.705 | False |
| D4_training_data_85090_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.122 | 0.124 | 0.111 | 0.300 | 0.424 | 13 | 0.447 | False |
| D4_training_data_85091_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.090 | 0.145 | 0.065 | 0.152 | 1.184 | 14 | 0.327 | False |
| D4_training_data_85091_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.092 | 0.130 | 0.075 | 0.154 | 0.853 | 13 | 0.201 | False |
| D4_training_data_85093_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.121 | 0.158 | 0.097 | 0.378 | 0.415 | 23 | 0.878 | False |
| D4_training_data_85093_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.149 | 0.149 | 0.115 | 0.313 | 0.462 | 11 | 0.415 | False |
| D4_training_data_85093_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.126 | 0.135 | 0.116 | 0.255 | 0.536 | 21 | 0.569 | False |
| D4_training_data_85093_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.110 | 0.118 | 0.102 | 0.296 | 0.396 | 7 | 0.251 | False |
| D4_training_data_85094_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.152 | 0.197 | 0.136 | 0.451 | 0.454 | 10 | 0.517 | False |
| D4_training_data_85094_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.132 | 0.203 | 0.121 | 0.448 | 0.462 | 14 | 0.622 | False |
| D4_training_data_85094_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.159 | 0.180 | 0.135 | 0.438 | 0.426 | 16 | 0.937 | False |
| D4_training_data_85094_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.156 | 0.188 | 0.137 | 0.427 | 0.452 | 15 | 0.928 | False |
| D4_training_data_85096_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.109 | 0.133 | 0.109 | 0.152 | 0.883 | 15 | 0.370 | False |
| D4_training_data_85096_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.113 | 0.125 | 0.111 | 0.148 | 0.841 | 16 | 0.398 | False |
| D4_training_data_85096_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.114 | 0.115 | 0.117 | 0.139 | 0.838 | 32 | 0.755 | False |
| D4_training_data_85096_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.105 | 0.124 | 0.095 | 0.142 | 0.888 | 28 | 0.629 | False |
| D4_training_data_85099_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.134 | 0.180 | 0.122 | 0.367 | 0.514 | 9 | 0.369 | False |
| D4_training_data_85099_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.140 | 0.180 | 0.123 | 0.365 | 0.497 | 19 | 0.517 | False |
| D4_training_data_85099_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.132 | 0.188 | 0.132 | 0.326 | 0.567 | 10 | 0.384 | False |
| D4_training_data_85099_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 40 | 0.144 | 0.172 | 0.122 | 0.361 | 0.485 | 39 | 0.973 | False |
| D4_training_data_85100_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.135 | 0.147 | 0.118 | 0.405 | 0.390 | 13 | 0.522 | False |
| D4_training_data_85100_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.153 | 0.144 | 0.130 | 0.357 | 0.476 | 7 | 0.299 | False |
| D4_training_data_85102_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.145 | 0.137 | 0.158 | 0.338 | 0.440 | 12 | 0.477 | False |
| D4_training_data_85102_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.155 | 0.174 | 0.120 | 0.336 | 0.545 | 15 | 0.589 | False |
| D4_training_data_85102_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.137 | 0.158 | 0.119 | 0.333 | 0.468 | 22 | 0.820 | False |
| D4_training_data_85102_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.141 | 0.185 | 0.115 | 0.348 | 0.534 | 17 | 0.589 | False |
| D4_training_data_85103_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.135 | 0.100 | 0.110 | 0.365 | 0.280 | 18 | 0.717 | False |
| D4_training_data_85103_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.115 | 0.086 | 0.115 | 0.376 | 0.235 | 19 | 0.576 | False |
| D4_training_data_85103_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.132 | 0.148 | 0.111 | 0.310 | 0.477 | 17 | 0.599 | False |
| D4_training_data_85105_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.126 | 0.172 | 0.137 | 0.278 | 0.628 | 23 | 0.787 | False |
| D4_training_data_85105_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.132 | 0.153 | 0.126 | 0.341 | 0.457 | 8 | 0.196 | False |
| D4_training_data_85108_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.120 | 0.149 | 0.147 | 0.272 | 0.541 | 10 | 0.777 | False |
| D4_training_data_85108_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.130 | 0.178 | 0.132 | 0.285 | 0.629 | 14 | 0.721 | False |
| D4_training_data_85108_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.127 | 0.169 | 0.137 | 0.297 | 0.571 | 14 | 0.895 | False |
| D4_training_data_85108_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.142 | 0.140 | 0.146 | 0.238 | 0.600 | 13 | 1.000 | False |
| D4_training_data_85109_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.115 | 0.138 | 0.094 | 0.258 | 0.528 | 16 | 0.504 | False |
| D4_training_data_85109_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.133 | 0.142 | 0.108 | 0.261 | 0.548 | 26 | 1.000 | False |
| D4_training_data_85109_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.128 | 0.119 | 0.137 | 0.239 | 0.505 | 15 | 0.351 | False |
| D4_training_data_85109_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.124 | 0.119 | 0.119 | 0.274 | 0.468 | 15 | 0.474 | False |
| D4_training_data_85110_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.136 | 0.155 | 0.120 | 0.471 | 0.356 | 17 | 0.761 | False |
| D4_training_data_85110_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.153 | 0.155 | 0.120 | 0.363 | 0.440 | 30 | 0.913 | False |
| D4_training_data_85110_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.134 | 0.160 | 0.122 | 0.378 | 0.434 | 23 | 0.842 | False |
| D4_training_data_85110_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.145 | 0.165 | 0.107 | 0.417 | 0.420 | 23 | 0.810 | False |
| D4_training_data_85112_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.144 | 0.141 | 0.141 | 0.239 | 0.609 | 9 | 0.528 | False |
| D4_training_data_85112_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.149 | 0.147 | 0.135 | 0.247 | 0.597 | 13 | 0.884 | False |
| D4_training_data_85112_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.123 | 0.164 | 0.133 | 0.258 | 0.635 | 11 | 0.751 | False |
| D4_training_data_85112_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.129 | 0.148 | 0.127 | 0.281 | 0.535 | 11 | 0.848 | False |
| D4_training_data_85113_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.118 | 0.123 | 0.117 | 0.149 | 0.844 | 25 | 0.647 | False |
| D4_training_data_85113_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.114 | 0.126 | 0.117 | 0.140 | 0.912 | 36 | 0.889 | False |
| D4_training_data_85113_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.115 | 0.134 | 0.115 | 0.148 | 0.927 | 23 | 0.619 | False |
| D4_training_data_85113_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.131 | 0.108 | 0.117 | 0.142 | 0.767 | 24 | 0.595 | False |
| D4_training_data_85114_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.130 | 0.127 | 0.101 | 0.190 | 0.685 | 19 | 0.967 | False |
| D4_training_data_85114_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.113 | 0.138 | 0.092 | 0.213 | 0.653 | 22 | 0.691 | False |
| D4_training_data_85114_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.125 | 0.127 | 0.116 | 0.188 | 0.695 | 15 | 0.729 | False |
| D4_training_data_85114_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.132 | 0.131 | 0.113 | 0.187 | 0.705 | 15 | 1.000 | False |
| D4_training_data_85115_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.132 | 0.151 | 0.121 | 0.214 | 0.723 | 10 | 0.702 | False |
| D4_training_data_85115_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.115 | 0.166 | 0.118 | 0.198 | 0.855 | 10 | 0.314 | False |
| D4_training_data_85115_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.131 | 0.157 | 0.132 | 0.222 | 0.726 | 23 | 0.967 | False |
| D4_training_data_85115_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.139 | 0.147 | 0.130 | 0.226 | 0.658 | 12 | 0.511 | False |
| D4_training_data_85116_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.114 | 0.143 | 0.115 | 0.246 | 0.601 | 7 | 0.381 | False |
| D4_training_data_85116_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.126 | 0.120 | 0.104 | 0.168 | 0.743 | 19 | 0.410 | False |
| D4_training_data_85116_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.126 | 0.118 | 0.122 | 0.171 | 0.710 | 30 | 1.000 | False |
| D4_training_data_85116_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.120 | 0.121 | 0.130 | 0.203 | 0.607 | 24 | 0.935 | False |
| D4_training_data_85118_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.094 | 0.115 | 0.105 | 0.315 | 0.355 | 10 | 0.281 | False |
| D4_training_data_85118_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.118 | 0.154 | 0.100 | 0.271 | 0.567 | 10 | 0.331 | False |
| D4_training_data_85118_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.126 | 0.118 | 0.115 | 0.247 | 0.483 | 13 | 0.315 | False |
| D4_training_data_85118_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.125 | 0.127 | 0.100 | 0.270 | 0.471 | 14 | 0.316 | False |
| D4_training_data_85119_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.128 | 0.127 | 0.121 | 0.265 | 0.484 | 24 | 0.803 | False |
| D4_training_data_85119_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.139 | 0.124 | 0.111 | 0.227 | 0.545 | 31 | 0.930 | False |
| D4_training_data_85119_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 34 | 0.128 | 0.154 | 0.116 | 0.236 | 0.680 | 34 | 1.000 | False |
| D4_training_data_85119_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.128 | 0.121 | 0.109 | 0.220 | 0.572 | 28 | 0.825 | False |
| D4_training_data_85121_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.118 | 0.148 | 0.104 | 0.208 | 0.722 | 16 | 0.474 | False |
| D4_training_data_85121_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.140 | 0.138 | 0.104 | 0.206 | 0.676 | 10 | 0.283 | False |
| D4_training_data_85121_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.108 | 0.158 | 0.116 | 0.197 | 0.810 | 26 | 0.781 | False |
| D4_training_data_85121_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.130 | 0.137 | 0.120 | 0.216 | 0.643 | 14 | 0.379 | False |
| D4_training_data_85122_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.099 | 0.149 | 0.092 | 0.187 | 0.805 | 10 | 0.227 | False |
| D4_training_data_85122_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.111 | 0.143 | 0.114 | 0.166 | 0.896 | 13 | 0.351 | False |
| D4_training_data_85122_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.115 | 0.125 | 0.124 | 0.158 | 0.813 | 32 | 0.823 | False |
| D4_training_data_85122_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.115 | 0.140 | 0.123 | 0.152 | 0.949 | 13 | 0.254 | False |
| D4_training_data_85123_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.136 | 0.157 | 0.123 | 0.443 | 0.364 | 19 | 0.846 | False |
| D4_training_data_85123_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.131 | 0.170 | 0.109 | 0.432 | 0.405 | 13 | 0.559 | False |
| D4_training_data_85123_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.117 | 0.194 | 0.107 | 0.446 | 0.452 | 14 | 0.622 | False |
| D4_training_data_85123_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.134 | 0.152 | 0.132 | 0.448 | 0.344 | 19 | 0.841 | False |
| D4_training_data_85124_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.142 | 0.130 | 0.119 | 0.293 | 0.452 | 22 | 0.775 | False |
| D4_training_data_85124_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.140 | 0.148 | 0.116 | 0.311 | 0.474 | 21 | 0.774 | False |
| D4_training_data_85124_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.130 | 0.139 | 0.128 | 0.347 | 0.402 | 18 | 0.689 | False |
| D4_training_data_85124_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.135 | 0.140 | 0.126 | 0.291 | 0.482 | 25 | 0.878 | False |
| D4_training_data_85127_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.119 | 0.119 | 0.123 | 0.234 | 0.514 | 22 | 0.661 | False |
| D4_training_data_85127_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.124 | 0.136 | 0.100 | 0.193 | 0.707 | 13 | 0.363 | False |
| D4_training_data_85127_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.141 | 0.107 | 0.112 | 0.221 | 0.494 | 20 | 0.543 | False |
| D4_training_data_85127_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.139 | 0.115 | 0.103 | 0.214 | 0.540 | 26 | 0.514 | False |
| D4_training_data_85128_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.123 | 0.134 | 0.133 | 0.283 | 0.482 | 26 | 0.886 | False |
| D4_training_data_85128_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.140 | 0.145 | 0.117 | 0.241 | 0.618 | 22 | 0.607 | False |
| D4_training_data_85128_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.125 | 0.146 | 0.129 | 0.216 | 0.686 | 15 | 0.480 | False |
| D4_training_data_85128_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.117 | 0.160 | 0.099 | 0.294 | 0.578 | 23 | 0.775 | False |
| D4_training_data_85131_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.117 | 0.138 | 0.109 | 0.220 | 0.637 | 13 | 0.781 | False |
| D4_training_data_85131_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.133 | 0.137 | 0.111 | 0.208 | 0.666 | 31 | 0.884 | False |
| D4_training_data_85131_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.132 | 0.138 | 0.113 | 0.180 | 0.777 | 20 | 0.731 | False |
| D4_training_data_85131_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.138 | 0.124 | 0.127 | 0.178 | 0.672 | 8 | 0.520 | False |
| D4_training_data_85132_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.150 | 0.146 | 0.145 | 0.284 | 0.529 | 10 | 1.000 | False |
| D4_training_data_85132_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.142 | 0.164 | 0.138 | 0.374 | 0.462 | 18 | 0.754 | False |
| D4_training_data_85132_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.154 | 0.165 | 0.153 | 0.388 | 0.459 | 12 | 0.476 | False |
| D4_training_data_85132_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.138 | 0.149 | 0.139 | 0.316 | 0.480 | 15 | 0.569 | False |
| D4_training_data_85133_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.139 | 0.132 | 0.112 | 0.292 | 0.464 | 9 | 0.578 | False |
| D4_training_data_85133_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.151 | 0.119 | 0.098 | 0.289 | 0.416 | 31 | 0.807 | False |
| D4_training_data_85133_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.132 | 0.123 | 0.137 | 0.234 | 0.527 | 21 | 0.987 | False |
| D4_training_data_85133_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.138 | 0.110 | 0.107 | 0.293 | 0.381 | 21 | 0.888 | False |
| D4_training_data_85134_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.134 | 0.133 | 0.129 | 0.253 | 0.533 | 24 | 0.789 | False |
| D4_training_data_85134_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.141 | 0.153 | 0.116 | 0.283 | 0.554 | 19 | 1.000 | False |
| D4_training_data_85134_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.108 | 0.143 | 0.105 | 0.277 | 0.534 | 15 | 0.334 | False |
| D4_training_data_85134_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.126 | 0.145 | 0.118 | 0.271 | 0.545 | 16 | 0.539 | False |
| D4_training_data_85135_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.122 | 0.125 | 0.109 | 0.245 | 0.516 | 24 | 0.740 | False |
| D4_training_data_85135_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.120 | 0.117 | 0.123 | 0.258 | 0.456 | 21 | 0.612 | False |
| D4_training_data_85135_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.129 | 0.117 | 0.103 | 0.260 | 0.454 | 27 | 0.551 | False |
| D4_training_data_85136_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.131 | 0.157 | 0.125 | 0.369 | 0.412 | 17 | 0.661 | False |
| D4_training_data_85136_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.140 | 0.149 | 0.117 | 0.315 | 0.481 | 28 | 0.963 | False |
| D4_training_data_85136_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.136 | 0.158 | 0.137 | 0.322 | 0.506 | 13 | 0.505 | False |
| D4_training_data_85136_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.135 | 0.149 | 0.130 | 0.343 | 0.443 | 22 | 1.000 | False |
| D4_training_data_85139_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.138 | 0.122 | 0.120 | 0.233 | 0.526 | 23 | 0.751 | False |
| D4_training_data_85139_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.123 | 0.146 | 0.131 | 0.277 | 0.532 | 16 | 0.542 | False |
| D4_training_data_85139_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.152 | 0.144 | 0.101 | 0.253 | 0.581 | 18 | 0.542 | False |
| D4_training_data_85140_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.075 | 0.116 | 0.083 | 0.132 | 0.882 | 6 | 0.222 | False |
| D4_training_data_85140_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.100 | 0.119 | 0.088 | 0.123 | 0.965 | 10 | 0.414 | False |
| D4_training_data_85140_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.093 | 0.124 | 0.080 | 0.118 | 1.072 | 7 | 0.188 | False |
| D4_training_data_85143_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.131 | 0.113 | 0.117 | 0.212 | 0.542 | 15 | 0.408 | False |
| D4_training_data_85143_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.117 | 0.160 | 0.102 | 0.178 | 0.903 | 16 | 0.471 | False |
| D4_training_data_85143_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.114 | 0.149 | 0.120 | 0.167 | 0.898 | 13 | 0.378 | False |
| D4_training_data_85143_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.136 | 0.140 | 0.117 | 0.174 | 0.809 | 7 | 0.126 | False |
| D4_training_data_85144_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.081 | 0.121 | 0.085 | 0.150 | 0.796 | 5 | 0.079 | False |
| D4_training_data_85144_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.080 | 0.138 | 0.073 | 0.125 | 1.128 | 10 | 0.202 | False |
| D4_training_data_85145_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.067 | 0.153 | 0.060 | 0.191 | 0.798 | 10 | 0.208 | False |
| D4_training_data_85147_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 20 | 0.130 | 0.164 | 0.133 | 0.359 | 0.469 | 19 | 0.721 | False |
| D4_training_data_85147_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.127 | 0.159 | 0.123 | 0.325 | 0.494 | 10 | 0.339 | False |
| D4_training_data_85147_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.113 | 0.174 | 0.119 | 0.317 | 0.554 | 23 | 0.721 | False |
| D4_training_data_85147_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 27 | 0.135 | 0.137 | 0.123 | 0.336 | 0.410 | 26 | 0.641 | False |
| D4_training_data_85148_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.066 | 0.136 | 0.056 | 0.196 | 0.691 | 24 | 0.514 | False |
| D4_training_data_85148_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.137 | 0.322 | 0.127 | 0.325 | 0.997 | 21 | 1.000 | False |
| D4_training_data_85148_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.106 | 0.111 | 0.076 | 0.151 | 0.723 | 16 | 0.351 | False |
| D4_training_data_85148_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.177 | 0.393 | 0.100 | 0.256 | 1.814 | 9 | 1.000 | False |
| D4_training_data_85150_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.120 | 0.113 | 0.117 | 0.256 | 0.433 | 30 | 1.000 | False |
| D4_training_data_85150_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.127 | 0.104 | 0.127 | 0.225 | 0.471 | 23 | 0.504 | False |
| D4_training_data_85151_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.121 | 0.108 | 0.099 | 0.204 | 0.531 | 24 | 0.641 | False |
| D4_training_data_85151_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.130 | 0.098 | 0.096 | 0.184 | 0.542 | 12 | 0.312 | False |
| D4_training_data_85151_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.126 | 0.108 | 0.109 | 0.182 | 0.605 | 35 | 0.949 | False |
| D4_training_data_85151_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.140 | 0.109 | 0.104 | 0.160 | 0.737 | 20 | 0.563 | False |
| D4_training_data_85152_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.123 | 0.099 | 0.114 | 0.238 | 0.419 | 11 | 0.337 | False |
| D4_training_data_85152_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.123 | 0.126 | 0.097 | 0.210 | 0.602 | 20 | 0.560 | False |
| D4_training_data_85152_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.122 | 0.092 | 0.126 | 0.211 | 0.441 | 21 | 0.566 | False |
| D4_training_data_85152_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 28 | 0.125 | 0.110 | 0.102 | 0.222 | 0.489 | 28 | 1.000 | False |
| D4_training_data_85153_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.068 | 0.189 | 0.038 | 0.291 | 0.654 | 16 | 1.000 | False |
| D4_training_data_85153_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 37 | 0.134 | 0.149 | 0.108 | 0.194 | 0.776 | 36 | 1.000 | False |
| D4_training_data_85154_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.139 | 0.107 | 0.104 | 0.336 | 0.331 | 28 | 0.958 | False |
| D4_training_data_85154_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.129 | 0.470 | 0.137 | 0.425 | 1.043 | 7 | 0.434 | False |
| D4_training_data_85154_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.137 | 0.099 | 0.112 | 0.277 | 0.360 | 26 | 0.811 | False |
| D4_training_data_85154_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.114 | 0.121 | 0.096 | 0.292 | 0.420 | 12 | 0.402 | False |
| D4_training_data_85155_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.074 | 0.137 | 0.062 | 0.124 | 1.103 | 6 | 0.170 | False |
| D4_training_data_85157_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.132 | 0.156 | 0.128 | 0.381 | 0.418 | 6 | 0.526 | False |
| D4_training_data_85157_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.136 | 0.167 | 0.135 | 0.327 | 0.526 | 32 | 0.860 | False |
| D4_training_data_85157_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.127 | 0.166 | 0.136 | 0.364 | 0.480 | 23 | 0.947 | False |
| D4_training_data_85157_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.134 | 0.164 | 0.120 | 0.392 | 0.444 | 13 | 0.506 | False |
| D4_training_data_85159_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.072 | 0.118 | 0.063 | 0.158 | 0.748 | 5 | 0.100 | False |
| D4_training_data_85159_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.083 | 0.140 | 0.075 | 0.144 | 1.026 | 6 | 0.134 | False |
| D4_training_data_85161_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.107 | 0.134 | 0.102 | 0.149 | 0.922 | 7 | 0.214 | False |
| D4_training_data_85161_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.103 | 0.134 | 0.095 | 0.097 | 1.407 | 11 | 0.326 | False |
| D4_training_data_85161_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.118 | 0.123 | 0.099 | 0.140 | 0.901 | 12 | 0.236 | False |
| D4_training_data_85161_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.103 | 0.117 | 0.109 | 0.145 | 0.859 | 13 | 0.419 | False |
| D4_training_data_85162_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.127 | 0.114 | 0.108 | 0.191 | 0.600 | 24 | 0.627 | False |
| D4_training_data_85162_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.117 | 0.121 | 0.119 | 0.174 | 0.701 | 37 | 0.819 | False |
| D4_training_data_85162_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.131 | 0.119 | 0.129 | 0.194 | 0.622 | 31 | 0.813 | False |
| D4_training_data_85162_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 48 | 0.132 | 0.123 | 0.105 | 0.175 | 0.709 | 47 | 0.853 | False |
| D4_training_data_85163_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.135 | 0.160 | 0.137 | 0.195 | 0.863 | 7 | 0.412 | False |
| D4_training_data_85163_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.121 | 0.178 | 0.134 | 0.189 | 0.959 | 36 | 0.645 | False |
| D4_training_data_85163_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.123 | 0.151 | 0.133 | 0.228 | 0.670 | 23 | 0.872 | False |
| D4_training_data_85163_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.106 | 0.182 | 0.127 | 0.197 | 0.929 | 11 | 0.348 | False |
| D4_training_data_85164_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.129 | 0.107 | 0.115 | 0.234 | 0.458 | 29 | 0.743 | False |
| D4_training_data_85164_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.134 | 0.113 | 0.107 | 0.197 | 0.569 | 15 | 0.387 | False |
| D4_training_data_85164_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.130 | 0.101 | 0.117 | 0.221 | 0.463 | 28 | 0.749 | False |
| D4_training_data_85164_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.131 | 0.112 | 0.096 | 0.191 | 0.591 | 33 | 0.562 | False |
| D4_training_data_85165_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.078 | 0.134 | 0.081 | 0.117 | 1.150 | 5 | 0.109 | False |
| D4_training_data_85165_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.081 | 0.118 | 0.087 | 0.124 | 0.963 | 5 | 0.087 | False |
| D4_training_data_85166_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.097 | 0.159 | 0.079 | 0.245 | 0.672 | 13 | 0.385 | False |
| D4_training_data_85166_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.114 | 0.150 | 0.119 | 0.180 | 0.859 | 25 | 0.722 | False |
| D4_training_data_85166_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.116 | 0.126 | 0.123 | 0.163 | 0.779 | 29 | 0.612 | False |
| D4_training_data_85166_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.122 | 0.129 | 0.123 | 0.176 | 0.746 | 35 | 0.969 | False |
| D4_training_data_85167_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.127 | 0.142 | 0.122 | 0.239 | 0.584 | 27 | 0.794 | False |
| D4_training_data_85167_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.122 | 0.139 | 0.103 | 0.204 | 0.757 | 34 | 0.821 | False |
| D4_training_data_85168_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.131 | 0.154 | 0.120 | 0.351 | 0.443 | 7 | 0.599 | False |
| D4_training_data_85168_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.100 | 0.168 | 0.098 | 0.336 | 0.507 | 12 | 0.478 | False |
| D4_training_data_85168_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.147 | 0.147 | 0.138 | 0.323 | 0.472 | 11 | 0.924 | False |
| D4_training_data_85168_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.129 | 0.146 | 0.128 | 0.262 | 0.562 | 18 | 0.963 | False |
| D4_training_data_85169_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.116 | 0.131 | 0.132 | 0.218 | 0.612 | 31 | 0.952 | False |
| D4_training_data_85169_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.126 | 0.154 | 0.108 | 0.173 | 0.899 | 32 | 0.900 | False |
| D4_training_data_85169_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 32 | 0.118 | 0.144 | 0.121 | 0.193 | 0.763 | 32 | 0.937 | False |
| D4_training_data_85169_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.120 | 0.132 | 0.134 | 0.178 | 0.765 | 24 | 0.692 | False |
| D4_training_data_85172_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.101 | 0.141 | 0.103 | 0.204 | 0.702 | 14 | 0.664 | False |
| D4_training_data_85172_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 24 | 0.123 | 0.119 | 0.119 | 0.175 | 0.696 | 23 | 0.472 | False |
| D4_training_data_85172_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.113 | 0.078 | 0.135 | 0.208 | 0.395 | 13 | 0.515 | False |
| D4_training_data_85172_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.120 | 0.100 | 0.127 | 0.186 | 0.557 | 21 | 0.786 | False |
| D4_training_data_85174_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.138 | 0.175 | 0.121 | 0.337 | 0.524 | 7 | 0.246 | False |
| D4_training_data_85174_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.143 | 0.170 | 0.125 | 0.393 | 0.462 | 20 | 0.842 | False |
| D4_training_data_85174_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.148 | 0.160 | 0.151 | 0.320 | 0.524 | 17 | 0.534 | False |
| D4_training_data_85174_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 24 | 0.132 | 0.170 | 0.125 | 0.353 | 0.505 | 23 | 0.543 | False |
| D4_training_data_85175_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.125 | 0.083 | 0.120 | 0.256 | 0.328 | 17 | 0.520 | False |
| D4_training_data_85175_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 33 | 0.123 | 0.119 | 0.128 | 0.178 | 0.677 | 33 | 0.946 | False |
| D4_training_data_85175_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.091 | 0.117 | 0.142 | 0.188 | 0.620 | 20 | 0.510 | False |
| D4_training_data_85175_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.117 | 0.102 | 0.127 | 0.235 | 0.437 | 22 | 0.626 | False |
| D4_training_data_85176_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.140 | 0.168 | 0.112 | 0.358 | 0.501 | 16 | 0.875 | False |
| D4_training_data_85176_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 21 | 0.123 | 0.186 | 0.103 | 0.319 | 0.613 | 20 | 0.448 | False |
| D4_training_data_85176_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.130 | 0.182 | 0.136 | 0.317 | 0.578 | 18 | 0.868 | False |
| D4_training_data_85176_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.141 | 0.166 | 0.113 | 0.355 | 0.474 | 13 | 0.692 | False |
| D4_training_data_85180_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.116 | 0.107 | 0.122 | 0.205 | 0.522 | 23 | 0.623 | False |
| D4_training_data_85180_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.118 | 0.127 | 0.106 | 0.183 | 0.713 | 13 | 0.327 | False |
| D4_training_data_85180_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.112 | 0.121 | 0.117 | 0.222 | 0.547 | 25 | 0.711 | False |
| D4_training_data_85180_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 36 | 0.120 | 0.122 | 0.102 | 0.203 | 0.609 | 36 | 0.652 | False |
| D4_training_data_85181_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.112 | 0.132 | 0.112 | 0.227 | 0.594 | 15 | 0.388 | False |
| D4_training_data_85181_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.124 | 0.117 | 0.113 | 0.160 | 0.738 | 31 | 0.802 | False |
| D4_training_data_85182_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.109 | 0.114 | 0.101 | 0.221 | 0.539 | 6 | 0.188 | False |
| D4_training_data_85182_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.122 | 0.136 | 0.104 | 0.170 | 0.813 | 15 | 0.297 | False |
| D4_training_data_85182_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.096 | 0.138 | 0.076 | 0.233 | 0.593 | 7 | 0.185 | False |
| D4_training_data_85182_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.114 | 0.121 | 0.103 | 0.194 | 0.639 | 8 | 0.133 | False |
| D4_training_data_85184_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 30 | 0.123 | 0.079 | 0.105 | 0.176 | 0.452 | 30 | 0.761 | False |
| D4_training_data_85184_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.113 | 0.103 | 0.085 | 0.147 | 0.724 | 17 | 0.408 | False |
| D4_training_data_85184_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 42 | 0.123 | 0.087 | 0.113 | 0.165 | 0.534 | 42 | 0.954 | False |
| D4_training_data_85184_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.108 | 0.102 | 0.096 | 0.157 | 0.657 | 30 | 0.715 | False |
| D4_training_data_85186_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.120 | 0.145 | 0.100 | 0.317 | 0.460 | 18 | 0.543 | False |
| D4_training_data_85186_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.145 | 0.084 | 0.111 | 0.273 | 0.311 | 38 | 1.000 | False |
| D4_training_data_85186_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.127 | 0.090 | 0.111 | 0.294 | 0.312 | 14 | 1.000 | False |
| D4_training_data_85192_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.136 | 0.148 | 0.119 | 0.299 | 0.501 | 23 | 0.847 | False |
| D4_training_data_85192_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.151 | 0.144 | 0.113 | 0.300 | 0.485 | 27 | 1.000 | False |
| D4_training_data_85192_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.135 | 0.151 | 0.119 | 0.296 | 0.516 | 23 | 0.827 | False |
| D4_training_data_85192_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.144 | 0.137 | 0.117 | 0.291 | 0.465 | 25 | 0.919 | False |
| D4_training_data_85196_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.140 | 0.157 | 0.123 | 0.374 | 0.420 | 12 | 0.390 | False |
| D4_training_data_85196_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.117 | 0.185 | 0.113 | 0.295 | 0.640 | 10 | 0.339 | False |
| D4_training_data_85196_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.124 | 0.155 | 0.134 | 0.361 | 0.431 | 15 | 0.568 | False |
| D4_training_data_85196_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.124 | 0.189 | 0.114 | 0.318 | 0.602 | 17 | 0.424 | False |
| D4_training_data_85197_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.119 | 0.142 | 0.123 | 0.186 | 0.774 | 21 | 0.958 | False |
| D4_training_data_85197_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 39 | 0.116 | 0.139 | 0.120 | 0.142 | 0.989 | 38 | 0.936 | False |
| D4_training_data_85197_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.111 | 0.135 | 0.130 | 0.142 | 0.957 | 18 | 0.952 | False |
| D4_training_data_85197_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.122 | 0.146 | 0.117 | 0.191 | 0.770 | 20 | 1.000 | False |
| D4_training_data_85198_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 36 | 0.107 | 0.114 | 0.111 | 0.177 | 0.660 | 36 | 0.959 | False |
| D4_training_data_85198_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.105 | 0.127 | 0.109 | 0.152 | 0.881 | 19 | 0.472 | False |
| D4_training_data_85198_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 27 | 0.098 | 0.148 | 0.098 | 0.193 | 0.784 | 27 | 0.731 | False |
| D4_training_data_85198_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.107 | 0.128 | 0.095 | 0.173 | 0.757 | 37 | 0.943 | False |
| D4_training_data_85199_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.126 | 0.110 | 0.117 | 0.405 | 0.278 | 11 | 0.362 | False |
| D4_training_data_85199_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.144 | 0.129 | 0.113 | 0.340 | 0.379 | 22 | 0.800 | False |
| D4_training_data_85202_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.055 | 0.179 | 0.047 | 0.170 | 1.047 | 6 | 0.154 | False |
| D4_training_data_85202_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.096 | 0.113 | 0.100 | 0.146 | 0.779 | 14 | 0.279 | False |
| D4_training_data_85203_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.132 | 0.117 | 0.125 | 0.149 | 0.791 | 7 | 0.210 | False |
| D4_training_data_85203_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.117 | 0.126 | 0.099 | 0.150 | 0.852 | 8 | 0.176 | False |
| D4_training_data_85207_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 28 | 0.114 | 0.119 | 0.100 | 0.291 | 0.404 | 28 | 1.000 | False |
| D4_training_data_85207_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.127 | 0.103 | 0.095 | 0.253 | 0.411 | 20 | 0.597 | False |
| D4_training_data_85207_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.128 | 0.088 | 0.112 | 0.266 | 0.337 | 25 | 0.758 | False |
| D4_training_data_85207_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.126 | 0.082 | 0.113 | 0.271 | 0.317 | 31 | 0.953 | False |
| D4_training_data_85210_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 38 | 0.115 | 0.108 | 0.110 | 0.151 | 0.729 | 38 | 0.895 | False |
| D4_training_data_85210_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.130 | 0.110 | 0.110 | 0.159 | 0.698 | 30 | 0.716 | False |
| D4_training_data_85210_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 38 | 0.125 | 0.113 | 0.117 | 0.155 | 0.748 | 38 | 0.937 | False |
| D4_training_data_85210_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 52 | 0.129 | 0.117 | 0.111 | 0.159 | 0.743 | 52 | 0.855 | False |
| D4_training_data_85212_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 32 | 0.128 | 0.166 | 0.115 | 0.204 | 0.822 | 31 | 1.000 | False |
| D4_training_data_85212_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.119 | 0.175 | 0.104 | 0.204 | 0.860 | 20 | 0.627 | False |
| D4_training_data_85212_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.118 | 0.154 | 0.117 | 0.190 | 0.821 | 25 | 1.000 | False |
| D4_training_data_85212_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.136 | 0.153 | 0.107 | 0.194 | 0.793 | 33 | 1.000 | False |
| D4_training_data_85213_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.129 | 0.105 | 0.098 | 0.173 | 0.618 | 11 | 0.504 | False |
| D4_training_data_85213_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 8 | 0.081 | 0.156 | 0.069 | 0.198 | 0.783 | 7 | 0.184 | False |
| D4_training_data_85213_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 12 | 0.114 | 0.125 | 0.117 | 0.152 | 0.833 | 10 | 0.268 | False |
| D4_training_data_85213_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.108 | 0.124 | 0.132 | 0.147 | 0.834 | 11 | 0.281 | False |
| D4_training_data_85214_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.128 | 0.134 | 0.128 | 0.211 | 0.642 | 9 | 0.226 | False |
| D4_training_data_85214_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.118 | 0.130 | 0.112 | 0.210 | 0.628 | 14 | 0.317 | False |
| D4_training_data_85214_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.133 | 0.126 | 0.130 | 0.156 | 0.813 | 23 | 0.823 | False |
| D4_training_data_85214_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.130 | 0.125 | 0.099 | 0.220 | 0.568 | 15 | 0.437 | False |
| D4_training_data_85216_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.110 | 0.152 | 0.105 | 0.257 | 0.590 | 11 | 0.360 | False |
| D4_training_data_85216_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.113 | 0.136 | 0.124 | 0.208 | 0.681 | 13 | 0.403 | False |
| D4_training_data_85216_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.122 | 0.145 | 0.126 | 0.202 | 0.728 | 33 | 0.856 | False |
| D4_training_data_85216_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 31 | 0.132 | 0.110 | 0.115 | 0.235 | 0.466 | 31 | 0.951 | False |
| D4_training_data_85217_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.136 | 0.168 | 0.110 | 0.410 | 0.406 | 7 | 0.658 | False |
| D4_training_data_85217_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.137 | 0.151 | 0.120 | 0.362 | 0.423 | 19 | 0.679 | False |
| D4_training_data_85217_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.139 | 0.160 | 0.141 | 0.377 | 0.432 | 19 | 0.947 | False |
| D4_training_data_85217_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.145 | 0.160 | 0.113 | 0.341 | 0.472 | 20 | 0.745 | False |
| D4_training_data_85219_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.062 | 0.169 | 0.067 | 0.164 | 1.011 | 10 | 0.249 | False |
| D4_training_data_85219_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.120 | 0.117 | 0.092 | 0.145 | 0.819 | 22 | 0.533 | False |
| D4_training_data_85219_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.117 | 0.111 | 0.099 | 0.133 | 0.857 | 29 | 1.000 | False |
| D4_training_data_85219_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.114 | 0.125 | 0.096 | 0.136 | 0.936 | 32 | 0.780 | False |
| D4_training_data_85222_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.083 | 0.150 | 0.064 | 0.222 | 0.681 | 6 | 0.153 | False |
| D4_training_data_85222_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 37 | 0.127 | 0.094 | 0.104 | 0.130 | 0.726 | 36 | 0.769 | False |
| D4_training_data_85222_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.125 | 0.093 | 0.102 | 0.156 | 0.609 | 15 | 0.254 | False |
| D4_training_data_85225_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.133 | 0.140 | 0.115 | 0.239 | 0.588 | 15 | 0.778 | False |
| D4_training_data_85225_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.131 | 0.166 | 0.122 | 0.224 | 0.745 | 7 | 0.163 | False |
| D4_training_data_85225_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.151 | 0.138 | 0.140 | 0.226 | 0.614 | 10 | 0.332 | False |
| D4_training_data_85225_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 18 | 0.136 | 0.133 | 0.110 | 0.233 | 0.583 | 17 | 0.909 | False |
| D4_training_data_85226_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.112 | 0.119 | 0.101 | 0.134 | 0.905 | 17 | 0.382 | False |
| D4_training_data_85226_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.107 | 0.118 | 0.106 | 0.140 | 0.837 | 13 | 0.364 | False |
| D4_training_data_85226_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.081 | 0.148 | 0.066 | 0.141 | 1.046 | 8 | 0.314 | False |
| D4_training_data_85227_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.119 | 0.142 | 0.083 | 0.204 | 0.711 | 9 | 0.168 | False |
| D4_training_data_85227_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.138 | 0.107 | 0.109 | 0.159 | 0.640 | 13 | 0.471 | False |
| D4_training_data_85227_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.122 | 0.125 | 0.101 | 0.162 | 0.762 | 8 | 0.233 | False |
| D4_training_data_85227_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.111 | 0.115 | 0.092 | 0.157 | 0.761 | 10 | 0.272 | False |
| D4_training_data_85229_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.139 | 0.167 | 0.141 | 0.331 | 0.510 | 6 | 0.187 | False |
| D4_training_data_85229_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.110 | 0.196 | 0.116 | 0.399 | 0.517 | 6 | 0.241 | False |
| D4_training_data_85229_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.137 | 0.176 | 0.121 | 0.357 | 0.535 | 7 | 0.249 | False |
| D4_training_data_85230_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.118 | 0.140 | 0.126 | 0.208 | 0.684 | 31 | 0.963 | False |
| D4_training_data_85230_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.117 | 0.149 | 0.129 | 0.177 | 0.856 | 32 | 0.934 | False |
| D4_training_data_85230_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.098 | 0.151 | 0.127 | 0.192 | 0.784 | 15 | 0.427 | False |
| D4_training_data_85230_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 37 | 0.112 | 0.141 | 0.134 | 0.206 | 0.688 | 37 | 0.969 | False |
| D4_training_data_85234_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.151 | 0.140 | 0.143 | 0.254 | 0.554 | 10 | 0.517 | False |
| D4_training_data_85234_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.147 | 0.157 | 0.135 | 0.302 | 0.523 | 16 | 0.798 | False |
| D4_training_data_85234_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.168 | 0.139 | 0.153 | 0.273 | 0.516 | 12 | 0.968 | False |
| D4_training_data_85234_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.128 | 0.154 | 0.125 | 0.272 | 0.575 | 11 | 0.750 | False |
| D4_training_data_85235_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 24 | 0.141 | 0.139 | 0.122 | 0.312 | 0.448 | 22 | 0.748 | False |
| D4_training_data_85235_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 31 | 0.133 | 0.153 | 0.124 | 0.251 | 0.617 | 30 | 0.858 | False |
| D4_training_data_85235_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 22 | 0.126 | 0.144 | 0.129 | 0.276 | 0.529 | 22 | 0.683 | False |
| D4_training_data_85235_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.131 | 0.145 | 0.117 | 0.274 | 0.534 | 23 | 0.495 | False |
| D4_training_data_85236_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.156 | 0.145 | 0.135 | 0.377 | 0.386 | 17 | 0.575 | False |
| D4_training_data_85236_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.167 | 0.122 | 0.133 | 0.359 | 0.340 | 8 | 0.219 | False |
| D4_training_data_85236_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.144 | 0.143 | 0.135 | 0.370 | 0.387 | 20 | 0.861 | False |
| D4_training_data_85236_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.164 | 0.108 | 0.126 | 0.370 | 0.292 | 16 | 0.681 | False |
| D4_training_data_85239_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.136 | 0.116 | 0.097 | 0.151 | 0.770 | 9 | 0.212 | False |
| D4_training_data_85239_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 38 | 0.132 | 0.117 | 0.104 | 0.156 | 0.751 | 37 | 0.776 | False |
| D4_training_data_85239_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.128 | 0.116 | 0.097 | 0.167 | 0.700 | 18 | 0.434 | False |
| D4_training_data_85239_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 50 | 0.117 | 0.134 | 0.095 | 0.170 | 0.792 | 49 | 0.774 | False |
| D4_training_data_85240_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 27 | 0.139 | 0.160 | 0.115 | 0.287 | 0.550 | 26 | 0.953 | False |
| D4_training_data_85240_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 31 | 0.133 | 0.124 | 0.119 | 0.229 | 0.544 | 31 | 0.958 | False |
| D4_training_data_85240_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.129 | 0.088 | 0.119 | 0.278 | 0.334 | 10 | 0.333 | False |
| D4_training_data_85241_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.141 | 0.170 | 0.125 | 0.420 | 0.401 | 16 | 0.721 | False |
| D4_training_data_85241_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.139 | 0.138 | 0.124 | 0.338 | 0.458 | 9 | 0.352 | False |
| D4_training_data_85241_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.145 | 0.123 | 0.126 | 0.434 | 0.286 | 23 | 0.960 | False |
| D4_training_data_85241_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.119 | 0.172 | 0.115 | 0.411 | 0.413 | 10 | 0.334 | False |
| D4_training_data_85242_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.114 | 0.113 | 0.103 | 0.119 | 0.968 | 18 | 0.468 | False |
| D4_training_data_85243_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.107 | 0.086 | 0.102 | 0.156 | 0.599 | 8 | 0.189 | False |
| D4_training_data_85243_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.113 | 0.093 | 0.088 | 0.164 | 0.604 | 18 | 0.415 | False |
| D4_training_data_85244_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.148 | 0.143 | 0.125 | 0.395 | 0.400 | 7 | 0.403 | False |
| D4_training_data_85244_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.148 | 0.127 | 0.117 | 0.262 | 0.483 | 12 | 0.502 | False |
| D4_training_data_85244_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.128 | 0.157 | 0.106 | 0.333 | 0.467 | 11 | 0.431 | False |
| D4_training_data_85244_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 7 | 0.125 | 0.133 | 0.106 | 0.236 | 0.552 | 7 | 0.187 | False |
| D4_training_data_85245_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.137 | 0.134 | 0.153 | 0.319 | 0.426 | 13 | 0.498 | False |
| D4_training_data_85245_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.147 | 0.142 | 0.130 | 0.292 | 0.483 | 10 | 0.372 | False |
| D4_training_data_85245_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.121 | 0.136 | 0.128 | 0.262 | 0.543 | 10 | 0.296 | False |
| D4_training_data_85246_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.134 | 0.115 | 0.128 | 0.249 | 0.473 | 11 | 0.349 | False |
| D4_training_data_85246_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.117 | 0.141 | 0.125 | 0.264 | 0.551 | 23 | 0.752 | False |
| D4_training_data_85246_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.108 | 0.155 | 0.122 | 0.232 | 0.678 | 13 | 0.417 | False |
| D4_training_data_85246_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.078 | 0.191 | 0.067 | 0.303 | 0.653 | 8 | 0.269 | False |
| D4_training_data_85247_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 25 | 0.119 | 0.147 | 0.123 | 0.259 | 0.580 | 24 | 0.949 | False |
| D4_training_data_85247_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.120 | 0.158 | 0.111 | 0.267 | 0.611 | 12 | 0.424 | False |
| D4_training_data_85247_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.147 | 0.119 | 0.129 | 0.225 | 0.557 | 12 | 0.422 | False |
| D4_training_data_85247_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.141 | 0.110 | 0.127 | 0.274 | 0.409 | 16 | 0.571 | False |
| D4_training_data_85249_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.119 | 0.112 | 0.120 | 0.182 | 0.619 | 30 | 0.749 | False |
| D4_training_data_85249_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.083 | 0.150 | 0.065 | 0.183 | 0.832 | 9 | 0.208 | False |
| D4_training_data_85249_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.082 | 0.151 | 0.068 | 0.175 | 0.880 | 15 | 0.308 | False |
| D4_training_data_85249_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.125 | 0.111 | 0.116 | 0.155 | 0.730 | 19 | 0.335 | False |
| D4_training_data_85250_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.125 | 0.163 | 0.108 | 0.338 | 0.483 | 5 | 0.190 | False |
| D4_training_data_85250_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.112 | 0.166 | 0.110 | 0.274 | 0.604 | 10 | 0.340 | False |
| D4_training_data_85250_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.140 | 0.133 | 0.136 | 0.335 | 0.408 | 12 | 0.465 | False |
| D4_training_data_85250_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.122 | 0.176 | 0.105 | 0.281 | 0.638 | 14 | 0.329 | False |
| D4_training_data_85252_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.112 | 0.133 | 0.111 | 0.149 | 0.894 | 16 | 0.604 | False |
| D4_training_data_85252_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.113 | 0.128 | 0.122 | 0.139 | 0.933 | 17 | 0.365 | False |
| D4_training_data_85252_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.123 | 0.121 | 0.123 | 0.139 | 0.880 | 27 | 0.950 | False |
| D4_training_data_85252_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.117 | 0.134 | 0.104 | 0.140 | 0.984 | 13 | 0.490 | False |
| D4_training_data_85253_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 23 | 0.118 | 0.103 | 0.121 | 0.205 | 0.510 | 22 | 0.549 | False |
| D4_training_data_85253_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 35 | 0.122 | 0.117 | 0.126 | 0.187 | 0.637 | 35 | 0.958 | False |
| D4_training_data_85253_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 33 | 0.106 | 0.108 | 0.142 | 0.232 | 0.462 | 33 | 0.959 | False |
| D4_training_data_85253_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.123 | 0.104 | 0.124 | 0.221 | 0.473 | 31 | 0.890 | False |
| D4_training_data_85258_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.083 | 0.114 | 0.062 | 0.117 | 0.964 | 11 | 0.196 | False |
| D4_training_data_85258_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.073 | 0.149 | 0.057 | 0.168 | 0.894 | 11 | 0.276 | False |
| D4_training_data_85258_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.098 | 0.113 | 0.090 | 0.111 | 1.086 | 7 | 0.248 | False |
| D4_training_data_85258_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 10 | 0.071 | 0.141 | 0.061 | 0.155 | 0.913 | 9 | 0.205 | False |
| D4_training_data_85259_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.096 | 0.127 | 0.086 | 0.138 | 0.928 | 12 | 0.303 | False |
| D4_training_data_85259_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.102 | 0.137 | 0.095 | 0.168 | 0.825 | 6 | 0.130 | False |
| D4_training_data_85261_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.128 | 0.111 | 0.124 | 0.320 | 0.367 | 14 | 0.534 | False |
| D4_training_data_85261_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.110 | 0.134 | 0.107 | 0.261 | 0.534 | 14 | 0.373 | False |
| D4_training_data_85261_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.128 | 0.130 | 0.144 | 0.248 | 0.538 | 14 | 0.731 | False |
| D4_training_data_85261_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 20 | 0.131 | 0.119 | 0.151 | 0.250 | 0.514 | 19 | 0.963 | False |
| D4_training_data_85262_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.115 | 0.087 | 0.081 | 0.186 | 0.475 | 10 | 0.256 | False |
| D4_training_data_85262_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.108 | 0.119 | 0.085 | 0.156 | 0.767 | 15 | 0.212 | False |
| D4_training_data_85262_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.137 | 0.076 | 0.107 | 0.169 | 0.449 | 25 | 0.462 | False |
| D4_training_data_85262_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.110 | 0.115 | 0.081 | 0.167 | 0.700 | 15 | 0.400 | False |
| D4_training_data_85264_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 7 | 0.086 | 0.109 | 0.062 | 0.138 | 0.795 | 6 | 0.105 | False |
| D4_training_data_85265_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 31 | 0.133 | 0.117 | 0.117 | 0.286 | 0.420 | 31 | 0.835 | False |
| D4_training_data_85265_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.135 | 0.151 | 0.111 | 0.237 | 0.641 | 25 | 0.831 | False |
| D4_training_data_85265_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.125 | 0.119 | 0.111 | 0.222 | 0.553 | 30 | 0.868 | False |
| D4_training_data_85265_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.132 | 0.147 | 0.123 | 0.284 | 0.564 | 12 | 0.328 | False |
| D4_training_data_85269_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.094 | 0.098 | 0.090 | 0.156 | 0.643 | 17 | 0.362 | False |
| D4_training_data_85269_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 7 | 0.104 | 0.109 | 0.092 | 0.198 | 0.582 | 7 | 0.189 | False |
| D4_training_data_85270_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.108 | 0.107 | 0.104 | 0.170 | 0.636 | 15 | 0.378 | False |
| D4_training_data_85270_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 30 | 0.122 | 0.109 | 0.125 | 0.186 | 0.582 | 30 | 0.845 | False |
| D4_training_data_85270_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.107 | 0.107 | 0.089 | 0.173 | 0.630 | 24 | 0.585 | False |
| D4_training_data_85270_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 34 | 0.125 | 0.099 | 0.109 | 0.171 | 0.592 | 34 | 0.866 | False |
| D4_training_data_85276_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 14 | 0.072 | 0.160 | 0.049 | 0.169 | 0.955 | 13 | 0.285 | False |
| D4_training_data_85277_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.127 | 0.147 | 0.100 | 0.157 | 0.939 | 14 | 0.378 | False |
| D4_training_data_85277_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.123 | 0.138 | 0.115 | 0.169 | 0.830 | 31 | 0.907 | False |
| D4_training_data_85277_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 26 | 0.125 | 0.152 | 0.110 | 0.153 | 1.015 | 26 | 0.674 | False |
| D4_training_data_85277_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 33 | 0.122 | 0.138 | 0.119 | 0.171 | 0.854 | 32 | 0.894 | False |
| D4_training_data_85278_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.112 | 0.133 | 0.114 | 0.175 | 0.756 | 10 | 0.423 | False |
| D4_training_data_85278_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.127 | 0.135 | 0.113 | 0.187 | 0.724 | 21 | 0.482 | False |
| D4_training_data_85278_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.129 | 0.125 | 0.114 | 0.171 | 0.733 | 23 | 0.857 | False |
| D4_training_data_85278_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 12 | 0.120 | 0.117 | 0.114 | 0.160 | 0.729 | 11 | 0.334 | False |
| D4_training_data_85279_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.113 | 0.141 | 0.092 | 0.228 | 0.613 | 14 | 0.389 | False |
| D4_training_data_85279_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 34 | 0.118 | 0.149 | 0.118 | 0.205 | 0.737 | 34 | 0.819 | False |
| D4_training_data_85279_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.117 | 0.148 | 0.126 | 0.212 | 0.720 | 17 | 0.513 | False |
| D4_training_data_85279_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.135 | 0.141 | 0.130 | 0.244 | 0.596 | 24 | 0.501 | False |
| D4_training_data_85282_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.120 | 0.153 | 0.126 | 0.241 | 0.668 | 13 | 0.900 | False |
| D4_training_data_85282_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.122 | 0.148 | 0.129 | 0.179 | 0.846 | 37 | 1.000 | False |
| D4_training_data_85282_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 10 | 0.113 | 0.168 | 0.111 | 0.200 | 0.851 | 9 | 0.424 | False |
| D4_training_data_85282_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.128 | 0.129 | 0.136 | 0.178 | 0.737 | 29 | 1.000 | False |
| D4_training_data_85285_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.131 | 0.086 | 0.103 | 0.248 | 0.363 | 7 | 0.196 | False |
| D4_training_data_85285_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.123 | 0.095 | 0.105 | 0.237 | 0.403 | 23 | 0.620 | False |
| D4_training_data_85285_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.121 | 0.107 | 0.100 | 0.215 | 0.497 | 18 | 0.487 | False |
| D4_training_data_85285_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.149 | 0.102 | 0.112 | 0.203 | 0.509 | 31 | 0.577 | False |
| D4_training_data_85286_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 33 | 0.122 | 0.080 | 0.100 | 0.161 | 0.512 | 33 | 0.765 | False |
| D4_training_data_85286_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 28 | 0.117 | 0.094 | 0.094 | 0.128 | 0.753 | 28 | 0.614 | False |
| D4_training_data_85286_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 30 | 0.110 | 0.093 | 0.090 | 0.137 | 0.685 | 30 | 0.575 | False |
| D4_training_data_85286_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.107 | 0.094 | 0.082 | 0.145 | 0.656 | 28 | 0.775 | False |
| D4_training_data_85287_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.137 | 0.120 | 0.119 | 0.236 | 0.523 | 26 | 0.807 | False |
| D4_training_data_85287_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 29 | 0.132 | 0.169 | 0.130 | 0.349 | 0.513 | 29 | 0.829 | False |
| D4_training_data_85287_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.120 | 0.150 | 0.111 | 0.261 | 0.585 | 16 | 0.491 | False |
| D4_training_data_85288_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 26 | 0.125 | 0.114 | 0.126 | 0.224 | 0.509 | 26 | 0.813 | False |
| D4_training_data_85288_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.126 | 0.126 | 0.107 | 0.200 | 0.649 | 12 | 0.373 | False |
| D4_training_data_85288_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.134 | 0.119 | 0.119 | 0.199 | 0.609 | 8 | 0.238 | False |
| D4_training_data_85288_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.132 | 0.123 | 0.118 | 0.233 | 0.535 | 18 | 1.000 | False |
| D4_training_data_85293_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 18 | 0.110 | 0.107 | 0.102 | 0.171 | 0.636 | 17 | 0.404 | False |
| D4_training_data_85293_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.107 | 0.146 | 0.104 | 0.152 | 0.969 | 10 | 0.266 | False |
| D4_training_data_85293_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.134 | 0.093 | 0.130 | 0.147 | 0.648 | 20 | 0.449 | False |
| D4_training_data_85293_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 32 | 0.107 | 0.124 | 0.086 | 0.169 | 0.766 | 31 | 0.508 | False |
| D4_training_data_85294_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 6 | 0.077 | 0.089 | 0.079 | 0.117 | 0.756 | 5 | 0.082 | False |
| D4_training_data_85294_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.066 | 0.146 | 0.053 | 0.115 | 1.272 | 15 | 0.248 | False |
| D4_training_data_85296_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.117 | 0.141 | 0.117 | 0.252 | 0.573 | 9 | 0.505 | False |
| D4_training_data_85296_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.135 | 0.136 | 0.131 | 0.167 | 0.838 | 17 | 0.305 | False |
| D4_training_data_85296_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 14 | 0.134 | 0.133 | 0.138 | 0.190 | 0.713 | 13 | 0.539 | False |
| D4_training_data_85296_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.132 | 0.127 | 0.130 | 0.225 | 0.578 | 21 | 0.945 | False |
| D4_training_data_85299_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.135 | 0.121 | 0.119 | 0.200 | 0.625 | 18 | 0.941 | False |
| D4_training_data_85299_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 27 | 0.122 | 0.135 | 0.120 | 0.194 | 0.700 | 26 | 0.746 | False |
| D4_training_data_85299_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 35 | 0.123 | 0.136 | 0.122 | 0.180 | 0.765 | 34 | 0.967 | False |
| D4_training_data_85299_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 30 | 0.130 | 0.112 | 0.121 | 0.191 | 0.592 | 29 | 0.890 | False |
| D4_training_data_85300_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.095 | 0.092 | 0.072 | 0.131 | 0.715 | 7 | 0.175 | False |
| D4_training_data_85300_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.072 | 0.124 | 0.063 | 0.138 | 0.933 | 11 | 0.159 | False |
| D4_training_data_85301_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.130 | 0.138 | 0.120 | 0.236 | 0.633 | 11 | 0.457 | False |
| D4_training_data_85301_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.148 | 0.134 | 0.124 | 0.241 | 0.577 | 9 | 0.313 | False |
| D4_training_data_85301_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.129 | 0.135 | 0.110 | 0.224 | 0.605 | 11 | 0.606 | False |
| D4_training_data_85301_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.143 | 0.122 | 0.139 | 0.241 | 0.513 | 14 | 0.735 | False |
| D4_training_data_85305_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.102 | 0.120 | 0.081 | 0.195 | 0.623 | 10 | 0.250 | False |
| D4_training_data_85305_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 15 | 0.105 | 0.127 | 0.099 | 0.163 | 0.779 | 14 | 0.336 | False |
| D4_training_data_85305_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 16 | 0.100 | 0.119 | 0.086 | 0.169 | 0.710 | 15 | 0.365 | False |
| D4_training_data_85305_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 14 | 0.093 | 0.123 | 0.076 | 0.173 | 0.706 | 13 | 0.195 | False |
| D4_training_data_85306_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 10 | 0.094 | 0.156 | 0.080 | 0.208 | 0.764 | 9 | 0.232 | False |
| D4_training_data_85306_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 18 | 0.097 | 0.147 | 0.092 | 0.166 | 0.887 | 17 | 0.422 | False |
| D4_training_data_85308_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.070 | 0.194 | 0.048 | 0.202 | 0.858 | 6 | 0.179 | False |
| D4_training_data_85308_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 13 | 0.073 | 0.193 | 0.054 | 0.225 | 0.811 | 12 | 0.308 | False |
| D4_training_data_85308_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.066 | 0.214 | 0.062 | 0.210 | 1.022 | 12 | 0.350 | False |
| D4_training_data_85308_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.085 | 0.193 | 0.063 | 0.195 | 1.540 | 8 | 0.211 | False |
| D4_training_data_85312_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.130 | 0.101 | 0.117 | 0.158 | 0.665 | 15 | 0.399 | False |
| D4_training_data_85312_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.125 | 0.103 | 0.106 | 0.174 | 0.599 | 15 | 0.387 | False |
| D4_training_data_85312_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 18 | 0.121 | 0.106 | 0.116 | 0.183 | 0.598 | 18 | 0.511 | False |
| D4_training_data_85312_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 25 | 0.132 | 0.103 | 0.110 | 0.158 | 0.678 | 25 | 0.633 | False |
| D4_training_data_85313_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.134 | 0.119 | 0.104 | 0.181 | 0.679 | 17 | 0.487 | False |
| D4_training_data_85313_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.119 | 0.104 | 0.125 | 0.236 | 0.441 | 9 | 0.242 | False |
| D4_training_data_85313_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 15 | 0.132 | 0.105 | 0.119 | 0.228 | 0.468 | 15 | 0.336 | False |
| D4_training_data_85315_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.129 | 0.106 | 0.115 | 0.172 | 0.630 | 15 | 0.584 | False |
| D4_training_data_85315_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 16 | 0.121 | 0.124 | 0.105 | 0.145 | 0.853 | 15 | 0.270 | False |
| D4_training_data_85315_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 23 | 0.130 | 0.117 | 0.114 | 0.134 | 0.876 | 22 | 0.928 | False |
| D4_training_data_85315_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.139 | 0.102 | 0.115 | 0.134 | 0.775 | 18 | 0.437 | False |
| D4_training_data_85316_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.139 | 0.144 | 0.125 | 0.258 | 0.599 | 14 | 0.488 | False |
| D4_training_data_85316_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 25 | 0.127 | 0.161 | 0.112 | 0.205 | 0.794 | 24 | 0.695 | False |
| D4_training_data_85316_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.138 | 0.142 | 0.139 | 0.270 | 0.555 | 28 | 0.971 | False |
| D4_training_data_85316_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 19 | 0.137 | 0.129 | 0.123 | 0.248 | 0.534 | 18 | 0.592 | False |
| D4_training_data_85317_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.057 | 0.110 | 0.071 | 0.141 | 0.785 | 10 | 0.176 | False |
| D4_training_data_85319_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.135 | 0.108 | 0.120 | 0.288 | 0.380 | 12 | 0.388 | False |
| D4_training_data_85319_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.120 | 0.153 | 0.118 | 0.185 | 0.846 | 11 | 0.335 | False |
| D4_training_data_85319_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.122 | 0.136 | 0.117 | 0.247 | 0.564 | 28 | 0.824 | False |
| D4_training_data_85319_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 21 | 0.130 | 0.116 | 0.110 | 0.252 | 0.465 | 21 | 0.656 | False |
| D4_training_data_85321_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 20 | 0.134 | 0.177 | 0.119 | 0.280 | 0.639 | 20 | 0.630 | False |
| D4_training_data_85321_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.121 | 0.151 | 0.116 | 0.266 | 0.565 | 22 | 0.730 | False |
| D4_training_data_85322_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 13 | 0.085 | 0.163 | 0.082 | 0.201 | 0.842 | 11 | 0.562 | False |
| D4_training_data_85323_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 25 | 0.126 | 0.168 | 0.126 | 0.265 | 0.635 | 25 | 0.879 | False |
| D4_training_data_85326_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.115 | 0.133 | 0.107 | 0.287 | 0.476 | 11 | 0.339 | False |
| D4_training_data_85326_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.136 | 0.114 | 0.115 | 0.263 | 0.452 | 19 | 0.615 | False |
| D4_training_data_85326_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 28 | 0.128 | 0.119 | 0.114 | 0.262 | 0.460 | 27 | 0.829 | False |
| D4_training_data_85326_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 22 | 0.131 | 0.138 | 0.102 | 0.258 | 0.545 | 21 | 0.461 | False |
| D4_training_data_85327_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.124 | 0.131 | 0.116 | 0.215 | 0.631 | 13 | 0.701 | False |
| D4_training_data_85327_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 20 | 0.110 | 0.153 | 0.109 | 0.179 | 0.866 | 19 | 1.000 | False |
| D4_training_data_85327_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.138 | 0.133 | 0.131 | 0.183 | 0.737 | 10 | 0.518 | False |
| D4_training_data_85327_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.133 | 0.134 | 0.128 | 0.189 | 0.727 | 7 | 0.450 | False |
| D4_training_data_85328_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.166 | 0.131 | 0.113 | 0.271 | 0.505 | 11 | 0.331 | False |
| D4_training_data_85328_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 26 | 0.141 | 0.140 | 0.122 | 0.316 | 0.449 | 26 | 0.959 | False |
| D4_training_data_85328_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 24 | 0.121 | 0.159 | 0.130 | 0.299 | 0.538 | 23 | 0.847 | False |
| D4_training_data_85328_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.126 | 0.143 | 0.123 | 0.293 | 0.493 | 23 | 0.812 | False |
| D4_training_data_85329_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 7 | 0.131 | 0.125 | 0.086 | 0.302 | 0.419 | 7 | 0.237 | False |
| D4_training_data_85329_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 6 | 0.129 | 0.134 | 0.109 | 0.221 | 0.640 | 5 | 0.178 | False |
| D4_training_data_85329_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.145 | 0.101 | 0.134 | 0.308 | 0.349 | 21 | 0.672 | False |
| D4_training_data_85329_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 26 | 0.163 | 0.101 | 0.102 | 0.230 | 0.450 | 25 | 0.526 | False |
| D4_training_data_85331_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 15 | 0.106 | 0.149 | 0.109 | 0.159 | 0.960 | 14 | 0.432 | False |
| D4_training_data_85331_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 17 | 0.111 | 0.126 | 0.118 | 0.136 | 0.931 | 16 | 0.376 | False |
| D4_training_data_85331_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.118 | 0.129 | 0.120 | 0.133 | 0.985 | 8 | 0.305 | False |
| D4_training_data_85331_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 17 | 0.125 | 0.121 | 0.130 | 0.129 | 0.950 | 16 | 0.547 | False |
| D4_training_data_85332_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.125 | 0.121 | 0.104 | 0.258 | 0.479 | 15 | 0.493 | False |
| D4_training_data_85332_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 15 | 0.119 | 0.117 | 0.116 | 0.200 | 0.578 | 15 | 0.418 | False |
| D4_training_data_85334_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 22 | 0.119 | 0.104 | 0.109 | 0.163 | 0.645 | 22 | 0.561 | False |
| D4_training_data_85334_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 32 | 0.126 | 0.101 | 0.109 | 0.152 | 0.673 | 31 | 0.767 | False |
| D4_training_data_85334_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.106 | 0.133 | 0.089 | 0.207 | 0.700 | 9 | 0.255 | False |
| D4_training_data_85334_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 35 | 0.127 | 0.111 | 0.100 | 0.152 | 0.734 | 35 | 0.880 | False |
| D4_training_data_85335_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 13 | 0.126 | 0.119 | 0.109 | 0.194 | 0.630 | 12 | 0.308 | False |
| D4_training_data_85335_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 19 | 0.119 | 0.124 | 0.125 | 0.169 | 0.744 | 18 | 0.405 | False |
| D4_training_data_85335_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.127 | 0.123 | 0.114 | 0.195 | 0.639 | 22 | 0.386 | False |
| D4_training_data_85336_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 16 | 0.078 | 0.147 | 0.060 | 0.161 | 0.932 | 15 | 1.000 | False |
| D4_training_data_85336_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 23 | 0.106 | 0.127 | 0.097 | 0.157 | 0.834 | 23 | 0.648 | False |
| D4_training_data_85337_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.072 | 0.140 | 0.056 | 0.185 | 0.991 | 10 | 0.237 | False |
| D4_training_data_85337_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 12 | 0.094 | 0.138 | 0.072 | 0.134 | 1.046 | 12 | 0.229 | False |
| D4_training_data_85337_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.098 | 0.119 | 0.093 | 0.142 | 0.830 | 17 | 0.379 | False |
| D4_training_data_85337_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 55 | 0.120 | 0.114 | 0.085 | 0.142 | 0.810 | 54 | 0.838 | False |
| D4_training_data_85338_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 19 | 0.121 | 0.132 | 0.119 | 0.214 | 0.620 | 19 | 0.481 | False |
| D4_training_data_85338_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 11 | 0.127 | 0.126 | 0.075 | 0.181 | 0.711 | 11 | 0.298 | False |
| D4_training_data_85338_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 21 | 0.131 | 0.124 | 0.120 | 0.161 | 0.789 | 21 | 0.573 | False |
| D4_training_data_85338_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 16 | 0.129 | 0.091 | 0.109 | 0.156 | 0.592 | 16 | 0.387 | False |
| D4_training_data_85339_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 37 | 0.128 | 0.090 | 0.116 | 0.172 | 0.535 | 36 | 0.916 | False |
| D4_training_data_85340_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 14 | 0.108 | 0.123 | 0.106 | 0.183 | 0.676 | 14 | 0.387 | False |
| D4_training_data_85340_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 36 | 0.128 | 0.121 | 0.107 | 0.153 | 0.796 | 36 | 1.000 | False |
| D4_training_data_85340_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 39 | 0.115 | 0.126 | 0.131 | 0.160 | 0.792 | 39 | 0.966 | False |
| D4_training_data_85340_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 23 | 0.130 | 0.119 | 0.113 | 0.182 | 0.661 | 22 | 1.000 | False |
| D4_training_data_85341_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 17 | 0.134 | 0.147 | 0.116 | 0.311 | 0.492 | 17 | 0.627 | False |
| D4_training_data_85341_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 9 | 0.119 | 0.153 | 0.112 | 0.247 | 0.651 | 8 | 0.271 | False |
| D4_training_data_85341_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 11 | 0.127 | 0.155 | 0.113 | 0.258 | 0.629 | 11 | 0.363 | False |
| D4_training_data_85341_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 29 | 0.135 | 0.151 | 0.132 | 0.247 | 0.633 | 28 | 0.966 | False |
| D4_training_data_85343_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 11 | 0.109 | 0.096 | 0.088 | 0.171 | 0.567 | 11 | 0.282 | False |
| D4_training_data_85343_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 19 | 0.124 | 0.081 | 0.079 | 0.161 | 0.509 | 18 | 0.421 | False |
| D4_training_data_85343_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 13 | 0.112 | 0.084 | 0.102 | 0.170 | 0.511 | 12 | 0.211 | False |
| D4_training_data_85343_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 11 | 0.122 | 0.087 | 0.087 | 0.167 | 0.515 | 10 | 0.249 | False |
| D4_training_data_85345_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 12 | 0.130 | 0.125 | 0.126 | 0.148 | 0.858 | 11 | 0.434 | False |
| D4_training_data_85345_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.137 | 0.109 | 0.117 | 0.144 | 0.768 | 7 | 0.202 | False |
| D4_training_data_85349_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.126 | 0.166 | 0.113 | 0.362 | 0.424 | 8 | 0.328 | False |
| D4_training_data_85349_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 9 | 0.129 | 0.170 | 0.093 | 0.351 | 0.489 | 8 | 0.336 | False |
| D4_training_data_85349_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.159 | 0.118 | 0.124 | 0.346 | 0.319 | 8 | 0.322 | False |
| D4_training_data_9979_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 8 | 0.143 | 0.161 | 0.141 | 0.224 | 0.816 | 7 | 0.266 | False |
| D4_training_data_9979_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 22 | 0.151 | 0.118 | 0.149 | 0.216 | 0.552 | 21 | 0.636 | False |
| D4_training_data_9979_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 17 | 0.138 | 0.125 | 0.129 | 0.240 | 0.524 | 16 | 0.506 | False |
| D4_training_data_9979_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 9 | 0.173 | 0.131 | 0.127 | 0.187 | 0.723 | 8 | 0.223 | False |
| D4_training_data_9983_AV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | AV | True | 9 | 0.115 | 0.111 | 0.092 | 0.176 | 0.602 | 8 | 0.858 | False |
| D4_training_data_9983_MV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | MV | True | 10 | 0.108 | 0.099 | 0.108 | 0.161 | 0.618 | 10 | 0.247 | False |
| D4_training_data_9983_PV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | PV | True | 8 | 0.159 | 0.323 | 0.159 | 0.299 | 1.093 | 8 | 0.282 | False |
| D4_training_data_9983_TV | D4 CirCor 2022 | interval segmentation (CirCor .tsv) | TV | True | 8 | 0.102 | 0.111 | 0.084 | 0.196 | 0.557 | 8 | 0.209 | False |

CONTEXT, NOT A RESULT. None of these timings is among the 138 features -- the model has never seen a segmentation -- so no difference here explains or supports any model behaviour.

THE SYSTOLE-TO-DIASTOLE RATIO IS A PER-CYCLE MEAN, not the ratio of the two totals. Recordings are annotated in runs with gaps between them, so the totals can cover different stretches of tape and their ratio would be an artifact of where the annotator stopped. 'Paired cycles' counts the cycles that had both phases available.

S1 AND S2 DURATIONS DO NOT EXIST FOR PASCAL and are left empty rather than imputed. Every annotated set_a recording is also class 'normal', so PASCAL contributes no between-class comparison.

COVERAGE: D4 CirCor 2022 3,162 of 3,163 annotated; D2 PASCAL set_a 21 of 176 annotated; D3 PASCAL set_b 0 of 656 annotated; D1 PhysioNet 2016 0 of 3,240 annotated. PASCAL set_b and PhysioNet 2016 ship no timing annotation at all.

T84.3 -- Spearman rank correlation of annotated fraction against confidence: strongest |rho| -0.115 (EXP-D1 M1, n=3162, p=8.58e-11), 7 of 11 model-run pairs significant at 0.05 | is_error: strongest |rho| 0.052 (EXP-C1-two_class M3, n=3006, p=0.00403), 3 of 11 model-run pairs significant at 0.05. Spearman rather than Pearson because annotated fraction is bounded in [0, 1] and heavily skewed. A weak correlation here is the expected result: the model never sees the segmentation, so annotation quality can only relate to its behaviour through whatever made a recording hard to annotate also making it hard to classify.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype, not a diagnostic tool. The recording shown is a de-identified dataset sample.

Table SEG-01 -- Segmentation Cycle Statistics

Experiment: n/a (corpus annotation, not an experiment)

Objective: O1 (dataset characterisation)

Source: D:/Projects/HeartGuard/outputs/10_robustness/segmentation_cycle_statistics.csv; D:/Projects/HeartGuard/outputs/10_robustness/segmentation_coverage_summary.csv; D:/Projects/HeartGuard/outputs/10_robustness/segmentation_timing_by_class.csv; D:/Projects/HeartGuard/outputs/10_robustness/segmentation_confidence_correlation.csv

Generated by PV-MEPCG / PulseVision at 2026-09-10T12:42:02.222368+00:00