T16. Cross Dataset Generalization

Cross-dataset transfer from an adult cohort (PhysioNet 2016, median age 25, 0.27% of aged records under 18) to a predominantly paediatric cohort (CirCor 2022, 98.2% of age-banded patients paediatric). A large drop is the expected consequence of that mismatch and is NOT evidence that PV-MEPCG fails to generalize. The model is the finalized binary model (M1), fitted on all 3,240 labelled PhysioNet recordings and applied to all 3,163 CirCor recordings with NO retuning of any kind. In-domain figures are EXP-A2's 25-fold nested cross-validation mean; the external figure is a single evaluation over the whole external corpus, so the two carry different uncertainty and the fold counts are printed.

| Metric | Level | Aggregation | Units | In-domain run | In-domain (PhysioNet) | In-domain folds | External (CirCor) | External folds | Delta | Relative drop |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| sensitivity | patient | any_present | 942 | EXP-A2 | 0.865 | 25 | 0.654 | 1 | -0.211 | 0.244 |
| specificity | patient | any_present | 942 | EXP-A2 | 0.829 | 25 | 0.389 | 1 | -0.440 | 0.531 |
| balanced_accuracy | patient | any_present | 942 | EXP-A2 | 0.847 | 25 | 0.521 | 1 | -0.326 | 0.385 |
| roc_auc | patient | any_present | 942 | EXP-A2 | 0.921 | 25 | n/a | 1 | n/a | n/a |
| accuracy | patient | any_present | 942 | EXP-A2 | 0.836 | 25 | 0.517 | 1 | -0.319 | 0.382 |
| f1 | patient | any_present | 942 | EXP-A2 | 0.687 | 25 | 0.567 | 1 | -0.120 | 0.174 |
| sensitivity | patient | max | 942 | EXP-A2 | 0.865 | 25 | 0.654 | 1 | -0.211 | 0.244 |
| specificity | patient | max | 942 | EXP-A2 | 0.829 | 25 | 0.389 | 1 | -0.440 | 0.531 |
| balanced_accuracy | patient | max | 942 | EXP-A2 | 0.847 | 25 | 0.521 | 1 | -0.326 | 0.385 |
| roc_auc | patient | max | 942 | EXP-A2 | 0.921 | 25 | n/a | 1 | n/a | n/a |
| accuracy | patient | max | 942 | EXP-A2 | 0.836 | 25 | 0.517 | 1 | -0.319 | 0.382 |
| f1 | patient | max | 942 | EXP-A2 | 0.687 | 25 | 0.567 | 1 | -0.120 | 0.174 |
| sensitivity | patient | mean | 942 | EXP-A2 | 0.865 | 25 | 0.329 | 1 | -0.536 | 0.620 |
| specificity | patient | mean | 942 | EXP-A2 | 0.829 | 25 | 0.733 | 1 | -0.096 | 0.116 |
| balanced_accuracy | patient | mean | 942 | EXP-A2 | 0.847 | 25 | 0.531 | 1 | -0.316 | 0.373 |
| roc_auc | patient | mean | 942 | EXP-A2 | 0.921 | 25 | n/a | 1 | n/a | n/a |
| accuracy | patient | mean | 942 | EXP-A2 | 0.836 | 25 | 0.537 | 1 | -0.299 | 0.358 |
| f1 | patient | mean | 942 | EXP-A2 | 0.687 | 25 | 0.408 | 1 | -0.279 | 0.406 |
| sensitivity | recording | none | 3,163 | EXP-A2 | 0.865 | 25 | 0.378 | 1 | -0.487 | 0.563 |
| specificity | recording | none | 3,163 | EXP-A2 | 0.829 | 25 | 0.673 | 1 | -0.155 | 0.187 |
| balanced_accuracy | recording | none | 3,163 | EXP-A2 | 0.847 | 25 | 0.526 | 1 | -0.321 | 0.379 |
| roc_auc | recording | none | 3,163 | EXP-A2 | 0.921 | 25 | 0.536 | 1 | -0.385 | 0.418 |
| accuracy | recording | none | 3,163 | EXP-A2 | 0.836 | 25 | 0.531 | 1 | -0.306 | 0.366 |
| f1 | recording | none | 3,163 | EXP-A2 | 0.687 | 25 | 0.438 | 1 | -0.249 | 0.362 |

The population mismatch was recorded in population_mismatch.json BEFORE any prediction was made, so the framing cannot have been retrofitted to the result (T71.1, T71.7).

A second, independent cause of the drop is on the record: PhysioNet's six sub-collections behave like six different datasets and all 20 of its top features by pooled Cohen's d reverse sign between sources. The drop must not be attributed wholly to age.

CirCor Outcome is a clinical decision label, not an acoustic one. A model trained to hear an abnormal heart sound is being asked a different question here, which is a third reason the two numbers are not like for like.

PV-MEPCG / PulseVision is an academic screening prototype, not a diagnostic tool.

Table T16 -- Cross Dataset Generalization

Experiment: EXP-D1

Objective: O5 (external validation)

Source: outputs/08_circor_external_validation/EXP-D1/metrics_by_level.csv; outputs/06_binary_results/EXP-A2/per_fold_metrics.csv; models_saved/binary/final/manifest.json

Generated by PV-MEPCG / PulseVision at 2026-08-31T08:07:28.725934+00:00