T03. Recording Duration and Sampling Summary

Recording length in seconds over the supervised records of each corpus, and the sampling rate conversion applied to it. All four corpora are resampled to a common 2 kHz working rate; the durations are of the original recordings and are unchanged by resampling. Total corpus hours are in T01 and cover all files, not only the supervised subset summarised here.

| ID | Dataset | Records | Min (s) | P25 (s) | Median (s) | P75 (s) | Max (s) | Mean (s) | SD (s) | Native fs (Hz) | Working fs (Hz) | Conversion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | PhysioNet 2016 | 3,240 | 5.31 | 12.90 | 20.83 | 30.58 | 122.00 | 22.46 | 12.39 | 2,000 | 2,000 | none |
| D2 | PASCAL set_a | 124 | 0.94 | 7.94 | 8.88 | 9.00 | 9.00 | 8.01 | 1.64 | 44,100 | 2,000 | decimation |
| D3 | PASCAL set_b | 461 | 0.76 | 2.97 | 5.09 | 9.31 | 27.87 | 6.48 | 4.48 | 4,000 | 2,000 | decimation |
| D4 | CirCor 2022 | 3,163 | 5.15 | 19.06 | 21.46 | 29.39 | 64.51 | 22.87 | 7.28 | 4,000 | 2,000 | decimation |

The duration extremes are real and both are handled by the extractor: PASCAL set_b reaches 0.76 s, too short for a five-level DWT, and PhysioNet reaches 122.0 s.

Table T03 -- Recording Duration and Sampling Summary

Experiment: n/a (not experiment-bound)

Objective: O1 (corpus definition)

Source: outputs/01_dataset_audit/recording_duration_summary.csv; outputs/01_dataset_audit/sampling_rate_summary.csv

Generated by PV-MEPCG / PulseVision at 2026-08-30T10:15:33.846580+00:00