Q1_T01. Dataset Summary

The four corpora, the recordings each contributes and the task it carries. Label spaces are never merged.

| ID | Dataset | Recordings used | Files in folder | Subjects | Subject IDs | Classes | Native fs (Hz) | Analysis fs (Hz) | Hours | Role | Source |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | PhysioNet 2016 | 3,240 | 3,541 | 857 | derived (filename and appendix patterns) | 2 | 2,000 | 2,000 | 21.98 | primary binary track (EXP-A1, EXP-A2, EXP-F1, EXP-F2, EXP-G1) | outputs/01_dataset_audit/T01_dataset_inventory.csv |
| D2 | PASCAL set_a | 124 | 176 | 123 | none (record-level only) | 4 | 44,100 | 2,000 | 0.39 | four-class audio track (EXP-B1) | outputs/01_dataset_audit/T01_dataset_inventory.csv |
| D3 | PASCAL set_b | 461 | 656 | 165 | derived (filename subject and timestamp) | 3 | 4,000 | 2,000 | 1.19 | three-class track (EXP-B2) | outputs/01_dataset_audit/T01_dataset_inventory.csv |
| D4 | CirCor 2022 | 3,163 | 3,163 | 942 | native (patient id) | 5 | 4,000 | 2,000 | 20.09 | murmur and outcome tracks, external validation (EXP-C1..C3, EXP-D1) | outputs/01_dataset_audit/T01_dataset_inventory.csv |

'Files in folder' exceeds 'recordings used' where material is unlabelled or, for PhysioNet, where the validation folder duplicates training records.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype. It does not diagnose, and nothing here is a diagnosis, a treatment recommendation or a substitute for clinical judgement.

Table Q1_T01 -- Dataset Summary

Experiment: n/a (not experiment-bound)

Objective: O1, O6

Source: outputs/01_dataset_audit/T01_dataset_inventory.csv

Generated by PV-MEPCG / PulseVision at 2026-09-11T14:19:00.548893+00:00