Q1_T06. Optimization Ablation

Baseline, tuned and optimized-ensemble stages in pipeline order (A9, A10). Within the PhysioNet 2016 corpus (subject-grouped cross-validation); not a generalization claim.

| Order | Stage | Comparison | Run | Model | Sensitivity | Specificity | Balanced acc. | Change vs previous | ROC-AUC | Source |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | default_single | Best individual model, default parameters | EXP-A1 | M1 | 0.848 | 0.838 | 0.843 | n/a | 0.922 | outputs/09_ablation/T19_search_and_optimization_ablation.csv |
| 2 | default_ensemble | Equal-weight ensemble, default parameters | EXP-A1 | M6 | 0.879 | 0.838 | 0.859 | 0.016 | 0.940 | outputs/09_ablation/T19_search_and_optimization_ablation.csv |
| 3 | tuned_single | Best individual model, tuned parameters | EXP-A2 | M1 | 0.865 | 0.829 | 0.847 | -0.012 | 0.921 | outputs/09_ablation/T19_search_and_optimization_ablation.csv |
| 4 | tuned_ensemble_equal | Equal-weight ensemble, tuned members | EXP-A2 | M6 | 0.862 | 0.850 | 0.856 | 0.009 | 0.938 | outputs/09_ablation/T19_search_and_optimization_ablation.csv |
| 5 | tuned_ensemble_optimized | Optimized-weight ensemble, tuned members | EXP-A2 | M7 | 0.862 | 0.850 | 0.856 | -0.000 | 0.938 | outputs/09_ablation/T19_search_and_optimization_ablation.csv |

The stages are the pipeline's order, not a ranking; fold SDs overlap between every pair.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype. It does not diagnose, and nothing here is a diagnosis, a treatment recommendation or a substitute for clinical judgement.

Table Q1_T06 -- Optimization Ablation

Experiment: EXP-F2

Objective: O3, O5

Source: outputs/09_ablation/T19_search_and_optimization_ablation.csv

Generated by PV-MEPCG / PulseVision at 2026-09-11T14:19:01.932690+00:00