Q1_T08. External Validation

CirCor murmur and outcome (subject-wise), PhysioNet-to-CirCor transfer without retuning, and the final model on an unseen PhysioNet recording collection.

| Evaluation | Model | Level | Aggregation | Metric | Value | Source |
| --- | --- | --- | --- | --- | --- | --- |
| CirCor murmur, three-class (EXP-C1) | M3 | recording | none | balanced_accuracy | 0.417 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M4 | recording | none | balanced_accuracy | 0.547 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M5 | recording | none | balanced_accuracy | 0.545 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M6 | recording | none | balanced_accuracy | 0.418 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M7 | recording | none | balanced_accuracy | 0.462 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M3 | recording | none | macro_f1 | 0.425 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M4 | recording | none | macro_f1 | 0.534 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M5 | recording | none | macro_f1 | 0.522 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M6 | recording | none | macro_f1 | 0.427 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor murmur, three-class (EXP-C1) | M7 | recording | none | macro_f1 | 0.471 | outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv |
| CirCor clinical outcome (EXP-C2) | M3 | recording | none | sensitivity | 0.446 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M4 | recording | none | sensitivity | 0.483 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M5 | recording | none | sensitivity | 0.491 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M6 | recording | none | sensitivity | 0.457 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M7 | recording | none | sensitivity | 0.457 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M3 | recording | none | specificity | 0.758 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M4 | recording | none | specificity | 0.718 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M5 | recording | none | specificity | 0.700 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M6 | recording | none | specificity | 0.736 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M7 | recording | none | specificity | 0.736 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M3 | recording | none | balanced_accuracy | 0.602 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M4 | recording | none | balanced_accuracy | 0.600 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M5 | recording | none | balanced_accuracy | 0.595 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M6 | recording | none | balanced_accuracy | 0.597 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M7 | recording | none | balanced_accuracy | 0.597 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M3 | recording | none | roc_auc | 0.623 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M4 | recording | none | roc_auc | 0.628 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M5 | recording | none | roc_auc | 0.627 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M6 | recording | none | roc_auc | 0.632 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| CirCor clinical outcome (EXP-C2) | M7 | recording | none | roc_auc | 0.632 | outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv |
| PhysioNet to CirCor, no retuning (EXP-D1) | M1 | recording | none | sensitivity | 0.378 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv |
| PhysioNet to CirCor, no retuning (EXP-D1) | M1 | recording | none | specificity | 0.673 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv |
| PhysioNet to CirCor, no retuning (EXP-D1) | M1 | recording | none | balanced_accuracy | 0.526 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv |
| PhysioNet to CirCor, no retuning (EXP-D1) | M1 | recording | none | roc_auc | 0.536 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv |
| Unseen PhysioNet recording collection (EXP-F3) | M1 | recording | none | sensitivity | 0.719 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv |
| Unseen PhysioNet recording collection (EXP-F3) | M1 | recording | none | specificity | 0.319 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv |
| Unseen PhysioNet recording collection (EXP-F3) | M1 | recording | none | balanced_accuracy | 0.519 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv |
| Unseen PhysioNet recording collection (EXP-F3) | M1 | recording | none | roc_auc | 0.533 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv |

EXP-D1 is adult-to-paediatric transfer across acquisition systems; its drop is a population and device effect, not evidence that the method fails in general.

EXP-F3: holding out one PhysioNet recording collection takes ROC-AUC to chance level. The binary model does not transfer to an unseen recording setup, and no generalization or deployment claim is made.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype. It does not diagnose, and nothing here is a diagnosis, a treatment recommendation or a substitute for clinical judgement.

Table Q1_T08 -- External Validation

Experiment: EXP-C1, EXP-C2, EXP-D1, EXP-F3

Objective: O1, O3, O6

Source: outputs/08_circor_external_validation/T13_circor_murmur_classification_results.csv; outputs/08_circor_external_validation/T14_circor_clinical_outcome_results.csv; outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv; outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv

Generated by PV-MEPCG / PulseVision at 2026-09-11T14:19:02.687515+00:00