# PV-MEPCG / PulseVision: results narrative for the Q1 / IEEE paper

Every number in this document is read from a generated result file when the document is built. The file, row and column behind each one are listed in the table at the end and in Q1_results_narrative_sources.csv. PV-MEPCG / PulseVision is an academic screening and decision-support prototype. It does not diagnose, and nothing here is a diagnosis, a treatment recommendation or a substitute for clinical judgement.

# Datasets and representation

The binary track uses PhysioNet 2016: 3,240 labelled recordings from 857 derived subjects, of which a share of 0.205 is abnormal. PASCAL set_a (124 recordings) and PASCAL set_b (461 recordings, 165 subjects) carry two separate multiclass tasks, and CirCor 2022 (3,163 recordings from 942 patients) carries subject-wise murmur and outcome validation. Each recording is represented by 138 engineered features in 6 families (Table Q1_T02).

# Binary screening within the PhysioNet corpus

Under the nested search (EXP-A2, 25 subject-grouped folds), the final model M1 reached sensitivity 0.865 (SD 0.045), specificity 0.829, balanced accuracy 0.847 and ROC-AUC 0.921. The equal-weight ensemble M6 reached sensitivity 0.862 and balanced accuracy 0.856. The two are not distinguishable on sensitivity (paired t-test, n = 25, p = 0.725); M1 is the simpler model and is the one the pre-registered selection rule returns, not a model that outperformed the ensemble (Table Q1_T04, Figures Q1_G01 and Q1_G02).

Optimizing the ensemble weights (M7) changed mean balanced accuracy by -0.0003 against equal weights, with 23 of 25 folds returning identical results: equal weighting is the evidenced default. The search-selected feature subset keeps 20 of 138 features; for M1 its balanced accuracy is 0.837 against 0.843 with all features.

# Ablation and optimization

Balanced accuracy along the optimization stages, in pipeline order (Table Q1_T06, Figure Q1_G04): Best individual model, default parameters 0.843; Equal-weight ensemble, default parameters 0.859; Best individual model, tuned parameters 0.847; Equal-weight ensemble, tuned members 0.856; Optimized-weight ensemble, tuned members 0.856. The fold standard deviations overlap between every pair of stages, so the sequence is not read as a ranking.

# Multiclass tasks

On PASCAL A the highest macro-F1 is M4 at 0.626 (record-level interval [0.5529, 0.7026]); on PASCAL B it is M1 at 0.470 ([0.4239, 0.5155]). The intervals overlap across models, and PASCAL A's artifact label is a recording-quality category, not a cardiac class (Table Q1_T07, Figure Q1_G03).

# External validation and its limits

Trained on PhysioNet and applied to CirCor without retuning (EXP-D1), recording-level balanced accuracy moves from 0.847 within PhysioNet to 0.526: adult-to-paediatric transfer across acquisition systems. Holding out one PhysioNet recording collection at a time (EXP-F3, 6 collections), the ROC-AUC of M1 falls from 0.922 pooled to 0.533. The model does not transfer to an unseen recording setup; every result above is a within-corpus estimate, and no generalization or deployment claim is made (Table Q1_T08, Figure Q1_G05).

# Complexity and robustness

M1 occupies 0.007 MB and scores one recording in 0.0014 s once its features exist; M6 occupies 15.562 MB and takes 0.1829 s. For M1, balanced accuracy is 0.886 on recordings the quality flag marks clean and 0.600 on those it marks noisy, and 0.897 on long against 0.759 on medium-length recordings. These groups are observational; the controlled noise and truncation rows are in Table Q1_T09.

# Limitations

PhysioNet has no independent held-out test set, so the binary results are cross-validated only. The PhysioNet diagnosis-subtype task is not learnable once recording source is held constant. The deep-learning baseline (M9, a one-dimensional CNN) was not run on this CPU-only machine, so no comparison with deep learning is made. PV-MEPCG / PulseVision is an academic screening and decision-support prototype. It does not diagnose, and nothing here is a diagnosis, a treatment recommendation or a substitute for clinical judgement.

# Where every number comes from

| Fact | Value | Source file | Selector |
| --- | --- | --- | --- |
| final_model | M1 | outputs/06_binary_results/final_model_selection.csv | first of model_id where all rows |
| D1_name | PhysioNet 2016 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of dataset_name where dataset_source=D1 |
| D1_records | 3,240 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of usable_files where dataset_source=D1 |
| D1_subjects | 857 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of n_subjects where dataset_source=D1 |
| D2_name | PASCAL set_a | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of dataset_name where dataset_source=D2 |
| D2_records | 124 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of usable_files where dataset_source=D2 |
| D2_subjects | 123 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of n_subjects where dataset_source=D2 |
| D3_name | PASCAL set_b | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of dataset_name where dataset_source=D3 |
| D3_records | 461 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of usable_files where dataset_source=D3 |
| D3_subjects | 165 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of n_subjects where dataset_source=D3 |
| D4_name | CirCor 2022 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of dataset_name where dataset_source=D4 |
| D4_records | 3,163 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of usable_files where dataset_source=D4 |
| D4_subjects | 942 | outputs/01_dataset_audit/T01_dataset_inventory.csv | value of n_subjects where dataset_source=D4 |
| D1_abnormal_share | 0.205 | outputs/01_dataset_audit/T02_class_distribution_and_imbalance_ratio.csv | value of share where dataset_source=D1, task=binary, class=abnormal |
| n_features | 138 | outputs/03_features/T05_feature_inventory_and_counts.csv | sum of counted_features where all rows |
| n_families | 6 | outputs/03_features/T05_feature_inventory_and_counts.csv | count of family where all rows |
| final_n_folds | 25 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of n_folds where run=EXP-A2, model_id=M1 |
| final_sensitivity_mean | 0.865 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of sensitivity_mean where run=EXP-A2, model_id=M1 |
| final_sensitivity_sd | 0.045 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of sensitivity_sd where run=EXP-A2, model_id=M1 |
| final_specificity_mean | 0.829 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of specificity_mean where run=EXP-A2, model_id=M1 |
| final_balanced_accuracy_mean | 0.847 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of balanced_accuracy_mean where run=EXP-A2, model_id=M1 |
| final_roc_auc_mean | 0.921 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of roc_auc_mean where run=EXP-A2, model_id=M1 |
| m6_n_folds | 25 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of n_folds where run=EXP-A2, model_id=M6 |
| m6_sensitivity_mean | 0.862 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of sensitivity_mean where run=EXP-A2, model_id=M6 |
| m6_sensitivity_sd | 0.067 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of sensitivity_sd where run=EXP-A2, model_id=M6 |
| m6_specificity_mean | 0.850 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of specificity_mean where run=EXP-A2, model_id=M6 |
| m6_balanced_accuracy_mean | 0.856 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of balanced_accuracy_mean where run=EXP-A2, model_id=M6 |
| m6_roc_auc_mean | 0.938 | outputs/06_binary_results/T08_physionet_individual_model_comparison.csv | value of roc_auc_mean where run=EXP-A2, model_id=M6 |
| tie_test | paired t-test | outputs/12_statistics/T28_statistical_significance_comparison.csv | value of chosen_test where run=EXP-A2, metric=sensitivity, model_a=M1, model_b=M6 |
| tie_n | 25 | outputs/12_statistics/T28_statistical_significance_comparison.csv | value of n where run=EXP-A2, metric=sensitivity, model_a=M1, model_b=M6 |
| tie_p | 0.725 | outputs/12_statistics/T28_statistical_significance_comparison.csv | value of p_value where run=EXP-A2, metric=sensitivity, model_a=M1, model_b=M6 |
| m7_delta | -0.0003 | outputs/06_binary_results/T09_equal_weight_versus_optimized_ensemble.csv | value of delta_mean where metric=balanced_accuracy |
| m7_identical | 23 | outputs/06_binary_results/T09_equal_weight_versus_optimized_ensemble.csv | value of n_folds_identical where metric=balanced_accuracy |
| m7_folds | 25 | outputs/06_binary_results/T09_equal_weight_versus_optimized_ensemble.csv | value of n_folds where metric=balanced_accuracy |
| subset_selected | 20 | outputs/09_ablation/T18_all_features_versus_selected_features.csv | value of n_features_selected where model_id=M1 |
| subset_all | 138 | outputs/09_ablation/T18_all_features_versus_selected_features.csv | value of n_features_all where model_id=M1 |
| subset_bal_selected | 0.837 | outputs/09_ablation/T18_all_features_versus_selected_features.csv | value of balanced_accuracy_selected where model_id=M1 |
| subset_bal_all | 0.843 | outputs/09_ablation/T18_all_features_versus_selected_features.csv | value of balanced_accuracy_all where model_id=M1 |
| stage_default_single_label | Best individual model, default parameters | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of comparison where stage=default_single |
| stage_default_single_bal | 0.843 | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of balanced_accuracy where stage=default_single |
| stage_default_ensemble_label | Equal-weight ensemble, default parameters | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of comparison where stage=default_ensemble |
| stage_default_ensemble_bal | 0.859 | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of balanced_accuracy where stage=default_ensemble |
| stage_tuned_single_label | Best individual model, tuned parameters | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of comparison where stage=tuned_single |
| stage_tuned_single_bal | 0.847 | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of balanced_accuracy where stage=tuned_single |
| stage_tuned_ensemble_equal_label | Equal-weight ensemble, tuned members | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of comparison where stage=tuned_ensemble_equal |
| stage_tuned_ensemble_equal_bal | 0.856 | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of balanced_accuracy where stage=tuned_ensemble_equal |
| stage_tuned_ensemble_optimized_label | Optimized-weight ensemble, tuned members | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of comparison where stage=tuned_ensemble_optimized |
| stage_tuned_ensemble_optimized_bal | 0.856 | outputs/09_ablation/T19_search_and_optimization_ablation.csv | value of balanced_accuracy where stage=tuned_ensemble_optimized |
| pascal_a_model | M4 | outputs/07_multiclass_results/T11_pascal_a_multiclass_results.csv | first of model_id where all rows |
| pascal_a_macro_f1 | 0.626 | outputs/07_multiclass_results/T11_pascal_a_multiclass_results.csv | first of macro_f1_mean where all rows |
| pascal_a_ci | [0.5529, 0.7026] | outputs/07_multiclass_results/T11_pascal_a_multiclass_results.csv | first of macro_f1_record_ci where all rows |
| pascal_b_model | M1 | outputs/07_multiclass_results/T12_pascal_b_multiclass_results.csv | first of model_id where all rows |
| pascal_b_macro_f1 | 0.470 | outputs/07_multiclass_results/T12_pascal_b_multiclass_results.csv | first of macro_f1_mean where all rows |
| pascal_b_ci | [0.4239, 0.5155] | outputs/07_multiclass_results/T12_pascal_b_multiclass_results.csv | first of macro_f1_record_ci where all rows |
| d1_in_domain | 0.847 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv | value of in_domain_mean where metric=balanced_accuracy, level=recording, rule=none |
| d1_external | 0.526 | outputs/08_circor_external_validation/T16_cross_dataset_generalization.csv | value of external_value where metric=balanced_accuracy, level=recording, rule=none |
| f3_auc_pooled | 0.922 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv | value of roc_auc_pooled where model_id=M1 |
| f3_auc_holdout | 0.533 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv | value of roc_auc_holdout where model_id=M1 |
| f3_collections | 6 | outputs/09_ablation/T-S5_leave_one_source_out_generalization.csv | value of n_folds_holdout where model_id=M1 |
| final_mb | 0.007 | outputs/11_complexity/T24_complexity_analysis.csv | value of model_mb where model_id=M1 |
| final_predict_s | 0.0014 | outputs/11_complexity/T24_complexity_analysis.csv | value of single_predict_seconds where model_id=M1 |
| m6_mb | 15.562 | outputs/11_complexity/T24_complexity_analysis.csv | value of model_mb where model_id=M6 |
| m6_predict_s | 0.1829 | outputs/11_complexity/T24_complexity_analysis.csv | value of single_predict_seconds where model_id=M6 |
| noise_clean | 0.886 | outputs/09_robustness_analysis/T20_noise_robustness.csv | value of balanced_accuracy_mean where analysis=observational_pp08, run=EXP-A2, model_id=M1, group=clean |
| noise_noisy | 0.600 | outputs/09_robustness_analysis/T20_noise_robustness.csv | value of balanced_accuracy_mean where analysis=observational_pp08, run=EXP-A2, model_id=M1, group=noisy |
| duration_long | 0.897 | outputs/09_robustness_analysis/T21_duration_robustness.csv | value of balanced_accuracy_mean where analysis=observational_bands, run=EXP-A2, model_id=M1, group=long |
| duration_medium | 0.759 | outputs/09_robustness_analysis/T21_duration_robustness.csv | value of balanced_accuracy_mean where analysis=observational_bands, run=EXP-A2, model_id=M1, group=medium |