LIT-01. Literature Review and State of the Art

Published PCG preprocessing, feature-extraction and classification work: the ten references of the original synopsis, the leading PhysioNet/CinC 2016 and PhysioNet 2022 Challenge entries, and recent work on ensembles, feature selection, deep learning and domain shift, each with how PV-MEPCG / PulseVision differs from it.

| ID | Group | Authors | Year | Title | Venue | Dataset | Preprocessing | Feature families | Classifier | Validation scheme | Reported metric (as published) | Sample size | Limitation | Limitation source | How PV-MEPCG differs | Verified against | Source | Synopsis reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| L01 | Synopsis reference | Rangayyan RM, Lehner RJ | 1987 | Phonocardiogram signal analysis: a review | Critical Reviews in Biomedical Engineering 15(3):211-236 | none (narrative review) | reviewed: filtering, envelope and segmentation methods of the period | reviewed: time- and frequency-domain PCG descriptors | reviewed; no classifier proposed | not applicable (review) | none (review) | not applicable | Predates public PCG corpora and machine-learning classifiers. | observed | A review of techniques; PV-MEPCG is an implemented, reproducible pipeline whose every number is generated and evaluated on four public corpora. | web-verified 2026-09-11 against PubMed 3329595 | https://pubmed.ncbi.nlm.nih.gov/3329595/ | Rangayyan & Lehner |
| L02 | Synopsis reference | Muruganantham M, et al. | 2003 | Methods for classification of phonocardiogram | TENCON 2003, Conference on Convergent Technologies for the Asia-Pacific Region | not stated in the accessible record | not stated in the accessible record | wavelet-based features | neural network, fuzzy system and wavelet approaches, compared | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | Method comparison without a public dataset or a stated validation protocol. | observed | Compared three classifier families on private data; PV-MEPCG compares eight classifiers and two soft-voting ensembles on one stored, subject-grouped fold map. | web-verified 2026-09-11 against Semantic Scholar record (TENCON 2003) | https://www.semanticscholar.org/paper/27b97a9bcd46cb79ed0b5f8403c5a31da8d1b379 | Muruganantham 2003 |
| L03 | Synopsis reference | Shui | 2004 | AM13 Analysis of Heart Sound | Thesis, National University of Singapore | not stated in the accessible record | not stated in the accessible record | wavelet analysis | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | Known only through secondary citation; the full text was not accessible. | observed | Wavelet features alone; PV-MEPCG uses the wavelet (DWT) family as one of six (138 features) and measures each family's contribution by ablation (EXP-F1). | web-verified 2026-09-11 against secondary citation in IJCA 77(4) review; primary text not accessible | https://www.ijcaonline.org/archives/volume77/number4/13381-1001/ | Shui 2004 |
| L04 | Synopsis reference | El-Segaier M, Lilja O, Lukkarinen S, Sornmo L, Sepponen R, Pesonen E | 2005 | Computer-based detection and analysis of heart sound and murmur | Annals of Biomedical Engineering 33:937-942 | 300 children with a cardiac murmur, electronic stethoscope, simultaneous ECG | short-time Fourier transform | S1/S2 timing referenced to ECG R- and T-waves; spectral content | rule-based heart-sound detection (no learned classifier) | agreement with the ECG reference | S1 detected 100% within 0.05-0.2 R-R; S2 97% | 300 children | Depends on a simultaneous ECG reference. | observed | Needs an ECG to find heart sounds; PV-MEPCG classifies from the PCG alone, segmentation-free. | web-verified 2026-09-11 against PubMed 16060534 | https://pubmed.ncbi.nlm.nih.gov/16060534/ | Segaier 2005 |
| L05 | Synopsis reference | Jiang Z, Choi S | 2006 | A cardiac sound characteristic waveform method for in-home heart disorder monitoring with electric stethoscope | Expert Systems with Applications 31:286-298 | electric-stethoscope recordings | single-degree-of-freedom model extracting a characteristic waveform | time intervals T1, T2, T11, T12 against an adaptive threshold | fuzzy c-means clustering for the threshold; rule-based identification | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | Hand-designed interval parameters from one waveform model. | observed | Timing parameters from a single model; PV-MEPCG learns from 138 multi-domain features validated across public multi-site corpora. | web-verified 2026-09-11 against ScienceDirect record, doi 10.1016/j.eswa.2005.09.025 | https://www.sciencedirect.com/science/article/abs/pii/S0957417405002150 | Jiang & Choi 2006 |
| L06 | Synopsis reference | Ahlstrom C, Hult P, Rask P, et al. | 2006 | Feature extraction for systolic heart murmur classification | Annals of Biomedical Engineering 34(11):1666-1677 | 36 patients: aortic stenosis, mitral insufficiency, physiological murmurs | not stated in the accessible record | 207 features: Shannon energy, wavelets, fractal dimensions, recurrence quantification; 14 selected | neural network | not stated in the accessible record | 86% correct with the multi-domain subset vs 68% single-domain | 36 patients | Small single-centre cohort. | observed | Closest synopsis precedent: multi-domain features with search-based (SFFS) selection. PV-MEPCG selects inside training folds on thousands of public recordings and reports the subset against all features. | web-verified 2026-09-11 against PubMed 17019618 | https://pubmed.ncbi.nlm.nih.gov/17019618/ | Ahlstrom 2006 |
| L07 | Synopsis reference | Nigam V, Priemer R | 2008 | A simplicity-based fuzzy clustering approach for detection and extraction of murmurs from the phonocardiogram | Physiological Measurement 29:33-47 | not stated in the accessible record | murmur localisation within the cardiac cycle | signal simplicity | fuzzy clustering | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | The paper notes the variation of murmur amplitude and spectrum across patients hinders a generic segmentation. | stated | Segments murmurs; PV-MEPCG does not segment and classifies whole recordings, with CirCor murmur kept as its own task. | web-verified 2026-09-11 against secondary: bibliographic record in the Chakrabarti & Saha critical review | https://www.researchgate.net/publication/296640022 | Nigam 2008 |
| L08 | Synopsis reference | Babaei S, Geranmayeh A | 2009 | Heart sound reproduction based on neural network classification of cardiac valve disorders using wavelet transforms of PCG signals | Computers in Biology and Medicine 39(1):8-15 | clinical PCG samples: aortic insufficiency, aortic stenosis, pulmonary stenosis, normal | db4 wavelet decomposition, five levels | wavelet sub-band statistics | neural network, or statistical averaging | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | Four classes from clinical samples of unstated size. | observed | Wavelet + neural network; PV-MEPCG adds five more feature families and a heterogeneous soft-voting ensemble. | web-verified 2026-09-11 against PubMed 19081085 | https://pubmed.ncbi.nlm.nih.gov/19081085/ | Babaei & Geranmayeh 2009 |
| L09 | Synopsis reference | Ari S, Hembram K, Saha G | 2010 | Detection of cardiac abnormality from PCG signal using LMS based least square SVM classifier | Expert Systems with Applications 37(12):8019-8026 | normal, aortic insufficiency, aortic stenosis, atrial septal defect, mitral regurgitation, mitral stenosis | not stated in the accessible record | wavelet features | least-squares SVM improved with a least-mean-square step | not stated in the accessible record | 86.72% accuracy | not stated in the accessible record | Accuracy alone, on a normal-versus-pathological task. | observed | Wavelet + one SVM; PV-MEPCG uses an RBF SVM as one member beside Random Forest and Gradient Boosting, with in-fold calibration, and never reports accuracy alone. | web-verified 2026-09-11 against ScienceDirect record S0957417410004999 | https://www.sciencedirect.com/science/article/abs/pii/S0957417410004999 | Ari 2010 |
| L10 | Synopsis reference | Choi S, Jiang Z | 2010 | Cardiac sound murmurs classification with autoregressive spectral analysis and multi-support vector machine technique | Computers in Biology and Medicine 40(1):8-20 | 489 cardiac sounds (196 normal, 293 abnormal) from 6 volunteers and 34 patients | normalized autoregressive power spectral density (NAR-PSD) | two spectral features: peak frequency and bandwidth of the NAR-PSD curve | multi-support vector machine | not stated in the accessible record | not stated in the accessible record | 489 recordings, 40 subjects | Many recordings per subject from 40 people. | observed | Two spectral features + SVM; PV-MEPCG groups every split by subject, so no person contributes to both training and test. | web-verified 2026-09-11 against PubMed 19926081 | https://pubmed.ncbi.nlm.nih.gov/19926081/ | Choi 2010 |
| B01 | PhysioNet/CinC 2016 benchmark | Potes C, Parvaneh S, Rahman A, Conroy B | 2016 | Ensemble of feature-based and deep learning-based classifiers for detection of abnormal heart sounds | Computing in Cardiology 43 (Challenge winner) | PhysioNet/CinC 2016: training 2,575 normal / 665 abnormal; hidden test set | cardiac-cycle segmentation; four frequency bands for the CNN | 124 time-frequency features | AdaBoost variant + convolutional neural network, combined as an ensemble | official hidden test set | Se 0.9424, Sp 0.7781, overall (MAcc) 0.8602 | 3,240 training recordings | Modest specificity against very high sensitivity. | observed | Also an ensemble, but with a CNN member; PV-MEPCG is classical and CPU-only (the CNN is out of scope) and weights its members by an in-fold simplex search. It cannot be scored on the hidden test set. | web-verified 2026-09-11 against CinC 2016 paper record and the official 2016 score listing | https://www.cinc.org/archives/2016/pdf/182-399.pdf | n/a |
| B02 | PhysioNet/CinC 2016 benchmark | Zabihi M, Bahrami Rad A, Kiranyaz S, Gabbouj M, Katsaggelos AK | 2016 | Heart sound anomaly and quality detection using ensemble of neural networks without segmentation | Computing in Cardiology 43 (second place) | PhysioNet/CinC 2016 | no segmentation | 18 of 40 time, frequency and time-frequency features, chosen by wrapper selection | ensemble of 20 feed-forward neural networks | official hidden test set (training score 0.9150 under 20-fold CV) | Se 0.8691, Sp 0.8490, overall 0.8590 | 3,240 training recordings | Training-set score 5.6 points above the hidden-test score. | observed | The closest design: segmentation-free features, search-based selection and an ensemble. PV-MEPCG differs in heterogeneous members, one-standard-error selection rules, subject-grouped repeated CV and external validation on CirCor. | web-verified 2026-09-11 against the paper (moody-challenge.physionet.org) | https://moody-challenge.physionet.org/2016/papers/zabihi.pdf | n/a |
| B03 | PhysioNet/CinC 2016 benchmark | Kay E, Agarwal A | 2016 | Official PhysioNet/CinC 2016 entry (third place) | PhysioNet/CinC Challenge 2016 official score listing | PhysioNet/CinC 2016 | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | official hidden test set | overall (MAcc) 0.8520 | 3,240 training recordings | Only the overall score is recorded in the official listing. | observed | A hidden-test score; PV-MEPCG has no access to that test set, which was never released, so any comparison is indicative. | web-verified 2026-09-11 against official 2016 score listing | https://physionet.org/content/challenge-2016/1.0.0/sources/2016-scoreinfo-with-authors | n/a |
| B04 | PhysioNet 2022 benchmark | Team HearHeart (murmur track winner) | 2022 | George B. Moody PhysioNet Challenge 2022, murmur detection | Reyna MA et al., PLOS Digital Health 2023 (Challenge summary) | CirCor DigiScope: 3,163 public training recordings; hidden test 1,582 recordings | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | official hidden test set | weighted accuracy 0.780 (murmur, first of the ranked teams) | 3,163 training recordings | Scored on a test set that is not public. | observed | PV-MEPCG runs CirCor murmur as its own three-class task (EXP-C1) with patient-level aggregation, cross-validated on the public training set only; it is not scored with the Challenge's weighted-accuracy metric. | web-verified 2026-09-11 against Reyna et al. 2023, PMC10495026 | https://pmc.ncbi.nlm.nih.gov/articles/PMC10495026/ | n/a |
| B05 | PhysioNet 2022 benchmark | Team CUED_Acoustics (clinical outcome track winner) | 2022 | George B. Moody PhysioNet Challenge 2022, clinical outcome | Reyna MA et al., PLOS Digital Health 2023 (Challenge summary) | CirCor DigiScope: 3,163 public training recordings; hidden test 1,582 recordings | not stated in the accessible record | not stated in the accessible record | not stated in the accessible record | official hidden test set | cost 11,144 (clinical outcome, lowest of the ranked teams) | 3,163 training recordings | The outcome metric is a cost model, not a classification rate. | observed | PV-MEPCG runs CirCor outcome as a separate binary task (EXP-C2) and tests adult-to-paediatric transfer (EXP-D1); it reports sensitivity and balanced accuracy rather than the Challenge cost. | web-verified 2026-09-11 against Reyna et al. 2023, PMC10495026 | https://pmc.ncbi.nlm.nih.gov/articles/PMC10495026/ | n/a |
| R01 | Recent work | Homsi MN, Warrick P | 2017 | Ensemble methods with outliers for phonocardiogram classification | Physiological Measurement 38(8):1631 | PhysioNet/CinC 2016 | outlier detection by an interquartile-range threshold | 131 time, frequency, wavelet and statistical features, then feature reduction | ensemble classifiers | official hidden test set | MAcc 0.801 | 3,240 training recordings | Outliers handled separately from the standard-range signals. | stated | An ensemble over a comparable classical feature set; PV-MEPCG adds optimized weights, in-fold feature selection and cross-dataset validation. | web-verified 2026-09-11 against secondary: the Clifford et al. 2017 focus-issue review, which reports it | https://iopscience.iop.org/article/10.1088/1361-6579/aa7ec8 | n/a |
| R02 | Recent work | Tang H, et al. | 2018 | PCG classification using multidomain features and SVM classifier | BioMed Research International | PhysioNet/CinC 2016: 3,153 recordings (2,488 normal, 665 abnormal) | segmentation into heart-sound states | 515 features from nine domains (intervals, state spectra, amplitude, energy, cepstrum, cyclostationarity, higher-order statistics, entropy) | SVM, RBF kernel | repeated random record-level train/test splits (200 repetitions) | Se 0.88, Sp 0.87, overall 0.88 | 3,153 recordings | Record-level random splits on a corpus where one subject can contribute several recordings. | observed | Multi-domain features like PV-MEPCG, but split by record; PV-MEPCG groups every split by subject and repeats it 5x5, the stricter protocol. | web-verified 2026-09-11 against PMC6077676 | https://pmc.ncbi.nlm.nih.gov/articles/PMC6077676/ | n/a |
| R03 | Recent work | Humayun AI, Ghaffarzadegan S, Ansari MI, Feng Z, Hasan T | 2020 | Towards domain invariant heart sound abnormality detection using learnable filterbanks | IEEE Journal of Biomedical and Health Informatics 24(8):2189-2198 | multi-domain public PCG datasets (stethoscope and site variation) | raw PCG into learnable time-convolution filterbanks | learned (tConv FIR filterbank front end) | convolutional neural network | cross-domain evaluation | up to 11.84% relative improvement in MAcc over the compared state of the art | not stated in the accessible record | The paper states that stethoscope, environment and collection protocol degrade machine-learning heart-sound systems. | stated | Addresses the problem PV-MEPCG measures and does not solve: EXP-F3 (leave-one-sub-collection-out) shows the ranking collapses on an unseen recording setup. Domain adaptation is PV-MEPCG future work. | web-verified 2026-09-11 against IEEE Xplore / arXiv 1910.00498 | https://arxiv.org/abs/1910.00498 | n/a |
| R04 | Recent work | Clifford GD, et al. | 2017 | Recent advances in heart sound analysis | Physiological Measurement 38: E10 | review of the PhysioNet/CinC 2016 Challenge and focus issue | reviewed | reviewed | reviewed | not applicable (review) | none (review) | not applicable | Not applicable (review). | not available | Context for the 2016 benchmark rows; PV-MEPCG's contribution is a reproducible, fold-safe classical pipeline across four corpora, not a new challenge score. | web-verified 2026-09-11 against IOPscience record | https://iopscience.iop.org/article/10.1088/1361-6579/aa7ec8 | n/a |
| R05 | Recent work | Chen W, et al. | 2024 | Artificial intelligence for heart sound classification: a review | Expert Systems (Wiley), doi 10.1111/exsy.13535 | review | reviewed | reviewed: handcrafted and learned representations | reviewed: classical machine learning and deep learning | not applicable (review) | none (review) | not applicable | Not applicable (review). | not available | The current state of the art is dominated by deep learning; PV-MEPCG is an interpretable, CPU-only classical baseline evaluated with subject-grouped CV and external validation, and makes no claim against deep models. | web-verified 2026-09-11 against Wiley Online Library record | https://onlinelibrary.wiley.com/doi/10.1111/exsy.13535 | n/a |

Reported metrics are quoted from each publication or official challenge record and are not results of this project. A field the accessible record does not state is written as such, never filled in.

'Limitation source' marks whether the paper states the limitation or this review observes it in the design.

Rangayyan & Lehner is dated 1987 by its PubMed record (volume 15); the synopsis cites it as 1988.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype, not a diagnostic tool.

Table LIT-01 -- Literature Review and State of the Art

Experiment: n/a (literature review)

Objective: O2

Source: src/reporting/literature.py

Generated by PV-MEPCG / PulseVision at 2026-09-11T13:17:56.476456+00:00