T09. Equal-Weight versus Optimized Ensemble

The equal-weight soft-voting ensemble (M6) against the same ensemble with weights chosen per fold by the SO-05 weight search (M7), on the identical 25 EXP-A2 folds. Delta is M7 minus M6 on each fold, so a positive delta favours the optimized weights; 'identical' counts folds on which the two produced the same value.

| Metric | Folds | M6 equal weights | M7 optimized weights | Mean delta (M7 - M6) | Delta SD | Folds M7 better | Folds M7 worse | Folds identical | Test | p (raw) | p (Holm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| sensitivity | 25 | 0.862 | 0.862 | -0.0000 | 0.0022 | 1 | 1 | 23 | Wilcoxon signed-rank | 0.655 | 1.000 |
| specificity | 25 | 0.850 | 0.850 | -0.0005 | 0.0019 | 0 | 2 | 23 | Wilcoxon signed-rank | 0.180 | 0.719 |
| balanced_accuracy | 25 | 0.856 | 0.856 | -0.0003 | 0.0013 | 0 | 2 | 23 | Wilcoxon signed-rank | 0.180 | 1.000 |
| f1 | 25 | 0.709 | 0.708 | -0.0005 | 0.0021 | 0 | 2 | 23 | Wilcoxon signed-rank | 0.180 | 1.000 |
| roc_auc | 25 | 0.938 | 0.938 | -0.0001 | 0.0002 | 0 | 2 | 23 | Wilcoxon signed-rank | 0.180 | 1.000 |
| accuracy | 25 | 0.853 | 0.852 | -0.0004 | 0.0015 | 0 | 2 | 23 | Wilcoxon signed-rank | 0.180 | 1.000 |

On 23 of 25 folds M7's balanced accuracy equals M6's exactly: the weight search returned equal weights or weights that change no prediction. A weight search that lands on equal weights is a result -- the members are too close in quality for the data to support preferring one.

No metric differs significantly between M6 and M7 after Holm correction (n=25 folds per test).

Deltas are shown at four places because they are smaller than the three-place metric rule can display.

M7's weights are chosen by a one-standard-error rule that shrinks toward equal weights, a selection rule fixed before any result was seen.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype, not a diagnostic tool.

Table T09 -- Equal-Weight versus Optimized Ensemble

Experiment: EXP-A2

Objective: O3 (ensemble), O5 (ensemble-weight optimization)

Source: outputs/06_binary_results/T09_ensemble_weight_comparison.csv; outputs/12_statistics/paired_fold_tests_interpreted.csv

Generated by PV-MEPCG / PulseVision at 2026-09-10T16:53:55.226213+00:00