T15. Recording-Level versus Subject-Level Results

What patient-level aggregation does to every CirCor result: the recording-level mean beside the patient-level mean under each aggregation rule, with the signed difference. In CirCor the subject is the patient.

| Run | Model | Rule | balanced accuracy (recording) | balanced accuracy (patient) | balanced accuracy delta | sensitivity (recording) | sensitivity (patient) | sensitivity delta | specificity (recording) | specificity (patient) | specificity delta | macro f1 (recording) | macro f1 (patient) | macro f1 delta |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EXP-C1-three_class | M3 | max | 0.417 | 0.465 | 0.048 | n/a | n/a | n/a | n/a | n/a | n/a | 0.425 | 0.472 | 0.047 |
| EXP-C1-three_class | M4 | max | 0.547 | 0.474 | -0.074 | n/a | n/a | n/a | n/a | n/a | n/a | 0.534 | 0.442 | -0.092 |
| EXP-C1-three_class | M5 | max | 0.545 | 0.468 | -0.078 | n/a | n/a | n/a | n/a | n/a | n/a | 0.522 | 0.435 | -0.087 |
| EXP-C1-three_class | M6 | max | 0.418 | 0.456 | 0.037 | n/a | n/a | n/a | n/a | n/a | n/a | 0.427 | 0.463 | 0.036 |
| EXP-C1-three_class | M7 | max | 0.462 | 0.467 | 0.006 | n/a | n/a | n/a | n/a | n/a | n/a | 0.471 | 0.460 | -0.012 |
| EXP-C1-three_class | M3 | mean | 0.417 | 0.385 | -0.032 | n/a | n/a | n/a | n/a | n/a | n/a | 0.425 | 0.377 | -0.048 |
| EXP-C1-three_class | M4 | mean | 0.547 | 0.446 | -0.101 | n/a | n/a | n/a | n/a | n/a | n/a | 0.534 | 0.452 | -0.082 |
| EXP-C1-three_class | M5 | mean | 0.545 | 0.461 | -0.085 | n/a | n/a | n/a | n/a | n/a | n/a | 0.522 | 0.468 | -0.054 |
| EXP-C1-three_class | M6 | mean | 0.418 | 0.405 | -0.013 | n/a | n/a | n/a | n/a | n/a | n/a | 0.427 | 0.404 | -0.023 |
| EXP-C1-three_class | M7 | mean | 0.462 | 0.420 | -0.042 | n/a | n/a | n/a | n/a | n/a | n/a | 0.471 | 0.420 | -0.051 |
| EXP-C1-three_class | M3 | any_present | 0.417 | 0.470 | 0.054 | n/a | n/a | n/a | n/a | n/a | n/a | 0.425 | 0.471 | 0.046 |
| EXP-C1-three_class | M4 | any_present | 0.547 | 0.480 | -0.067 | n/a | n/a | n/a | n/a | n/a | n/a | 0.534 | 0.433 | -0.101 |
| EXP-C1-three_class | M5 | any_present | 0.545 | 0.472 | -0.074 | n/a | n/a | n/a | n/a | n/a | n/a | 0.522 | 0.423 | -0.099 |
| EXP-C1-three_class | M6 | any_present | 0.418 | 0.459 | 0.041 | n/a | n/a | n/a | n/a | n/a | n/a | 0.427 | 0.462 | 0.035 |
| EXP-C1-three_class | M7 | any_present | 0.462 | 0.476 | 0.014 | n/a | n/a | n/a | n/a | n/a | n/a | 0.471 | 0.461 | -0.011 |
| EXP-C1-two_class | M3 | max | 0.619 | 0.702 | 0.083 | 0.249 | 0.437 | 0.189 | 0.990 | 0.967 | -0.023 | n/a | n/a | n/a |
| EXP-C1-two_class | M4 | max | 0.675 | 0.714 | 0.039 | 0.430 | 0.638 | 0.208 | 0.919 | 0.790 | -0.129 | n/a | n/a | n/a |
| EXP-C1-two_class | M5 | max | 0.671 | 0.696 | 0.025 | 0.422 | 0.604 | 0.182 | 0.919 | 0.787 | -0.132 | n/a | n/a | n/a |
| EXP-C1-two_class | M6 | max | 0.696 | 0.721 | 0.025 | 0.547 | 0.493 | -0.054 | 0.845 | 0.948 | 0.103 | n/a | n/a | n/a |
| EXP-C1-two_class | M7 | max | 0.696 | 0.721 | 0.025 | 0.547 | 0.493 | -0.054 | 0.845 | 0.948 | 0.103 | n/a | n/a | n/a |
| EXP-C1-two_class | M3 | mean | 0.619 | 0.589 | -0.030 | 0.249 | 0.185 | -0.064 | 0.990 | 0.994 | 0.004 | n/a | n/a | n/a |
| EXP-C1-two_class | M4 | mean | 0.675 | 0.691 | 0.016 | 0.430 | 0.425 | -0.005 | 0.919 | 0.957 | 0.038 | n/a | n/a | n/a |
| EXP-C1-two_class | M5 | mean | 0.671 | 0.699 | 0.028 | 0.422 | 0.437 | 0.014 | 0.919 | 0.961 | 0.042 | n/a | n/a | n/a |
| EXP-C1-two_class | M6 | mean | 0.696 | 0.634 | -0.062 | 0.547 | 0.274 | -0.273 | 0.845 | 0.994 | 0.149 | n/a | n/a | n/a |
| EXP-C1-two_class | M7 | mean | 0.696 | 0.634 | -0.062 | 0.547 | 0.274 | -0.273 | 0.845 | 0.994 | 0.149 | n/a | n/a | n/a |
| EXP-C1-two_class | M3 | any_present | 0.619 | 0.702 | 0.083 | 0.249 | 0.437 | 0.189 | 0.990 | 0.967 | -0.023 | n/a | n/a | n/a |
| EXP-C1-two_class | M4 | any_present | 0.675 | 0.714 | 0.039 | 0.430 | 0.638 | 0.208 | 0.919 | 0.790 | -0.129 | n/a | n/a | n/a |
| EXP-C1-two_class | M5 | any_present | 0.671 | 0.696 | 0.025 | 0.422 | 0.604 | 0.182 | 0.919 | 0.787 | -0.132 | n/a | n/a | n/a |
| EXP-C1-two_class | M6 | any_present | 0.696 | 0.697 | 0.001 | 0.547 | 0.744 | 0.197 | 0.845 | 0.650 | -0.195 | n/a | n/a | n/a |
| EXP-C1-two_class | M7 | any_present | 0.696 | 0.697 | 0.001 | 0.547 | 0.744 | 0.197 | 0.845 | 0.650 | -0.195 | n/a | n/a | n/a |
| EXP-C2 | M3 | max | 0.602 | 0.604 | 0.002 | 0.446 | 0.671 | 0.226 | 0.758 | 0.537 | -0.221 | n/a | n/a | n/a |
| EXP-C2 | M4 | max | 0.600 | 0.595 | -0.006 | 0.483 | 0.726 | 0.243 | 0.718 | 0.463 | -0.254 | n/a | n/a | n/a |
| EXP-C2 | M5 | max | 0.595 | 0.579 | -0.016 | 0.491 | 0.766 | 0.274 | 0.700 | 0.393 | -0.307 | n/a | n/a | n/a |
| EXP-C2 | M6 | max | 0.597 | 0.605 | 0.009 | 0.457 | 0.673 | 0.216 | 0.736 | 0.537 | -0.199 | n/a | n/a | n/a |
| EXP-C2 | M7 | max | 0.597 | 0.605 | 0.009 | 0.457 | 0.673 | 0.216 | 0.736 | 0.537 | -0.199 | n/a | n/a | n/a |
| EXP-C2 | M3 | mean | 0.602 | 0.614 | 0.012 | 0.446 | 0.480 | 0.035 | 0.758 | 0.747 | -0.011 | n/a | n/a | n/a |
| EXP-C2 | M4 | mean | 0.600 | 0.618 | 0.018 | 0.483 | 0.531 | 0.047 | 0.718 | 0.706 | -0.012 | n/a | n/a | n/a |
| EXP-C2 | M5 | mean | 0.595 | 0.613 | 0.017 | 0.491 | 0.524 | 0.033 | 0.700 | 0.701 | 0.002 | n/a | n/a | n/a |
| EXP-C2 | M6 | mean | 0.597 | 0.619 | 0.022 | 0.457 | 0.485 | 0.028 | 0.736 | 0.753 | 0.017 | n/a | n/a | n/a |
| EXP-C2 | M7 | mean | 0.597 | 0.619 | 0.022 | 0.457 | 0.485 | 0.028 | 0.736 | 0.753 | 0.017 | n/a | n/a | n/a |
| EXP-C2 | M3 | any_present | 0.602 | 0.604 | 0.002 | 0.446 | 0.671 | 0.226 | 0.758 | 0.537 | -0.221 | n/a | n/a | n/a |
| EXP-C2 | M4 | any_present | 0.600 | 0.595 | -0.006 | 0.483 | 0.726 | 0.243 | 0.718 | 0.463 | -0.254 | n/a | n/a | n/a |
| EXP-C2 | M5 | any_present | 0.595 | 0.579 | -0.016 | 0.491 | 0.766 | 0.274 | 0.700 | 0.393 | -0.307 | n/a | n/a | n/a |
| EXP-C2 | M6 | any_present | 0.597 | 0.592 | -0.004 | 0.457 | 0.695 | 0.238 | 0.736 | 0.490 | -0.246 | n/a | n/a | n/a |
| EXP-C2 | M7 | any_present | 0.597 | 0.592 | -0.004 | 0.457 | 0.695 | 0.238 | 0.736 | 0.490 | -0.246 | n/a | n/a | n/a |

Delta is patient level minus recording level for the same model and run, so a positive delta means aggregation raised the metric.

Mean balanced-accuracy delta per rule, over every run and model: max +0.009, mean -0.019, any_present +0.006. Every rule moves balanced accuracy by less than 0.05 on average: aggregation shifts the operating point between sensitivity and specificity more than it adds information.

CirCor is the only corpus here with both levels: PhysioNet and PASCAL are scored per recording with subjects grouped across folds, never aggregated to a subject-level prediction.

CirCor labels a PATIENT and the model scores a RECORDING, so every recording inherits its patient's label, including recordings from locations where the finding is not audible. Recording-level figures are pessimistic by an unmeasured amount; see circor_label_propagation.md.

Patient-level rows aggregate a patient's recordings under three rules (max, mean, any_present). Aggregation moves the operating point; no rule is declared the winner, because that is a clinical judgement.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype, not a diagnostic tool.

Table T15 -- Recording-Level versus Subject-Level Results

Experiment: EXP-C1, EXP-C2

Objective: O6 (large-sample validation)

Source: outputs/08_circor_external_validation/T15_recording_vs_patient_level.csv; outputs/08_circor_external_validation/EXP-C1-three_class/per_fold_by_level.csv; outputs/08_circor_external_validation/EXP-C1-two_class/per_fold_by_level.csv; outputs/08_circor_external_validation/EXP-C2/per_fold_by_level.csv

Generated by PV-MEPCG / PulseVision at 2026-09-10T16:53:58.206431+00:00