T17. Feature Family Ablation

Eight feature configurations over the identical DA-07 repeated 5x5 subject-grouped fold map, identical seed and identical pipeline. Every arm is a column subset of the single FE-03 matrix, so no arm can disagree with another about what a feature value means. A7 is the full 138-feature representation and is the reference every delta is taken against; it re-runs EXP-A1's exact configuration and is verified against EXP-A1's committed per-fold numbers before this table is written. Ranked by sensitivity within each arm.

| Arm | Feature families | Features | Model | Folds | sensitivity | sensitivity SD | sensitivity Δ vs A7 | specificity | specificity SD | specificity Δ vs A7 | f1 | f1 SD | f1 Δ vs A7 | balanced accuracy | balanced accuracy SD | balanced accuracy Δ vs A7 | roc auc | roc auc SD | roc auc Δ vs A7 | accuracy | accuracy SD | accuracy Δ vs A7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | time | 24 | M1 | 25 | 0.853 | 0.034 | 0.005 | 0.768 | 0.036 | -0.070 | 0.622 | 0.041 | -0.065 | 0.811 | 0.029 | -0.032 | 0.871 | 0.027 | -0.051 | 0.786 | 0.032 | -0.054 |
| A1 | time | 24 | M5 | 25 | 0.765 | 0.062 | -0.033 | 0.884 | 0.029 | -0.018 | 0.691 | 0.043 | -0.043 | 0.824 | 0.031 | -0.025 | 0.920 | 0.019 | -0.016 | 0.859 | 0.023 | -0.021 |
| A1 | time | 24 | M4 | 25 | 0.711 | 0.064 | -0.036 | 0.916 | 0.031 | -0.020 | 0.699 | 0.047 | -0.052 | 0.814 | 0.031 | -0.028 | 0.921 | 0.022 | -0.021 | 0.874 | 0.024 | -0.024 |
| A1 | time | 24 | M8 | 25 | 0.695 | 0.067 | -0.061 | 0.920 | 0.026 | -0.013 | 0.693 | 0.051 | -0.058 | 0.807 | 0.034 | -0.037 | 0.917 | 0.019 | -0.024 | 0.874 | 0.023 | -0.023 |
| A1 | time | 24 | M3 | 25 | 0.482 | 0.055 | -0.188 | 0.950 | 0.020 | 0.020 | 0.575 | 0.059 | -0.116 | 0.716 | 0.032 | -0.084 | 0.897 | 0.026 | -0.027 | 0.854 | 0.021 | -0.023 |
| A2 | frequency | 22 | M1 | 25 | 0.844 | 0.046 | -0.004 | 0.788 | 0.030 | -0.050 | 0.634 | 0.041 | -0.053 | 0.816 | 0.031 | -0.027 | 0.874 | 0.025 | -0.049 | 0.799 | 0.028 | -0.041 |
| A2 | frequency | 22 | M5 | 25 | 0.776 | 0.049 | -0.022 | 0.849 | 0.032 | -0.052 | 0.659 | 0.034 | -0.075 | 0.813 | 0.023 | -0.037 | 0.904 | 0.018 | -0.032 | 0.834 | 0.024 | -0.046 |
| A2 | frequency | 22 | M4 | 25 | 0.728 | 0.044 | -0.019 | 0.869 | 0.028 | -0.068 | 0.652 | 0.027 | -0.099 | 0.799 | 0.018 | -0.043 | 0.911 | 0.016 | -0.031 | 0.840 | 0.019 | -0.058 |
| A2 | frequency | 22 | M8 | 25 | 0.686 | 0.041 | -0.069 | 0.899 | 0.023 | -0.033 | 0.662 | 0.031 | -0.089 | 0.793 | 0.020 | -0.051 | 0.910 | 0.014 | -0.031 | 0.856 | 0.017 | -0.041 |
| A2 | frequency | 22 | M3 | 25 | 0.497 | 0.063 | -0.173 | 0.924 | 0.018 | -0.007 | 0.553 | 0.051 | -0.137 | 0.710 | 0.031 | -0.090 | 0.896 | 0.019 | -0.028 | 0.836 | 0.017 | -0.041 |
| A3 | mfcc | 39 | M1 | 25 | 0.824 | 0.045 | -0.024 | 0.790 | 0.036 | -0.048 | 0.626 | 0.040 | -0.061 | 0.807 | 0.029 | -0.036 | 0.885 | 0.019 | -0.037 | 0.797 | 0.030 | -0.043 |
| A3 | mfcc | 39 | M5 | 25 | 0.771 | 0.058 | -0.027 | 0.876 | 0.033 | -0.026 | 0.686 | 0.045 | -0.048 | 0.824 | 0.030 | -0.026 | 0.919 | 0.020 | -0.017 | 0.854 | 0.026 | -0.026 |
| A3 | mfcc | 39 | M8 | 25 | 0.691 | 0.059 | -0.065 | 0.920 | 0.025 | -0.013 | 0.691 | 0.047 | -0.059 | 0.805 | 0.030 | -0.039 | 0.923 | 0.022 | -0.018 | 0.873 | 0.022 | -0.023 |
| A3 | mfcc | 39 | M4 | 25 | 0.681 | 0.059 | -0.066 | 0.917 | 0.029 | -0.019 | 0.682 | 0.046 | -0.069 | 0.799 | 0.029 | -0.043 | 0.923 | 0.022 | -0.019 | 0.869 | 0.023 | -0.029 |
| A3 | mfcc | 39 | M3 | 25 | 0.655 | 0.068 | -0.015 | 0.931 | 0.031 | 0.001 | 0.682 | 0.061 | -0.008 | 0.793 | 0.037 | -0.007 | 0.916 | 0.025 | -0.008 | 0.874 | 0.028 | -0.002 |
| A4 | dwt | 24 | M1 | 25 | 0.841 | 0.045 | -0.007 | 0.788 | 0.038 | -0.050 | 0.633 | 0.042 | -0.054 | 0.814 | 0.031 | -0.029 | 0.889 | 0.026 | -0.033 | 0.799 | 0.033 | -0.041 |
| A4 | dwt | 24 | M5 | 25 | 0.766 | 0.050 | -0.032 | 0.875 | 0.033 | -0.027 | 0.682 | 0.045 | -0.053 | 0.820 | 0.028 | -0.030 | 0.914 | 0.023 | -0.022 | 0.852 | 0.027 | -0.028 |
| A4 | dwt | 24 | M4 | 25 | 0.735 | 0.056 | -0.013 | 0.905 | 0.031 | -0.032 | 0.700 | 0.047 | -0.051 | 0.820 | 0.030 | -0.022 | 0.920 | 0.024 | -0.022 | 0.870 | 0.025 | -0.028 |
| A4 | dwt | 24 | M8 | 25 | 0.709 | 0.054 | -0.046 | 0.911 | 0.029 | -0.022 | 0.692 | 0.043 | -0.059 | 0.810 | 0.027 | -0.034 | 0.919 | 0.019 | -0.022 | 0.870 | 0.023 | -0.027 |
| A4 | dwt | 24 | M3 | 25 | 0.579 | 0.064 | -0.091 | 0.938 | 0.030 | 0.008 | 0.638 | 0.066 | -0.053 | 0.759 | 0.037 | -0.041 | 0.908 | 0.030 | -0.016 | 0.865 | 0.028 | -0.012 |
| A5 | time + frequency | 46 | M1 | 25 | 0.860 | 0.052 | 0.012 | 0.812 | 0.034 | -0.026 | 0.665 | 0.042 | -0.021 | 0.836 | 0.031 | -0.007 | 0.905 | 0.023 | -0.017 | 0.822 | 0.029 | -0.018 |
| A5 | time + frequency | 46 | M5 | 25 | 0.773 | 0.053 | -0.025 | 0.892 | 0.031 | -0.010 | 0.706 | 0.041 | -0.028 | 0.832 | 0.026 | -0.018 | 0.927 | 0.019 | -0.009 | 0.867 | 0.024 | -0.013 |
| A5 | time + frequency | 46 | M4 | 25 | 0.730 | 0.069 | -0.018 | 0.918 | 0.030 | -0.018 | 0.714 | 0.050 | -0.037 | 0.824 | 0.033 | -0.018 | 0.933 | 0.018 | -0.009 | 0.880 | 0.024 | -0.018 |
| A5 | time + frequency | 46 | M8 | 25 | 0.725 | 0.059 | -0.030 | 0.922 | 0.025 | -0.011 | 0.715 | 0.043 | -0.035 | 0.823 | 0.029 | -0.021 | 0.927 | 0.017 | -0.014 | 0.881 | 0.020 | -0.015 |
| A5 | time + frequency | 46 | M3 | 25 | 0.555 | 0.068 | -0.114 | 0.943 | 0.018 | 0.013 | 0.625 | 0.065 | -0.066 | 0.749 | 0.038 | -0.051 | 0.912 | 0.023 | -0.012 | 0.863 | 0.022 | -0.013 |
| A6 | mfcc + dwt | 63 | M1 | 25 | 0.844 | 0.043 | -0.004 | 0.816 | 0.040 | -0.022 | 0.663 | 0.039 | -0.024 | 0.830 | 0.025 | -0.013 | 0.908 | 0.019 | -0.014 | 0.822 | 0.031 | -0.018 |
| A6 | mfcc + dwt | 63 | M5 | 25 | 0.791 | 0.055 | -0.007 | 0.894 | 0.032 | -0.008 | 0.720 | 0.049 | -0.015 | 0.842 | 0.031 | -0.007 | 0.932 | 0.022 | -0.004 | 0.873 | 0.027 | -0.008 |
| A6 | mfcc + dwt | 63 | M8 | 25 | 0.747 | 0.054 | -0.009 | 0.929 | 0.027 | -0.004 | 0.739 | 0.041 | -0.011 | 0.838 | 0.026 | -0.006 | 0.937 | 0.020 | -0.004 | 0.892 | 0.021 | -0.005 |
| A6 | mfcc + dwt | 63 | M4 | 25 | 0.731 | 0.060 | -0.016 | 0.933 | 0.027 | -0.004 | 0.735 | 0.054 | -0.016 | 0.832 | 0.033 | -0.010 | 0.936 | 0.023 | -0.006 | 0.891 | 0.025 | -0.007 |
| A6 | mfcc + dwt | 63 | M3 | 25 | 0.690 | 0.072 | 0.021 | 0.929 | 0.032 | -0.002 | 0.703 | 0.065 | 0.012 | 0.809 | 0.040 | 0.009 | 0.924 | 0.025 | 0.000 | 0.880 | 0.030 | 0.003 |
| A7 | time + frequency + mfcc + chroma + dwt + envelope | 138 | M1 | 25 | 0.848 | 0.040 | 0.000 | 0.838 | 0.036 | 0.000 | 0.687 | 0.043 | 0.000 | 0.843 | 0.026 | 0.000 | 0.922 | 0.019 | 0.000 | 0.840 | 0.030 | 0.000 |
| A7 | time + frequency + mfcc + chroma + dwt + envelope | 138 | M5 | 25 | 0.798 | 0.055 | 0.000 | 0.902 | 0.036 | 0.000 | 0.734 | 0.051 | 0.000 | 0.850 | 0.030 | 0.000 | 0.936 | 0.022 | 0.000 | 0.880 | 0.029 | 0.000 |
| A7 | time + frequency + mfcc + chroma + dwt + envelope | 138 | M8 | 25 | 0.756 | 0.063 | 0.000 | 0.933 | 0.028 | 0.000 | 0.750 | 0.048 | 0.000 | 0.844 | 0.031 | 0.000 | 0.941 | 0.018 | 0.000 | 0.896 | 0.023 | 0.000 |
| A7 | time + frequency + mfcc + chroma + dwt + envelope | 138 | M4 | 25 | 0.748 | 0.063 | 0.000 | 0.937 | 0.029 | 0.000 | 0.751 | 0.053 | 0.000 | 0.842 | 0.033 | 0.000 | 0.942 | 0.020 | 0.000 | 0.898 | 0.025 | 0.000 |
| A7 | time + frequency + mfcc + chroma + dwt + envelope | 138 | M3 | 25 | 0.670 | 0.069 | 0.000 | 0.930 | 0.027 | 0.000 | 0.691 | 0.058 | 0.000 | 0.800 | 0.036 | 0.000 | 0.924 | 0.024 | 0.000 | 0.877 | 0.025 | 0.000 |
| A8 | the SO-04 selected subset | 20 | M1 | 25 | 0.873 | 0.038 | 0.025 | 0.802 | 0.042 | -0.036 | 0.663 | 0.045 | -0.023 | 0.837 | 0.029 | -0.005 | 0.911 | 0.022 | -0.011 | 0.816 | 0.035 | -0.024 |
| A8 | the SO-04 selected subset | 20 | M5 | 25 | 0.804 | 0.058 | 0.006 | 0.896 | 0.031 | -0.005 | 0.730 | 0.047 | -0.004 | 0.850 | 0.031 | 0.000 | 0.936 | 0.021 | 0.000 | 0.877 | 0.026 | -0.003 |
| A8 | the SO-04 selected subset | 20 | M4 | 25 | 0.787 | 0.052 | 0.040 | 0.924 | 0.031 | -0.013 | 0.758 | 0.050 | 0.007 | 0.856 | 0.029 | 0.014 | 0.945 | 0.019 | 0.003 | 0.896 | 0.026 | -0.002 |
| A8 | the SO-04 selected subset | 20 | M8 | 25 | 0.772 | 0.058 | 0.017 | 0.926 | 0.027 | -0.007 | 0.751 | 0.045 | 0.001 | 0.849 | 0.030 | 0.005 | 0.944 | 0.016 | 0.003 | 0.895 | 0.023 | -0.002 |
| A8 | the SO-04 selected subset | 20 | M3 | 25 | 0.642 | 0.084 | -0.028 | 0.934 | 0.027 | 0.004 | 0.676 | 0.074 | -0.015 | 0.788 | 0.046 | -0.012 | 0.928 | 0.025 | 0.004 | 0.874 | 0.029 | -0.003 |

Chroma (24) and envelope (5) have no solo arm. The eight configurations are the ones T74.1-T74.5 name; those two families appear only inside A7, so this table says nothing about either on its own and no claim may be made about them from it.

The ensembles M6 and M7 are not run here. EXP-F1 varies the feature representation with the model held fixed; what ensembling is worth is EXP-F2's subject (T19), measured on the full 138 where it belongs.

A8's 20 features are FE-12's shipped subset, read from disk. Selection was NOT re-run inside the ablation -- doing so would have fitted it across all 25 folds at once and made A8 the one arm that saw its own test rows.

Five of the 24 time features are constants by construction on z-normalized signals (time_mean, time_std, time_var, time_rms, time_hjorth_activity), so A1's effective width is 19, not 24.

Every value is the mean over 25 folds with its sample SD beside it; no number here is pooled across folds.

PV-MEPCG / PulseVision is an academic screening prototype, not a diagnostic tool.

Table T17 -- Feature Family Ablation

Experiment: EXP-F1

Objective: O2 (representation), O5 (ablation evidence)

Source: outputs/09_ablation/feature_ablation_per_fold.csv; outputs/03_features/all_features_matrix.parquet; outputs/01_dataset_audit/subject_split_map.csv; outputs/03_features/selected_feature_subset.csv

Generated by PV-MEPCG / PulseVision at 2026-09-10T07:31:25.585477+00:00