T24. Complexity Analysis

Computational cost beside the performance it buys, one row per model. 'Bench fit' and every size and memory column come from one controlled fit on binary fold r0f0 under configs/models.yaml defaults, on an otherwise idle machine. 'Run fit mean' and 'Run fit max/min' come from the EXP-A2 run's own instrumentation across its folds and are therefore a different quantity: a searched configuration, measured while the project was running. Metrics are that run's fold means.

| Model | Task | Benched configuration | Features | Bench fit (s) | Run fit mean (s) | Run fit max/min | Predict, 1 record (s) | Predict, batched (s/record) | On disk (MB) | Peak RSS above baseline (MB) | Whole pipeline (s/recording) | balanced accuracy | sensitivity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M1 | binary | configs/models.yaml defaults | 138 | 0.49 | 2.97 | 320.0 | 0.001405 | 0.000007 | 0.007 | 12.9 | 2.343 | 0.847 | 0.865 |
| M2 | binary | configs/models.yaml defaults | 138 | 0.09 | n/a | n/a | 0.006245 | 0.003180 | 2.889 | 14.3 | 2.343 | n/a | n/a |
| M3 | binary | configs/models.yaml defaults | 138 | 1.11 | 1.40 | 2.3 | 0.007671 | 0.000487 | 2.214 | 15.6 | 2.343 | 0.800 | 0.667 |
| M4 | binary | configs/models.yaml defaults | 138 | 14.50 | 13.00 | 23.2 | 0.177161 | 0.000349 | 12.471 | 24.6 | 2.343 | 0.852 | 0.819 |
| M5 | binary | configs/models.yaml defaults | 138 | 28.77 | 99.18 | 15.9 | 0.001408 | 0.000013 | 0.273 | 15.1 | 2.343 | 0.847 | 0.813 |
| M6 | binary | configs/models.yaml defaults | 138 | 228.46 | 545.14 | 9.4 | 0.182914 | 0.000896 | 15.562 | 111.5 | 2.343 | 0.856 | 0.862 |
| M7 | binary | configs/models.yaml defaults | 138 | 257.23 | 534.58 | 10.5 | 0.169259 | 0.000859 | 15.562 | 120.3 | 2.343 | 0.856 | 0.862 |
| M8 | binary | configs/models.yaml defaults | 138 | 6.63 | 12.94 | 42.3 | 0.003835 | 0.000019 | 0.673 | 51.2 | 2.343 | 0.848 | 0.822 |

THE MODEL IS NOT THE LATENCY. End-to-end inference on a real recording is dominated by feature extraction, which is identical for every model; the 'Whole pipeline' column is the same value in every row for that reason. A 190x difference in predict time is invisible to anyone waiting for a result.

'Peak RSS above baseline' is the process resident set sampled every 20 ms during the fit, minus the reading taken immediately before it. It is a peak DURING the fit, not a peak CAUSED by it, and a fit shorter than a few sample intervals carries too few samples to mean anything -- model_footprint.csv reports the sample count and a memory_measurement_reliable flag per row.

The two fit-time columns are not comparable with each other and neither is an error. See T25.

Measured on CPU only -- this machine has no CUDA GPU, and no number here may be compared against a GPU-trained model. M9 (1D-CNN) is out of scope for that reason and is not fitted anywhere in this project.

PV-MEPCG / PulseVision is an academic screening and decision-support prototype, not a diagnostic tool.

Table T24 -- Complexity Analysis

Experiment: EXP-A2

Objective: O5 (complexity and deployability)

Source: D:/Projects/HeartGuard/outputs/11_complexity/training_time_summary.csv; D:/Projects/HeartGuard/outputs/11_complexity/inference_stage_summary.csv; D:/Projects/HeartGuard/outputs/11_complexity/model_footprint.csv; D:/Projects/HeartGuard/outputs/11_complexity/complexity_overview.csv

Generated by PV-MEPCG / PulseVision at 2026-09-10T11:37:47.921997+00:00